## Slide 1: Midwest AQ Study
March 4, 2025

## Slide 2: SAN192 – Results

## Slide 3: SAN192 - Results

## Slide 4: BVL130 - Results

## Slide 5: BVL130 – diurnal profiles

## Slide 6: STK138 - Results

## Slide 7: STK138 - Results

## Slide 8: STK138 – Seasonal

## Slide 9: Data Summary
Pollutant | Median conc. (ppb) | % complete | Median conc. (ppb) | % complete | Median conc. (ppb) | % complete
 | STK138 |  | SAN192 |  | BVL130 | 
HNO3 | 0.115 | 83 |  |  |  | 
NH3 | 4.27 | 82 |  |  |  | 
NO | 0 | 82 | 0.136 | 88 | 0.123 | 
NO2 | 0.982 | 82 |  |  |  | 
NOY | 1.714 | 83 | 1.688 | 88 | 3.24 | 
Ozone | 31 | 90 | 30 | 95 | 29 | 
Site ID | Median AMoN Conc. (2020- Spring 2024) (ppb)
IL11/BVL130 | 2.45
IL37/STK137 | 4.47
NE98/SAN189* | 5.21
Summary from upper Midwest sites with data from June – Feb. 2025
Comparison with AMoN data from co-located sites
Similar levels of NH3 from continuous and passive samplers

## Slide 10: Budget
Averaging ~$3200/month for option period III (operations)
Remaining $93K out of the $210K obligated
Estimate ~$10K for decommissioning; assuming no reports or analysis performed by WSP STK138 and SAN192 NOy can operate through Dec. 2026

## Slide 11: To Do
Add AMoN concentrations
QC results
Eventually PM2.5 concentrations