## Slide 1
Air Force Microreactor Pilot Program
Major Ryan Eiswerth
Radioisotope Committee
Air Force Medical Agency
6 March 2024

## Slide 2: Disclaimer
AF Radioisotope Committee is not the OPR for this program
OPR is Office of the Deputy Assistant Secretary of the Air Force for Energy, Installations, and Environment (SAF/IE)
For Official Latest Information: https://www.eielson.af.mil/microreactor/

## Slide 3: Overview
Microreactor Basics
Air Force Microreactor Pilot Program
Eielson Air Force Base / Unique Considerations
Current Regulatory Environment

## Slide 4: Microreactor Basics

## Slide 5: Air Force Microreactor Pilot Program
Purpose: The Department of the Air Force (DAF) is working with the Office of the Deputy Assistant Secretary of Defense for Energy and the Department of Energy on a program to validate microreactor technology and determine viability for future energy resilience efforts
Program Objective: Successful demonstration of a Nuclear Regulatory Commission (NRC)-licensed, commercially viable and inherently safe microreactor at a permanent military installation
Program Approach: DoD purchases the commodity (electricity and thermal energy) from the microreactor under a 30-year (PPA) Power Purchase Agreement (10 USC 2922a); not the microreactor itself
Execution: Focuses on short-term actions as part of a long-term plan
Pilot Location: Eielson Air Force Base, Alaska
Chosen due to mission criticality & opportunity to reduce carbon emissions

## Slide 6: Request for Proposal Requirements
Fixed-site
1-5 MW of power for no less than 2 years without refueling
NRC licensed
Operate in subarctic climate
Interconnect with existing infrastructure
Meet all Federal and State environmental laws and regulations
Meet NIST, DoD, and other security and cybersecurity standards
Contract Period: up to 30 years

## Slide 7: Project Milestones
2019
Develop pilot program framework
2020
Stakeholder engagement meetings
Release Request for Information to industry
2021
Draft Request for Proposal
Compile environmental data
2022
Release Request for Proposal
Anticipated to Select Vendor – Notice of Intent to Award
2023
2024
NRC environmental and safety review
2025
NRC finalizes environmental and safety review; execute contract
2026
Construction and Pre-operational testing
2027
Commercial Operation
2057
Vendor develops licensing application to the NRC
SAF/IEE memo to PACAF
End of 30-year Contract Period
31 Aug 2023: Notice of Intent to Award to Oklo, Inc. to
site, construct, own, and operate
18 Sept 2023: Notice of Intent to Award Rescinded
12 Feb 2024: Notice of Intent to Award Re-issued
Aurora - Oklo’s Previous Project
Compact Fast Reactor. 4 MWth (~1.5 Mwe)
Denied by NRC in 2022

## Slide 8: Eielson Air Force Base, Alaska
“READY TO GO AT 50 BELOW”

## Slide 9
Active Duty: 3,151
Family Members: 6,479
Civilian & Contractors: 3,426
Tenant Units: 77
Retirees: 2,391
Yearly Economic Impact: $1.2B
WHO We Are – Our Team and Demographics
CAO 25 May 2022

## Slide 10: Eielson AFB’s Central Heating & Power Plant
Owned/Operated by USAF
Provides steam/electricity
~ 40 staff for 24/7 ops

## Slide 11: Current Regulatory Environment
ATOMIC ENERGY ADVANCEMENT ACT
WHEN: House Approved 28 Feb 2024
WHAT: Speed up the development of a new generation of nuclear power plants
HOW: Direct the NRC to streamline its approval process

## Slide 12: Micro-Reactor Policy and Licensing Considerations
Security Requirements
Emergency Preparedness
Staffing, Training, and Qualification Requirements
Autonomous and Remote Operations
Regulatory Oversight
Aircraft Impact Assessment
Annual Fee Structure
Manufacturing Licenses and Transportation
Population-Related Siting Considerations
Environmental Considerations

## Slide 13: References
Eielson AFB Small Modular Reactor Request for Proposal, Solicitation No. SP0604-22-R-0421, 26 Sept 2022
“Department of the Air Force Micro-reactor Pilot Program Update”, Briefing by Mr. James Sample, Principle Director SAF/IEE, 12 May 2022
Eielson AFB Microreactor Pilot Pre-Proposal Conference, SAF/IEE Energy 12 Oct 2022
“Prospects for Nuclear Microreactors: A Review of the Technology, Economics, and Regulatory Considerations”, G. Black, D. Shropshire, K. Araújo, and A. van Heek; 23 Aug 2022
NRC Policy Information “Policy and Licensing Considerations Related to Micro-Reactors”, SECY-20-0093, 6 Oct 2020
“What are Small Modular Reactors (SMRs)”, IAEA, 13 Sept 2023
https://www.iaea.org/topics/small-modular-reactors