## Method Parameters
Worksheet: Method Parameters
File: 20170910 Intracellular Study-DEX.xlsx
Location: (A.Swank)M:\Work Documents\Stryner-NERL\DeGroot - 201607 Metabolism\Experiments\20170910 Intracellular Study
Project: DeGroot - 201607 Metabolism, (CSS project- task HTT 10.3.2.)
QA Track ID: A-IO-0030767
QAPP Title: Retrofit Strategies for Incorporating Xenobiotic Metabolism into High-Throughput Screening Assays
Prepared By: Adam Swank
Cell Culture Media
|  |  |  | MM Standards | [6 empty] | Extract Conc.
[6 empty] | Calibration Range | [6 empty] | Calibration Range
[6 empty] | Nominal Range | Exact Values
|  |  | ESI Polarity | Limit of Detection |  |  | LLOQ | ULOQ | LLOQ | ULOQ | Limit of Detection |  | LLOQ | ULOQ | LLOQ | ULOQ
| Compound | MW | (+/-) | (ng/mL) | (nM) | 50 nm - 5µm | (ng/mL) | (ng/mL) | (nM) | (nM) | (ng/mL) | (nM) | (ng/mL) | (ng/mL) | (nM) | (nM)
| Phenacetin | 179.22 | + |  | 4.7 | 50 nm - 5µm | 9 | 900 | 50.2176 | 5021.761 |  | 3.1 | 6 | 600 | 33.4784 | 3347.8406
| Acetaminophen | 151.16 | + |  | 14 | 50 nm - 5µm | 8 | 800 | 52.9241 | 5292.4054 |  | 9.8 | 5.3333 | 533.3333 | 35.2827 | 3528.2703
| Dextromethorphan | 271.4 | + |  | 4.7 | 50 nm - 5µm | 15 | 1500 | 55.269 | 5526.8976 |  | 3.1 | 10 | 1000 | 36.846 | 3684.5984
| Dextrorphan | 257.371 | + |  | 5.7 | 100 nm - 5 µm | 13.2646 | 1326.4593 | 51.5388 | 5153.8801 |  | 3.8 | 8.8431 | 884.3062 | 34.3592 | 3435.9201
| Terfenadine | 471.673 | + |  |  | 50 nm - 2 µm | 59.922 | 2996.1 | 127.0414 | 6352.0702 |  |  | 39.948 | 1997.4 | 84.6943 | 4234.7135
| Terfenadine-OH | 487.67 | + |  | 6.9 | 50 nm - 2 µm | 25.44 | 1272 | 52.1664 | 2608.3212 |  | 4.6 | 16.96 | 848 | 34.7776 | 1738.8808
| Diclofenac | 296.15 | - |  | 4.8 | 50 nm - 5µm | 17.2031 | 1720.308 | 58.0891 | 5808.9076 |  | 3.2 | 11.4687 | 1146.872 | 38.7261 | 3872.6051
| 4'-hydroxydiclofenac | 312.15 | + |  | 3.7 | 50 nm - 5µm | 15.7 | 1570 | 50.2963 | 5029.6332 |  | 2.5 | 10.4667 | 1046.6667 | 33.5309 | 3353.0888
| Chlorzoxazone | 169.57 | - |  | 28 | 250 nM to 5 µM | 50.635 | 1012.7 | 298.6082 | 5972.1649 |  | 19 | 33.7567 | 675.1333 | 199.0722 | 3981.4433
| 6-hydroxychlorzoxazone | 185.56 | - |  | 7.1 | 100 nm - 5 µm | 18.96 | 948 | 102.1772 | 5108.8597 |  | 4.7 | 12.64 | 632 | 68.1181 | 3405.9064
| Carbofuran | 221.26 | + |  | 4.2 | 50 nm - 5µm | 12.544 | 1254.4 | 56.6935 | 5669.3483 |  | 2.8 | 8.3627 | 836.2667 | 37.7957 | 3779.5655
| 3-OH Carbofuran | 237.255 | + |  | 11 | 100 nm - 5 µm | 23.8 | 1190 | 100.314 | 5015.7004 |  | 7 | 15.8667 | 793.3333 | 66.876 | 3343.8003
| Atrazine | 215.68 | + |  | 3.8 | 50 nm - 2 µm | 11.11 | 555.5 | 51.5115 | 2575.5749 |  | 2.6 | 7.4067 | 370.3333 | 34.341 | 1717.05
| DIA | 173.6 | + |  | 4.4 | 50 nm - 5µm | 9 | 900 | 51.8433 | 5184.3318 |  | 2.9 | 6 | 600 | 34.5622 | 3456.2212
| Compound | MW
| Phenacetin-d5 | 184.25 | +
| Acetaminophen-D4 | 155.19 | +
| Dextromethorphan-D3 | 274.42 | +
| Dextrorphan-D3 | 260.39 | +
| Terfenadine-(butanol-1,2,2-d3) | 474.69 | +
| Diclofenac-13C6 | 302.15 | -
| 4'-Hydroxydiclofenac-13C6 | 318.1 | +
| Chlorzoxazone-4,6,7-d3 | 172.59 | -
| 6-Hydroxy Chlorzoxazone-d2 | 187.58 | -
| Carbofuran-13C6 | 224.27
| Atrazine-13C3 | 218.66
| DIA-13C3 | 176.58
Phosphate Buffer
|  |  |  | MM Standards | [6 empty] | Extract Conc.
|  |  | ESI Polarity | Limit of Detection |  |  | Calibration Range |  |  |  | Estimated LOD Sample |  | Calibration Range
| Compound | MW | (+/-) | (ng/mL) | (nM) |  | (ng/mL) |  |  | (nM) | (ng/mL) | (nM) | (ng/mL) | (nM)
| Phenacetin | 179.22 | + |  | 6.3 | [6 empty] | 4.2
| Acetaminophen | 151.16 | + |  | 11 | [6 empty] | 7.2
| Dextromethorphan | 271.4 | + |  | 4.5 | [6 empty] | 3
| Dextrorphan | 257.371 | + |  | 5.2 | [6 empty] | 3.5
| Terfenadine | 471.673 | +
| Terfenadine-OH | 487.67 | + |  | 6.6 | [6 empty] | 4.4
| Diclofenac | 296.15 | - |  | 2.4 | [6 empty] | 1.6
| 4'-hydroxydiclofenac | 312.15 | + |  | 4 | [6 empty] | 2.8
| Chlorzoxazone | 169.57 | - |  | 29 | [6 empty] | 20
| 6-hydroxychlorzoxazone | 185.56 | - |  | 17 | [6 empty] | 12
| Carbofuran | 221.26 |  |  | 3.1 | [6 empty] | 2.1
| 3-OH Carbofuran | 237.255 |  |  | 7.3 | [6 empty] | 4.9
| Atrazine | 215.68 |  |  | 3.8 | [6 empty] | 2.5
| DIA | 173.6
| Compound | MW
| Phenacetin-d5 | 184.25 | +
| Acetaminophen-D4 | 155.19 | +
| Dextromethorphan-D3 | 274.42 | +
| Dextrorphan-D3 | 260.39 | +
| Terfenadine-(butanol-1,2,2-d3) | 474.69 | +
| Diclofenac-13C6 | 302.15 | -
| 4'-Hydroxydiclofenac-13C6 | 318.1 | +
| Chlorzoxazone-4,6,7-d3 | 172.59 | -
| 6-Hydroxy Chlorzoxazone-d2 | 187.58 | -
| Carbofuran-13C6 | 224.27
| Atrazine-13C3 | 218.66
| DIA-13C3 | 176.58

## ESI Parameters
Worksheet: ESI Parameters
File: 20170910 Intracellular Study-DEX.xlsx
Location: (A.Swank)M:\Work Documents\Stryner-NERL\DeGroot - 201607 Metabolism\Experiments\20170910 Intracellular Study
Project: DeGroot - 201607 Metabolism, (CSS project- task HTT 10.3.2.)
QA Track ID: A-IO-0030767
QAPP Title: Retrofit Strategies for Incorporating Xenobiotic Metabolism into High-Throughput Screening Assays
Prepared By: Adam Swank
| Q1 (m/z) | Q3 (m/z) | Time (msec) | DP (volts) | FP (volts) | EP (volts) | CE (Volts) | CXP (Volts) | IS (Voltage) | CAD (dimensionless)
Terfenadine-OH | 488.384 | 452.3 | 150 | 61 | 220 | 10 | 37 | 14 | 2000 | 8
Terfenadine-OH | 488.384 | 470.3 | 150 | 61 | 220 | 10 | 31 | 14 | 2000 | 8
Terfenadine | 472.313 | 436.3 | 150 | 56 | 170 | 10 | 37 | 12 | 2000 | 8
Terfenadine | 472.313 | 454.3 | 150 | 56 | 170 | 10 | 31 | 14 | 2000 | 8
Terfenadine-(butanol-1,2,2-d3) | 475.319 | 457.2 | 150 | 56 | 180 | 10 | 31 | 14 | 2000 | 8
Terfenadine-(butanol-1,2,2-d3) | 475.319 | 438.2 | 150 | 56 | 180 | 10 | 39 | 12 | 2000 | 8
Phenacetin | 180.255 | 110 | 150 | 46 | 180 | 10 | 29 | 8 | 2000 | 10
Phenacetin | 180.255 | 138.1 | 150 | 46 | 180 | 10 | 23 | 8 | 2000 | 10
Phenacetin-d5 | 185.31 | 111 | 150 | 41 | 150 | 10 | 31 | 8 | 2000 | 10
Phenacetin-d5 | 185.31 | 143 | 150 | 41 | 150 | 10 | 23 | 8 | 2000 | 10
Acetaminophen | 152.183 | 110 | 150 | 41 | 170 | 10 | 23 | 6 | 1500 | 8
Acetaminophen | 152.183 | 93 | 150 | 41 | 170 | 10 | 33 | 4 | 1500 | 8
Acetaminophen-D4 | 156.222 | 114.1 | 150 | 46 | 150 | 10 | 25 | 6 | 1500 | 8
Acetaminophen-D4 | 156.222 | 97 | 150 | 46 | 150 | 10 | 33 | 6 | 1500 | 8
Dextromethorphan | 272.338 | 147.2 | 150 | 61 | 240 | 10 | 43 | 8 | 2000 | 10
Dextromethorphan | 272.338 | 171.2 | 150 | 61 | 240 | 10 | 53 | 10 | 2000 | 10
Dextromethorphan-D3 | 275.33 | 215.1 | 150 | 61 | 210 | 10 | 33 | 14 | 2000 | 10
Dextromethorphan-D3 | 275.33 | 171.2 | 150 | 61 | 210 | 10 | 55 | 10 | 2000 | 10
Dextrorphan | 258.233 | 157.2 | 150 | 61 | 230 | 10 | 51 | 8 | 1500 | 10
Dextrorphan | 258.233 | 133 | 150 | 61 | 230 | 10 | 43 | 8 | 1500 | 10
Dextrorphan-D3 | 261.281 | 157 | 150 | 46 | 180 | 10 | 55 | 8 | 1500 | 10
Dextrorphan-D3 | 261.281 | 199.1 | 150 | 46 | 180 | 10 | 39 | 12 | 1500 | 10
4'-hydroxydiclofenac | 312.058 | 230 | 150 | 41 | 180 | 10 | 45 | 14 | 3000 | 10
4'-hydroxydiclofenac | 312.058 | 231 | 150 | 41 | 180 | 10 | 27 | 14 | 3000 | 10
4'-Hydroxydiclofenac-13C6 | 318.166 | 236.1 | 150 | 41 | 140 | 10 | 47 | 14 | 3000 | 10
4'-Hydroxydiclofenac-13C6 | 318.166 | 237 | 150 | 41 | 140 | 10 | 29 | 14 | 3000 | 10
Carbofuran | 222.261 | 165 | 150 | 36 | 120 | 10 | 19 | 10
Carbofuran | 222.261 | 123 | 150 | 36 | 120 | 10 | 31 | 6
3-OH Carbofuran | 238.301 | 163.1 | 150 | 36 | 140 | 10 | 21 | 10 | 1500 | >4
3-OH Carbofuran | 238.301 | 220.2 | 150 | 36 | 140 | 10 | 9 | 4 | 1500 | >4
Carbofuran-13C6 | 228.261 | 171
Carbofuran-13C6 | 228.261 | 129
Atrazine | 216.1 | 172.4 |  | 70 |  |  | 25 | 11
Atrazine | 216.1 | 104 |  | 70 |  |  | 25 | 11
Atrazine-13C3 | 219.1 | 175.4 |  | 70 |  |  | 25 | 11
Atrazine-13C3 | 219.1 | 107 |  | 70 |  |  | 25 | 11
DEA | 188.3 | 104 |  | 40 |  |  | 35 | 8
DEA | 188.3 | 146 |  | 40 |  |  | 35 | 8
DEA-13C3 | 191.3 | 107 |  | 40 |  |  | 35 | 8
DEA-13C3 | 191.3 | 149 |  | 40 |  |  | 35 | 8
# Transitions | Peak Width at 10% PK HT (s) | Target Cylcle Time (s) | Dwell Time Per SRM (ms)
40 | 20 | 2 | 50
Compound | Q1 (m/z) | Q3 (m/z) | Time (msec) | DP (volts) | FP (volts) | EP (volts) | CE (Volts) | CXP (Volts) | IS (Voltage) | CAD (dimensionless)
6-hydroxychlorzoxazone | 184.019 | 119.8 | 150 | -36 | -140 | -10 | -28 | -5 | -2000 | 6
6-hydroxychlorzoxazone | 184.019 | 147.8 | 150 | -36 | -140 | -10 | 20 | -7 | -2000 | 6
6-Hydroxy Chlorzoxazone-d2 | 186.084 | 121.9 | 150 | -51 | -160 | -10 | -28 | -11
6-Hydroxy Chlorzoxazone-d2 | 186.084 | 150 | 150 | -51 | -160 | -10 | -22 | -7
6-Hydroxy Chlorzoxazone-d2 | 186.084 | 121.3 | 150 | -51 | -160 | -10 | -26 | -7
Chlorzoxazone | 168.044 | 131.8 | 150 | -41 | -170 | -10 | -28 | -5 | -1500 | 8
Chlorzoxazone | 168.044 | 75.9 | 150 | -41 | -170 | -10 | -38 | -1 | -1500 | 8
Chlorzoxazone-4,6,7-d3 | 171.034 | 133.9 | 150 | -51 | -160 | -10 | -30 | -7
Chlorzoxazone-4,6,7-d3 | 171.034 | 77.9 | 150 | -51 | -160 | -10 | -38 | -11
Chlorzoxazone-4,6,7-d3 | 171.034 | 105.8 | 150 | -51 | -160 | -10 | -34 | -17
Diclofenac | 294.133 | 249.7 | 150 | -26 | -110 | -10 | -16 | -15 | -2500 | 6
Diclofenac | 294.133 | 213.9 | 150 | -26 | -110 | -10 | -30 | -11 | -2500 | 6
Diclofenac-13C6 | 300.148 | 255.8 | 150 | -31 | -110 | -10 | -16 | -15
Diclofenac-13C6 | 300.148 | 219.9 | 150 | -31 | -110 | -10 | -30 | -13

## Supplies & Equipment
Worksheet: Supplies & Equipment
File: 20170910 Intracellular Study-DEX.xlsx
Location: (A.Swank)M:\Work Documents\Stryner-NERL\DeGroot - 201607 Metabolism\Experiments\20170910 Intracellular Study
Project: DeGroot - 201607 Metabolism, (CSS project- task HTT 10.3.2.)
QA Track ID: A-IO-0030767
QAPP Title: Retrofit Strategies for Incorporating Xenobiotic Metabolism into High-Throughput Screening Assays
Prepared By: Adam Swank
Supplies
| Item | Manufacturer | P/N
| 2 mL Microcentrifuge Tubes | Fisher | 02-681-344
| 2 mL Microcentrifuge Tube Screw Caps | Fisher | 02-681-308
| 500 µL Polypropylene Tubes | USA Scientific | 1405-8100
| LC vials, 500 µL PP LVV 9 mm THD | Laboratory Supply Distributor | 30509P-1232
| LC vial Caps, 9 mm TFE/Sil | Laboratory Supply Distributor | 2150BL-10
5 mL Volumetric Flask
Glass transfer pipettes
| Kinetex, 100x2.1, C18, 2.6 µm, 100 å (S/N 777784-12) | Phenomenex | 00D-4725-AN
Equipment
| Equipment | Manufacturer | Model | S/N | Location
| Refrigerated Centrifuge | Jouan | BR4 | 403110090 | D377-A
| Pipette-Litte XLS | Rainin | L1000 | C15695857 | D377-A
| Pipette-Litte XLS | Rainin | L200 | G14827627 | D377-A
| Pipette-Litte XLS | Rainin | L200 | G1482996T | D377-A
| Pipette-Litte XLS | Rainin | L20 | G1482996T | D377-A
| Pipette-Litte XLS | Rainin | L10 | B619470071 | D377-A
| Vortex Genie - 3030A | Scientific Industries | 6560 | 2-415260 | D377-A
| Agilent 1100 Series LC | Agilent | G1379A | JP40718192 | D278
| API 3000 QQQ Mass Spectrometer | Sciex | API3000 | D9470109 | D278
Software
| Program | Manufacturer | Version | Location
| Analyst 1.4.2 | Sciex | 1.4.2 | D278 on Dell Optiplex 745 (S/N 6B3SXC1)

## Reagents
Worksheet: Reagents
File: 20170910 Intracellular Study-DEX.xlsx
Location: (A.Swank)M:\Work Documents\Stryner-NERL\DeGroot - 201607 Metabolism\Experiments\20170910 Intracellular Study
Project: DeGroot - 201607 Metabolism (CSS project- task HTT 10.3.2.)
QA Track ID: A-IO-0030767
QAPP Title: Retrofit Strategies for Incorporating Xenobiotic Metabolism into High-Throughput Screening Assays
Prepared By: Adam Swank
Analytes
| Compound | Solvent | Concentration | Amount | Source | Cat # | Lot# | Expiration Date | Storage
| Phenacetin | Acetonitrile | 1.0 mg/ml | 1.2 mL | Cerilliant | P-061 | FN03301603
| Diclofenac | Methylene Chloride | 100 ug/ml | 1.2 mL | Cambridge | ULM-9023-S | SDGB-003
| Dextromethorphan | Methanol | 1.0 mg/ml | 1.2 mL | Cerilliant | D-013 | FN07231501
| Chlorzoxazone* | NA | Neat | 25 mg | Sigma | C4397-25G | MKBV6395V
| Terfenadine* | NA | Neat | 5 mg | Sigma | T9652-5G | MKBX6318V
| Acetaminophen | Methanol | 1.0 mg/ml | 1.2 mL | Cerilliant | A-064 | FN07161504
| 4'-hydroxydiclofenac | Acetonitrile | 100 ug/ml | 1.2 mL | Cerilliant | H-052 | FN03061501
| Dextrorphan | Methanol | 1.0 mg/ml | 1.2 mL | Cerilliant | D-034 | FN03061501
| 6-hydroxychlorzoxazone | NA | Neat |  | Sigma | UC148 | 1385519V
| Terfenadine alcohol metabolite | NA | Neat | 5 mg | Sigma | UC206-5MG | 063K3259
| Carbofuran | Neat | Neat | 250 mg | Sigma | 3206-50 mg | SZBDC325XV |  | RT
| 3-OH Carbofuran | Acetonitrile | 100 ug/ml | 1 mL | Chem Service | S-10726A1-1mL | 5023000 | 2017-05-31
| Atrizine | Neat | Neat | 50 mg | Sigma | 90935-50mg | BCBS4552V | Aug, 2020 | RT
| Atrazine-desisopropyl | Neat | Neat | 250 mg | Sigma | 36628-250mg | BCBK7225V | July, 2021 | RT
| Testosterone | Acetonitrile | 1 mg/mL | 1 mL | Cerilliant | T-037 | FE02051501 | Feb, 2019 | -20
| 6 Beta Hydroxytestosterone | Methanol | 100 µg/mL | 1 mL | Cerilliant | H-059 | FN02261502 | April, 2020 | -20
Internal Standards
| Compound | Solvent | Concentration | Amount | Source | Cat # | Lot# | Expiration Date | Storage
| Dextromethorphan-D3 solution. 100 μg/mL in methanol, ampule of 1 mL, certified reference material (Cerilliant) | MeOH | 100 μg/mL | 1 mL | Cerilliant | D-071 | FN04151501 | 2020-04-01 | -20
| Dextrorphan-D3, 100 µg/mL | MeOH | 100 μg/mL | 1 mL | Cerilliant | D-041 | FN08131503 | 2020-08-01 | -20
| Diclofenac-(acetophenyl ring-13C6) sodium salt hemi(nonahydrate) | NA | Neat | 10 mg | Sigma-Aldrich | 35361-10MG | BCBS4473V | 2021-06-01
| 4'-Hydroxydiclofenac-13C6 | MeOH | 100 μg/mL | 1 mL | Cerilliant | H-053 | FN04161504 | 2019-05-01 | -20
| Terfenadine-(butanol-1,2,2-d3), 98 atom % D, 97% (CP) (Aldrich) | NA | Neat | 1 mg | Sigma-Aldrich | 614327 | TP0523
| Phenacetin-d5 | NA | Neat | 2.5 mg | Toronto Research Chemicals | P294582 | 11-PTR-154-2
| Acetaminophen-D4, 100 µg/mL | MeOH | 100 μg/mL | 1 mL | Cerilliant | P-909 | FN02031501 | 2020-04-01 | -20
| Chlorzoxazone-4,6,7-d3 | NA | Neat | 5 mg | CDN Isotopes | D-6478 | V-193 | 2019-12-01 | RT
| 6-Hydroxy Chlorzoxazone-d2 (96% D, 98% purity) | NA | Neat | 1 mg | Medical Isotopes, Inc. | D46543 | 192
| Carbofuran (ring-13C6, 99%) 100µg/mL in 1,4-Dioxane | 1,4-Dioxane | 100 µg/mL | 1.2 mL | Cambridge Isotope Labs, Inc. | CLM-1911-1.2 | SDDE-009 |  | RT
| Atrazine (ring 13C3, 99%) 100 µg/mL in nonane | noname | 100 µg/mL | 1.2 mL | Cambridge Isotope Labs, Inc. | CLM-3737-1.2 | SDFA-013 |  | RT
| Desethylatrazine, 97% (ring 13C3, 99%) | acetonitrile | 100 µg/mL | 1.2 mL | Cambridge Isotope Labs, Inc. | CLM-8313-1.2 | SCJJ-011 |  | RT
| Desisopropylatrazine (ring 13C3, 99%) | acetonitrile | 100 µg/mL | 1.2 mL | Cambridge Isotope Labs, Inc. | CLM-8312-1.2 | SCJJ-009 |  | RT
| Testosterone-2,3,4-13C3 | Acetonitrile | 100 µg/mL | 1 mL | Cerilliant | T-070 | FE08301603 | Oct, 2021 | -20
| 6 Beta Hydroxytestosterone-D3 | Methanol | 100 µg/mL | 1 mL | Cerilliant | T-034 | FN01231502 | April, 2020 | -20
Process Reagents
| Reagent | Purity | Source | P/N # | Lot# | Expiration Date
| Acetonitrile |  | B&J | 015-4 | DA269
| Water | Optima | Fisher | W6-4 | 158892
| Methanol | Fisher | Fisher | A412-4 | 11258
Formic Acid

## Stock Materials
Worksheet: Stock Materials
File: 20170910 Intracellular Study-DEX.xlsx
Location: (A.Swank)M:\Work Documents\Stryner-NERL\DeGroot - 201607 Metabolism\Experiments\20170910 Intracellular Study
Project: DeGroot - 201607 Metabolism (CSS project- task HTT 10.3.2.)
QA Track ID: A-IO-0030767
QAPP Title: Retrofit Strategies for Incorporating Xenobiotic Metabolism into High-Throughput Screening Assays
Prepared By: Adam Swank
Note - target analytes and internal standards purchased as solutions are not listed, refer to "Reagents" worksheet for details on those solutions
| Compound | Concentration (µg/mL) | Solvent | Preperation date | Reference | Reference Location
| Chlorzoxazone* | 10127 | MeOH | 2017-07-14 | Worksheet "Standards 20160711" of File Metabolism Study - Information on Standards.xls | M:\Work Documents\Stryner-NERL\DeGroot - 201607 Metabolism\Experiments\20160714
| Terfenadine* | 9987 | MeOH | 2017-07-14 | Worksheet "Standards 20160711" of File Metabolism Study - Information on Standards.xls | M:\Work Documents\Stryner-NERL\DeGroot - 201607 Metabolism\Experiments\20160714
| 6-hydroxychlorzoxazone | 1580 | MeOH | 2017-07-14 | Worksheet "Standards 20160711" of File Metabolism Study - Information on Standards.xls | M:\Work Documents\Stryner-NERL\DeGroot - 201607 Metabolism\Experiments\20160714
| Terfenadine alcohol metabolite | 1060 | MeOH | 2017-07-14 | Worksheet "Standards 20160711" of File Metabolism Study - Information on Standards.xls | M:\Work Documents\Stryner-NERL\DeGroot - 201607 Metabolism\Experiments\20160714
| Carbofuran | 1792 | MeOH | 2017-03-13 | Worksheet "Stock Materials" of File 20170313 Method Validation.xlsx | M:\Work Documents\Stryner-NERL\DeGroot - 201607 Metabolism\Experiments\201703 Method Validation
| Atrizine | 1010 | MeOH | 2017-03-13 | Worksheet "Stock Materials" of File 20170313 Method Validation.xlsx | M:\Work Documents\Stryner-NERL\DeGroot - 201607 Metabolism\Experiments\201703 Method Validation
| Atrazine-desisopropyl (DIA) | 1020 | MeOH | 2017-03-13 | Worksheet "Stock Materials" of File 20170313 Method Validation.xlsx | M:\Work Documents\Stryner-NERL\DeGroot - 201607 Metabolism\Experiments\201703 Method Validation
| Diclofenac-(acetophenyl ring-13C6) sodium salt hemi(nonahydrate) | 10000 | MeOH:Water | 2016-12-19 | Worksheet IS Stock & Solution Prep" of File 20161219 Labeled IS QO.xlsx | M:\Work Documents\Stryner-NERL\DeGroot - 201607 Metabolism\Experiments\20161219 Labeled IS QO
| Terfenadine-(butanol-1,2,2-d3), 98 atom % D, 97% (CP) (Aldrich) | 1000 | MeOH | 2016-12-19 | Worksheet IS Stock & Solution Prep" of File 20161219 Labeled IS QO.xlsx | M:\Work Documents\Stryner-NERL\DeGroot - 201607 Metabolism\Experiments\20161219 Labeled IS QO
| Phenacetin-d5 | 2500 | Acetonitrile | 2016-12-19 | Worksheet IS Stock & Solution Prep" of File 20161219 Labeled IS QO.xlsx | M:\Work Documents\Stryner-NERL\DeGroot - 201607 Metabolism\Experiments\20161219 Labeled IS QO
| Chlorzoxazone-4,6,7-d3 | 5000 | MeOH | 2016-12-19 | Worksheet IS Stock & Solution Prep" of File 20161219 Labeled IS QO.xlsx | M:\Work Documents\Stryner-NERL\DeGroot - 201607 Metabolism\Experiments\20161219 Labeled IS QO
| 6-Hydroxy Chlorzoxazone-d2 (96% D, 98% purity) | 1000 | MeOH | 2016-12-19 | Worksheet IS Stock & Solution Prep" of File 20161219 Labeled IS QO.xlsx | M:\Work Documents\Stryner-NERL\DeGroot - 201607 Metabolism\Experiments\20161219 Labeled IS QO
| Carbofuran | 1792 | MeOH | 2017-03-13 | Worksheet "Stock Materials" of File 20170313 Method Validation.xlsx | M:\Work Documents\Stryner-NERL\DeGroot - 201607 Metabolism\Experiments\201703 Method Validation
| Atrazine | 1010 | MeOH | 2017-03-13 | Worksheet "Stock Materials" of File 20170313 Method Validation.xlsx | M:\Work Documents\Stryner-NERL\DeGroot - 201607 Metabolism\Experiments\201703 Method Validation
| DIA | 1020 | MeOH | 2017-03-13 | Worksheet "Stock Materials" of File 20170313 Method Validation.xlsx | M:\Work Documents\Stryner-NERL\DeGroot - 201607 Metabolism\Experiments\201703 Method Validation
| Carbofuran-13C6 | 100 | MeOH | 2017-03-13 | Worksheet "Stock Materials" of File 20170313 Method Validation.xlsx | M:\Work Documents\Stryner-NERL\DeGroot - 201607 Metabolism\Experiments\201703 Method Validation
| Atrazine-13C3 | 100 | MeOH | 2017-03-13 | Worksheet "Stock Materials" of File 20170313 Method Validation.xlsx | M:\Work Documents\Stryner-NERL\DeGroot - 201607 Metabolism\Experiments\201703 Method Validation
| DIA-13C3 | 100 | MeOH | 2017-03-13 | Worksheet "Stock Materials" of File 20170313 Method Validation.xlsx | M:\Work Documents\Stryner-NERL\DeGroot - 201607 Metabolism\Experiments\201703 Method Validation

## Calibration Standards with IS
Worksheet: Calibration Standards with IS
File: 20170910 Intracellular Study-DEX.xlsx
Location: (A.Swank)M:\Work Documents\Stryner-NERL\DeGroot - 201607 Metabolism\Experiments\20170910 Intracellular Study
Project: DeGroot - 201607 Metabolism, (CSS project- task HTT 10.3.2.) | [10 empty] | Total Vol Stocks (µL) | 29
QA Track ID: A-IO-0030767 | [10 empty] | Total VolACN (µL) | 971
QAPP Title: Retrofit Strategies for Incorporating Xenobiotic Metabolism into High-Throughput Screening Assays
Prepared By: Adam Swank
|  |  | Stocks |  |  | Intermediate Stocks |  |  |  |  | Mixed Intermediate Standard-1 in ACN |  |  |  |  | Mixed Intermediate Standard-2 in ACN
| Compound | MW | Stock Concentration (ng/µL) | Stock Concentration (mM) |  | Amt Dil (µL) | final Vol (µL) | Concentration (ng/µL) | Stock Concentration (mM) |  | Amt Dil (µL) | final Vol (µL) | Conc. (ng/µl) | Conc. (µM) |  | Amt Dil (µL) | final Vol (µL) | Conc. (ng/µl) | Conc. (µM)
| Dextromethorphan | 271.4 | 1000 | 3.6846 |  | NA | NA | 1000 | 3.6846 |  | 12 | 1000 | 12 | 44.2152 |  | 100 | 1000 | 1.2 | 4.4215
| Dextrorphan | 257.371 | 631.6473 | 2.4542 |  | NA | NA | 631.6473 | 2.4542 |  | 17 | 1000 | 10.738 | 41.7219 |  | 100 | 1000 | 1.0738 | 4.1722
|  |  | Stocks | [7 empty] | IS Mixed Intermediate Standard-1
| Compound | MW | Stock Concentration (ng/µL) | Stock Concentration (mM) | [6 empty] | Amt Dil (µL) | final Vol (µL) | Conc. (ng/mL) | Conc. (µM)
| Dextromethorphan-D3 | 274.42 | 100 | 0.3644 | [6 empty] | 90 | 50000 | 180 | 0.65593
| Dextrorphan-D3 | 260.39 | 100 | 0.38404 | [6 empty] | 88 | 50000 | 176 | 0.67591
[11 empty] | 49822 | µL ACN
| Calibration Standard | MIS | Vol MIS (µL) | Vol ACN (µL) |  | Amount MIS-2 used (µ)
| 100 nM Std | 2 | 10 | 90 |  | 275
| 250 nM Std | 2 | 40 | 160
| 500 nM Std | 2 | 50 | 50
| 750 nM Std | 2 | 150 | 50
| 1 µM Std | 2 | 25 | NA |  | Amount MIS-1 used (µ)
| 2 µM Std | 1 | 40 | 160 |  | 215
| 5 µM Std | 1 | 50 | 50
| 10 µM Std | 1 | 25 | NA
[6 empty] | Cal Std Spiking Sol |  |  |  | MM Standard |  |  |  | MM + IS Standard Extract
10 µM Std
| Compound | Conc. (ng/µl) | Conc. (µM) | Amt Dil (µL) | final Vol (µL) | Conc. (ng/mL) | Conc. (nM) | Amt Dil (µL) | final Vol (µL) | Conc. (ng/mL) | Conc. (nM) | Amt Dil (µL) | final Vol (µL) | Conc. (ng/mL) | Conc. (nM) | Inj Vol (µL) | Amt on Column (pg)
| Dextromethorphan | 12 | 44.2152 | 100 | 100 | 12000 | 44215.1805 | 25 | 100 | 3000 | 11053.7951 | 100 | 400 | 750 | 2763.4488 | 5 | 3750
| Dextrorphan | 10.738 | 41.7219 | 100 | 100 | 10738.0037 | 41721.8868 | 25 | 100 | 2684.5009 | 10430.4717 | 100 | 400 | 671.1252 | 2607.6179 | 5 | 3355.6262
| Dextromethorphan-D3 | [8 empty] | 180 | 655.9289 | 300 | 400 | 135 | 491.9467 | 5 | 675
| Dextrorphan-D3 | [8 empty] | 176 | 675.9092 | 300 | 400 | 132 | 506.9319 | 5 | 660
5 µM Std
| Compound | Conc. (ng/µl) | Conc. (µM) | Amt Dil (µL) | final Vol (µL) | Conc. (ng/mL) | Conc. (nM) | Amt Dil (µL) | final Vol (µL) | Conc. (ng/mL) | Conc. (nM) | Amt Dil (µL) | final Vol (µL) | Conc. (ng/mL) | Conc. (nM) | Inj Vol (µL) | Amt on Column (pg)
| Dextromethorphan | 12 | 44.2152 | 50 | 100 | 6000 | 22107.5903 | 25 | 100 | 1500 | 5526.8976 | 100 | 400 | 375 | 1381.7244 | 5 | 1875
| Dextrorphan | 10.738 | 41.7219 | 50 | 100 | 5369.0019 | 20860.9434 | 25 | 100 | 1342.2505 | 5215.2359 | 100 | 400 | 335.5626 | 1303.809 | 5 | 1677.8131
| Dextromethorphan-D3 | [8 empty] | 180 | 655.9289 | 300 | 400 | 135 | 491.9467 | 5 | 675
| Dextrorphan-D3 | [8 empty] | 176 | 675.9092 | 300 | 400 | 132 | 506.9319 | 5 | 660
2.5 µM Std
| Compound | Conc. (ng/µl) | Conc. (µM) | Amt Dil (µL) | final Vol (µL) | Conc. (ng/mL) | Conc. (nM) | Amt Dil (µL) | final Vol (µL) | Conc. (ng/mL) | Conc. (nM) | Amt Dil (µL) | final Vol (µL) | Conc. (ng/mL) | Conc. (nM) | Inj Vol (µL) | Amt on Column (pg)
| Dextromethorphan | 12 | 44.2152 | 25 | 100 | 3000 | 11053.7951 | 25 | 100 | 750 | 2763.4488 | 100 | 400 | 187.5 | 690.8622 | 5 | 937.5
| Dextrorphan | 10.738 | 41.7219 | 25 | 100 | 2684.5009 | 10430.4717 | 25 | 100 | 671.1252 | 2607.6179 | 100 | 400 | 167.7813 | 651.9045 | 5 | 838.9065
| Dextromethorphan-D3 | [8 empty] | 180 | 655.9289 | 300 | 400 | 135 | 491.9467 | 5 | 675
| Dextrorphan-D3 | [8 empty] | 176 | 675.9092 | 300 | 400 | 132 | 506.9319 | 5 | 660
1 µM Std
| Compound | Conc. (ng/µl) | Conc. (µM) | Amt Dil (µL) | final Vol (µL) | Conc. (ng/mL) | Conc. (nM) | Amt Dil (µL) | final Vol (µL) | Conc. (ng/mL) | Conc. (nM) | Amt Dil (µL) | final Vol (µL) | Conc. (ng/mL) | Conc. (nM) | Inj Vol (µL) | Amt on Column (pg)
| Dextromethorphan | 1.2 | 4.4215 | 100 | 100 | 1200 | 4421.5181 | 25 | 100 | 300 | 1105.3795 | 100 | 400 | 75 | 276.3449 | 5 | 375
| Dextrorphan | 1.0738 | 4.1722 | 100 | 100 | 1073.8004 | 4172.1887 | 25 | 100 | 268.4501 | 1043.0472 | 100 | 400 | 67.1125 | 260.7618 | 5 | 335.5626
| Dextromethorphan-D3 | [8 empty] | 180 | 655.9289 | 300 | 400 | 135 | 491.9467 | 5 | 675
| Dextrorphan-D3 | [8 empty] | 176 | 675.9092 | 300 | 400 | 132 | 506.9319 | 5 | 660
750 nM Std
| Compound | Conc. (ng/µl) | Conc. (µM) | Amt Dil (µL) | final Vol (µL) | Conc. (ng/mL) | Conc. (nM) | Amt Dil (µL) | final Vol (µL) | Conc. (ng/mL) | Conc. (nM) | Amt Dil (µL) | final Vol (µL) | Conc. (ng/mL) | Conc. (nM) | Inj Vol (µL) | Amt on Column (pg)
| Dextromethorphan | 1.2 | 4.4215 | 75 | 100 | 900 | 3316.1385 | 25 | 100 | 225 | 829.0346 | 100 | 400 | 56.25 | 207.2587 | 5 | 281.25
| Dextrorphan | 1.0738 | 4.1722 | 75 | 100 | 805.3503 | 3129.1415 | 25 | 100 | 201.3376 | 782.2854 | 100 | 400 | 50.3344 | 195.5713 | 5 | 251.672
| Dextromethorphan-D3 | [8 empty] | 180 | 655.9289 | 300 | 400 | 135 | 491.9467 | 5 | 675
| Dextrorphan-D3 | [8 empty] | 176 | 675.9092 | 300 | 400 | 132 | 506.9319 | 5 | 660
500 nM Std
| Compound | Conc. (ng/µl) | Conc. (µM) | Amt Dil (µL) | final Vol (µL) | Conc. (ng/mL) | Conc. (nM) | Amt Dil (µL) | final Vol (µL) | Conc. (ng/mL) | Conc. (nM) | Amt Dil (µL) | final Vol (µL) | Conc. (ng/mL) | Conc. (nM) | Inj Vol (µL) | Amt on Column (pg)
| Dextromethorphan | 1.2 | 4.4215 | 50 | 100 | 600 | 2210.759 | 25 | 100 | 150 | 552.6898 | 100 | 400 | 37.5 | 138.1724 | 5 | 187.5
| Dextrorphan | 1.0738 | 4.1722 | 50 | 100 | 536.9002 | 2086.0943 | 25 | 100 | 134.225 | 521.5236 | 100 | 400 | 33.5563 | 130.3809 | 5 | 167.7813
| Dextromethorphan-D3 | [8 empty] | 180 | 655.9289 | 300 | 400 | 135 | 491.9467 | 5 | 675
| Dextrorphan-D3 | [8 empty] | 176 | 675.9092 | 300 | 400 | 132 | 506.9319 | 5 | 660
250 nM Std
| Compound | Conc. (ng/µl) | Conc. (µM) | Amt Dil (µL) | final Vol (µL) | Conc. (ng/mL) | Conc. (nM) | Amt Dil (µL) | final Vol (µL) | Conc. (ng/mL) | Conc. (nM) | Amt Dil (µL) | final Vol (µL) | Conc. (ng/mL) | Conc. (nM) | Inj Vol (µL) | Amt on Column (pg)
| Dextromethorphan | 1.2 | 4.4215 | 25 | 100 | 300 | 1105.3795 | 25 | 100 | 75 | 276.3449 | 100 | 400 | 18.75 | 69.0862 | 5 | 93.75
| Dextrorphan | 1.0738 | 4.1722 | 25 | 100 | 268.4501 | 1043.0472 | 25 | 100 | 67.1125 | 260.7618 | 100 | 400 | 16.7781 | 65.1904 | 5 | 83.8907
| Dextromethorphan-D3 | [8 empty] | 180 | 655.9289 | 300 | 400 | 135 | 491.9467 | 5 | 675
| Dextrorphan-D3 | [8 empty] | 176 | 675.9092 | 300 | 400 | 132 | 506.9319 | 5 | 660
100 nM Std
| Compound | Conc. (ng/µl) | Conc. (µM) | Amt Dil (µL) | final Vol (µL) | Conc. (ng/mL) | Conc. (nM) | Amt Dil (µL) | final Vol (µL) | Conc. (ng/mL) | Conc. (nM) | Amt Dil (µL) | final Vol (µL) | Conc. (ng/mL) | Conc. (nM) | Inj Vol (µL) | Amt on Column (pg)
| Dextromethorphan | 1.2 | 4.4215 | 10 | 100 | 120 | 442.1518 | 25 | 100 | 30 | 110.538 | 100 | 400 | 7.5 | 27.6345 | 5 | 37.5
| Dextrorphan | 1.0738 | 4.1722 | 10 | 100 | 107.38 | 417.2189 | 25 | 100 | 26.845 | 104.3047 | 100 | 400 | 6.7113 | 26.0762 | 5 | 33.5563
| Dextromethorphan-D3 | [8 empty] | 180 | 655.9289 | 300 | 400 | 135 | 491.9467 | 5 | 675
| Dextrorphan-D3 | [8 empty] | 176 | 675.9092 | 300 | 400 | 132 | 506.9319 | 5 | 660

## Selectivity Assessment
Worksheet: Selectivity Assessment
File: 20170910 Intracellular Study-DEX.xlsx
Location: (A.Swank)M:\Work Documents\Stryner-NERL\DeGroot - 201607 Metabolism\Experiments\20170910 Intracellular Study
Project: DeGroot - 201607 Metabolism, (CSS project- task HTT 10.3.2.) | [10 empty] | Total Vol Stocks (µL) | 29
QA Track ID: A-IO-0030767 | [10 empty] | Total VolACN (µL) | 971
QAPP Title: Retrofit Strategies for Incorporating Xenobiotic Metabolism into High-Throughput Screening Assays
Prepared By: Adam Swank
|  |  | Stocks |  |  | Intermediate Stocks |  |  |  |  | Mixed Intermediate Standard-1 in ACN |  |  |  |  | Mixed Intermediate Standard-2 in ACN
| Compound | MW | Stock Concentration (ng/µL) | Stock Concentration (mM) |  | Amt Dil (µL) | final Vol (µL) | Concentration (ng/µL) | Stock Concentration (mM) |  | Amt Dil (µL) | final Vol (µL) | Conc. (ng/µl) | Conc. (µM) |  | Amt Dil (µL) | final Vol (µL) | Conc. (ng/µl) | Conc. (µM)
| Dextromethorphan | 271.4 | 1000 | 3.6846 |  | NA | NA | 1000 | 3.6846 |  | 12 | 1000 | 12 | 44.2152 |  | 100 | 1000 | 1.2 | 4.4215
| Dextrorphan | 257.371 | 631.6473 | 2.4542 |  | NA | NA | 631.6473 | 2.4542 |  | 17 | 1000 | 10.738 | 41.7219 |  | 100 | 1000 | 1.0738 | 4.1722
|  |  | Stocks | [7 empty] | IS Mixed Intermediate Standard-1
| Compound | MW | Stock Concentration (ng/µL) | Stock Concentration (mM) | [6 empty] | Amt Dil (µL) | final Vol (µL) | Conc. (ng/mL) | Conc. (µM)
| Dextromethorphan-D3 | 274.42 | 100 | 0.3644 | [6 empty] | 90 | 50000 | 180 | 0.65593
| Dextrorphan-D3 | 260.39 | 100 | 0.38404 | [6 empty] | 88 | 50000 | 176 | 0.67591
[11 empty] | 49822 | µL ACN
| Sample | Amt Matrix (µL) | Vol IS MIS-2 (µL) | Vol 0.2 % FA in ACN (µL)
| Blank Matrix | 100 | 0 | 100 | [7 empty] | 3
| Zero/Method Blank | 100 | 100 | 0
[6 empty] | Cal Std Spiking Sol |  |  |  | MM Standard |  |  |  | MM + IS Standard Extract
Blank Matrix
| Compound | Conc. (ng/µl) | Conc. (µM) | Amt Dil (µL) | final Vol (µL) | Conc. (ng/mL) | Conc. (nM) | Amt Dil (µL) | final Vol (µL) | Conc. (ng/mL) | Conc. (nM) | Amt Dil (µL) | final Vol (µL) | Conc. (ng/mL) | Conc. (nM) | Inj Vol (µL) | Amt on Column (pg)
| Dextromethorphan | 12 | 44.2152 | 100 | 250 | 4800 | 17686.0722 | 0 | 100 | 0 | 0 | 100 | 400 | 0 | 0 | 5 | 0
| Dextrorphan | 10.738 | 41.7219 | 100 | 250 | 4295.2015 | 16688.7547 | 0 | 100 | 0 | 0 | 100 | 400 | 0 | 0 | 5 | 0
| Dextromethorphan-D3 | [8 empty] | 180 | 655.9289 | 0 | 400 | 0 | 0 | 5 | 0
| Dextrorphan-D3 | [8 empty] | 176 | 675.9092 | 0 | 400 | 0 | 0 | 5 | 0
Zero/Method Blank
| Compound | Conc. (ng/µl) | Conc. (µM) | Amt Dil (µL) | final Vol (µL) | Conc. (ng/mL) | Conc. (nM) | Amt Dil (µL) | final Vol (µL) | Conc. (ng/mL) | Conc. (nM) | Amt Dil (µL) | final Vol (µL) | Conc. (ng/mL) | Conc. (nM) | Inj Vol (µL) | Amt on Column (pg)
| Dextromethorphan | 12 | 44.2152 | 0 | 250 | 0 | 0 | 25 | 100 | 0 | 0 | 100 | 400 | 0 | 0 | 5 | 0
| Dextrorphan | 10.738 | 41.7219 | 0 | 250 | 0 | 0 | 25 | 100 | 0 | 0 | 100 | 400 | 0 | 0 | 5 | 0
| Dextromethorphan-D3 | [8 empty] | 180 | 655.9289 | 100 | 400 | 45 | 163.9822 | 5 | 225
| Dextrorphan-D3 | [8 empty] | 176 | 675.9092 | 100 | 400 | 44 | 168.9773 | 5 | 220

## Samples
Worksheet: Samples
File: 20170910 Intracellular Study-DEX.xlsx
Location: (A.Swank)M:\Work Documents\Stryner-NERL\DeGroot - 201607 Metabolism\Experiments\20170910 Intracellular Study
Project: DeGroot - 201607 Metabolism, (CSS project- task HTT 10.3.2.)
QA Track ID: A-IO-0030767
QAPP Title: Retrofit Strategies for Incorporating Xenobiotic Metabolism into High-Throughput Screening Assays
Prepared By: Adam Swank
| Calibration Standards | 8
| QC Samples (3x 250 nM, 750 nM, & 2.5 µM) | 9
| BM | 1
| MB | 1
| Samples | 72
| MeOH | 2
| total samples | 93
| total µL ISTD used for Met Analysis | 26400 | Make 50 mL volume ISMIS-2
| total µL ISTD used for substrate Analysis | 5400 | Dilute 7.5 mL of ISMS-2 to 10 mL with Water
| Total Analysis Time (10 minute run) | 15.5
| Total Analysis Time (15 minute run) | 23.25
| MeOH | P1:A1 |  | MeOH | P1:A1
| Blank Matrix | P1:A2 |  | Blank Matrix | P1:A2
| Method Blank | P1:A3 |  | Method Blank | P1:A3
| 100 nM Std | P1:A4 |  | 100 nM Std | P1:A4
| 250 nM Std | P1:A5 |  | 250 nM Std | P1:A5
| 500 nM Std | P1:A6 |  | 500 nM Std | P1:A6
| 750 nM Std | P1:A7 |  | 750 nM Std | P1:A7
| 1 µM Std | P1:A8 |  | 1 µM Std | P1:A8
| 2.5 µM Std | P1:A9 |  | 2.5 µM Std | P1:A9
| 5 µM Std | P1:B1 |  | 5 µM Std | P1:B1
| 10 µM Std | P1:B2 |  | 10 µM Std | P1:B2
| MeOH | P1:A1 |  | MeOH | P1:A1
| 750 nM QC | P1:B3 |  | 750 nM QC | P1:B3
| 9_DEX_t0 | P1:B4 |  | 9_DEX_t0-DIL | P1:B4
| 10_DEX_t0 | P1:B5 |  | 10_DEX_t0-DIL | P1:B5
| 11_DEX_t0 | P1:B6 |  | 11_DEX_t0-DIL | P1:B6
| 12_DEX_t0 | P1:B7 |  | 12_DEX_t0-DIL | P1:B7
| 29_DEX_t1 | P1:B8 |  | 29_DEX_t1-DIL | P1:B8
| 30_DEX_t1 | P1:B9 |  | 30_DEX_t1-DIL | P1:B9
| 31_DEX_t1 | P1:C1 |  | 31_DEX_t1-DIL | P1:C1
| 32_DEX_t1 | P1:C2 |  | 32_DEX_t1-DIL | P1:C2
| 49_DEX_t2 | P1:C3 |  | 49_DEX_t2-DIL | P1:C3
| 50_DEX_t2 | P1:C4 |  | 50_DEX_t2-DIL | P1:C4
| 250 nM QC | P1:C5 |  | 250 nM QC-DIL | P1:C5
| 51_DEX_t2 | P1:C6 |  | 51_DEX_t2-DIL | P1:C6
| 52_DEX_t2 | P1:C7 |  | 52_DEX_t2-DIL | P1:C7
| 69_DEX_t4 | P1:C8 |  | 69_DEX_t4-DIL | P1:C8
| 70_DEX_t4 | P1:C9 |  | 70_DEX_t4-DIL | P1:C9
| 71_DEX_t4 | P1:D1 |  | 71_DEX_t4-DIL | P1:D1
| 72_DEX_t4 | P1:D2 |  | 72_DEX_t4-DIL | P1:D2
| 89_DEX_t10 | P1:D3 |  | 89_DEX_t10-DIL | P1:D3
| 90_DEX_t10 | P1:D4 |  | 90_DEX_t10-DIL | P1:D4
| 91_DEX_t10 | P1:D5 |  | 91_DEX_t10-DIL | P1:D5
| 92_DEX_t10 | P1:D6 |  | 92_DEX_t10-DIL | P1:D6
| 2.5 µM QC | P1:D7 |  | 2.5 µM QC-DIL | P1:D7
| 109_DEX_t18 | P1:D8 |  | 109_DEX_t18-DIL | P1:D8
| 110_DEX_t18 | P1:D9 |  | 110_DEX_t18-DIL | P1:D9
| 111_DEX_t18 | P1:E1 |  | 111_DEX_t18-DIL | P1:E1
| 112_DEX_t18 | P1:E2 |  | 112_DEX_t18-DIL | P1:E2
| 129_DEX_t0 | P1:E3 |  | 129_DEX_t0-DIL | P1:E3
| 130_DEX_t0 | P1:E4 |  | 130_DEX_t0-DIL | P1:E4
| 131_DEX_t0 | P1:E5 |  | 131_DEX_t0-DIL | P1:E5
| 132_DEX_t0 | P1:E6 |  | 132_DEX_t0-DIL | P1:E6
| 149_DEX_t1 | P1:E7 |  | 149_DEX_t1-DIL | P1:E7
| 150_DEX_t1 | P1:E8 |  | 150_DEX_t1-DIL | P1:E8
| 750 nM QC | P1:E9 |  | 750 nM QC | P1:E9
| 151_DEX_t1 | P1:F1 |  | 151_DEX_t1-DIL | P1:F1
| 152_DEX_t1 | P1:F2 |  | 152_DEX_t1-DIL | P1:F2
| 169_DEX_t2 | P1:F3 |  | 169_DEX_t2-DIL | P1:F3
| 170_DEX_t2 | P1:F4 |  | 170_DEX_t2-DIL | P1:F4
| 171_DEX_t2 | P1:F5 |  | 171_DEX_t2-DIL | P1:F5
| 172_DEX_t2 | P1:F6 |  | 172_DEX_t2-DIL | P1:F6
| 189_DEX_t4 | P1:F7 |  | 189_DEX_t4-DIL | P1:F7
| 190_DEX_t4 | P1:F8 |  | 190_DEX_t4-DIL | P1:F8
| 191_DEX_t4 | P1:F9 |  | 191_DEX_t4-DIL | P1:F9
| 192_DEX_t4 | P2:A1 |  | 192_DEX_t4-DIL | P2:A1
| 250 nM QC | P2:A2 |  | 250 nM QC | P2:A2
| 209_DEX_t10 | P2:A3 |  | 209_DEX_t10-DIL | P2:A3
| 210_DEX_t10 | P2:A4 |  | 210_DEX_t10-DIL | P2:A4
| 211_DEX_t10 | P2:A5 |  | 211_DEX_t10-DIL | P2:A5
| 212_DEX_t10 | P2:A6 |  | 212_DEX_t10-DIL | P2:A6
| 229_DEX_t18 | P2:A7 |  | 229_DEX_t18-DIL | P2:A7
| 230_DEX_t18 | P2:A8 |  | 230_DEX_t18-DIL | P2:A8
| 231_DEX_t18 | P2:A9 |  | 231_DEX_t18-DIL | P2:A9
| 232_DEX_t18 | P2:B1 |  | 232_DEX_t18-DIL | P2:B1
| 249_DEX_t0 | P2:B2 |  | 249_DEX_t0-DIL | P2:B2
| 250_DEX_t0 | P2:B3 |  | 250_DEX_t0-DIL | P2:B3
| 2.5 µM QC | P2:B4 |  | 2.5 µM QC | P2:B4
| 251_DEX_t0 | P2:B5 |  | 251_DEX_t0-DIL | P2:B5
| 252_DEX_t0 | P2:B6 |  | 252_DEX_t0-DIL | P2:B6
| 269_DEX_t1 | P2:B7 |  | 269_DEX_t1-DIL | P2:B7
| 270_DEX_t1 | P2:B8 |  | 270_DEX_t1-DIL | P2:B8
| 271_DEX_t1 | P2:B9 |  | 271_DEX_t1-DIL | P2:B9
| 272_DEX_t1 | P2:C1 |  | 272_DEX_t1-DIL | P2:C1
| 289_DEX_t2 | P2:C2 |  | 289_DEX_t2-DIL | P2:C2
| 290_DEX_t2 | P2:C3 |  | 290_DEX_t2-DIL | P2:C3
| 291_DEX_t2 | P2:C4 |  | 291_DEX_t2-DIL | P2:C4
| 292_DEX_t2 | P2:C5 |  | 292_DEX_t2-DIL | P2:C5
| 750 nM QC | P2:C6 |  | 750 nM QC | P2:C6
| 309_DEX_t4 | P2:C7 |  | 309_DEX_t4-DIL | P2:C7
| 310_DEX_t4 | P2:C8 |  | 310_DEX_t4-DIL | P2:C8
| 311_DEX_t4 | P2:C9 |  | 311_DEX_t4-DIL | P2:C9
| 312_DEX_t4 | P2:D1 |  | 312_DEX_t4-DIL | P2:D1
| 329_DEX_t10 | P2:D2 |  | 329_DEX_t10-DIL | P2:D2
| 330_DEX_t10 | P2:D3 |  | 330_DEX_t10-DIL | P2:D3
| 331_DEX_t10 | P2:D4 |  | 331_DEX_t10-DIL | P2:D4
| 332_DEX_t10 | P2:D5 |  | 332_DEX_t10-DIL | P2:D5
| 349_DEX_t18 | P2:D6 |  | 349_DEX_t18-DIL | P2:D6
| 350_DEX_t18 | P2:D7 |  | 350_DEX_t18-DIL | P2:D7
| 250 nM QC | P2:D8 |  | 250 nM QC | P2:D8
| 351_DEX_t18 | P2:D9 |  | 351_DEX_t18-DIL | P2:D9
| 352_DEX_t18 | P2:E1 |  | 352_DEX_t18-DIL | P2:E1
| 2.5 µM QC | P2:E2 |  | 2.5 µM QC | P2:E2
93

## Sample Dilutions
Worksheet: Sample dilutions
File: 20170910 Intracellular Study-DEX.xlsx
Location: (A.Swank)M:\Work Documents\Stryner-NERL\DeGroot - 201607 Metabolism\Experiments\20170910 Intracellular Study
Project: DeGroot - 201607 Metabolism, (CSS project- task HTT 10.3.2.)
QA Track ID: A-IO-0030767
QAPP Title: Retrofit Strategies for Incorporating Xenobiotic Metabolism into High-Throughput Screening Assays
Prepared By: Adam Swank
| Substrate | Sample Conc (µM) | Amt Dil (µL) | Final Vol (µL) | Extract Conc (µM) | Amt Dil (µL) | Final Vol (µL) | Vial Conc (µM)
| Dextromethorphan HBr (DEX) | 15 | 100 | 400 | 3.75 | 20 | 100 | 0.75

## 20170913-01 DEX Batch
Worksheet: 20170913-01 DEX Batch
File: 20170910 Intracellular Study-DEX.xlsx
Location: (A.Swank)M:\Work Documents\Stryner-NERL\DeGroot - 201607 Metabolism\Experiments\20170910 Intracellular Study
Project: DeGroot - 201607 Metabolism, (CSS project- task HTT 10.3.2.)
QA Track ID: A-IO-0030767
QAPP Title: Retrofit Strategies for Incorporating Xenobiotic Metabolism into High-Throughput Screening Assays
Prepared By: Adam Swank
% header=SampleName | SampleID | Comments | AcqMethod | ProcMethod | RackCode | PlateCode | VialPos | SmplInjVol | DilutFact | WghtToVol | Type | RackPos | PlatePos | SetName | OutputFile
Reagent Blank |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 1 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-001
Blank Matrix |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 2 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-002
Method Blank |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 3 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-003
100 nM Std |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 4 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-004
250 nM Std |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 5 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-005
500 nM Std |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 6 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-006
750 nM Std |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 7 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-007
1 µM Std |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 8 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-008
2.5 µM Std |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 9 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-009
5 µM Std |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 10 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-010
10 µM Std |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 11 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-011
Reagent Blank |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 1 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-012
750 nM QC |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 12 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-013
9_DEX_t0 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 13 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-014
10_DEX_t0 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 14 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-015
11_DEX_t0 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 15 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-016
12_DEX_t0 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 16 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-017
29_DEX_t1 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 17 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-018
30_DEX_t1 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 18 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-019
31_DEX_t1 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 19 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-020
32_DEX_t1 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 20 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-021
49_DEX_t2 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 21 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-022
50_DEX_t2 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 22 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-023
250 nM QC |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 23 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-024
51_DEX_t2 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 24 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-025
52_DEX_t2 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 25 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-026
69_DEX_t4 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 26 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-027
70_DEX_t4 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 27 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-028
71_DEX_t4 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 28 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-029
72_DEX_t4 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 29 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-030
89_DEX_t10 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 30 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-031
90_DEX_t10 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 31 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-032
91_DEX_t10 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 32 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-033
92_DEX_t10 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 33 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-034
2.5 µM QC |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 34 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-035
109_DEX_t18 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 35 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-036
110_DEX_t18 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 36 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-037
111_DEX_t18 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 37 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-038
112_DEX_t18 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 38 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-039
129_DEX_t0 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 39 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-040
130_DEX_t0 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 40 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-041
131_DEX_t0 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 41 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-042
132_DEX_t0 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 42 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-043
149_DEX_t1 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 43 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-044
150_DEX_t1 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 44 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-045
750 nM QC |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 45 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-046
151_DEX_t1 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 46 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-047
152_DEX_t1 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 47 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-048
169_DEX_t2 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 48 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-049
170_DEX_t2 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 49 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-050
171_DEX_t2 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 50 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-051
172_DEX_t2 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 51 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-052
189_DEX_t4 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 52 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-053
190_DEX_t4 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 53 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-054
191_DEX_t4 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 54 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-055
192_DEX_t4 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 55 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-056
250 nM QC |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 56 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-057
209_DEX_t10 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 57 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-058
210_DEX_t10 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 58 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-059
211_DEX_t10 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 59 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-060
212_DEX_t10 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 60 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-061
229_DEX_t18 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 61 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-062
230_DEX_t18 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 62 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-063
231_DEX_t18 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 63 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-064
232_DEX_t18 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 64 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-065
249_DEX_t0 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 65 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-066
250_DEX_t0 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 66 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-067
2.5 µM QC |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 67 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-068
251_DEX_t0 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 68 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-069
252_DEX_t0 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 69 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-070
269_DEX_t1 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 70 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-071
270_DEX_t1 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 71 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-072
271_DEX_t1 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 72 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-073
272_DEX_t1 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 73 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-074
289_DEX_t2 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 74 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-075
290_DEX_t2 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 75 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-076
291_DEX_t2 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 76 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-077
292_DEX_t2 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 77 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-078
750 nM QC |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 78 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-079
309_DEX_t4 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 79 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-080
310_DEX_t4 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 80 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-081
311_DEX_t4 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 81 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-082
312_DEX_t4 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 82 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-083
329_DEX_t10 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 83 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-084
330_DEX_t10 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 84 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-085
331_DEX_t10 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 85 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-086
332_DEX_t10 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 86 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-087
349_DEX_t18 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 87 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-088
350_DEX_t18 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 88 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-089
250 nM QC |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 89 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-090
351_DEX_t18 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 91 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-091
352_DEX_t18 |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 91 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-092
2.5 µM QC |  |  | Multianalyte V12 20170720 DEX.dam | none | 10 By 10 | N/A | 92 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170913-01 DEX | 20170913 DEX\20170913-01-093

## 20170915 DEX Batch
Worksheet: 20170915-01 DEX Batch
File: 20170910 Intracellular Study-DEX.xlsx
Location: (A.Swank)M:\Work Documents\Stryner-NERL\DeGroot - 201607 Metabolism\Experiments\20170910 Intracellular Study
Project: DeGroot - 201607 Metabolism, (CSS project- task HTT 10.3.2.)
QA Track ID: A-IO-0030767
QAPP Title: Retrofit Strategies for Incorporating Xenobiotic Metabolism into High-Throughput Screening Assays
Prepared By: Adam Swank
% header=SampleName | SampleID | Comments | AcqMethod | ProcMethod | RackCode | PlateCode | VialPos | SmplInjVol | DilutFact | WghtToVol | Type | RackPos | PlatePos | SetName | OutputFile
Reagent Blank |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 1 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-001
Blank Matrix |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 2 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-002
Method Blank |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 3 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-003
100 nM Std |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 4 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-004
250 nM Std |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 5 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-005
500 nM Std |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 6 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-006
750 nM Std |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 7 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-007
1 µM Std |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 8 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-008
2.5 µM Std |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 9 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-009
5 µM Std |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 10 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-010
10 µM Std |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 11 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-011
Reagent Blank |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 1 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-012
750 nM QC |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 12 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-013
9_DEX_t0-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 13 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-014
10_DEX_t0-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 14 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-015
11_DEX_t0-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 15 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-016
12_DEX_t0-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 16 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-017
29_DEX_t1-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 17 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-018
30_DEX_t1-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 18 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-019
31_DEX_t1-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 19 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-020
32_DEX_t1-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 20 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-021
49_DEX_t2-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 21 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-022
50_DEX_t2-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 22 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-023
250 nM QC-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 23 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-024
51_DEX_t2-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 24 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-025
52_DEX_t2-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 25 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-026
69_DEX_t4-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 26 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-027
70_DEX_t4-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 27 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-028
71_DEX_t4-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 28 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-029
72_DEX_t4-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 29 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-030
89_DEX_t10-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 30 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-031
90_DEX_t10-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 31 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-032
91_DEX_t10-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 32 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-033
92_DEX_t10-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 33 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-034
2.5 µM QC-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 34 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-035
109_DEX_t18-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 35 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-036
110_DEX_t18-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 36 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-037
111_DEX_t18-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 37 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-038
112_DEX_t18-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 38 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-039
129_DEX_t0-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 39 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-040
130_DEX_t0-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 40 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-041
131_DEX_t0-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 41 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-042
132_DEX_t0-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 42 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-043
149_DEX_t1-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 43 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-044
150_DEX_t1-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 44 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-045
750 nM QC |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 45 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-046
151_DEX_t1-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 46 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-047
152_DEX_t1-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 47 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-048
169_DEX_t2-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 48 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-049
170_DEX_t2-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 49 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-050
171_DEX_t2-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 50 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-051
172_DEX_t2-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 51 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-052
189_DEX_t4-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 52 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-053
190_DEX_t4-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 53 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-054
191_DEX_t4-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 54 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-055
192_DEX_t4-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 55 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-056
250 nM QC |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 56 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-057
209_DEX_t10-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 57 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-058
210_DEX_t10-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 58 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-059
211_DEX_t10-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 59 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-060
212_DEX_t10-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 60 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-061
229_DEX_t18-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 61 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-062
230_DEX_t18-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 62 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-063
231_DEX_t18-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 63 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-064
232_DEX_t18-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 64 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-065
249_DEX_t0-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 65 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-066
250_DEX_t0-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 66 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-067
2.5 µM QC |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 67 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-068
251_DEX_t0-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 68 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-069
252_DEX_t0-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 69 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-070
269_DEX_t1-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 70 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-071
270_DEX_t1-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 71 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-072
271_DEX_t1-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 72 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-073
272_DEX_t1-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 73 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-074
289_DEX_t2-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 74 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-075
290_DEX_t2-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 75 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-076
291_DEX_t2-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 76 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-077
292_DEX_t2-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 77 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-078
750 nM QC |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 78 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-079
309_DEX_t4-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 79 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-080
310_DEX_t4-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 80 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-081
311_DEX_t4-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 81 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-082
312_DEX_t4-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 82 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-083
329_DEX_t10-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 83 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-084
330_DEX_t10-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 84 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-085
331_DEX_t10-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 85 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-086
332_DEX_t10-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 86 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-087
349_DEX_t18-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 87 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-088
350_DEX_t18-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 88 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-089
250 nM QC |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 89 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-090
351_DEX_t18-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 90 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-091
352_DEX_t18-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 92 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-092
2.5 µM QC |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 93 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170915-01-093

## 20170919 DEX Batch
Worksheet: 20170919-01 DEX Batch
File: 20170910 Intracellular Study-DEX.xlsx
Location: (A.Swank)M:\Work Documents\Stryner-NERL\DeGroot - 201607 Metabolism\Experiments\20170910 Intracellular Study
Project: DeGroot - 201607 Metabolism, (CSS project- task HTT 10.3.2.)
QA Track ID: A-IO-0030767
QAPP Title: Retrofit Strategies for Incorporating Xenobiotic Metabolism into High-Throughput Screening Assays
Prepared By: Adam Swank
% header=SampleName | SampleID | Comments | AcqMethod | ProcMethod | RackCode | PlateCode | VialPos | SmplInjVol | DilutFact | WghtToVol | Type | RackPos | PlatePos | SetName | OutputFile
Reagent Blank |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 1 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170919-01-001
Blank Matrix |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 2 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170919-01-002
Method Blank |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 3 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170919-01-003
100 nM Std |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 4 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170919-01-004
250 nM Std |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 5 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170919-01-005
500 nM Std |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 6 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170919-01-006
750 nM Std |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 7 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170919-01-007
1 µM Std |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 8 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170919-01-008
2.5 µM Std |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 9 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170919-01-009
5 µM Std |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 10 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170919-01-010
10 µM Std |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 11 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170919-01-011
Reagent Blank |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 1 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170919-01-012
750 nM QC |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 12 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170919-01-013
32_DEX_t1-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 13 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170919-01-014
110_DEX_t18-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 14 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170919-01-015
230_DEX_t18-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 15 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170919-01-016
350_DEX_t18-DIL |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 16 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170919-01-017
750 nM QC |  |  | 20170914 DEX.dam | none | 10 By 10 | N/A | 17 | 5 | 1 | 0 | Unknown | 1 | 0 | 20170915 DEX | 20170915 DEX\20170919-01-018