File: 20170910 Intracellular Study-CZX Notebook Entries.docx

Location: (A.Swank) M:\Work Documents\Stryner-NERL\DeGroot - 201607 Metabolism\Experiments\ 2017910 Intracellular Study

Project: DeGroot - 201607 Metabolism, (CSS project- task HTT 10.3.2.)

QA Track ID:   A-IO-0030767

QAPP Title: Retrofit Strategies for Incorporating Xenobiotic Metabolism into High-Throughput Screening Assays

Prepared By: Adam Swank

Instrument data collected to Dell Optiplex 745 in D278, D:\Analyst data\Project\Degroot-Metabolism\Data\201709

Project files stored (A.Swank)M:\Work Documents\Stryner-NERL\DeGroot - 201607 Metabolism

Date: 9/11/2017

Entry By: Adam Swank

Aliquots of stocks were removed from -20°C storage and equilibrated to room temperature, refer the worksheets “Reagents” and “Stock Materials” in file 20170910 Intracellular Study - TST.xlsx. Media at 4°C provided by S. Simons was equilibrated to room temperature. Blanks, matrix matched calibration standards, and QC samples were prepared as described in 20170910 Intracellular Study - TST.docx and 20170910 Intracellular Study - TST.xlsx. The samples were stored at -20°C.

Date: 9/12/2017

Entry By: Adam Swank

Standards and non-diluted samples were run by instrument method Multianalyte V12 20170720 TEST.dam as batch file 20170912-01 TST.dab on the LC/MSMS in D278 (Agilent 1100 LC, Sciex API 3000 triple quadrapole mass spectrometer S/N D9470109) using Sciex Analyst 1.4.2 software on Dell Optiplex 745 (S/N 6B3SXC1). The mobile phases were 0.1 % formic acid in 5% acetonitrile and water and 0.1 % formic acid in 5% water and acetonitrile. The column was Kinetex, 100x2.1, C18, 2.6 µm, 100 å (Phenomenex, P/N 00D-4725-AN, S/N H17-087542). Refer to worksheets “20170912-01 TST Batch” in 20170910 Intracellular Study – TST.xlsx.

Date: 9/13/2017

Entry By: Adam Swank

Processing method 20170721 TST.qmf used to process data from batch 20170912 TST.dab. The results were saved as 20170912-01 6-b-OH TST Results.rdb and exported to Excel as  20170912-01 6-b-OH TST Results.xlsx. In Excel the data was sorted, summarized, and reviewed.

The batch was evaluated as follows:

Refer to worksheet “6-b-OH TST Batch Results” in file 20170912-01 6-b-OH TST Results.xlsx for complete data set. Sample results outside of the calibration range were noted. Sample results were transferred to the worksheet “6-b-OH TST Sample Results” and results below the LOD were changed to ND (not detected).

Date: 9/14/2017

Entry By: Adam Swank

Standards and diluted samples were run by instrument method 20170913 TST.dam as batch file 20170914-01 TST.dab on the LC/MSMS in D484-A (Agilent 1100 LC, Sciex API 4000 triple quadrapole mass spectrometer S/N V2480308) using Sciex Analyst 1.6.2 software on Dell Optiplex XE2 (S/N 9DH4HD2). The mobile phases were 0.1 % formic acid in 5% acetonitrile and water and 0.1 % formic acid in 5% water and acetonitrile. The column was Kinetex, 100x2.1, C18, 2.6 µm, 100 å (Phenomenex, P/N 00D-4725-AN, S/N H17-087545). Refer to worksheets “20170914-01 TST Batch” in 20170910 Intracellular Study – TST.xlsx.

Date: 9/17/2017

Entry By: Adam Swank

Processing method 20170915 TST.qmf used to process data from batch 20170914-01 TST.dab. The results were saved as 20170914-01 TST Results.rdb. The results for CZX samples were above the ULOQ. The samples were all diluted 1:1 with the ISMIS-3. The standards and diluted samples were run by method 20170913 TST.dam as batch file 20170917-01 TST.dab on the LC/MSMS in D484-A.

Date: 9/18/2017

Entry By: Adam Swank

Processing method 20170915 TST.qmf used to process data from batch 20170917-01 TST.dab. The results were saved as 20170917-01 TST Results.rdb and exported to Excel as 20170917-01 TST Results.xlsx. The batch 20170917-01 TST.dab was evaluated for TST as follows:

Refer to worksheet “Testosterone Batch Results” in file 20170917-01 TST Results.xlsx for complete data set. Sample results were transferred to the worksheet “Testosterone Sample Results”.

Sample results for TST and 6-b-OH TST were transferred from 20170912-01 6-b-OH TST Results.xlsx and 20170917-01 TST Results.xlsx to the worksheets “TAT Results” and “6-b-OH TST Results” of file 20170910 Intracellular Study Results Summary.xlsx for final reporting.