File: 20171010 Intracellular Study-DCF Notebook Entries.docx

Location: (A.Swank) M:\Work Documents\Stryner-NERL\DeGroot - 201607 Metabolism\Experiments\ 20171006 Intracellular Study

Project: DeGroot - 201607 Metabolism, (CSS project- task HTT 10.3.2.)

QA Track ID:   A-IO-0030767

QAPP Title: Retrofit Strategies for Incorporating Xenobiotic Metabolism into High-Throughput Screening Assays

Prepared By: Adam Swank

Instrument data collected to Dell Optiplex 745 in D278, D:\Analyst data\Project\Degroot-Metabolism\Data\201709

Project files stored (A.Swank)M:\Work Documents\Stryner-NERL\DeGroot - 201607 Metabolism

Date: 10/06/2017

Entry By: Adam Swank

Aliquots of stocks were removed from -20°C storage and equilibrated to room temperature, refer the worksheets “Reagents” and “Stock Materials” in file 20171006 Intracellular Study - DCF.xlsx. Media at -80°C provided by S. Simons was equilibrated to room temperature. Blanks, matrix matched calibration standards, and QC samples were prepared as described in 20171006 Intracellular Study - DCF.docx and 20171006 Intracellular Study - DCF.xlsx. Samples were prepared as described in 20171006 Intracellular Study - DCF.docx. The DIL samples were stored at 4°C.

Standards and non-diluted samples were run by instrument method Multianalyte V12 20170721 4-OH DCF.dam as batch file 20171006-01 4-OH DCF Batch on the LC/MSMS in D278 (Agilent 1100 LC, Sciex API 3000 triple quadrapole mass spectrometer S/N D9470109) using Sciex Analyst 1.4.2 software on Dell Optiplex 745 (S/N 6B3SXC1). The mobile phases were 0.1 % formic acid in 5% acetonitrile and water and 0.1 % formic acid in 5% water and acetonitrile. The column was Kinetex, 100x2.1, C18, 2.6 µm, 100 å (Phenomenex, P/N 00D-4725-AN, S/N H17-087542). Refer to worksheets “20171006-01 4-OH DCF Batch” in 20171006 Intracellular Study – DCF.xlsx.

Date: 10/07/2017

Entry By: Adam Swank

Standards and diluted samples were run by instrument method Multianalyte V11-ESI 20170721 DCF.dam as batch file 20171007-01 DCF.dab on the LC/MSMS in D278 (Agilent 1100 LC, Sciex API 3000 triple quadrapole mass spectrometer S/N D9470109) using Sciex Analyst 1.4.2 software on Dell Optiplex 745 (S/N 6B3SXC1). The mobile phases were 0.1 % formic acid in 5% acetonitrile and water and 0.1 % formic acid in 5% water and acetonitrile. The column was Kinetex, 100x2.1, C18, 2.6 µm, 100 å (Phenomenex, P/N 00D-4725-AN, S/N H17-087542). Refer to worksheets “20171007-01 DCF Batch” in 20171006 Intracellular Study – DCF.xlsx.

Date: 10/10/2017

Entry By: Adam Swank

Batch 20171007-01 DCF.dab terminated before completion due to a computer processing error. The standards, controls and remaining samples were run as 20171010-01 DCF.dab on the sample system.

Processing method 20170721 4-OH DCF.qmf used to process data from batch 20171006-01 4-OH DCF.dab. The results were saved as 20171006-01 4-OH DCF Results.rdb and exported to Excel as 20171006-01 4-OH DCF Results.xlsx. In Excel the data was sorted, summarized, and reviewed.

The batch was evaluated as follows:

Refer to worksheet “4-OH DCF Batch Results” in file 20171006-01 4-OH DCF Results.xlsx for complete data set. Sample results outside of the calibration range were noted. Sample results were transferred to the worksheet “4-OH DCF Sample Results” and results below the LOD were changed to ND (not detected). Samples 18, 22, 42, 46, 47, 48, 66, 70, 71, and 72 were above the ULOQ value will be obtained from the diluted sample.

The standards, controls and samples diluted versions of samples 18, 22, 42, 46, 47, 48, 66, 70, 71, and 72 were run by instrument method Multianalyte V12 20170721 4-OH DCF.dam as batch 20171010-02 4-OH DCF.dab on the sample system. Refer to worksheets “20171010-02 DCF Batch” in 20171006 Intracellular Study – DCF.xlsx.

Processing method 20170721 DCF.qmf used to process data from batch 20171007-01 DCF.dab. The results were saved as 20171007-01 DCF Results.rdb and exported to Excel as 20171007-01 DCF Results.xlsx. In Excel the data was sorted, summarized, and reviewed. The batch was evaluated for DCF as follows:

Refer to worksheet “Diclofenac Batch Results” in file 20171007-01 DCF Results.xlsx for complete data set. Sample results were transferred to the worksheet “Diclofenac Sample Results”.

Date: 10/11/2017

Entry By: Adam Swank

Processing method 20170721 4-OH DCF.qmf used to process data from batch 20171010-02 4-OH DCF.dab. The results were saved as 20171010-02 4-OH DCF Results.rdb and exported to Excel as 20171006-01 4-OH DCF Results.xlsx. In Excel the data was sorted, summarized, and reviewed.

The batch was evaluated as follows:

Refer to worksheet “4-OH DCF Batch Results” in file 20171010-04 4-OH DCF Results.xlsx for complete data set. Sample results were transferred to the worksheet “4-OH DCF Sample Results” and results below the LOD were changed to ND (not detected). 71_DCF_t18 and 72_DCF_t18 were mistakenly run in place of their Dil versions and will be rerun. A new aliquot of 22_DCF_t18-Dil will be prepared and rerun since it reported back below the LOD.

Processing method 20170721 DCF.qmf used to process data from batch 20171010-01 DCF.dab. The results were saved as 20171010-01 DCF Results.rdb and exported to Excel as 20171010-01 DCF Results.xlsx. In Excel the data was sorted, summarized, and reviewed. The batch was evaluated for DCF as follows:

Refer to worksheet “Diclofenac Batch Results” in file 20171007-01 DCF Results.xlsx for complete data set. Sample results were transferred to the worksheet “Diclofenac Sample Results”. A new aliquot of 22_DCF_t18-Dil will be prepared and rerun since it reported back below the LOD.

A new Dil version of sample 22_DCF_t18 was prepared as described in 20171006 Intracellular Study - DCF.docx. The standards, controls and samples diluted versions of samples 22, 71, and 72 were run by instrument method Multianalyte V12 20170721 4-OH DCF.dam as batch 20171011 4-OH DCF.dab on the sample system. Controls and diluted sample 22_DCF_t18-Dil were run by instrument method Multianalyte V11-ESI 20170721 DCF.dam as batch file 20171011-01 DCF.dab. Refer to worksheets “20171011 4-OH DCF Batch” and “20171011 DCF Batch” in 20171006 Intracellular Study – DCF.xlsx.

Processing method 20170721 4-OH DCF.qmf used to process data from batch 20171011 4-OH DCF.dab. The results were saved as 2017101 4-OH DCF Results.rdb and exported to Excel as 20171011 4-OH DCF Results.xlsx. In Excel the data was sorted, summarized, and reviewed.

The batch was evaluated as follows:

Refer to worksheet “4-OH DCF Batch Results” in file 20171010-04 4-OH DCF Results.xlsx for complete data set. Sample results were transferred to the worksheet “4-OH DCF Sample Results”.

Processing method 20170721 DCF.qmf used to process data from batch 20171011 DCF.dab. The results were saved as 20171011 DCF Results.rdb and exported to Excel as 20171011 DCF Results.xlsx. In Excel the data was sorted, summarized, and reviewed. The batch was evaluated for DCF as follows:

Refer to worksheet “Diclofenac Batch Results” in file 20171011 DCF Results.xlsx for complete data set. Sample results were transferred to the worksheet “Diclofenac Sample Results”.

Sample results for DCF and 4-OH DCF were transferred from 20171007-01 DCF Results.xlsx, 20171010-01 DCF Results.xlsx,20171011 DCF.xlsx, 20171006-01 4-OH DCF Results.xlsx, 20171010-02 4-OH DCF Results.xlsx, and 20171011 4-OH DCF to the worksheets “DCF Results” and “4-OH DCF Results” of file 20171006 Intracellular Study Results Summary.xlsx for final reporting.