## Raw Data
Worksheet: Raw Data
File: 20171011 DCF Results.xlsx
Location: (A.Swank)M:\Work Documents\Stryner-NERL\DeGroot - 201607 Metabolism\Experiments\20171006 Intracellular Study
Project: DeGroot - 201607 Metabolism, (CSS project- task HTT 10.3.2.)
QA Track ID: A-IO-0030767
QAPP Title: Retrofit Strategies for Incorporating Xenobiotic Metabolism into High-Throughput Screening Assays
Prepared By: Adam Swank
Peak Name: Diclofenac-13C6 300.1 / 255.8
Use as Internal Standard
Q1/Q3 Masses: 300.15/255.80 amu
Peak Name: Diclofenac-13C6 300.1 / 219.9
Use as Internal Standard
Q1/Q3 Masses: 300.15/219.90 amu
Peak Name: Diclofenac 294.1 / 249.7
Internal Standard: Diclofenac-13C6 300.1 / 255.8
Q1/Q3 Masses: 294.13/249.70 amu
Fit | Quadratic | Weighting | 1 / (x * x) | Iterate | No
a0 | -0.00058
a1 | 0.000127
a2 | 1.01e-10
Correlation coefficient | 0.9995
Use Area
Peak Name: Diclofenac 294.1 / 213.9
Internal Standard: Diclofenac-13C6 300.1 / 255.8
Q1/Q3 Masses: 294.13/213.90 amu
Fit | Quadratic | Weighting | 1 / (x * x) | Iterate | No
a0 | 0.000559
a1 | 6.1e-06
a2 | 1.08e-10
Correlation coefficient | 0.9956
Use Area
Sample Name | Sample ID | Sample Type | Sample Comment | Set Number | Acquisition Method | Acquisition Date | Rack Type | Rack Position | Vial Position | Plate Type | Plate Position | File Name | Dilution Factor | Weight To Volume Ratio | Sample Annotation | Disposition | Analyte Peak Name | Analyte Units | Analyte Peak Area (counts) | Analyte Peak Area for DAD (mAU x min) | Analyte Peak Height (cps) | Analyte Peak Height for DAD (mAU) | Analyte Concentration (nM) | Analyte Retention Time (min) | Analyte Expected RT (min) | Analyte RT Window (sec) | Analyte Centroid Location (min) | Analyte Start Scan | Analyte Start Time (min) | Analyte Stop Scan | Analyte Stop Time (min) | Analyte Integration Type | Analyte Signal To Noise | Analyte Peak Width (min) | Standard Query Status | Analyte Mass Ranges (amu) | Analyte Wavelength Ranges (nm) | Area Ratio | Height Ratio | Analyte Annotation | Analyte Channel | Analyte Peak Width at 50% Height (min) | Analyte Slope of Baseline (%/min) | Analyte Processing Alg. | Analyte Peak Asymmetry | IS Peak Name | IS Units | IS Peak Area (counts) | IS Peak Area for DAD (mAU x min) | IS Peak Height (cps) | IS Peak Height for DAD (mAU) | IS Concentration (nM) | IS Retention Time (min) | IS Expected RT (min) | IS RT Window (sec) | IS Centroid Location (min) | IS Start Scan | IS Start Time (min) | IS Stop Scan | IS Stop Time (min) | IS Integration Type | IS Signal To Noise | IS Peak Width (min) | IS Mass Ranges (amu) | IS Wavelength Ranges (nm) | IS Channel | IS Peak Width at 50% Height (min) | IS Slope of Baseline (%/min) | IS Processing Alg. | IS Peak Asymmetry | Use Record | Record Modified | Calculated Concentration (nM) | Calculated Concentration for DAD (nM) | Relative Retention Time | Accuracy (%) | Response Factor
Solvent Blank |  | Unknown |  | 0 | Multianalyte V11-ESI 20170721 DCF.dam | 2017-10-10 08:51 | 10 By 10 | 1 | 1 | N/A | 0 | 201710\20171010-01-001.wiff | 1 | 0 |  |  | Diclofenac 294.1 / 249.7 | nM | 1690 | N/A | 452 | N/A | N/A | 4.68 | 4.49 | 120 | 4.68 | 1258 | 4.61 | 1300 | 4.77 | Base To Base | N/A | 0.154 | N/A | 294.1/249.7 amu | N/A | 0.583 | 0.536 |  | N/A | 0.0623 | -143 | Analyst Classic | 1.23 | Diclofenac-13C6 300.1 / 255.8 | nM | 2890 | N/A | 845 | N/A | 1 | 4.08 | 4.48 | 120 | 4.08 | 1096 | 4.02 | 1131 | 4.15 | Base To Base | N/A | 0.128 | 300.1/255.8 amu | N/A | N/A | 0.0543 | 125 | Analyst Classic | 0.931 |  | 0 | 4560 | N/A | 1.15 | N/A | N/A
Solvent Blank |  | Unknown |  | 0 | Multianalyte V11-ESI 20170721 DCF.dam | 2017-10-10 08:51 | 10 By 10 | 1 | 1 | N/A | 0 | 201710\20171010-01-001.wiff | 1 | 0 |  |  | Diclofenac 294.1 / 213.9 | nM | 2890 | N/A | 565 | N/A | N/A | 4.53 | 4.5 | 120 | 4.53 | 1201 | 4.4 | 1263 | 4.63 | Base To Base | N/A | 0.227 | N/A | 294.1/213.9 amu | N/A | 0.999 | 0.669 |  | N/A | 0.0809 | -1.85 | Analyst Classic | 0.823 | Diclofenac-13C6 300.1 / 255.8 | nM | 2890 | N/A | 845 | N/A | 1 | 4.08 | 4.48 | 120 | 4.08 | 1096 | 4.02 | 1131 | 4.15 | Base To Base | N/A | 0.128 | 300.1/255.8 amu | N/A | N/A | 0.0543 | 125 | Analyst Classic | 0.931 |  | 0 | 72000 | N/A | 1.11 | N/A | N/A
Blank Matrix |  | Unknown |  | 0 | Multianalyte V11-ESI 20170721 DCF.dam | 2017-10-10 09:04 | 10 By 10 | 1 | 2 | N/A | 0 | 201710\20171010-01-002.wiff | 1 | 0 |  |  | Diclofenac 294.1 / 249.7 | nM | 1460 | N/A | 407 | N/A | N/A | 4.46 | 4.49 | 120 | 4.46 | 1201 | 4.4 | 1239 | 4.54 | Base To Base | N/A | 0.139 | N/A | 294.1/249.7 amu | N/A | -7 | -7 |  | N/A | 0.0588 | -223 | Analyst Classic | 1.61 | Diclofenac-13C6 300.1 / 255.8 | nM | 0 | N/A | 0 | N/A | 1 | 0 | 4.48 | 120 | 0 | 0 | 0 | 0 | 0 | No Peak | N/A | 0 | 300.1/255.8 amu | N/A | N/A | 0 | 0 | Analyst Classic | 0 |  | 0 | N/A | N/A | 0 | N/A | N/A
Blank Matrix |  | Unknown |  | 0 | Multianalyte V11-ESI 20170721 DCF.dam | 2017-10-10 09:04 | 10 By 10 | 1 | 2 | N/A | 0 | 201710\20171010-01-002.wiff | 1 | 0 |  |  | Diclofenac 294.1 / 213.9 | nM | 69.1 | N/A | 42.8 | N/A | N/A | 4.59 | 4.5 | 120 | 4.6 | 1248 | 4.57 | 1263 | 4.63 | Base To Base | N/A | 0.055 | N/A | 294.1/213.9 amu | N/A | -7 | -7 |  | N/A | 0.0272 | -445 | Analyst Classic | 2.11 | Diclofenac-13C6 300.1 / 255.8 | nM | 0 | N/A | 0 | N/A | 1 | 0 | 4.48 | 120 | 0 | 0 | 0 | 0 | 0 | No Peak | N/A | 0 | 300.1/255.8 amu | N/A | N/A | 0 | 0 | Analyst Classic | 0 |  | 0 | N/A | N/A | 0 | N/A | N/A
Method Blank |  | Unknown |  | 0 | Multianalyte V11-ESI 20170721 DCF.dam | 2017-10-10 09:16 | 10 By 10 | 1 | 3 | N/A | 0 | 201710\20171010-01-003.wiff | 1 | 0 |  |  | Diclofenac 294.1 / 249.7 | nM | 1430 | N/A | 362 | N/A | N/A | 4.48 | 4.49 | 120 | 4.51 | 1214 | 4.45 | 1249 | 4.58 | Valley | N/A | 0.128 | N/A | 294.1/249.7 amu | N/A | 0.00097 | 0.000884 |  | N/A | 0.0696 | -23.5 | Analyst Classic | 2.84 | Diclofenac-13C6 300.1 / 255.8 | nM | 1470000 | N/A | 409000 | N/A | 1 | 4.51 | 4.48 | 120 | 4.52 | 1213 | 4.45 | 1290 | 4.73 | Base To Base | N/A | 0.282 | 300.1/255.8 amu | N/A | N/A | 0.0546 | 0.472 | Analyst Classic | 3.77 |  | 0 | 12.2 | N/A | 0.995 | N/A | N/A
Method Blank |  | Unknown |  | 0 | Multianalyte V11-ESI 20170721 DCF.dam | 2017-10-10 09:16 | 10 By 10 | 1 | 3 | N/A | 0 | 201710\20171010-01-003.wiff | 1 | 0 |  |  | Diclofenac 294.1 / 213.9 | nM | 96.8 | N/A | 38.2 | N/A | N/A | 4.51 | 4.5 | 120 | 4.5 | 1217 | 4.46 | 1239 | 4.54 | Base To Base | N/A | 0.0807 | N/A | 294.1/213.9 amu | N/A | 6.58e-05 | 9.34e-05 |  | N/A | 0.0381 | 583 | Analyst Classic | 0.787 | Diclofenac-13C6 300.1 / 255.8 | nM | 1470000 | N/A | 409000 | N/A | 1 | 4.51 | 4.48 | 120 | 4.52 | 1213 | 4.45 | 1290 | 4.73 | Base To Base | N/A | 0.282 | 300.1/255.8 amu | N/A | N/A | 0.0546 | 0.472 | Analyst Classic | 3.77 |  | 0 | < 0 | N/A | 1 | N/A | N/A
100 nM Std |  | Standard |  | 0 | Multianalyte V11-ESI 20170721 DCF.dam | 2017-10-10 09:29 | 10 By 10 | 1 | 4 | N/A | 0 | 201710\20171010-01-004.wiff | 1 | 0 |  |  | Diclofenac 294.1 / 249.7 | nM | 20700 | N/A | 5990 | N/A | 96.8 | 4.7 | 4.7 | 120 | 4.71 | 1263 | 4.63 | 1320 | 4.84 | Valley | N/A | 0.209 | N/A | 294.1/249.7 amu | N/A | 0.012 | 0.0119 |  | N/A | 0.052 | 0.827 | Analyst Classic | 2.09 | Diclofenac-13C6 300.1 / 255.8 | nM | 1730000 | N/A | 502000 | N/A | 1 | 4.7 | 4.48 | 120 | 4.7 | 1262 | 4.63 | 1332 | 4.88 | Base To Base | N/A | 0.257 | 300.1/255.8 amu | N/A | N/A | 0.0529 | 0.729 | Analyst Classic | 2.67 | 1 | 1 | 98.6 | N/A | 1 | 102 | 0.000124
100 nM Std |  | Standard |  | 0 | Multianalyte V11-ESI 20170721 DCF.dam | 2017-10-10 09:29 | 10 By 10 | 1 | 4 | N/A | 0 | 201710\20171010-01-004.wiff | 1 | 0 |  |  | Diclofenac 294.1 / 213.9 | nM | 2050 | N/A | 491 | N/A | 96.8 | 4.53 | 4.5 | 120 | 4.53 | 1206 | 4.42 | 1268 | 4.65 | Base To Base | N/A | 0.227 | N/A | 294.1/213.9 amu | N/A | 0.00118 | 0.00098 |  | N/A | 0.0607 | -2.38 | Analyst Classic | 1.01 | Diclofenac-13C6 300.1 / 255.8 | nM | 1730000 | N/A | 502000 | N/A | 1 | 4.7 | 4.48 | 120 | 4.7 | 1262 | 4.63 | 1332 | 4.88 | Base To Base | N/A | 0.257 | 300.1/255.8 amu | N/A | N/A | 0.0529 | 0.729 | Analyst Classic | 2.67 | 1 | 0 | 102 | N/A | 0.965 | 105 | 1.2e-05
250 nM Std |  | Standard |  | 0 | Multianalyte V11-ESI 20170721 DCF.dam | 2017-10-10 09:42 | 10 By 10 | 1 | 5 | N/A | 0 | 201710\20171010-01-005.wiff | 1 | 0 |  |  | Diclofenac 294.1 / 249.7 | nM | 51000 | N/A | 15500 | N/A | 242 | 4.52 | 4.49 | 120 | 4.53 | 1212 | 4.44 | 1265 | 4.64 | Valley | N/A | 0.194 | N/A | 294.1/249.7 amu | N/A | 0.029 | 0.0299 |  | N/A | 0.0506 | 1.97 | Analyst Classic | 1.58 | Diclofenac-13C6 300.1 / 255.8 | nM | 1760000 | N/A | 519000 | N/A | 1 | 4.52 | 4.48 | 120 | 4.52 | 1210 | 4.44 | 1287 | 4.72 | Base To Base | N/A | 0.282 | 300.1/255.8 amu | N/A | N/A | 0.0517 | 0.583 | Analyst Classic | 2.5 | 1 | 0 | 232 | N/A | 1 | 96 | 0.00012
250 nM Std |  | Standard |  | 0 | Multianalyte V11-ESI 20170721 DCF.dam | 2017-10-10 09:42 | 10 By 10 | 1 | 5 | N/A | 0 | 201710\20171010-01-005.wiff | 1 | 0 |  |  | Diclofenac 294.1 / 213.9 | nM | 3210 | N/A | 921 | N/A | 242 | 4.51 | 4.5 | 120 | 4.52 | 1219 | 4.47 | 1263 | 4.63 | Valley | N/A | 0.161 | N/A | 294.1/213.9 amu | N/A | 0.00183 | 0.00178 |  | N/A | 0.055 | 0.982 | Analyst Classic | 3.04 | Diclofenac-13C6 300.1 / 255.8 | nM | 1760000 | N/A | 519000 | N/A | 1 | 4.52 | 4.48 | 120 | 4.52 | 1210 | 4.44 | 1287 | 4.72 | Base To Base | N/A | 0.282 | 300.1/255.8 amu | N/A | N/A | 0.0517 | 0.583 | Analyst Classic | 2.5 | 1 | 0 | 207 | N/A | 0.998 | 85.5 | 8e-06
500 nM Std |  | Standard |  | 0 | Multianalyte V11-ESI 20170721 DCF.dam | 2017-10-10 09:54 | 10 By 10 | 1 | 6 | N/A | 0 | 201710\20171010-01-006.wiff | 1 | 0 |  |  | Diclofenac 294.1 / 249.7 | nM | 108000 | N/A | 30900 | N/A | 484 | 4.46 | 4.49 | 120 | 4.47 | 1198 | 4.39 | 1263 | 4.63 | Valley | N/A | 0.238 | N/A | 294.1/249.7 amu | N/A | 0.0598 | 0.0588 |  | N/A | 0.0526 | 0.168 | Analyst Classic | 2.24 | Diclofenac-13C6 300.1 / 255.8 | nM | 1810000 | N/A | 526000 | N/A | 1 | 4.46 | 4.48 | 120 | 4.47 | 1198 | 4.39 | 1269 | 4.65 | Base To Base | N/A | 0.26 | 300.1/255.8 amu | N/A | N/A | 0.0525 | 0.615 | Analyst Classic | 2.83 | 1 | 0 | 473 | N/A | 1 | 97.8 | 0.000123
500 nM Std |  | Standard |  | 0 | Multianalyte V11-ESI 20170721 DCF.dam | 2017-10-10 09:54 | 10 By 10 | 1 | 6 | N/A | 0 | 201710\20171010-01-006.wiff | 1 | 0 |  |  | Diclofenac 294.1 / 213.9 | nM | 6460 | N/A | 1870 | N/A | 484 | 4.46 | 4.5 | 120 | 4.46 | 1196 | 4.38 | 1257 | 4.61 | Valley | N/A | 0.224 | N/A | 294.1/213.9 amu | N/A | 0.00358 | 0.00355 |  | N/A | 0.0535 | -0.919 | Analyst Classic | 2.1 | Diclofenac-13C6 300.1 / 255.8 | nM | 1810000 | N/A | 526000 | N/A | 1 | 4.46 | 4.48 | 120 | 4.47 | 1198 | 4.39 | 1269 | 4.65 | Base To Base | N/A | 0.26 | 300.1/255.8 amu | N/A | N/A | 0.0525 | 0.615 | Analyst Classic | 2.83 | 1 | 0 | 491 | N/A | 0.999 | 101 | 7e-06
750 nM Std |  | Standard |  | 0 | Multianalyte V11-ESI 20170721 DCF.dam | 2017-10-10 10:07 | 10 By 10 | 1 | 7 | N/A | 0 | 201710\20171010-01-007.wiff | 1 | 0 |  |  | Diclofenac 294.1 / 249.7 | nM | 172000 | N/A | 51500 | N/A | 726 | 4.71 | 4.71 | 120 | 4.72 | 1269 | 4.65 | 1320 | 4.84 | Valley | N/A | 0.187 | N/A | 294.1/249.7 amu | N/A | 0.0907 | 0.0935 |  | N/A | 0.0509 | 0.675 | Analyst Classic | 2.34 | Diclofenac-13C6 300.1 / 255.8 | nM | 1900000 | N/A | 551000 | N/A | 1 | 4.71 | 4.48 | 120 | 4.72 | 1264 | 4.63 | 1341 | 4.92 | Base To Base | N/A | 0.282 | 300.1/255.8 amu | N/A | N/A | 0.0526 | 0.483 | Analyst Classic | 2.83 | 1 | 1 | 716 | N/A | 1 | 98.6 | 0.000125
750 nM Std |  | Standard |  | 0 | Multianalyte V11-ESI 20170721 DCF.dam | 2017-10-10 10:07 | 10 By 10 | 1 | 7 | N/A | 0 | 201710\20171010-01-007.wiff | 1 | 0 |  |  | Diclofenac 294.1 / 213.9 | nM | 8850 | N/A | 2660 | N/A | 726 | 4.71 | 4.71 | 120 | 4.72 | 1267 | 4.64 | 1312 | 4.81 | Valley | N/A | 0.165 | N/A | 294.1/213.9 amu | N/A | 0.00467 | 0.00482 |  | N/A | 0.0519 | 3.82 | Analyst Classic | 1.59 | Diclofenac-13C6 300.1 / 255.8 | nM | 1900000 | N/A | 551000 | N/A | 1 | 4.71 | 4.48 | 120 | 4.72 | 1264 | 4.63 | 1341 | 4.92 | Base To Base | N/A | 0.282 | 300.1/255.8 amu | N/A | N/A | 0.0526 | 0.483 | Analyst Classic | 2.83 | 1 | 1 | 665 | N/A | 1 | 91.6 | 6e-06
1 µM Std |  | Standard |  | 0 | Multianalyte V11-ESI 20170721 DCF.dam | 2017-10-10 10:20 | 10 By 10 | 1 | 8 | N/A | 0 | 201710\20171010-01-008.wiff | 1 | 0 |  |  | Diclofenac 294.1 / 249.7 | nM | 234000 | N/A | 69300 | N/A | 968 | 4.53 | 4.49 | 120 | 4.53 | 1217 | 4.46 | 1304 | 4.78 | Valley | N/A | 0.319 | N/A | 294.1/249.7 amu | N/A | 0.126 | 0.128 |  | N/A | 0.0513 | -0.2 | Analyst Classic | 3.63 | Diclofenac-13C6 300.1 / 255.8 | nM | 1860000 | N/A | 542000 | N/A | 1 | 4.52 | 4.48 | 120 | 4.53 | 1214 | 4.45 | 1284 | 4.71 | Base To Base | N/A | 0.257 | 300.1/255.8 amu | N/A | N/A | 0.0521 | 0.747 | Analyst Classic | 2.64 | 1 | 0 | 993 | N/A | 1 | 103 | 0.00013
1 µM Std |  | Standard |  | 0 | Multianalyte V11-ESI 20170721 DCF.dam | 2017-10-10 10:20 | 10 By 10 | 1 | 8 | N/A | 0 | 201710\20171010-01-008.wiff | 1 | 0 |  |  | Diclofenac 294.1 / 213.9 | nM | 13200 | N/A | 4000 | N/A | 968 | 4.53 | 4.5 | 120 | 4.53 | 1218 | 4.46 | 1272 | 4.66 | Valley | N/A | 0.198 | N/A | 294.1/213.9 amu | N/A | 0.00712 | 0.00738 |  | N/A | 0.0508 | 0.4 | Analyst Classic | 2.08 | Diclofenac-13C6 300.1 / 255.8 | nM | 1860000 | N/A | 542000 | N/A | 1 | 4.52 | 4.48 | 120 | 4.53 | 1214 | 4.45 | 1284 | 4.71 | Base To Base | N/A | 0.257 | 300.1/255.8 amu | N/A | N/A | 0.0521 | 0.747 | Analyst Classic | 2.64 | 1 | 0 | 1060 | N/A | 1 | 109 | 7e-06
2.5 µM Std |  | Standard |  | 0 | Multianalyte V11-ESI 20170721 DCF.dam | 2017-10-10 10:32 | 10 By 10 | 1 | 9 | N/A | 0 | 201710\20171010-01-009.wiff | 1 | 0 |  |  | Diclofenac 294.1 / 249.7 | nM | 607000 | N/A | 178000 | N/A | 2420 | 4.53 | 4.49 | 120 | 4.53 | 1218 | 4.46 | 1307 | 4.79 | Valley | N/A | 0.327 | N/A | 294.1/249.7 amu | N/A | 0.32 | 0.314 |  | N/A | 0.0513 | 0.158 | Analyst Classic | 4.19 | Diclofenac-13C6 300.1 / 255.8 | nM | 1900000 | N/A | 567000 | N/A | 1 | 4.52 | 4.48 | 120 | 4.53 | 1215 | 4.45 | 1295 | 4.75 | Base To Base | N/A | 0.294 | 300.1/255.8 amu | N/A | N/A | 0.0509 | 0.327 | Analyst Classic | 3.34 | 1 | 0 | 2510 | N/A | 1 | 104 | 0.000132
2.5 µM Std |  | Standard |  | 0 | Multianalyte V11-ESI 20170721 DCF.dam | 2017-10-10 10:32 | 10 By 10 | 1 | 9 | N/A | 0 | 201710\20171010-01-009.wiff | 1 | 0 |  |  | Diclofenac 294.1 / 213.9 | nM | 31500 | N/A | 9690 | N/A | 2420 | 4.52 | 4.5 | 120 | 4.53 | 1220 | 4.47 | 1266 | 4.64 | Valley | N/A | 0.169 | N/A | 294.1/213.9 amu | N/A | 0.0166 | 0.0171 |  | N/A | 0.0509 | 1.44 | Analyst Classic | 2.26 | Diclofenac-13C6 300.1 / 255.8 | nM | 1900000 | N/A | 567000 | N/A | 1 | 4.52 | 4.48 | 120 | 4.53 | 1215 | 4.45 | 1295 | 4.75 | Base To Base | N/A | 0.294 | 300.1/255.8 amu | N/A | N/A | 0.0509 | 0.327 | Analyst Classic | 3.34 | 1 | 0 | 2520 | N/A | 1 | 104 | 7e-06
5 µM Std |  | Standard |  | 0 | Multianalyte V11-ESI 20170721 DCF.dam | 2017-10-10 10:45 | 10 By 10 | 1 | 10 | N/A | 0 | 201710\20171010-01-010.wiff | 1 | 0 |  |  | Diclofenac 294.1 / 249.7 | nM | 1200000 | N/A | 359000 | N/A | 4840 | 4.53 | 4.49 | 120 | 4.54 | 1218 | 4.46 | 1327 | 4.86 | Valley | N/A | 0.4 | N/A | 294.1/249.7 amu | N/A | 0.625 | 0.621 |  | N/A | 0.0514 | 0.107 | Analyst Classic | 5.16 | Diclofenac-13C6 300.1 / 255.8 | nM | 1930000 | N/A | 579000 | N/A | 1 | 4.53 | 4.48 | 120 | 4.54 | 1218 | 4.46 | 1292 | 4.74 | Base To Base | N/A | 0.272 | 300.1/255.8 amu | N/A | N/A | 0.0512 | 0.446 | Analyst Classic | 3.17 | 1 | 0 | 4890 | N/A | 1 | 101 | 0.000129
5 µM Std |  | Standard |  | 0 | Multianalyte V11-ESI 20170721 DCF.dam | 2017-10-10 10:45 | 10 By 10 | 1 | 10 | N/A | 0 | 201710\20171010-01-010.wiff | 1 | 0 |  |  | Diclofenac 294.1 / 213.9 | nM | 67000 | N/A | 20300 | N/A | 4840 | 4.53 | 4.5 | 120 | 4.54 | 1221 | 4.48 | 1271 | 4.66 | Base To Base | N/A | 0.183 | N/A | 294.1/213.9 amu | N/A | 0.0348 | 0.035 |  | N/A | 0.0506 | 0.422 | Analyst Classic | 2.63 | Diclofenac-13C6 300.1 / 255.8 | nM | 1930000 | N/A | 579000 | N/A | 1 | 4.53 | 4.48 | 120 | 4.54 | 1218 | 4.46 | 1292 | 4.74 | Base To Base | N/A | 0.272 | 300.1/255.8 amu | N/A | N/A | 0.0512 | 0.446 | Analyst Classic | 3.17 | 1 | 0 | 5140 | N/A | 0.999 | 106 | 7e-06
10 µM Std |  | Standard |  | 0 | Multianalyte V11-ESI 20170721 DCF.dam | 2017-10-10 10:58 | 10 By 10 | 1 | 11 | N/A | 0 | 201710\20171010-01-011.wiff | 1 | 0 |  |  | Diclofenac 294.1 / 249.7 | nM | 2350000 | N/A | 695000 | N/A | 9680 | 4.72 | 4.71 | 120 | 4.72 | 1268 | 4.65 | 1346 | 4.93 | Base To Base | N/A | 0.286 | N/A | 294.1/249.7 amu | N/A | 1.23 | 1.26 |  | N/A | 0.0517 | 0.368 | Analyst Classic | 3.26 | Diclofenac-13C6 300.1 / 255.8 | nM | 1920000 | N/A | 554000 | N/A | 1 | 4.71 | 4.48 | 120 | 4.72 | 1265 | 4.64 | 1341 | 4.92 | Base To Base | N/A | 0.279 | 300.1/255.8 amu | N/A | N/A | 0.053 | 0.587 | Analyst Classic | 2.72 | 1 | 1 | 9550 | N/A | 1 | 98.7 | 0.000127
10 µM Std |  | Standard |  | 0 | Multianalyte V11-ESI 20170721 DCF.dam | 2017-10-10 10:58 | 10 By 10 | 1 | 11 | N/A | 0 | 201710\20171010-01-011.wiff | 1 | 0 |  |  | Diclofenac 294.1 / 213.9 | nM | 128000 | N/A | 38600 | N/A | 9680 | 4.71 | 4.71 | 120 | 4.72 | 1271 | 4.66 | 1322 | 4.85 | Base To Base | N/A | 0.187 | N/A | 294.1/213.9 amu | N/A | 0.0669 | 0.0696 |  | N/A | 0.0507 | -0.0595 | Analyst Classic | 2.47 | Diclofenac-13C6 300.1 / 255.8 | nM | 1920000 | N/A | 554000 | N/A | 1 | 4.71 | 4.48 | 120 | 4.72 | 1265 | 4.64 | 1341 | 4.92 | Base To Base | N/A | 0.279 | 300.1/255.8 amu | N/A | N/A | 0.053 | 0.587 | Analyst Classic | 2.72 | 1 | 1 | 9330 | N/A | 1 | 96.4 | 7e-06
750 nM QC |  | Unknown |  | 0 | Multianalyte V11-ESI 20170721 DCF.dam | 2017-10-11 13:08 | 10 By 10 | 1 | 12 | N/A | 0 | 201710\20171011-02-001.wiff | 1 | 0 |  |  | Diclofenac 294.1 / 249.7 | nM | 116000 | N/A | 35800 | N/A | N/A | 4.51 | 4.49 | 120 | 4.51 | 1210 | 4.44 | 1296 | 4.75 | Valley | N/A | 0.316 | N/A | 294.1/249.7 amu | N/A | 0.0975 | 0.0962 |  | N/A | 0.0496 | 0.0671 | Analyst Classic | 3.43 | Diclofenac-13C6 300.1 / 255.8 | nM | 1190000 | N/A | 373000 | N/A | 1 | 4.5 | 4.48 | 120 | 4.51 | 1206 | 4.42 | 1284 | 4.71 | Base To Base | N/A | 0.286 | 300.1/255.8 amu | N/A | N/A | 0.0492 | 0.432 | Analyst Classic | 2.43 |  | 0 | 769 | N/A | 1 | N/A | N/A
750 nM QC |  | Unknown |  | 0 | Multianalyte V11-ESI 20170721 DCF.dam | 2017-10-11 13:08 | 10 By 10 | 1 | 12 | N/A | 0 | 201710\20171011-02-001.wiff | 1 | 0 |  |  | Diclofenac 294.1 / 213.9 | nM | 6290 | N/A | 1840 | N/A | N/A | 4.5 | 4.5 | 120 | 4.51 | 1216 | 4.46 | 1254 | 4.6 | Valley | N/A | 0.139 | N/A | 294.1/213.9 amu | N/A | 0.00527 | 0.00495 |  | N/A | 0.0533 | 2.95 | Analyst Classic | 2.12 | Diclofenac-13C6 300.1 / 255.8 | nM | 1190000 | N/A | 373000 | N/A | 1 | 4.5 | 4.48 | 120 | 4.51 | 1206 | 4.42 | 1284 | 4.71 | Base To Base | N/A | 0.286 | 300.1/255.8 amu | N/A | N/A | 0.0492 | 0.432 | Analyst Classic | 2.43 |  | 0 | 761 | N/A | 1 | N/A | N/A
250 nM QC |  | Unknown |  | 0 | Multianalyte V11-ESI 20170721 DCF.dam | 2017-10-11 13:20 | 10 By 10 | 1 | 23 | N/A | 0 | 201710\20171011-02-002.wiff | 1 | 0 |  |  | Diclofenac 294.1 / 249.7 | nM | 46700 | N/A | 14300 | N/A | N/A | 4.71 | 4.71 | 120 | 4.71 | 1267 | 4.64 | 1329 | 4.87 | Valley | N/A | 0.227 | N/A | 294.1/249.7 amu | N/A | 0.0322 | 0.0324 |  | N/A | 0.0487 | -0.233 | Analyst Classic | 2.69 | Diclofenac-13C6 300.1 / 255.8 | nM | 1450000 | N/A | 440000 | N/A | 1 | 4.7 | 4.48 | 120 | 4.71 | 1264 | 4.63 | 1341 | 4.92 | Base To Base | N/A | 0.282 | 300.1/255.8 amu | N/A | N/A | 0.0506 | 0.419 | Analyst Classic | 3.09 |  | 1 | 257 | N/A | 1 | N/A | N/A
250 nM QC |  | Unknown |  | 0 | Multianalyte V11-ESI 20170721 DCF.dam | 2017-10-11 13:20 | 10 By 10 | 1 | 23 | N/A | 0 | 201710\20171011-02-002.wiff | 1 | 0 |  |  | Diclofenac 294.1 / 213.9 | nM | 2630 | N/A | 762 | N/A | N/A | 4.7 | 4.7 | 120 | 4.71 | 1262 | 4.63 | 1323 | 4.85 | Valley | N/A | 0.224 | N/A | 294.1/213.9 amu | N/A | 0.00181 | 0.00173 |  | N/A | 0.0494 | -0.172 | Analyst Classic | 1.89 | Diclofenac-13C6 300.1 / 255.8 | nM | 1450000 | N/A | 440000 | N/A | 1 | 4.7 | 4.48 | 120 | 4.71 | 1264 | 4.63 | 1341 | 4.92 | Base To Base | N/A | 0.282 | 300.1/255.8 amu | N/A | N/A | 0.0506 | 0.419 | Analyst Classic | 3.09 |  | 1 | 204 | N/A | 1 | N/A | N/A
2.5 µM QC |  | Unknown |  | 0 | Multianalyte V11-ESI 20170721 DCF.dam | 2017-10-11 13:33 | 10 By 10 | 1 | 34 | N/A | 0 | 201710\20171011-02-003.wiff | 1 | 0 |  |  | Diclofenac 294.1 / 249.7 | nM | 462000 | N/A | 139000 | N/A | N/A | 4.52 | 4.49 | 120 | 4.53 | 1201 | 4.4 | 1278 | 4.68 | Base To Base | N/A | 0.283 | N/A | 294.1/249.7 amu | N/A | 0.321 | 0.316 |  | N/A | 0.0506 | 0.473 | Analyst Classic | 1.35 | Diclofenac-13C6 300.1 / 255.8 | nM | 1440000 | N/A | 441000 | N/A | 1 | 4.52 | 4.48 | 120 | 4.53 | 1214 | 4.45 | 1290 | 4.73 | Base To Base | N/A | 0.279 | 300.1/255.8 amu | N/A | N/A | 0.0494 | 0.363 | Analyst Classic | 3.11 |  | 0 | 2520 | N/A | 1 | N/A | N/A
2.5 µM QC |  | Unknown |  | 0 | Multianalyte V11-ESI 20170721 DCF.dam | 2017-10-11 13:33 | 10 By 10 | 1 | 34 | N/A | 0 | 201710\20171011-02-003.wiff | 1 | 0 |  |  | Diclofenac 294.1 / 213.9 | nM | 25200 | N/A | 7640 | N/A | N/A | 4.52 | 4.5 | 120 | 4.53 | 1218 | 4.46 | 1276 | 4.68 | Valley | N/A | 0.213 | N/A | 294.1/213.9 amu | N/A | 0.0175 | 0.0173 |  | N/A | 0.0495 | -0.0194 | Analyst Classic | 2.63 | Diclofenac-13C6 300.1 / 255.8 | nM | 1440000 | N/A | 441000 | N/A | 1 | 4.52 | 4.48 | 120 | 4.53 | 1214 | 4.45 | 1290 | 4.73 | Base To Base | N/A | 0.279 | 300.1/255.8 amu | N/A | N/A | 0.0494 | 0.363 | Analyst Classic | 3.11 |  | 0 | 2650 | N/A | 1 | N/A | N/A
22_DCF_t18-DIL |  | Unknown |  | 0 | Multianalyte V11-ESI 20170721 DCF.dam | 2017-10-11 13:46 | 10 By 10 | 1 | 13 | N/A | 0 | 201710\20171011-02-004.wiff | 1 | 0 |  |  | Diclofenac 294.1 / 249.7 | nM | 57500 | N/A | 17900 | N/A | N/A | 4.54 | 4.49 | 120 | 4.55 | 1221 | 4.48 | 1270 | 4.66 | Valley | N/A | 0.18 | N/A | 294.1/249.7 amu | N/A | 0.0494 | 0.0503 |  | N/A | 0.0494 | -0.0334 | Analyst Classic | 1.79 | Diclofenac-13C6 300.1 / 255.8 | nM | 1160000 | N/A | 356000 | N/A | 1 | 4.54 | 4.48 | 120 | 4.54 | 1220 | 4.47 | 1284 | 4.71 | Base To Base | N/A | 0.235 | 300.1/255.8 amu | N/A | N/A | 0.0497 | 0.985 | Analyst Classic | 2.68 |  | 0 | 392 | N/A | 1 | N/A | N/A
22_DCF_t18-DIL |  | Unknown |  | 0 | Multianalyte V11-ESI 20170721 DCF.dam | 2017-10-11 13:46 | 10 By 10 | 1 | 13 | N/A | 0 | 201710\20171011-02-004.wiff | 1 | 0 |  |  | Diclofenac 294.1 / 213.9 | nM | 2770 | N/A | 882 | N/A | N/A | 4.55 | 4.5 | 120 | 4.54 | 1223 | 4.48 | 1259 | 4.62 | Base To Base | N/A | 0.132 | N/A | 294.1/213.9 amu | N/A | 0.00238 | 0.00248 |  | N/A | 0.0488 | 5.62 | Analyst Classic | 1.12 | Diclofenac-13C6 300.1 / 255.8 | nM | 1160000 | N/A | 356000 | N/A | 1 | 4.54 | 4.48 | 120 | 4.54 | 1220 | 4.47 | 1284 | 4.71 | Base To Base | N/A | 0.235 | 300.1/255.8 amu | N/A | N/A | 0.0497 | 0.985 | Analyst Classic | 2.68 |  | 0 | 296 | N/A | 1 | N/A | N/A
750 nM QC |  | Unknown |  | 0 | Multianalyte V11-ESI 20170721 DCF.dam | 2017-10-11 13:58 | 10 By 10 | 1 | 12 | N/A | 0 | 201710\20171011-02-005.wiff | 1 | 0 |  |  | Diclofenac 294.1 / 249.7 | nM | 141000 | N/A | 43300 | N/A | N/A | 4.5 | 4.49 | 120 | 4.51 | 1205 | 4.42 | 1273 | 4.67 | Valley | N/A | 0.249 | N/A | 294.1/249.7 amu | N/A | 0.0938 | 0.0933 |  | N/A | 0.0492 | 0.238 | Analyst Classic | 1.86 | Diclofenac-13C6 300.1 / 255.8 | nM | 1510000 | N/A | 464000 | N/A | 1 | 4.5 | 4.48 | 120 | 4.51 | 1209 | 4.43 | 1284 | 4.71 | Base To Base | N/A | 0.275 | 300.1/255.8 amu | N/A | N/A | 0.0494 | 0.386 | Analyst Classic | 2.9 |  | 0 | 740 | N/A | 1 | N/A | N/A
750 nM QC |  | Unknown |  | 0 | Multianalyte V11-ESI 20170721 DCF.dam | 2017-10-11 13:58 | 10 By 10 | 1 | 12 | N/A | 0 | 201710\20171011-02-005.wiff | 1 | 0 |  |  | Diclofenac 294.1 / 213.9 | nM | 7640 | N/A | 2280 | N/A | N/A | 4.51 | 4.5 | 120 | 4.51 | 1213 | 4.45 | 1259 | 4.62 | Valley | N/A | 0.169 | N/A | 294.1/213.9 amu | N/A | 0.00507 | 0.00491 |  | N/A | 0.0503 | 2.17 | Analyst Classic | 1.87 | Diclofenac-13C6 300.1 / 255.8 | nM | 1510000 | N/A | 464000 | N/A | 1 | 4.5 | 4.48 | 120 | 4.51 | 1209 | 4.43 | 1284 | 4.71 | Base To Base | N/A | 0.275 | 300.1/255.8 amu | N/A | N/A | 0.0494 | 0.386 | Analyst Classic | 2.9 |  | 0 | 729 | N/A | 1 | N/A | N/A
250 nM QC |  | Unknown |  | 0 | Multianalyte V11-ESI 20170721 DCF.dam | 2017-10-11 14:11 | 10 By 10 | 1 | 23 | N/A | 0 | 201710\20171011-02-006.wiff | 1 | 0 |  |  | Diclofenac 294.1 / 249.7 | nM | 52100 | N/A | 15500 | N/A | N/A | 4.54 | 4.55 | 120 | 4.55 | 1221 | 4.48 | 1289 | 4.73 | Valley | N/A | 0.249 | N/A | 294.1/249.7 amu | N/A | 0.0311 | 0.03 |  | N/A | 0.0509 | -1.42 | Analyst Classic | 2.66 | Diclofenac-13C6 300.1 / 255.8 | nM | 1670000 | N/A | 516000 | N/A | 1 | 4.54 | 4.48 | 120 | 4.55 | 1217 | 4.46 | 1290 | 4.73 | Base To Base | N/A | 0.268 | 300.1/255.8 amu | N/A | N/A | 0.0493 | 0.645 | Analyst Classic | 2.36 |  | 1 | 249 | N/A | 1 | N/A | N/A
250 nM QC |  | Unknown |  | 0 | Multianalyte V11-ESI 20170721 DCF.dam | 2017-10-11 14:11 | 10 By 10 | 1 | 23 | N/A | 0 | 201710\20171011-02-006.wiff | 1 | 0 |  |  | Diclofenac 294.1 / 213.9 | nM | 2600 | N/A | 857 | N/A | N/A | 4.54 | 4.5 | 120 | 4.55 | 1220 | 4.47 | 1269 | 4.65 | Base To Base | N/A | 0.18 | N/A | 294.1/213.9 amu | N/A | 0.00155 | 0.00166 |  | N/A | 0.0489 | -15 | Analyst Classic | 1.74 | Diclofenac-13C6 300.1 / 255.8 | nM | 1670000 | N/A | 516000 | N/A | 1 | 4.54 | 4.48 | 120 | 4.55 | 1217 | 4.46 | 1290 | 4.73 | Base To Base | N/A | 0.268 | 300.1/255.8 amu | N/A | N/A | 0.0493 | 0.645 | Analyst Classic | 2.36 |  | 0 | 162 | N/A | 0.999 | N/A | N/A
2.5 µM QC |  | Unknown |  | 0 | Multianalyte V11-ESI 20170721 DCF.dam | 2017-10-11 14:24 | 10 By 10 | 1 | 34 | N/A | 0 | 201710\20171011-02-007.wiff | 1 | 0 |  |  | Diclofenac 294.1 / 249.7 | nM | 532000 | N/A | 160000 | N/A | N/A | 4.5 | 4.49 | 120 | 4.51 | 1211 | 4.44 | 1288 | 4.72 | Base To Base | N/A | 0.282 | N/A | 294.1/249.7 amu | N/A | 0.323 | 0.324 |  | N/A | 0.05 | 0.147 | Analyst Classic | 3.34 | Diclofenac-13C6 300.1 / 255.8 | nM | 1650000 | N/A | 495000 | N/A | 1 | 4.5 | 4.48 | 120 | 4.51 | 1209 | 4.43 | 1272 | 4.66 | Base To Base | N/A | 0.231 | 300.1/255.8 amu | N/A | N/A | 0.0506 | 1.05 | Analyst Classic | 2.32 |  | 0 | 2530 | N/A | 1 | N/A | N/A
2.5 µM QC |  | Unknown |  | 0 | Multianalyte V11-ESI 20170721 DCF.dam | 2017-10-11 14:24 | 10 By 10 | 1 | 34 | N/A | 0 | 201710\20171011-02-007.wiff | 1 | 0 |  |  | Diclofenac 294.1 / 213.9 | nM | 27500 | N/A | 8290 | N/A | N/A | 4.5 | 4.5 | 120 | 4.51 | 1208 | 4.43 | 1271 | 4.66 | Valley | N/A | 0.231 | N/A | 294.1/213.9 amu | N/A | 0.0167 | 0.0167 |  | N/A | 0.0526 | 0.45 | Analyst Classic | 2.1 | Diclofenac-13C6 300.1 / 255.8 | nM | 1650000 | N/A | 495000 | N/A | 1 | 4.5 | 4.48 | 120 | 4.51 | 1209 | 4.43 | 1272 | 4.66 | Base To Base | N/A | 0.231 | 300.1/255.8 amu | N/A | N/A | 0.0506 | 1.05 | Analyst Classic | 2.32 |  | 0 | 2530 | N/A | 1 | N/A | N/A

## Sorted Data
Worksheet: Sorted Data
File: 20171011 DCF Results.xlsx
Location: (A.Swank)M:\Work Documents\Stryner-NERL\DeGroot - 201607 Metabolism\Experiments\20171006 Intracellular Study
Project: DeGroot - 201607 Metabolism, (CSS project- task HTT 10.3.2.)
QA Track ID: A-IO-0030767
QAPP Title: Retrofit Strategies for Incorporating Xenobiotic Metabolism into High-Throughput Screening Assays
Prepared By: Adam Swank
Sample Name | Acquisition Date | File Name | Analyte Peak Name | IS Peak Name | IS Retention Time (min) | IS Peak Area (counts) | Analyte Retention Time (min) | Analyte Peak Area (counts) | Analyte Concentration (nM) | Calculated Concentration (nM) | Accuracy (%)
Solvent Blank | 2017-10-10 08:51 | 201710\20171010-01-001.wiff | Diclofenac 294.1 / 213.9 | Diclofenac-13C6 300.1 / 255.8 | 4.08 | 2890 | 4.53 | 2890 | N/A | 72000 | N/A
Blank Matrix | 2017-10-10 09:04 | 201710\20171010-01-002.wiff | Diclofenac 294.1 / 213.9 | Diclofenac-13C6 300.1 / 255.8 | 0 | 0 | 4.59 | 69.1 | N/A | N/A | N/A
Method Blank | 2017-10-10 09:16 | 201710\20171010-01-003.wiff | Diclofenac 294.1 / 213.9 | Diclofenac-13C6 300.1 / 255.8 | 4.51 | 1470000 | 4.51 | 96.8 | N/A | < 0 | N/A
100 nM Std | 2017-10-10 09:29 | 201710\20171010-01-004.wiff | Diclofenac 294.1 / 213.9 | Diclofenac-13C6 300.1 / 255.8 | 4.7 | 1730000 | 4.53 | 2050 | 96.8 | 102 | 105
250 nM Std | 2017-10-10 09:42 | 201710\20171010-01-005.wiff | Diclofenac 294.1 / 213.9 | Diclofenac-13C6 300.1 / 255.8 | 4.52 | 1760000 | 4.51 | 3210 | 242 | 207 | 85.5
500 nM Std | 2017-10-10 09:54 | 201710\20171010-01-006.wiff | Diclofenac 294.1 / 213.9 | Diclofenac-13C6 300.1 / 255.8 | 4.46 | 1810000 | 4.46 | 6460 | 484 | 491 | 101
750 nM Std | 2017-10-10 10:07 | 201710\20171010-01-007.wiff | Diclofenac 294.1 / 213.9 | Diclofenac-13C6 300.1 / 255.8 | 4.71 | 1900000 | 4.71 | 8850 | 726 | 665 | 91.6
1 µM Std | 2017-10-10 10:20 | 201710\20171010-01-008.wiff | Diclofenac 294.1 / 213.9 | Diclofenac-13C6 300.1 / 255.8 | 4.52 | 1860000 | 4.53 | 13200 | 968 | 1060 | 109
2.5 µM Std | 2017-10-10 10:32 | 201710\20171010-01-009.wiff | Diclofenac 294.1 / 213.9 | Diclofenac-13C6 300.1 / 255.8 | 4.52 | 1900000 | 4.52 | 31500 | 2420 | 2520 | 104
5 µM Std | 2017-10-10 10:45 | 201710\20171010-01-010.wiff | Diclofenac 294.1 / 213.9 | Diclofenac-13C6 300.1 / 255.8 | 4.53 | 1930000 | 4.53 | 67000 | 4840 | 5140 | 106
10 µM Std | 2017-10-10 10:58 | 201710\20171010-01-011.wiff | Diclofenac 294.1 / 213.9 | Diclofenac-13C6 300.1 / 255.8 | 4.71 | 1920000 | 4.71 | 128000 | 9680 | 9330 | 96.4
750 nM QC | 2017-10-11 13:08 | 201710\20171011-02-001.wiff | Diclofenac 294.1 / 213.9 | Diclofenac-13C6 300.1 / 255.8 | 4.5 | 1190000 | 4.5 | 6290 | N/A | 761 | N/A
250 nM QC | 2017-10-11 13:20 | 201710\20171011-02-002.wiff | Diclofenac 294.1 / 213.9 | Diclofenac-13C6 300.1 / 255.8 | 4.7 | 1450000 | 4.7 | 2630 | N/A | 204 | N/A
2.5 µM QC | 2017-10-11 13:33 | 201710\20171011-02-003.wiff | Diclofenac 294.1 / 213.9 | Diclofenac-13C6 300.1 / 255.8 | 4.52 | 1440000 | 4.52 | 25200 | N/A | 2650 | N/A
22_DCF_t18-DIL | 2017-10-11 13:46 | 201710\20171011-02-004.wiff | Diclofenac 294.1 / 213.9 | Diclofenac-13C6 300.1 / 255.8 | 4.54 | 1160000 | 4.55 | 2770 | N/A | 296 | N/A
750 nM QC | 2017-10-11 13:58 | 201710\20171011-02-005.wiff | Diclofenac 294.1 / 213.9 | Diclofenac-13C6 300.1 / 255.8 | 4.5 | 1510000 | 4.51 | 7640 | N/A | 729 | N/A
250 nM QC | 2017-10-11 14:11 | 201710\20171011-02-006.wiff | Diclofenac 294.1 / 213.9 | Diclofenac-13C6 300.1 / 255.8 | 4.54 | 1670000 | 4.54 | 2600 | N/A | 162 | N/A
2.5 µM QC | 2017-10-11 14:24 | 201710\20171011-02-007.wiff | Diclofenac 294.1 / 213.9 | Diclofenac-13C6 300.1 / 255.8 | 4.5 | 1650000 | 4.5 | 27500 | N/A | 2530 | N/A
Solvent Blank | 2017-10-10 08:51 | 201710\20171010-01-001.wiff | Diclofenac 294.1 / 249.7 | Diclofenac-13C6 300.1 / 255.8 | 4.08 | 2890 | 4.68 | 1690 | N/A | 4560 | N/A
Blank Matrix | 2017-10-10 09:04 | 201710\20171010-01-002.wiff | Diclofenac 294.1 / 249.7 | Diclofenac-13C6 300.1 / 255.8 | 0 | 0 | 4.46 | 1460 | N/A | N/A | N/A
Method Blank | 2017-10-10 09:16 | 201710\20171010-01-003.wiff | Diclofenac 294.1 / 249.7 | Diclofenac-13C6 300.1 / 255.8 | 4.51 | 1470000 | 4.48 | 1430 | N/A | 12.2 | N/A
100 nM Std | 2017-10-10 09:29 | 201710\20171010-01-004.wiff | Diclofenac 294.1 / 249.7 | Diclofenac-13C6 300.1 / 255.8 | 4.7 | 1730000 | 4.7 | 20700 | 96.8 | 98.6 | 102
250 nM Std | 2017-10-10 09:42 | 201710\20171010-01-005.wiff | Diclofenac 294.1 / 249.7 | Diclofenac-13C6 300.1 / 255.8 | 4.52 | 1760000 | 4.52 | 51000 | 242 | 232 | 96
500 nM Std | 2017-10-10 09:54 | 201710\20171010-01-006.wiff | Diclofenac 294.1 / 249.7 | Diclofenac-13C6 300.1 / 255.8 | 4.46 | 1810000 | 4.46 | 108000 | 484 | 473 | 97.8
750 nM Std | 2017-10-10 10:07 | 201710\20171010-01-007.wiff | Diclofenac 294.1 / 249.7 | Diclofenac-13C6 300.1 / 255.8 | 4.71 | 1900000 | 4.71 | 172000 | 726 | 716 | 98.6
1 µM Std | 2017-10-10 10:20 | 201710\20171010-01-008.wiff | Diclofenac 294.1 / 249.7 | Diclofenac-13C6 300.1 / 255.8 | 4.52 | 1860000 | 4.53 | 234000 | 968 | 993 | 103
2.5 µM Std | 2017-10-10 10:32 | 201710\20171010-01-009.wiff | Diclofenac 294.1 / 249.7 | Diclofenac-13C6 300.1 / 255.8 | 4.52 | 1900000 | 4.53 | 607000 | 2420 | 2510 | 104
5 µM Std | 2017-10-10 10:45 | 201710\20171010-01-010.wiff | Diclofenac 294.1 / 249.7 | Diclofenac-13C6 300.1 / 255.8 | 4.53 | 1930000 | 4.53 | 1200000 | 4840 | 4890 | 101
10 µM Std | 2017-10-10 10:58 | 201710\20171010-01-011.wiff | Diclofenac 294.1 / 249.7 | Diclofenac-13C6 300.1 / 255.8 | 4.71 | 1920000 | 4.72 | 2350000 | 9680 | 9550 | 98.7
750 nM QC | 2017-10-11 13:08 | 201710\20171011-02-001.wiff | Diclofenac 294.1 / 249.7 | Diclofenac-13C6 300.1 / 255.8 | 4.5 | 1190000 | 4.51 | 116000 | N/A | 769 | N/A
250 nM QC | 2017-10-11 13:20 | 201710\20171011-02-002.wiff | Diclofenac 294.1 / 249.7 | Diclofenac-13C6 300.1 / 255.8 | 4.7 | 1450000 | 4.71 | 46700 | N/A | 257 | N/A
2.5 µM QC | 2017-10-11 13:33 | 201710\20171011-02-003.wiff | Diclofenac 294.1 / 249.7 | Diclofenac-13C6 300.1 / 255.8 | 4.52 | 1440000 | 4.52 | 462000 | N/A | 2520 | N/A
22_DCF_t18-DIL | 2017-10-11 13:46 | 201710\20171011-02-004.wiff | Diclofenac 294.1 / 249.7 | Diclofenac-13C6 300.1 / 255.8 | 4.54 | 1160000 | 4.54 | 57500 | N/A | 392 | N/A
750 nM QC | 2017-10-11 13:58 | 201710\20171011-02-005.wiff | Diclofenac 294.1 / 249.7 | Diclofenac-13C6 300.1 / 255.8 | 4.5 | 1510000 | 4.5 | 141000 | N/A | 740 | N/A
250 nM QC | 2017-10-11 14:11 | 201710\20171011-02-006.wiff | Diclofenac 294.1 / 249.7 | Diclofenac-13C6 300.1 / 255.8 | 4.54 | 1670000 | 4.54 | 52100 | N/A | 249 | N/A
2.5 µM QC | 2017-10-11 14:24 | 201710\20171011-02-007.wiff | Diclofenac 294.1 / 249.7 | Diclofenac-13C6 300.1 / 255.8 | 4.5 | 1650000 | 4.5 | 532000 | N/A | 2530 | N/A

## Diclofenac Batch Results
Worksheet: Diclofenac Batch Results
File: 20171011 DCF Results.xlsx
Location: (A.Swank)M:\Work Documents\Stryner-NERL\DeGroot - 201607 Metabolism\Experiments\20171006 Intracellular Study
Project: DeGroot - 201607 Metabolism, (CSS project- task HTT 10.3.2.)
QA Track ID: A-IO-0030767
QAPP Title: Retrofit Strategies for Incorporating Xenobiotic Metabolism into High-Throughput Screening Assays
Prepared By: Adam Swank
Peak Name: Diclofenac 294.1 / 249.7
Internal Standard: Diclofenac-13C6 300.1 / 255.8
Q1/Q3 Masses: 294.13/249.70 amu
Fit | Quadratic | Weighting | 1 / (x * x) | Iterate | No
a0 | -0.00058
a1 | 0.000127
a2 | 1.01e-10
Correlation coefficient | 0.9995
Use Area
[8 empty] | Diclofenac 294.1 / 249.7 | Diclofenac 294.1 / 213.9
Sample Name | Acquisition Date | File Name | Analyte Peak Name | IS Peak Name | IS Retention Time (min) | IS Peak Area (counts) | Analyte Retention Time (min) | Analyte Peak Area (counts) | Analyte Peak Area (counts) | Ion Ratio | Analyte Concentration (nM) | Calculated Concentration (nM) | Accuracy (%) | Notes
Solvent Blank | 2017-10-10 08:51 | 201710\20171010-01-001.wiff | Diclofenac 294.1 / 249.7 | Diclofenac-13C6 300.1 / 255.8 | 4.08 | 2890 | 4.68 | 1690 | 2890 | 0.58478 | N/A | 4560 | N/A
Blank Matrix | 2017-10-10 09:04 | 201710\20171010-01-002.wiff | Diclofenac 294.1 / 249.7 | Diclofenac-13C6 300.1 / 255.8 | 0 | 0 | 4.46 | 1460 | 69.1 | 21.1288 | N/A | N/A | N/A
Method Blank | 2017-10-10 09:16 | 201710\20171010-01-003.wiff | Diclofenac 294.1 / 249.7 | Diclofenac-13C6 300.1 / 255.8 | 4.51 | 1470000 | 4.48 | 1430 | 96.8 | 14.7727 | N/A | 12.2 | N/A
100 nM Std | 2017-10-10 09:29 | 201710\20171010-01-004.wiff | Diclofenac 294.1 / 249.7 | Diclofenac-13C6 300.1 / 255.8 | 4.7 | 1730000 | 4.7 | 20700 | 2050 | 10.0976 | 96.8151 | 98.6 | 101.8436
250 nM Std | 2017-10-10 09:42 | 201710\20171010-01-005.wiff | Diclofenac 294.1 / 249.7 | Diclofenac-13C6 300.1 / 255.8 | 4.52 | 1760000 | 4.52 | 51000 | 3210 | 15.8879 | 242.0378 | 232 | 95.8528
500 nM Std | 2017-10-10 09:54 | 201710\20171010-01-006.wiff | Diclofenac 294.1 / 249.7 | Diclofenac-13C6 300.1 / 255.8 | 4.46 | 1810000 | 4.46 | 108000 | 6460 | 16.7183 | 484.0756 | 473 | 97.712
750 nM Std | 2017-10-10 10:07 | 201710\20171010-01-007.wiff | Diclofenac 294.1 / 249.7 | Diclofenac-13C6 300.1 / 255.8 | 4.71 | 1900000 | 4.71 | 172000 | 8850 | 19.435 | 726.1135 | 716 | 98.6072
1 µM Std | 2017-10-10 10:20 | 201710\20171010-01-008.wiff | Diclofenac 294.1 / 249.7 | Diclofenac-13C6 300.1 / 255.8 | 4.52 | 1860000 | 4.53 | 234000 | 13200 | 17.7273 | 968.1513 | 993 | 102.5666
2.5 µM Std | 2017-10-10 10:32 | 201710\20171010-01-009.wiff | Diclofenac 294.1 / 249.7 | Diclofenac-13C6 300.1 / 255.8 | 4.52 | 1900000 | 4.53 | 607000 | 31500 | 19.2698 | 2420.3782 | 2510 | 103.7028
5 µM Std | 2017-10-10 10:45 | 201710\20171010-01-010.wiff | Diclofenac 294.1 / 249.7 | Diclofenac-13C6 300.1 / 255.8 | 4.53 | 1930000 | 4.53 | 1200000 | 67000 | 17.9104 | 4840.7564 | 4890 | 101.0173
10 µM Std | 2017-10-10 10:58 | 201710\20171010-01-011.wiff | Diclofenac 294.1 / 249.7 | Diclofenac-13C6 300.1 / 255.8 | 4.71 | 1920000 | 4.72 | 2350000 | 128000 | 18.3594 | 9681.5127 | 9550 | 98.6416
750 nM QC | 2017-10-11 13:08 | 201710\20171011-02-001.wiff | Diclofenac 294.1 / 249.7 | Diclofenac-13C6 300.1 / 255.8 | 4.5 | 1190000 | 4.51 | 116000 | 6290 | 18.442 | 726.1135 | 769 | 105.9063
250 nM QC | 2017-10-11 13:20 | 201710\20171011-02-002.wiff | Diclofenac 294.1 / 249.7 | Diclofenac-13C6 300.1 / 255.8 | 4.7 | 1450000 | 4.71 | 46700 | 2630 | 17.7567 | 242.0378 | 257 | 106.1818
2.5 µM QC | 2017-10-11 13:33 | 201710\20171011-02-003.wiff | Diclofenac 294.1 / 249.7 | Diclofenac-13C6 300.1 / 255.8 | 4.52 | 1440000 | 4.52 | 462000 | 25200 | 18.3333 | 2420.3782 | 2520 | 104.116
22_DCF_t18-DIL | 2017-10-11 13:46 | 201710\20171011-02-004.wiff | Diclofenac 294.1 / 249.7 | Diclofenac-13C6 300.1 / 255.8 | 4.54 | 1160000 | 4.54 | 57500 | 2770 | 20.7581 | N/A | 392 | N/A
750 nM QC | 2017-10-11 13:58 | 201710\20171011-02-005.wiff | Diclofenac 294.1 / 249.7 | Diclofenac-13C6 300.1 / 255.8 | 4.5 | 1510000 | 4.5 | 141000 | 7640 | 18.4555 | 726.1135 | 740 | 101.9124
250 nM QC | 2017-10-11 14:11 | 201710\20171011-02-006.wiff | Diclofenac 294.1 / 249.7 | Diclofenac-13C6 300.1 / 255.8 | 4.54 | 1670000 | 4.54 | 52100 | 2600 | 20.0385 | 242.0378 | 249 | 102.8765
2.5 µM QC | 2017-10-11 14:24 | 201710\20171011-02-007.wiff | Diclofenac 294.1 / 249.7 | Diclofenac-13C6 300.1 / 255.8 | 4.5 | 1650000 | 4.5 | 532000 | 27500 | 19.3455 | 2420.3782 | 2530 | 104.5291
[8 empty] | Diclofenac 294.1 / 249.7 | Diclofenac 294.1 / 213.9
Sample Name | Acquisition Date | File Name | Analyte Peak Name | IS Peak Name | IS Retention Time (min) | IS Peak Area (counts) | Analyte Retention Time (min) | Analyte Peak Area (counts) | Analyte Peak Area (counts) | Ion Ratio | Analyte Concentration (nM) | Calculated Concentration (nM) | Accuracy (%)
250 nM Std | 2017-10-10 09:42 | 201710\20171010-01-005.wiff | Diclofenac 294.1 / 249.7 | Diclofenac-13C6 300.1 / 255.8 | 4.52 | 1760000 | 4.52 | 51000 | 3210 | 15.8879 | 242.0378 | 232 | 95.8528 |  | 101.637 | Average Recovery
250 nM QC | 2017-10-11 13:20 | 201710\20171011-02-002.wiff | Diclofenac 294.1 / 249.7 | Diclofenac-13C6 300.1 / 255.8 | 4.7 | 1450000 | 4.71 | 46700 | 2630 | 17.7567 | 242.0378 | 257 | 106.1818 |  | 246 | Average Response (nM)
250 nM QC | 2017-10-11 14:11 | 201710\20171011-02-006.wiff | Diclofenac 294.1 / 249.7 | Diclofenac-13C6 300.1 / 255.8 | 4.54 | 1670000 | 4.54 | 52100 | 2600 | 20.0385 | 242.0378 | 249 | 102.8765 |  | 12.7671 | Response Std Dev (nM)
[15 empty] | 5.1899 | %RSD
750 nM Std | 2017-10-10 10:07 | 201710\20171010-01-007.wiff | Diclofenac 294.1 / 249.7 | Diclofenac-13C6 300.1 / 255.8 | 4.71 | 1900000 | 4.71 | 172000 | 8850 | 19.435 | 726.1135 | 716 | 98.6072 |  | 102.142 | Average Recovery
750 nM QC | 2017-10-11 13:08 | 201710\20171011-02-001.wiff | Diclofenac 294.1 / 249.7 | Diclofenac-13C6 300.1 / 255.8 | 4.5 | 1190000 | 4.51 | 116000 | 6290 | 18.442 | 726.1135 | 769 | 105.9063 |  | 741.6667 | Average Response (nM)
750 nM QC | 2017-10-11 13:58 | 201710\20171011-02-005.wiff | Diclofenac 294.1 / 249.7 | Diclofenac-13C6 300.1 / 255.8 | 4.5 | 1510000 | 4.5 | 141000 | 7640 | 18.4555 | 726.1135 | 740 | 101.9124 |  | 26.5393 | Response Std Dev (nM)
[15 empty] | 3.5783 | %RSD
2.5 µM Std | 2017-10-10 10:32 | 201710\20171010-01-009.wiff | Diclofenac 294.1 / 249.7 | Diclofenac-13C6 300.1 / 255.8 | 4.52 | 1900000 | 4.53 | 607000 | 31500 | 19.2698 | 2420.3782 | 2510 | 103.7028 |  | 104.116 | Average Recovery
2.5 µM QC | 2017-10-11 13:33 | 201710\20171011-02-003.wiff | Diclofenac 294.1 / 249.7 | Diclofenac-13C6 300.1 / 255.8 | 4.52 | 1440000 | 4.52 | 462000 | 25200 | 18.3333 | 2420.3782 | 2520 | 104.116 |  | 2520 | Average Response (nM)
2.5 µM QC | 2017-10-11 14:24 | 201710\20171011-02-007.wiff | Diclofenac 294.1 / 249.7 | Diclofenac-13C6 300.1 / 255.8 | 4.5 | 1650000 | 4.5 | 532000 | 27500 | 19.3455 | 2420.3782 | 2530 | 104.5291 |  | 10 | Response Std Dev (nM)
[15 empty] | 0.39683 | %RSD
Quality Control Report - Batch Results Accepted
Batch: 20171011 DCF.dab
File: 20171011 DCF Results.xlsx
Analyte | ESI (+/-) | Calibration Range | Limit of Detection (nM)
Diclofenac 294.1 / 249.7 | - | 100 nm - 10 µm | 15
QC Criteria | Y/N | Notes
Correlation coefficient of > 0.99 | Y | 0.9995
minimum of 7 Cal Stds Used | Y
Std & QC Accuracy < 20% (30% LLOQ) | Y
Std & QC Precision < 15% (20% LLOQ) for CV (N=3) | Y
> 67% of all Std & QC satisfy Accuracy Criteria | Y
Final QC Accuracy < 20% (30% LLOQ) | Y
Reagent Blank free of Anlyte | Y
Blank Matrix free of Anlyte | Y
Method Blank < LOD (__ nM) | Y

## Diclofenac Sample Results
Worksheet: Diclofenac Sample Results
File: 20171011 DCF Results.xlsx
Location: (A.Swank)M:\Work Documents\Stryner-NERL\DeGroot - 201607 Metabolism\Experiments\20171006 Intracellular Study
Project: DeGroot - 201607 Metabolism, (CSS project- task HTT 10.3.2.)
QA Track ID: A-IO-0030767
QAPP Title: Retrofit Strategies for Incorporating Xenobiotic Metabolism into High-Throughput Screening Assays
Prepared By: Adam Swank
Sample Name | File Name | Calculated Concentration (nM) | Calculated Concentration Corrected for Dilution (µM) | Notes
22_DCF_t18-DIL | 201710\20171011-02-004.wiff | 392 | 1.96