National Pollutant Discharge Elimination System (NPDES) Permit Application Requirements for the                                                                  Washington Department of Transportation’s  Municipal Separate Storm Sewer Systems Discharging to Puyallup Tribal Waters
U.S. Environmental Protection Agency, Region 10
June 2012
The following NPDES permit application requirements for municipal storm water discharges to Tribal waters are based on federal U.S. Environmental Protection Agency (EPA) regulations found at 40 CFR §§122.21, 122.26(d) and 122.33(b)(ii). 
The modified application requirements outlined below are intended for use only by operators of municipal separate storm sewer systems that discharge to water bodies subject to EPA-approved Tribal water quality standards within the states of Washington, Idaho and Oregon.  Questions about the content of this document should be directed to Misha Vakoc, EPA Region 10 Stormwater Permit Coordinator, at (206) 553-6650 or vakoc.misha@epa.gov.
All applications for NPDES permits authorizing municipal stormwater discharges to Puyallup Tribal waters must provide the following information: 

1)  
General information. The applicants' name, mailing address, telephone number, and email address of contact person; ownership status and status as a State or local government entity.

2) 
Legal authority. A description of existing legal authority to control discharges to the existing and planned/future municipal separate storm sewer system as established by statute, ordinance or series of contracts which authorizes or enables the applicant, at a minimum, to:

(A) Control through ordinance, permit, contract, order or similar means, the contribution of pollutants to the municipal storm sewer by storm water discharges associated with industrial activity and the quality of storm water discharged from sites of industrial activity;

(B) Prohibit through ordinance, order or similar means, illicit discharges to the municipal separate storm sewer;

(C) Control through ordinance, order or similar means the discharge to a municipal separate storm sewer of spills, dumping or disposal of materials other than storm water;

(D) Control through interagency agreements among co-applicants the contribution of pollutants from one portion of the municipal system to another portion of the municipal system;

(E) Require compliance with conditions in ordinances, permits, contracts or orders; and

(F) Carry out all inspection, surveillance and monitoring procedures necessary to determine compliance and noncompliance with permit conditions including the prohibition on illicit discharges to the municipal separate storm sewer. 
When existing legal authority is not sufficient to meet the criteria provided in this section, the description shall list additional authorities as will be necessary to meet the criteria and shall include a schedule and commitment to seek such additional authority that will be needed to meet the criteria.

3)
Source identification.
 (A) A map, extending one mile beyond the service boundaries, of all portions of the existing and planned/future municipal storm sewer system discharging to Tribal waters. The following information shall also be provided:

(1 ) The location of all known municipal storm sewer system outfalls currently discharging directly to Tribal waters or indirectly to Tribal waters through another operator’s municipal storm sewer system;   

(2)The location of all municipal storm sewer system outfalls expected to be constructed and operated by the applicant and which will result in discharge to Tribal waters; 

(2 ) Within the catchment basin draining the separate storm sewer system discharging to Tribal waters, a description of the soils, topography, amount of impervious cover and land use activities (e.g. divisions indicating undeveloped, residential, commercial, agricultural and industrial uses)  and estimates of population densities and projected growth for a ten year period within each catchment area/drainage area. If available, such information may be provided using GIS data layers.  For each land use type, include an estimate of an average runoff coefficient 
 (3 ) The location and the permit number of any known discharge to the municipal storm sewer that has been issued a state or federal NPDES permit. Provide an inventory, organized by catchment area/drainage area, of the facility name and address, a description (such as SIC codes) which best reflects the principal products or services provided by each facility and NPDES permit number, as available, of any known discharge to the municipal separate storm sewer that discharges to Tribal waters. 

(4 ) The location and identification of existing or planned Capital Improvement Projects or major structural stormwater control structures (such as retention basins, detention basins, stormwater retrofits, infiltration or other Low Impact development (LID) techniques, etc)  

4) 
Discharge characterization. 
(A) Monthly mean rain and snow fall estimates (or summary of weather bureau data) and the monthly average number of storm events.

(B) Existing quantitative data describing the volume and quality of discharges from the existing municipal storm sewer to Tribal waters, including a description of the outfalls sampled, sampling procedures and analytical methods used. Include any modeling work, additional data or technical studies completed to date.  

(C) A list of water bodies that receive discharges from the municipal separate storm sewer system outfalls discharging to Tribal waters, including downstream segments, lakes and estuaries, where pollutants from the system discharges may accumulate and cause water degradation and a brief description of known water quality impacts. At a minimum, the description of impacts shall include a description of whether the water bodies receiving such discharges have been:

( 1 ) Assessed and reported in section 305(b) reports submitted by the State, the basis for the assessment (evaluated or monitored), a summary of designated use support and attainment of Clean Water Act (CWA) goals (fishable and swimmable waters), and causes of nonsupport of designated uses;

 (2 ) Listed in State Nonpoint Source Assessments required by section 319(a) of the CWA that, without additional action to control nonpoint sources of pollution, cannot reasonably be expected to attain or maintain water quality standards due to storm sewers, construction, highway maintenance and runoff from municipal landfills and municipal sludge adding significant pollution (or contributing to a violation of water quality standards);

(3) Found to have pollutants in bottom sediments, fish tissue or biosurvey data.

(D) Field screening:. For each existing outfall discharging to Tribal waters, provide results of field screening analysis for illicit connections and illegal dumping. At a minimum, a screening analysis shall include a narrative description, for each outfall, of visual observations made during dry weather periods. If any flow is observed, two grab samples shall be collected during a 24 hour period with a minimum period of four hours between samples. For all such samples, a narrative description of the color, odor, turbidity, the presence of an oil sheen or surface scum as well as any other relevant observations regarding the potential presence of non-storm water discharges or illegal dumping shall be provided. In addition, a narrative description of the results of a field analysis using suitable methods to estimate pH, total chlorine, total copper, total phenol, and detergents (or surfactants) shall be provided along with a description of the flow rate. Where the field analysis does not involve analytical methods approved under 40 CFR Part 136, the applicant shall provide a description of the method used including the name of the manufacturer of the test method along with the range and accuracy of the test. Field screening points shall be either outfalls or other outfall points (or any other point of access such as manholes) randomly located throughout the portion of the storm sewer system draining to Tribal waters by placing a grid over a drainage system map and identifying those cells of the grid which contain a segment of the storm sewer system or outfall. 

(E) Characterization data: When “quantitative data” for a pollutant are required under paragraph (A)( 3 ) below, the applicant must collect a sample of effluent in accordance with 40 CFR 122.21(g)(7) 
 and analyze it for the pollutant in accordance with analytical methods approved under part 136 of this chapter. When no analytical method is approved, the applicant may use any suitable method but must provide a description of the method. The applicant must provide information characterizing the quality and quantity of discharges to Tribal waters,, including:

(A) Quantitative data from existing outfalls discharging directly to Tribal waters developed as follows:

( 1 ) For each existing outfall, samples shall be collected of storm water discharges from three storm events occurring at least one month apart in accordance with the requirements at §122.21(g)(7)
;

( 2 ) A narrative description shall be provided of the date and duration of the storm event(s) sampled, rainfall estimates of the storm event which generated the sampled discharge and the duration between the storm event sampled and the end of the previous measurable (greater than 0.1 inch rainfall) storm event;

( 3 ) For samples collected and described under paragraphs  (A)( 1 ) and (A)( 2 ) of this section, quantitative data shall be provided for: the organic pollutants listed in Table II,  the pollutants listed in Table III (toxic metals, cyanide, and total phenols) of appendix D of 40 CFR part 122,
 and for the following pollutants:

Total suspended solids (TSS)

Total dissolved solids (TDS)

COD

BOD5
Oil and grease

Fecal coliform

Fecal streptococcus

pH

Total Kjeldahl nitrogen

Nitrate plus nitrite

Dissolved phosphorus

Total ammonia plus organic nitrogen

Total phosphorus

(B) Estimates of the annual pollutant load of the cumulative discharges from all  existing and future/planned municipal outfalls discharging directly to Tribal waters, and the event mean concentration of the cumulative discharges from all  identified municipal outfalls discharging to Tribal waters during a storm event (as described under §122.21(g)(7))
 for BOD5, COD, TSS, dissolved solids, total nitrogen, total ammonia plus organic nitrogen, total phosphorus, dissolved phosphorus, cadmium, copper, lead, zinc,  polyaromatic hydrocarbons, and phthalates. Estimates must be accompanied by a description of the procedures for estimating constituent loads and concentrations, including any modelling, data analysis, and calculation methods;(C) Estimates of the annual pollutant load of the cumulative discharges from those areas under the control of the applicant from the portion of the existing municipal storm sewer system discharging indirectly to Tribal waters through another operator’s municipal storm sewer system. Estimates must be calculated for the constituents identified in paragraph (B) above, and must include a description of the procedures used for estimating such constituent loads and concentrations. 
5) 
 Management programs. 
(A) A description of the stormwater management programs to control pollutants from the existing and future/planned municipal separate storm sewer system outfalls discharging to Tribal waters. The description shall provide information on existing and future/planned structural and source controls, including operation and maintenance measures for structural controls that are currently being and/or anticipated to be implemented. 
(B) A description of the stormwater management program to detect and remove (or require the discharger to the municipal separate storm sewer to obtain a separate NPDES permit for) illicit discharges and improper disposal into the storm sewer.. The description should include inspection procedures and methods for detecting and preventing illicit discharges, The program description must include: 

(1 ) A description of the ordinance, orders or similar means to prevent illicit discharges to the municipal separate storm sewer system which addresses all types of illicit discharges. The following non-storm water discharges or flows need not be  addressed unless such discharges are identified by the municipality as sources of pollutants to waters of the United States: water line flushing, landscape irrigation, diverted stream flows, rising ground waters, uncontaminated ground water infiltration (as defined at 40 CFR 35.2005(20)) to separate storm sewers, uncontaminated pumped ground water, discharges from potable water sources, foundation drains, air conditioning condensation, irrigation water, springs, water from crawl space pumps, footing drains, lawn watering, individual residential car washing, flows from riparian habitats and wetlands, dechlorinated swimming pool discharges, and street wash water (program descriptions shall address discharges or flows from fire fighting only where such discharges or flows are identified as significant sources of pollutants to waters of the United States);

(2 ) A description of procedures to conduct on-going field screening activities during the life of the permit in catchment areas draining to existing and future/plannedoutfalls that discharge to Tribal waters;

(3 ) A description of procedures to be followed to investigate portions of the separate storm sewer system that, based on the results of a field screen, or other appropriate information, indicate a reasonable potential of containing illicit discharges or other sources of non-storm water;

(4 ) A description of procedures to prevent, contain, and respond to spills that may discharge into the municipal separate storm sewer;

(5 ) A description of a program to promote, publicize, and facilitate public reporting of the presence of illicit discharges or water quality impacts associated with discharges from municipal separate storm sewers;

(6 ) A description of educational activities, public information activities, and other appropriate activities to facilitate the proper management and disposal of used oil and toxic materials; and

(7 ) A description of controls to limit infiltration of seepage from municipal sanitary sewers to municipal separate storm sewer systems where necessary.
(C) A description of structural and source control measures to reduce pollutants from runoff from commercial and residential areas that are discharged from the existing and future/planned municipal storm sewer system outfalls discharging directly or indirectly to Tribal waters that are currently implemented.  At a minimum, the description shall include:

( 1 ) A description of maintenance activities and a maintenance schedule for structural controls to reduce pollutants (including floatables) in discharges from municipal separate storm sewers discharging to Tribal waters;

( 2 ) A description of controls to reduce the discharge of pollutants from municipal separate storm sewers to Tribal waters which receive discharges from areas of new development and significant redevelopment;

( 3 ) A description of practices for operating and maintaining public streets, roads and highways and procedures for reducing the impact on Tribal receiving waters of discharges from municipal storm sewer systems, including pollutants discharged as a result of deicing activities;

( 4 ) A description of procedures to assure that flood management projects assess the impacts on the water quality of Tribal receiving waters and that existing structural flood control devices have been evaluated to determine if retrofitting the device to provide additional pollutant removal from storm water is feasible;

( 5 ) A description of a program to monitor pollutants in runoff from operating or closed municipal landfills or other treatment, storage or disposal facilities for municipal waste located within the areas drained by the municipal storm sewer system outfall discharging to Tribal waters, which shall identify priorities and procedures for inspections and establishing and implementing control measures for such discharges; and

( 6 ) A description of a program to reduce to the maximum extent practicable, pollutants in discharges from municipal separate storm sewers associated with the application of pesticides, herbicides and fertilizer which will include, as appropriate, controls such as educational activities, permits, certifications and other measures for commercial applicators and distributors, and controls for application in public right-of-ways and at municipal facilities.

 (D) A description of a program to monitor and control pollutants in storm water discharges to municipal systems from municipal landfills, hazardous waste treatment, disposal and recovery facilities, industrial facilities that are subject to section 313 of title III of the Superfund Amendments and Reauthorization Act of 1986 (SARA), and industrial facilities that the municipal permit applicant determines are contributing a substantial pollutant loading to the municipal storm sewer  discharging directly or indirectly s to Tribal waters . The program shall:

( 1 ) Identify priorities and procedures for inspections and establishing and implementing control measures for such discharges;

( 2 ) Describe a monitoring program for storm water discharges associated with the industrial facilities identified in paragraph (C) of this section, to be implemented during the term of the permit, including the submission of quantitative data on the following constituents: any pollutants limited in effluent guidelines subcategories, where applicable; any pollutant listed in an existing NPDES permit for a facility; oil and grease, COD, pH, BOD5, TSS, total phosphorus, total Kjeldahl nitrogen, nitrate plus nitrite nitrogen, and any information on discharges required under §122.21(g)(7) (vi) and (vii).

(E) A description of a program to reduce pollutants in storm water runoff from construction sites to the municipal storm sewer system, including:

( 1 ) A description of procedures for site planning which incorporate consideration of potential water quality impacts;

( 2 ) A description of requirements for nonstructural and structural best management practices;

( 3 ) A description of procedures for identifying priorities for inspecting sites and enforcing control measures which consider the nature of the construction activity, topography, and the characteristics of soils and receiving water quality; and

( 4 ) A description of appropriate educational and training measures for construction site operators.

6) 
Fiscal Resources. A description of the municipality's budget for existing storm water programs, including an overview of the municipality's financial resources and budget, including overall indebtedness and assets, and sources of funds for storm water programs 
7) 
Assessment of Controls. Estimated reductions in loadings of pollutants from discharges of municipal storm sewer constituents from municipal storm sewer outfalls discharging to Tribal waters expected as the result of the municipal storm water quality management program. The assessment shall also identify known impacts of storm water controls on ground water.

8) 
Signature. A permit application submitted by a municipality, state, federal or other public agency must be signed by a principal executive officer or ranking elected official. See 40 CFR 122.22   All applications must be signed using the following certification: 

I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted. Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations. 
Appendix 1
For reference, the following text is reproduced from 40 CFR 122. 21(g)(7): 

7) Effluent characteristics. 
(i) Information on the discharge of pollutants specified in this paragraph (g)(7) (except information on storm water discharges which is to be provided as specified in §122.26). When “quantitative data” for a pollutant are required, the applicant must collect a sample of effluent and analyze it for the pollutant in accordance with analytical methods approved under Part 136 of this chapter unless use of another method is required for the pollutant under 40 CFR subchapters N or O. When no analytical method is approved under Part 136 or required under subchapters N or O, the applicant may use any suitable method but must provide a description of the method. When an applicant has two or more outfalls with substantially identical effluents, the Director may allow the applicant to test only one outfall and report that quantitative data as applying to the substantially identical outfall. The requirements in paragraphs (g)(7)(vi) and (vii) of this section state that an applicant must provide quantitative data for certain pollutants known or believed to be present do not apply to pollutants present in a discharge solely as the result of their presence in intake water; however, an applicant must report such pollutants as present. When paragraph (g)(7) of this section requires analysis of pH, temperature, cyanide, total phenols, residual chlorine, oil and grease, fecal coliform (including E. coli ), and Enterococci (previously known as fecal streptococcus at §122.26 (d)(2)(iii)(A)(3)), or volatile organics, grab samples must be collected for those pollutants. For all other pollutants, a 24-hour composite sample, using a minimum of four (4) grab samples, must be used unless specified otherwise at 40 CFR Part 136. However, a minimum of one grab sample may be taken for effluents from holding ponds or other impoundments with a retention period greater than 24 hours. In addition, for discharges other than storm water discharges, the Director may waive composite sampling for any outfall for which the applicant demonstrates that the use of an automatic sampler is infeasible and that the minimum of four (4) grab samples will be a representative sample of the effluent being discharged. Results of analyses of individual grab samples for any parameter may be averaged to obtain the daily average. Grab samples that are not required to be analyzed immediately (see Table II at 40 CFR 136.3 (e)) may be composited in the laboratory, provided that container, preservation, and holding time requirements are met (see Table II at 40 CFR 136.3 (e)) and that sample integrity is not compromised by compositing.

(ii) Storm water discharges. For storm water discharges, all samples shall be collected from the discharge resulting from a storm event that is greater than 0.1 inch and at least 72 hours from the previously measurable (greater than 0.1 inch rainfall) storm event. Where feasible, the variance in the duration of the event and the total rainfall of the event should not exceed 50 percent from the average or median rainfall event in that area. For all applicants, a flow-weighted composite shall be taken for either the entire discharge or for the first three hours of the discharge. The flow-weighted composite sample for a storm water discharge may be taken with a continuous sampler or as a combination of a minimum of three sample aliquots taken in each hour of discharge for the entire discharge or for the first three hours of the discharge, with each aliquot being separated by a minimum period of fifteen minutes (applicants submitting permit applications for storm water discharges under §122.26(d) may collect flow-weighted composite samples using different protocols with respect to the time duration between the collection of sample aliquots, subject to the approval of the Director). However, a minimum of one grab sample may be taken for storm water discharges from holding ponds or other impoundments with a retention period greater than 24 hours. For a flow-weighted composite sample, only one analysis of the composite of aliquots is required. For storm water discharge samples taken from discharges associated with industrial activities, quantitative data must be reported for the grab sample taken during the first thirty minutes (or as soon thereafter as practicable) of the discharge for all pollutants specified in §122.26(c)(1). For all storm water permit applicants taking flow-weighted composites, quantitative data must be reported for all pollutants specified in §122.26 except pH, temperature, cyanide, total phenols, residual chlorine, oil and grease, fecal coliform, and fecal streptococcus. The Director may allow or establish appropriate site-specific sampling procedures or requirements, including sampling locations, the season in which the sampling takes place, the minimum duration between the previous measurable storm event and the storm event sampled, the minimum or maximum level of precipitation required for an appropriate storm event, the form of precipitation sampled (snow melt or rain fall), protocols for collecting samples under part 136 of this chapter, and additional time for submitting data on a case-by-case basis. An applicant is expected to “know or have reason to believe” that a pollutant is present in an effluent based on an evaluation of the expected use, production, or storage of the pollutant, or on any previous analyses for the pollutant. (For example, any pesticide manufactured by a facility may be expected to be present in contaminated storm water runoff from the facility.)

(iii) Reporting requirements. Every applicant must report quantitative data for every outfall for the following pollutants:

Biochemical Oxygen Demand (BOD5)

Chemical Oxygen Demand

Total Organic Carbon

Total Suspended Solids

Ammonia (as N)

Temperature (both winter and summer)

pH

(iv) The Director may waive the reporting requirements for individual point sources or for a particular industry category for one or more of the pollutants listed in paragraph (g)(7)(iii) of this section if the applicant has demonstrated that such a waiver is appropriate because information adequate to support issuance of a permit can be obtained with less stringent requirements.

(v) Each applicant with processes in one or more primary industry category (see appendix A of this part) contributing to a discharge must report quantitative data for the following pollutants in each outfall containing process wastewater:

(A) The organic toxic pollutants in the fractions designated in table I of appendix D of this part for the applicant's industrial category or categories unless the applicant qualifies as a small business under paragraph (g)(8) of this section. Table II of appendix D of this part lists the organic toxic pollutants in each fraction. The fractions result from the sample preparation required by the analytical procedure which uses gas chromatography/mass spectrometry. A determination that an applicant falls within a particular industrial category for the purposes of selecting fractions for testing is not conclusive as to the applicant's inclusion in that category for any other purposes. See Notes 2, 3, and 4 of this section.

(B) The pollutants listed in table III of appendix D of this part (the toxic metals, cyanide, and total phenols).

(vi)(A) Each applicant must indicate whether it knows or has reason to believe that any of the pollutants in table IV of appendix D of this part (certain conventional and nonconventional pollutants) is discharged from each outfall. If an applicable effluent limitations guideline either directly limits the pollutant or, by its express terms, indirectly limits the pollutant through limitations on an indicator, the applicant must report quantitative data. For every pollutant discharged which is not so limited in an effluent limitations guideline, the applicant must either report quantitative data or briefly describe the reasons the pollutant is expected to be discharged.

(B) Each applicant must indicate whether it knows or has reason to believe that any of the pollutants listed in table II or table III of appendix D of this part (the toxic pollutants and total phenols) for which quantitative data are not otherwise required under paragraph (g)(7)(v) of this section are discharged from each outfall. For every pollutant expected to be discharged in concentrations of 10 ppb or greater the applicant must report quantitative data. For acrolein, acrylonitrile, 2,4 dinitrophenol, and 2-methyl-4, 6 dinitrophenol, where any of these four pollutants are expected to be discharged in concentrations of 100 ppb or greater the applicant must report quantitative data. For every pollutant expected to be discharged in concentrations less than 10 ppb, or in the case of acrolein, acrylonitrile, 2,4 dinitrophenol, and 2-methyl-4, 6 dinitrophenol, in concentrations less than 100 ppb, the applicant must either submit quantitative data or briefly describe the reasons the pollutant is expected to be discharged. An applicant qualifying as a small business under paragraph (g)(8) of this section is not required to analyze for pollutants listed in table II of appendix D of this part (the organic toxic pollutants).

(vii) Each applicant must indicate whether it knows or has reason to believe that any of the pollutants in table V of appendix D of this part (certain hazardous substances and asbestos) are discharged from each outfall. For every pollutant expected to be discharged, the applicant must briefly describe the reasons the pollutant is expected to be discharged, and report any quantitative data it has for any pollutant.

(viii) Each applicant must report qualitative data, generated using a screening procedure not calibrated with analytical standards, for 2,3,7,8-tetrachlorodibenzo-p-dioxin (TCDD) if it:

(A) Uses or manufactures 2,4,5-trichlorophenoxy acetic acid (2,4,5,-T); 2-(2,4,5-trichlorophenoxy) propanoic acid (Silvex, 2,4,5,-TP); 2-(2,4,5-trichlorophenoxy) ethyl, 2,2-dichloropropionate (Erbon); O,O-dimethyl O-(2,4,5-trichlorophenyl) phosphorothioate (Ronnel); 2,4,5-trichlorophenol (TCP); or hexachlorophene (HCP); or

(B) Knows or has reason to believe that TCDD is or may be present in an effluent.

Appendix 2

For reference, the following text is reproduced from Appendix D to 40 CFR 122 – NPDES Permit Application Testing Requirements 

Table II—Organic Toxic Pollutants in Each of Four Fractions in Analysis by Gas Chromatography/Mass Spectroscopy (GS/MS)

Volatiles
1V  acrolein

2V  acrylonitrile

3V  benzene

5V  bromoform

6V  carbon tetrachloride

7V  chlorobenzene

8V  chlorodibromomethane

9V  chloroethane

10V  2-chloroethylvinyl ether

11V  chloroform

12V  dichlorobromomethane

14V  1,1-dichloroethane

15V  1,2-dichloroethane

16V  1,1-dichloroethylene

17V  1,2-dichloropropane

18V  1,3-dichloropropylene

19V  ethylbenzene

20V  methyl bromide

21V  methyl chloride

22V  methylene chloride

23V  1,1,2,2-tetrachloroethane

24V  tetrachloroethylene

25V  toluene

26V  1,2-trans-dichloroethylene

27V  1,1,1-trichloroethane

28V  1,1,2-trichloroethane

29V  trichloroethylene

31V  vinyl chloride

Acid Compounds
1A  2-chlorophenol

2A  2,4-dichlorophenol

3A  2,4-dimethylphenol

4A  4,6-dinitro-o-cresol

5A  2,4-dinitrophenol

6A  2-nitrophenol

7A  4-nitrophenol

8A  p-chloro-m-cresol

9A  pentachlorophenol

10A  phenol

11A  2,4,6-trichlorophenol

Base/Neutral
1B  acenaphthene

2B  acenaphthylene

3B  anthracene

4B  benzidine

5B  benzo(a)anthracene

6B  benzo(a)pyrene

7B  3,4-benzofluoranthene

8B  benzo(ghi)perylene

9B  benzo(k)fluoranthene

10B  bis(2-chloroethoxy)methane

11B  bis(2-chloroethyl)ether

12B  bis(2-chloroisopropyl)ether

13B  bis (2-ethylhexyl)phthalate

14B  4-bromophenyl phenyl ether

15B  butylbenzyl phthalate

16B  2-chloronaphthalene

17B  4-chlorophenyl phenyl ether

18B  chrysene

19B  dibenzo(a,h)anthracene

20B  1,2-dichlorobenzene

21B  1,3-dichlorobenzene

22B  1,4-dichlorobenzene

23B  3,3′-dichlorobenzidine

24B  diethyl phthalate

25B  dimethyl phthalate

26B  di-n-butyl phthalate

27B  2,4-dinitrotoluene

28B  2,6-dinitrotoluene

29B  di-n-octyl phthalate

30B  1,2-diphenylhydrazine (as azobenzene)

31B  fluroranthene

32B  fluorene

33B  hexachlorobenzene

34B  hexachlorobutadiene

35B  hexachlorocyclopentadiene

36B  hexachloroethane

37B  indeno(1,2,3-cd)pyrene

38B  isophorone

39B  napthalene

40B  nitrobenzene

41B  N-nitrosodimethylamine

42B  N-nitrosodi-n-propylamine

43B  N-nitrosodiphenylamine

44B  phenanthrene

45B  pyrene

46B  1,2,4-trichlorobenzene

Pesticides
1P  aldrin

2P  alpha-BHC

3P  beta-BHC

4P  gamma-BHC

5P  delta-BHC

6P  chlordane

7P  4,4′-DDT

8P  4,4′-DDE

9P  4,4′-DDD

10P  dieldrin

11P  alpha-endosulfan

12P  beta-endosulfan

13P  endosulfan sulfate

14P  endrin

15P  endrin aldehyde

16P  heptachlor

17P  heptachlor epoxide

18P  PCB-1242

19P  PCB-1254

20P  PCB-1221

21P  PCB-1232

22P  PCB-1248

23P  PCB-1260

24P  PCB-1016

25P  toxaphene

Table III—Other Toxic Pollutants (Metals and Cyanide) and Total Phenols

Antimony, Total

Arsenic, Total

Beryllium, Total

Cadmium, Total

Chromium, Total

Copper, Total
Lead, Total

Mercury, Total

Nickel, Total

Selenium, Total

Silver, Total

Thallium, Total

Zinc, Total

Cyanide, Total

Phenols, Total

� See Appendix 1 of this document for text of 40 CFR 122.21(g)(7)


� See Appendix 1 of this document for text of 40 CFR 122.21(g)(7)


� See Appendix 2 of this document for the Tables referenced in this section.  


� See Appendix 1 of this document for text of 40 CFR 122.21(g)(7)


� See Appendix 1 of this document for text of 40 CFR 122.21(g)(7)





1

