## ReadMe
The "RedRetvary>3years" tab lists all of the units with a difference of greater than three years between the IPMv6 and ERTAC EGU v16.0 retirement dates.
The "YellowRetvary3yearsorless" tab lists all of the units with a difference of three years or less between the IPMv6 and ERTAC EGU v16.0 retirement dates.
The "Bluequestion" tab lists a unit that changed unit type from combined cycle to simple cycle gas turbine. The simple cycle gas turbine is still operating.
The "Lavender(probred)" tab lists three units that switched from coal to gas in 2017. IPM retires the fuel-switched units in 2024.
The green highlighted dates are the correct retirement dates based on state feedback. The green highlighted comments indicate those units where neither the IPMv6 nor ERTAC v16.0 retirement date is correct based on state feedback.

## RedRetvary>3years
State | Facility Name | EIS Unit ID | NEEDS ID | ERTAC v16.0Retirement | IPMRetirement | 2018 AMPD NOx tpy | 2018 AMPD Status (if retired 2018 or earlier) | 2016beta NEEDS Fuels | Notes | EPA Action / decision | Proposed Value | Notes 1 | Notes 2
AZ | Ocotillo Power Plant | 48303013 | 116_B_1 | 2050 | 2018 | 105 | Operating | Natural Gas | Per Ryan Templeton on 4/9/19, unit retired in January 2019.
AZ | Ocotillo Power Plant | 48303113 | 116_B_2 | 2050 | 2018 | 97 | Operating | Natural Gas | Per Ryan Templeton on 4/9/19, unit retired in January 2019.
AZ | Navajo Generating Station | 79759713 | 4941_B_2 | 2050 | 2019 | 4570 |  | Bituminous | Per Mike Sonenberg on 4/8/19 unit will shut at end of year.
AZ | Navajo Generating Station | 79759613 | 4941_B_3 | 2050 | 2019 | 4716 |  | Bituminous | Per Mike Sonenberg on 4/8/19 unit will shut at end of year.
CA | Inland Empire Energy Center, LLC | 76271413 | 55853_G_2 | 2050 | 2017 | Listed - no emissions | Listed but no emissions | Natural Gas
CA | Inland Empire Energy Center, LLC | 30670813 | 331_B_4 | 2050 | 2018 | Listed - no emissions | Listed but no emissions | Natural Gas
CA | Calpine Greenleaf I | 43619913 | 10350_G_GEN1 | 2050 | 2019 | 30 |  | Natural Gas
CA | Ormond Beach Generating Station | 35586813 | 350_B_1 | 2050 | 2021 | 4 |  | Natural Gas | Per Kerby Zozula on 4/10/19, 2021 retirement date cannot be confirmed per NRG. There is no firm retirement date at this time and they can operate after the date if they put in a cooling water processing system. 2050 seems too far in the future though in Kerby's opinion. | Do not accept comment |  | NEEDS is consistent with Feb 2019 EIA 860M
CA | Ormond Beach Generating Station | 35586513 | 350_B_2 | 2050 | 2021 | 4 |  | Natural Gas | Per Kerby Zozula on 4/10/19, 2021 retirement date cannot be confirmed per NRG. There is no firm retirement date at this time and they can operate after the date if they put in a cooling water processing system. 2050 seems too far in the future though in Kerby's opinion. | Do not accept comment |  | NEEDS is consistent with Feb 2019 EIA 860M
CO | Tri State Generation Craig | 41819913 | 6021_B_C1 | 2050 | 2025 | 3679 |  | Bituminous, Subbituminous | Per Matt Burgett on 4/4/19, unit must close on or before 12/31/25 or convert to natrual gas on or before 8/31/23.
FL | Florida Power & Light Company | 46119513 | 613_G_24 | 2050 | 2016 | Not listed | Not listed | Natural Gas, Distillate Fuel Oil | Is this GFL24?
FL | Florida Power & Light Company | 109076713 | 10333_B_1 | 2050 | 2018 | Not listed | Not listed | Biomass | non-EGU
FL | Indiantown Cogeneration, L.P. | 46335713 | 50976_B_AAB01 | 2050 | 2016 | Is this 1? If so, 12 | Not listed - Is this unit 1? | Bituminous
IL | Dynegy Midwest Generation LLC | 3024213 | 889_B_1 | 2050 | 2017 | 1431 | Operating | Subbituminous | Per Andy Russo on 4/4/19, unit is still operating. | Accept Comment | 9999 | Per Andy Russo on 4/4/19, unit is still operating
IL | Dynegy Midwest Generation LLC | 3025413 | 889_B_3 | 2050 | 2017 | Listed - no emissions | Listed but no emissions | Subbituminous | Per Andy Russo on 4/4/19, unit is mothballed but is not retired. | Accept Comment | 9999 | Per Andy Russo on 4/4/19, unit is mothballed but is not retired
IN | Lawrence Generating Station | 58598813 | 7948_G_2 | 2050 | 2015 | 11 | Operating | Natural Gas | Per John Welch on 4/8/19, this is a relatively new simple cycle peaker and is still operating. | Accept Comment | 9999 | Per John Welch on 4/8/19, this is a relatively new simple cycle peaker and is still operating | Consistent with Feb 2019 EIA 860M
IN | Indianapolis Power & Light Co Hardin | 91188213 | 990_G_GT4 | 2050 | 2030 | 63 |  | Natural Gas, Distillate Fuel Oil | John Welch on 4/8/19 said he is comfortable changing retirement date for units GT5 and GT6 to 2030, but not unit GT4 (should be 2044). | Do not accept comment |  | Based on previous comments
IN | Indianapolis Power & Light Co Hardin | 91188313 | 990_G_GT5 | 2050 | 2030 | 54 |  | Natural Gas, Distillate Fuel Oil | John Welch on 4/8/19 said he is comfortable changing retirement date for units GT5 and GT6 to 2030, but not unit GT4 (2044).
IN | Indianapolis Power & Light Co Hardin | 91608513 | 990_G_GT6 | 2050 | 2030 | 28 |  | Natural Gas | John Welch on 4/8/19 said he is comfortable changing retirement date for units GT5 and GT6 to 2030, but not unit GT4 (2044).
KS | Westar Energy - Hutchinson | 26991113 | 1248_G_GT4 | 2050 | 2015 | Listed - no emissions | Listed but no emissions | Distillate Fuel Oil | CT-4. Per Lynn Deahl on 4/4/19, 2050 is correct. | Accept Comment | 9999 | CT-4. Per Lynn Deahl on 4/4/19, 2050 is correct | Consistent with Feb 2019 EIA 860M
LA | Entergy LA LLC - Willow Glen Generating Plant | 81115013 | 1394_B_2 | 2050 | 2016 | Not listed | Not listed | Natural Gas | Per Vivian Aucoin on 4/4/19, unit was retired 3/30/18. | Accept Comment | 2018 | Per Vivian Aucoin on 4/4/19, unit was retired 3/30/18 | Consistent with Feb 2019 EIA 860M
LA | Entergy LA LLC - Willow Glen Generating Plant | 81115113 | 1394_B_4 | 2050 | 2016 | Not listed | Not listed | Natural Gas | Per Vivian Aucoin on 4/4/19, unit was retired 3/30/18. | Accept Comment | 2018 | Per Vivian Aucoin on 4/4/19, unit was retired 3/30/18 | Consistent with Feb 2019 EIA 860M
LA | CLECO Power LLC - Teche Power Station | 80796313 | 1400_B_3 | 2050 | 2019 | 1126 |  | Natural Gas, Distillate Fuel Oil | Per Vivian Aucoin on 4/10/19, 2019 retirement date is not correct per her contact at Cleco. Not sure what date is assigned, so she guesses we'll have to use the default. | Accept Comment | 9999 | Per Vivian Aucoin on 4/10/19, 2019 retirement date is not correct per her contact at Cleco. Not sure what date is assigned, so she guesses we'll have to use the default. | Consistent with Feb 2019 EIA 860M
MI | St. Clair/Belle River Power Plant | 7539813 | 1743_B_4 | 2023 | 2017 | Listed - no emissions | Listed but no emissions | Bituminous, Subbituminous | Per Steve Lachance on 3/28/19, although 2023 is MI's best estimate for retirement of facility as a whole, no further coal emissions from this unit are likely. | Do not accept comment |  | NEEDS is consistent with Feb 2019 EIA 860M
MS | Mississippi Power Company, Plant Jack Watson | 13582413 | 2049_B_3 | 2050 | 2018 | 9 | Operating | Natural Gas | Per Deborah Boleware on 4/9/19, the unit is still operating with no set retirement date. | Do not accept comment |  | Linked generator 3 retired in 2018 in Jan 2019 EIA860M
MS | Mississippi Power Company, Plant Jack Watson | 13581813 | 2049_G_A | 2050 | 2016 | 18 | Operating | Natural Gas | CTA? Per Deborah Boleware on 4/9/19, the unit is still operating with no set retirement date. | Accept Comment | 9999 | Per Deborah Boleware on 4/9/19, the unit is still operating with no set retirement date | Consistent with Jan 2019 EIA860M
MS | Entergy Mississippi Inc, Rex Brown Plant | 13571013 | 2053_B_3 | 2050 | 2018 | 0.011 | Operating | Natural Gas, Residual Fuel Oil | Per Deborah Boleware on 4/9/19, the unit is still operating with no set retirement date. | Do not accept comment |  | Linked generator 3 retired in 2018 in Jan 2019 EIA860M
MS | South Mississippi Electric Power Assoication, R D Morrow Plant | 14081213 | 6061_B_1 | 2050 | 2018 | Listed - no emissions | Listed but no emissions | Bituminous | Per Deborah Boleware on 4/9/19, retirement date should be 2019. Units 1 and 2 will be replaced with natural gas combined cycle units to be operational in 2023. Both units will have 50.7 tpy SO2 emissions and 326.3 tpy NOx emissions. | Do not accept comment | 2018 | NEEDS is consistent with Feb 2019 EIA 860M
MS | South Mississippi Electric Power Assoication, R D Morrow Plant | 14080913 | 6061_B_2 | 2050 | 2018 | 284 | Operating | Bituminous | Per Deborah Boleware on 4/9/19, retirement date should be 2019. Units 1 and 2 will be replaced with natural gas combined cycle units to be operational in 2023. Both units will have 50.7 tpy SO2 emissions and 326.3 tpy NOx emissions. | Do not accept comment | 2018 | NEEDS is consistent with Feb 2019 EIA 860M
MS | Entergy Mississippi Inc, Baxter Wilson Plant | 5616213 | 2050_B_2 | 2050 | 2018 | Listed - no emissions | Listed but no emissions | Natural Gas, Residual Fuel Oil | Per Deborah Boleware on 4/9/19, the unit is still operating with no set retirement date. | Do not accept comment |  | Linked generator 2 retired in 2018 in Jan 2019 EIA860M
MO | City Utilities of Springfield Missouri James River Power Plant | 11238613 | 2161_B_4 | 2050 | 2018 | Listed - no emissions | Listed but no emissions | Natural Gas | Per Adel Alsharafi on 4/4/19 unit switched to natural gas in 2016. Table 6.6 in Electric Power Monthly report lists retirement date as Dec 2020, but since not a legal requirement, state would like to leave retirement date as 2050. | Change retirement year | 2020 | Feb 2019 EIA 860M
MO | City Utilities of Springfield Missouri James River Power Plant | 11237413 | 2161_B_5 | 2050 | 2018 | 0.9 | Operating | Natural Gas | Per Adel Alsharafi on 4/4/19 unit switched to natural gas in 2016. Table 6.6 in Electric Power Monthly report lists retirement date as Dec 2020, but since not a legal requirement, state would like to leave retirement date as 2050. | Change retirement year | 2020 | Feb 2019 EIA 860M
MT | Colstrip Steam Electric Station | 1786213 | 6076_B_1 | 2050 | 2022 | 3494 |  | Subbituminous | Per Julie Merkel on 4/4/19 unit will retire 2022.
MT | Colstrip Steam Electric Station | 1786313 | 6076_B_2 | 2050 | 2022 | 1575 |  | Subbituminous | Per Julie Merkel on 4/4/19 unit will retire 2022.
NC | Edgecombe Genco, LLC | 4678013 | 10384_B_1A | 2050 | 2020 | 132 |  | Bituminous | non-EGU. Per Ming Xie on 4/23/19, the facility has an active Title V air permit that expires on 11/30/2023. As long as the facility has an active air permit, the facility can operate. | Do not accept comment |  | NEEDS is consistent with Feb 2019 EIA 860M
NC | Edgecombe Genco, LLC | 4679213 | 10384_B_2A | 2050 | 2020 | 82 |  | Bituminous | non-EGU. Per Ming Xie on 4/23/19, the facility has an active Title V air permit that expires on 11/30/2023. As long as the facility has an active air permit, the facility can operate. | Do not accept comment |  | NEEDS is consistent with Feb 2019 EIA 860M
NE | C W Burdick Generating Station12864313 |  | 2241_B_B-3 | 2050 | 2017 | Not listed | Not listed | Natural Gas, Residual Fuel Oil | Per Dave Brown on 4/23/19, unit was taken out of service on August 1, 2017.
NM | El Paso Electric - Rio Grande Generating Station | 82572013 | 2444_B_6 | 2050 | 2023 | 72 |  | Natural Gas | Per Kirby Olsen and Daniel Perez on 4/10/19, while this unit has not been used since 2018, it is considered to be on "inactive reserve" in the event another unit has a problem and cannot operate. | Change retirement year | 2022 | Retirement is 12/2022 in Feb 2019 EIA 860M
NM | El Paso Electric - Rio Grande Generating Station | 82571913 | 2444_B_7 | 2050 | 2023 | 78 |  | Natural Gas | Per Kirby Olsen and Daniel Perez on 4/10/19, this unit has a 2022 retirement date. | Change retirement year | 2022 | Retirement is 12/2022 in Feb 2019 EIA 860M
NV | Valmy Cooling Tower #2 | 97874013 | 8224_B_1 | 2050 | 2026 | 1027 |  | Bituminous, Subbituminous
NV | Valmy Cooling Tower #2 | 97874113 | 8224_B_2 | 2050 | 2026 | 1493 |  | Bituminous, Subbituminous
NV | Fort Churchill Generating Station | 97830513 | 2330_B_1 | 2050 | 2026 | 218 |  | Natural Gas, Residual Fuel Oil
NV | Fort Churchill Generating Station | 97830613 | 2330_B_2 | 2050 | 2022 | 158 |  | Natural Gas, Residual Fuel Oil
NY | AES Cayuga | 228113 | 2535_B_2 | 2020 | 2016 | 13 | Operating | Bituminous | Per Ona Papageorgiou on 4/15/19, 2020 retirement date is correct. | Accept Comment | 2020 | Per Ona Papageorgiou on 4/15/19, 2020 retirement date is correct
NY | Hawkeye Energy Greenport LLC |  | 55969_G_U-01 | 2020 | 9999 | 3 |  | Distillate Fuel Oil | Per Ona Papageorgiou on 4/15/19, there is no foreseen retirement date (should be 2050 in ERTAC).
OH | Eastlake Substation (0243160009) | 5943613 | 2837_G_6 | 2050 | 2021 | 3 |  | Distillate Fuel Oil | Per Chris Beekman on 4/4/19, unit is an oil-fired turbine that runs very little time during the year, but it is still operating. | Accept Comment | 9999 | Per Chris Beekman on 4/4/19, unit is an oil-fired turbine that runs very little time during the year, but it is still operating | Consistent with Feb 2019 EIA 860M
OH | Avon Lake Power Plant (0247030013) | 6011613 | 2836_B_10 | 2050 | 2016 | Listed - no emissions | Listed but no emissions | Distillate Fuel Oil | Per Chris Beekman on 4/4/19, unit is a limited use aux boiler no longer connected to the grid, but it is still operating. | Do not accept comment |  | Linked generator 7 retired in 2016 in Jan 2019 EIA860M
OH | Avon Lake Power Plant (0247030013) | 6011413 | 2836_G_10 | 2050 | 2016 | 0.8 | Operating | Distillate Fuel Oil | Per Chris Beekman on 4/4/19, unit is an oil-fired turbine that runs about 10 hours per year, but it is still operating. | Accept Comment | 9999 | Per Chris Beekman on 4/4/19, unit is an oil-fired turbine that runs about 10 hours per year, but it is still operating | Consistent with Feb 2019 EIA 860M; Boiler 10 retired in 2016; Gen 10 not to retire
OK | PSO Southwestern Pwr Sta | 479213 | 2964_B_8002 | 2050 | 2023 | 61 |  | Natural Gas | Per Tom Richardson on 4/24/19, the unit is not required to retire and there have been no announcements of planned retirement. | Accept Comment | 9999 | Per Tom Richardson on 4/24/19, the unit is not required to retire and there have been no announcements of planned retirement.
OK | PSO Southwestern Pwr Sta | 479313 | 2964_B_801N | 2050 | 2021 | 7 |  | Natural Gas | Per Tom Richardson on 4/24/19, the unit is not required to retire and there have been no announcements of planned retirement. | Accept Comment | 9999 | Per Tom Richardson on 4/24/19, the unit is not required to retire and there have been no announcements of planned retirement.
OK | PSO Southwestern Pwr Sta | 479413 | 2964_B_801S | 2050 | 2021 | 7 |  | Natural Gas | Per Tom Richardson on 4/24/19, the unit is not required to retire and there have been no announcements of planned retirement. | Accept Comment | 9999 | Per Tom Richardson on 4/24/19, the unit is not required to retire and there have been no announcements of planned retirement.
OK | Horseshoe Lake Gnrtng Sta | 5362313 | 2951_B_7 | 2050 | 2017 | Is this CC? - 266 | Operating | Natural Gas | G_GT7? Tom Richardson confirmed on 4/4/19 that the 2050 retirement date is correct. | Accept Comment | 9999 | GT7 retired in 2017; ST7 or Boiler 7 not retired; Tom Richardson confirmed on 4/4/19 that the 2050 retirement date is correct | Consistent with Feb 2019 EIA860M
PA | Inter Power Ahlcon L/Colver Power Proj | 17845413 | 10143_B_ABB01 | 2050 | 2020 | 809 |  | Waste Coal | Unit should be AAB01. Randy Bordner said that the 2050 retirement date should be maintained on 4/4/19. | Accept Comment | 9999 | Unit should be AAB01. Randy Bordner said that the 2050 retirement date should be maintained on 4/4/19 | Comment is consistent with Jan 2019 EIA860M and PJM
PA | Northeastern Power Co/McAdoo Cogen | 67563513 | 50039_B_1 | 2050 | 2018 | 89 (unit 31) | Operating | Waste Coal | PA confirmed 2018 retirement on 2/7/19.
TX | Gibbons Creek | 16959513 | 6136_B_1 | 2050 | 2018 | 523 | Operating | Subbituminous | Per Barry Exum on 4/23/19, retirement date should be 2050. | Change retirement year | 2024 | The retirement date is 10/2023 in Feb 2019 EIA860M
TX | Tolk Station | 30286513 | 6194_B_171B | 2050 | 2037 | 1386 |  | Subbituminous | Per Barry Exum on 4/23/19, go with IPM retirement date unless hear differently from SPP.
TX | Tolk Station | 30286413 | 6194_B_172B | 2050 | 2040 | 1210 |  | Subbituminous | Per Barry Exum on 4/23/19, go with IPM retirement date unless hear differently from SPP.
TX | Jones Station Power Plant | 35354613 | 3482_B_151B | 2050 | 2025 | 537 |  | Natural Gas, Distillate Fuel Oil | Per Barry Exum on 4/23/19, go with IPM retirement date unless hear differently from SPP.
TX | Jones Station Power Plant | 35354513 | 3482_B_152B | 2050 | 2025 | 468 |  | Natural Gas, Distillate Fuel Oil | Per Barry Exum on 4/23/19, go with IPM retirement date unless hear differently from SPP.
TX | Barney M Davis Power Station | 22180913 | 4939_B_1 | 2050 | 2017 | 67 | Operating | Natural Gas | Per Barry Exum on 4/23/19, retirement date should be 2050. | Accept Comment | 9999 | Per Barry Exum on 4/23/19, retirement date should be 2050 | Comment is consistent with Jan 2019 EIA860M
TX | Nichols Station Power Plant | 22149313 | 3484_B_143B | 2050 | 2030 | 351 |  | Natural Gas | Per Barry Exum on 4/23/19, go with IPM retirement date unless hear differently from SPP.
TX | Newman |  | 3456_B_3 | 2024 | 9999 | 388 |  | Natural Gas, Distillate Fuel Oil | Per Barry Exum on 4/23/19, retirement date should be 2024. | Accept Comment | 2024 | Per Barry Exum on 4/23/19, retirement date should be 2024 | Jan 2019 EIA860M reitires in 12/2026
WI | WI Public Service Corp - JP Pulliam Plant | 25987713 | 4072_B_7 | 2050 | 2018 | 194 | Operating | Subbituminous | WI confirmed 10/31/18 retirement on 12/18/18.
WI | WI Public Service Corp - JP Pulliam Plant | 25987813 | 4072_B_8 | 2050 | 2018 | 399 | Operating | Subbituminous | WI confirmed 10/31/18 retirement on 12/18/18.
WV | Allegheny Energy Supply Co LLC - Pleasants Power Sta | 71785513 | 6004_B_1 | 2050 | 2022 | 1997 |  | Bituminous | Per Matt Kemper on 4/19/19, until the facility actually ceases operation, 2050 is the closure date as far as WVDEP is concerned. | Do not accept comment | 2022 | EPA Direction 10-22-18 and PJM confirmation to retire by 6/1/22
WV | Allegheny Energy Supply Co LLC - Pleasants Power Sta | 71785613 | 6004_B_2 | 2050 | 2022 | 3850 |  | Bituminous | Per Matt Kemper on 4/19/19, until the facility actually ceases operation, 2050 is the closure date as far as WVDEP is concerned. | Do not accept comment | 2022 | EPA Direction 10-22-18 and PJM confirmation to retire by 6/1/22
WY | Dave Johnson | 72195213 | 4158_B_BW41 | 2050 | 2027 | 1116 |  | Subbituminous | Per Ben Way on 4/5/19, retirement date is 2027.
WY | Dave Johnson | 72195413 | 4158_B_BW42 | 2050 | 2027 | 1601 |  | Subbituminous | Per Ben Way on 4/5/19, retirement date is 2027.
WY | Dave Johnson | 72194713 | 4158_B_BW43 | 2050 | 2027 | 1889 |  | Subbituminous | Per Ben Way on 4/5/19, retirement date is 2027.
WY | Dave Johnson | 72194813 | 4158_B_BW44 | 2050 | 2027 | 1644 |  | Subbituminous | Per Ben Way on 4/5/19, retirement date is 2027.
WY | Naughton Plant | 94469013 | 4162_B_1 | 2050 | 2029 | 1504 |  | Subbituminous | Per Ben Way on 4/5/19, retirement date is 2029.
WY | Naughton Plant | 94466813 | 4162_B_2 | 2050 | 2029 | 1915 |  | Subbituminous | Per Ben Way on 4/5/19, retirement date is 2029.
WY | Naughton Plant | 94466513 | 4162_B_3 | 2050 | 2029 | 2158 |  | Subbituminous | Per Ben Way on 4/5/19, retirement date is 2029.

## YellowRetvary3yearsorless
State | Facility Name | EIS Unit ID | NEEDS ID | ERTAC v16.0Retirement | IPMRetirement | 2018 AMPD NOx tpy | 2018 AMPD Status (if retired 2018 or earlier) | 2016beta NEEDS Fuels | Notes | EPA Action / decision | Proposed Value | Notes 1 | Notes 2
CO | Tri State Generation - Nucla Station | 36572413 | 527_B_1 | 2022-12-31 | 2023 | 130 |  | Bituminous | Per Matt Burgett on 4/4/19, Nuclea must close on or before 12/31/22. | Change retirement year | 2022 | Jan 2019 EIA 860M
FL | City of Gainesville, GRU | 48440013 | 663_B_B1 | 2022-08-01 | 2023 | 181 |  | Natural Gas, Residual Fuel Oil
FL | Florida Power & Light (PTF) | 46585213 | 621_B_PTP1 | 2017-01-01 | 2016 | NA | NA (can't put UAF off line date at 2016) | Natural Gas, Residual Fuel Oil
MI | LBWL - Eckert Station and REO Town Plant | 24540813 | 1831_B_6 | 2019 | 2020 | 93 |  | Subbituminous | 8/29/17 - MI asked to keep retirement at 2019. | Do not accept comment |  | NEEDS is consistent with Jan 2019 EIA 860M
MI | Holland BPW, Generating Station & WWTP | 6902913 | 1830_B_5 | 2017-01-01 | 2016 | NA | NA (can't put UAF off line date at 2016) | Bituminous, Subbituminous
MI | St. Clair/Belle River Power Plant | 7540113 | 1743_B_1 | 2023 | 2024 | 1439 |  | Bituminous, Subbituminous | Per Steve Lachance on 3/28/19, Press Release from DTE says unit will be retired by 2023. | Change retirement year | 2022 | https://www.energymanagertoday.com/dte-energy-coal-plant-retirements-0182070/
MI | St. Clair/Belle River Power Plant | 7540013 | 1743_B_2 | 2023 | 2024 | 1165 |  | Bituminous, Subbituminous | Per Steve Lachance on 3/28/19, Press Release from DTE says unit will be retired by 2023. | Change retirement year | 2022 | https://www.energymanagertoday.com/dte-energy-coal-plant-retirements-0182070/
MI | St. Clair/Belle River Power Plant | 7539913 | 1743_B_3 | 2023 | 2024 | 1326 |  | Bituminous, Subbituminous | Per Steve Lachance on 3/28/19, Press Release from DTE says unit will be retired by 2023. | Change retirement year | 2022 | https://www.energymanagertoday.com/dte-energy-coal-plant-retirements-0182070/
MI | St. Clair/Belle River Power Plant | 7539613 | 1743_B_6 | 2023 | 2024 | 831 |  | Bituminous, Subbituminous | Per Steve Lachance on 3/28/19, Press Release from DTE says unit will be retired by 2023. | Change retirement year | 2022 | https://www.energymanagertoday.com/dte-energy-coal-plant-retirements-0182070/
MI | St. Clair/Belle River Power Plant | 7538213 | 1743_B_7 | 2023 | 2024 | 1353 |  | Bituminous, Subbituminous | Per Steve Lachance on 3/28/19, Press Release from DTE says unit will be retired by 2023. | Change retirement year | 2022 | https://www.energymanagertoday.com/dte-energy-coal-plant-retirements-0182070/
MI | DTE - Electric Company RIVER ROUGE | 6594613 | 1740_B_3 | 2023 | 2024 | 1361 |  | Bituminous, Subbituminous | Per Steve Lachance on 3/28/19, Press Release from DTE says unit will be retired by 2023. | Change retirement year | 2022 | https://www.energymanagertoday.com/dte-energy-coal-plant-retirements-0182070/
MI | DTE - Electric Company TRENTON CHANNEL | 10892713 | 1745_B_9A | 2023 | 2024 | 1075 |  | Bituminous, Subbituminous | Per Steve Lachance on 3/28/19, Press Release from DTE says unit will be retired by 2023. | Change retirement year | 2022 | https://www.energymanagertoday.com/dte-energy-coal-plant-retirements-0182070/
MN | Xcel Energy - Sherburne Generating Plant | 15174813 | 6090_B_1 | 2026 | 2023 | 2162 |  | Subbituminous | Per Anne Jackson on 4/8/19, the ERTAC date is correct. | Accept comment / revision to current 860 | 2024 | We should flip the retirement date as commented by ERTAC. | Per Jan 2019 EIA 860M the unit will retire in 12/2024
MN | Xcel Energy - Sherburne Generating Plant | 15175013 | 6090_B_2 | 2023 | 2026 | 3276 |  | Subbituminous | Per Anne Jackson on 4/8/19, the ERTAC date is correct. | Accept comment / revision to current 860 | 2022 | We should flip the retirement date as commented by ERTAC. | Per Jan 2019 EIA 860M the unit will retire in 12/2022
MO | Kansas City Power and Light Co Montrose Generating Station | 11604113 | 2080_B_2 | 2018-12-31 | 2019 | 209 |  | Subbituminous | Per Adel Alsharafi on 4/4/19, retired unit exemption form submitted to EPA had a 12/31/2018 retirement date. | Accept comment | 2018 | Jan 2019 EIA 860M
MO | Kansas City Power and Light Co Montrose Generating Station | 11604413 | 2080_B_3 | 2018-12-31 | 2019 | 247 |  | Subbituminous | Per Adel Alsharafi on 4/4/19, retired unit exemption form submitted to EPA had a 12/31/2018 retirement date. | Accept comment | 2018 | Jan 2019 EIA 860M
MO | KCP and L Greater Missouri Operations Co Sibley Generating Station | 12444813 | 2094_B_1 | 2018-12-31 | 2019 | 0.003 |  | Subbituminous | Per Adel Alsharafi on 4/4/19, retired unit exemption form submitted to EPA had a 12/31/2018 retirement date. | Change retirement year | 2017 | Jan 2019 EIA 860M
MO | KCP and L Greater Missouri Operations Co Sibley Generating Station | 12444413 | 2094_B_2 | 2018-12-31 | 2019 | 0.8 |  | Subbituminous | Per Adel Alsharafi on 4/4/19, retired unit exemption form submitted to EPA had a 12/31/2018 retirement date. | Accept comment | 2018 | Jan 2019 EIA 860M
NC | Duke Energy Carolinas, LLC - Allen Steam Station | 122705913 | 2718_B_1 | 2024 | 2025 | 110 |  | Bituminous | Per Ming Xie on 4/23/19, unit will retire by 12/31/2024. | Accept comment | 2024 | Jan 2019 EIA 860M
NC | Duke Energy Carolinas, LLC - Allen Steam Station | 122706013 | 2718_B_3 | 2024 | 2025 | 278 |  | Bituminous | Per Ming Xie on 4/23/19, unit will retire by 12/31/2024. | Accept comment | 2024 | Jan 2019 EIA 860M
NJ | B.L. England Generating Station | 25811213 | 2378_B_2 | 2020-12-31 | 2019 | 34 |  | Natural Gas | NJ confirmed 5/1/2019 retirement on 3/14/19. | Do not accept comment |  | NEEDS is consistent with Jan 2019 EIA 860M
OK | PSO Northeastern Pwr Sta | 6698313 | 2963_B_3313 | 2026 | 2027 | 1709 |  | Bituminous, Subbituminous | Per Tom Richardson on 4/23/19, the unit was retired 12/31/2026. | Accept comment | 2026 | Per Tom Richardson on 4/23/19, the unit will retired 12/31/2026.
SC | Duke Energy Progress LLC | 28950113 | 3250_G_5 | 2020-12-31 | 2018 | 6 | Operating | Natural Gas | Per Carla Bedenbaugh on 4/4/19 date changed from March 2020 to 5/31/18. | Do not accept comment |  | NEEDS is consistent with Jan 2019 EIA 860M
TN | Allen Fossil Plant | 23030313 | 3393_B_1 | 2018-12-31 | 2019 | 65 |  | Bituminous, Subbituminous | Per Travis Blake on 4/4/19, 12/31/18 is official retirement date. Actual operation of units ceased Jan-Mar 2018. | Accept comment | 2018 | Jan 2019 EIA 860M
TN | Allen Fossil Plant | 23030813 | 3393_B_2 | 2018-12-31 | 2019 | 147 |  | Bituminous, Subbituminous | Per Travis Blake on 4/4/19, 12/31/18 is official retirement date. Actual operation of units ceased Jan-Mar 2018. | Accept comment | 2018 | Jan 2019 EIA 860M
TN | Allen Fossil Plant | 23030513 | 3393_B_3 | 2018-12-31 | 2019 | 32 |  | Bituminous, Subbituminous | Per Travis Blake on 4/4/19, 12/31/18 is official retirement date. Actual operation of units ceased Jan-Mar 2018. | Accept comment | 2018 | Jan 2019 EIA 860M
TX | Newman Station | 31689213 | 3456_B_1 | 2022 | 2023 | 328 |  | Natural Gas, Distillate Fuel Oil | Per Barry Exum on 4/23/19, retirement date should be 2022. | Accept comment | 2022 | Jan 2019 EIA 860M
VA | Dominion Virginia Power - Chesterfield | 33878613 | 3797_B_3 | 2021-12-31 | 2018 | 31 | Operating | Bituminous | VA may update retirement date per 2/13/19 e-mail.
VA | Dominion Virginia Power - Chesterfield | 33878713 | 3797_B_4 | 2021-12-31 | 2018 | 36 | Operating | Bituminous | VA may update retirement date per 2/13/19 e-mail.
VA | Dominion - Bremo Power Station | 17179613 | 3796_B_3 | 2021-12-31 | 2018 | 5 | Operating | Natural Gas | VA may update retirement date per 2/13/19 e-mail.
VA | Dominion - Bremo Power Station | 17179313 | 3796_B_4 | 2021-12-31 | 2018 | 5 | Operating | Natural Gas | VA may update retirement date per 2/13/19 e-mail.
VA | Dominon - Mecklenburg Power Station | 21783213 | 52007_B_BLR1 | 2021-12-31 | 2018 | 47 | Operating | Bituminous | VA may update retirement date per 2/13/19 e-mail.
VA | Dominion - Mecklenburg Power Station | 21783313 | 52007_B_BLR2 | 2021-12-31 | 2018 | 61 | Operating | Bituminous | VA may update retirement date per 2/13/19 e-mail.
VA | Dominion - Possum Point Power Station | 12373413 | 3804_B_3 | 2021-12-31 | 2018 | 13 | Operating | Natural Gas | VA may update retirement date per 2/13/19 e-mail.
VA | Dominion - Possum Point Power Station | 12373313 | 3804_B_4 | 2021-12-31 | 2018 | 47 | Operating | Natural Gas | VA may update retirement date per 2/13/19 e-mail.
VA | James River Cogeneration Company | 58457513 | 10377_B_1C | 2020 | 2019 | 201 |  | Bituminous
VA | James River Cogeneration Company | 58457613 | 10377_B_2C | 2020 | 2019 | 74 |  | Bituminous
VA | Dominion - Bellemeade Power Station | 25876113 | 50966_G_1 | 2021-12-31 | 2018 | 3 | Operating | Natural Gas, Distillate Fuel Oil | VA may update retirement date per 2/13/19 e-mail.
VA | Dominion - Bellemeade Power Station | 25876513 | 50966_G_2 | 2021-12-31 | 2018 | 3 | Operating | Natural Gas, Distillate Fuel Oil | VA may update retirement date per 2/13/19 e-mail.
VA | Spruance Genco LLC | 33619313 | 54081_B_1B | 2020 | 2017 | 173 | Operating | Bituminous
VA | Spruance Genco LLC | 33619413 | 54081_B_2B | 2020 | 2017 | 160 | Operating | Bituminous
VA | Spruance Genco LLC | 33619513 | 54081_B_3B | 2020 | 2017 | 130 | Operating | Bituminous
VA | Spruance Genco LLC | 33619613 | 54081_B_4B | 2020 | 2017 | 108 | Operating | Bituminous
WA | TransAlta Centralia Generation, LLC | 15504813 | 3845_B_BW22 | 2025 | 2026 | 3448 |  | Subbituminous | Per Stu Clark on 4/23/19, the unit must be retired by the end of 2025. | Do not accept comment |  | Per Stu Clark on 4/23/19, the unit must be retired by the end of 2025. | The unit is available in 2025.

## Bluequestion
State | Facility Name | NEEDS ID | ERTAC v16.0Retirement | IPMRetirement | 2018 AMPD NOx tpy | 2018 AMPD Status (if retired 2018 or earlier) | Notes
MN | Black Dog | 1904_G_6 | 2050 | 2018 | 28 | Operating | Natural Gas fired simple cycle gas turbine started operating in 2018 (was previously a combined cycle unit) | Per Anne Jackson on 4/8/19, the ERTAC date is correct.

## Lavender(probred)
State | Facility Name | EIS Unit ID | NEEDS ID | ERTAC v16.0Retirement | IPMRetirement | 2018 AMPD NOx tpy | 2016beta NEEDS Fuels | Notes
NE | Omaha Public Power District - North Omaha Power Station | 105526113 | 2291_B_1 | 2050 | 2024 | 0.2 | Natural Gas | Coal to gas in ERTAC in 2017 - Assume IPM retiring gas unit but not sure. Per Tim Burns on 4/23/19 (phone call), units are slated to shut in 2024.
NE | Omaha Public Power District - North Omaha Power Station | 105526213 | 2291_B_2 | 2050 | 2024 | 0.1 | Natural Gas | Coal to gas in ERTAC in 2017 - Assume IPM retiring gas unit but not sure. Per Tim Burns on 4/23/19 (phone call), units are slated to shut in 2024.
NE | Omaha Public Power District - North Omaha Power Station | 105526313 | 2291_B_3 | 2050 | 2024 | 0.3 | Natural Gas | Coal to gas in ERTAC in 2017 - Assume IPM retiring gas unit but not sure. Per Tim Burns on 4/23/19 (phone call), units are slated to shut in 2024.