## Factor Summary
Factor ID: | 10978
SCC | 10100202
Pollutant | 1,2,3,7,8,9-Hexachlorodibenzo-p-dioxin
Units | LB
Activity | MMBTU HEAT INPUT CO2
Factor Quality Rating | Moderate
Number of individual test data values used to calculate the emissions factor | 7
Number of individual test data values excluded from the calculation | 5
Composite Test Rating | 67.17
Control Device Configuration | BAGHOUSE
BAGHOUSE,DRY SCRUBBER,LOW NOX BURNERS
DRY SORBENT INJECTION,ELECTROSTATIC PRECIPITATOR,LOW NOX BURNERSCR (SELECTIVE CATALYTIC REDUCTION),WET SCRUBBER
ELECTROSTATIC PRECIPITATOR
ELECTROSTATIC PRECIPITATOR,FLUE GAS DESULFURIZATION (FGD),LOW NOX BURNERSCR (SELECTIVE CATALYTIC REDUCTION);
ELECTROSTATIC PRECIPITATOR,LOW NOX BURNERS;
ELECTROSTATIC PRECIPITATOR,OVERFIRE AIR,WET SCRUBBER;
LOW NOX BURNERS,PRECIPITATORS
New Candidate Factor Value | 1.58e-13
AP42 Section | 1.1

## Data Included
Submission_ID | Facility_Name | Facility_City | Facility_State | SCC | AVERAGE_VALUE | Test_Year | Pollutant_Name | CAS_Number | NEI_Pollutant_Code | POLLUTANT_UNIT | Measure | Material | Action | Detection_Limit_Flag | Test_Report_Rating | Test_Method | ERT_Version | Control_1 | Control_2 | Control_3 | Control_4 | Control_5 | Project_Data_Set
80691785 | KY1357 Green River Boiler 5 | Central City | KY | 10100202 | 1e-13 | 2010 | 1,2,3,7,8,9-Hexachlorodibenzo-p-dioxin | 19408-74-3 | 19408743 | LB | MMBTU | HEAT INPUT | CO2 | BDL | 74 | Method 23 | V5 | ELECTROSTATIC PRECIPITATOR |  |  |  |  | http://cfpub.epa.gov/WebFire/FIRE/view/dspERTDocumentDetailsBySubmissionID.cfm?ID=80691785
80692898 | Cumberland Fossil Plant Unit 1 | Cumberland City | TN | 10100202 | 2.6e-13 | 2010 | 1,2,3,7,8,9-Hexachlorodibenzo-p-dioxin | 19408-74-3 | 19408743 | LB | MMBTU | HEAT INPUT | CO2 | BDL | 70 | Method 23 | V5 | ELECTROSTATIC PRECIPITATOR | LOW NOX BURNERS | WET SCRUBBER | SCR (SELECTIVE CATALYTIC REDUCTION) | DRY SORBENT INJECTION | http://cfpub.epa.gov/WebFire/FIRE/view/dspERTDocumentDetailsBySubmissionID.cfm?ID=80692898
80694725 | Shawville 3 & 4 Common Stack | Shawville | PA | 10100202 | 1.21e-13 | 2010 | 1,2,3,7,8,9-Hexachlorodibenzo-p-dioxin | 19408-74-3 | 19408743 | LB | MMBTU | HEAT INPUT | CO2 | BDL | 57.5 | Method 23 | V5 | LOW NOX BURNERS | PRECIPITATORS |  |  |  | http://cfpub.epa.gov/WebFire/FIRE/view/dspERTDocumentDetailsBySubmissionID.cfm?ID=80694725
80696352 | Westmorland-LG&E Roanoke Valley I | Weldon | NC | 10100202 | 2.29e-13 | 2010 | 1,2,3,7,8,9-Hexachlorodibenzo-p-dioxin | 19408-74-3 | 19408743 | LB | MMBTU | HEAT INPUT | CO2 | DLL | 80.5 | Method 23 | V5 | LOW NOX BURNERS | DRY SCRUBBER | BAGHOUSE |  |  | http://cfpub.epa.gov/WebFire/FIRE/view/dspERTDocumentDetailsBySubmissionID.cfm?ID=80696352
80703575 | Shawville 3 & 4 Common Stack | Shawville | PA | 10100202 | 1.21e-13 | 2010 | 1,2,3,7,8,9-Hexachlorodibenzo-p-dioxin | 19408-74-3 | 19408743 | LB | MMBTU | HEAT INPUT | CO2 | BDL | 65 | Method 23 | V5 | LOW NOX BURNERS | PRECIPITATORS |  |  |  | https://cfpub.epa.gov/WebFire/FIRE/view/dspERTDocumentDetailsBySubmissionID.cfm?ID=80703575
81399101 | Ray D. Nixon | Fountain | CO | 10100202 | 1.5e-13 | 2010 | 1,2,3,7,8,9-Hexachlorodibenzo-p-dioxin | 19408-74-3 | 19408743 | LB | MMBTU | HEAT INPUT | CO2 | BDL | 77 | Method 23 | V5 | BAGHOUSE |  |  |  |  | https://cfpub.epa.gov/WebFire/FIRE/view/dspERTDocumentDetailsBySubmissionID.cfm?ID=81399101
81399225 | Shawville 3 & 4 Common Stack | Shawville | PA | 10100202 | 1.21e-13 | 2010 | 1,2,3,7,8,9-Hexachlorodibenzo-p-dioxin | 19408-74-3 | 19408743 | LB | MMBTU | HEAT INPUT | CO2 | BDL | 57.5 | Method 23 | V5 | LOW NOX BURNERS | ELECTROSTATIC PRECIPITATOR |  |  |  | https://cfpub.epa.gov/WebFire/FIRE/view/dspERTDocumentDetailsBySubmissionID.cfm?ID=81399225

## Data Excluded
Submission_ID | Facility_Name | Facility_City | Facility_State | SCC | AVERAGE_VALUE | Test_Year | Pollutant_Name | CAS_Number | NEI_Pollutant_Code | POLLUTANT_UNIT | Measure | Material | Action | Detection_Limit_Flag | Test_Report_Rating | Test_Method | ERT_Version | Control_1 | Control_2 | Control_3 | Control_4 | Control_5 | Project_Data_Set | Reason For Exclusion
80691997 | Stanton | Stanton | ND | 10100202 | 3.73e-13 | 2010 | 1,2,3,7,8,9-Hexachlorodibenzo-p-dioxin | 19408-74-3 | 19408743 | LB | MMBTU | HEAT INPUT | CO2 | DLL | 26 | Method 23 | V5 | ELECTROSTATIC PRECIPITATOR |  |  |  |  | http://cfpub.epa.gov/WebFire/FIRE/view/dspERTDocumentDetailsBySubmissionID.cfm?ID=80691997 | Data value does not improve the factor quality rating.
80692241 | Streeter Station | Cedar Falls | IA | 10100202 | 1.23e-12 | 2010 | 1,2,3,7,8,9-Hexachlorodibenzo-p-dioxin | 19408-74-3 | 19408743 | LB | MMBTU | HEAT INPUT | CO2 | BDL | 76 | Method 23 | V5 | ELECTROSTATIC PRECIPITATOR |  |  |  |  | http://cfpub.epa.gov/WebFire/FIRE/view/dspERTDocumentDetailsBySubmissionID.cfm?ID=80692241 | Data value is an outlier.
80695341 | TransAlta Centralia Generation LLC | Centralia | WA | 10100202 | 6.24e-13 | 2010 | 1,2,3,7,8,9-Hexachlorodibenzo-p-dioxin | 19408-74-3 | 19408743 | LB | MMBTU | HEAT INPUT | CO2 | BDL | 41 | Method 23 | V5 | OVERFIRE AIR | ELECTROSTATIC PRECIPITATOR | WET SCRUBBER |  |  | http://cfpub.epa.gov/WebFire/FIRE/view/dspERTDocumentDetailsBySubmissionID.cfm?ID=80695341 | Data value does not improve the factor quality rating.
81399427 | Santee Cooper - Winyah Generating Station Unit #1 | Georgetown | SC | 10100202 | 5.95e-13 | 2010 | 1,2,3,7,8,9-Hexachlorodibenzo-p-dioxin | 19408-74-3 | 19408743 | LB | MMBTU | HEAT INPUT | CO2 | ADL | 24 | Method 23 | V5 | ELECTROSTATIC PRECIPITATOR | FLUE GAS DESULFURIZATION (FGD) | SCR (SELECTIVE CATALYTIC REDUCTION) | LOW NOX BURNERS |  | http://cfpub.epa.gov/WebFire/FIRE/view/dspERTDocumentDetailsBySubmissionID.cfm?ID=81399427 | Data value does not improve the factor quality rating.
81400675 | State Line Energy | Hammond | IN | 10100202 | 6.47e-14 | 2010 | 1,2,3,7,8,9-Hexachlorodibenzo-p-dioxin | 19408-74-3 | 19408743 | LB | MMBTU | HEAT INPUT | CO2 | BDL | 13 | Method 23 | V5 | BAGHOUSE |  |  |  |  | http://cfpub.epa.gov/WebFire/FIRE/view/dspERTDocumentDetailsBySubmissionID.cfm?ID=81400675 | Data value does not improve the factor quality rating.