## Summay
Factor ID: | 11003
SCC | 10100202
Pollutant | 2',3,4,4',5-Pentachlorobiphenyl
Units | LB
Activity | MMBTU HEAT INPUT CO2
Factor Quality Rating | Minimally Representative
Number of individual test data values used to calculate the emissions factor | 6
Number of individual test data values excluded from the calculation | 2
Composite Test Rating | 69.47
Control Device Configuration | BAGHOUSE;
BAGHOUSE,LOW NOX BURNERS,OVERFIRE AIR,SCR (SELECTIVE CATALYTIC REDUCTION),WET SCRUBBER;
DRY SORBENT INJECTION,ELECTROSTATIC PRECIPITATOR,LOW NOX BURNERSCR (SELECTIVE CATALYTIC REDUCTION),WET SCRUBBER;
ELECTROSTATIC PRECIPITATOR;
ELECTROSTATIC PRECIPITATOR,OVERFIRE AIR,WET SCRUBBER;
LOW NOX BURNERS,PRECIPITATORS
New Candidate Factor Value | 8e-12
AP42 Section | 1.1

## Data Included
Submission_ID | Facility_Name | Facility_City | Facility_State | SCC | AVERAGE_VALUE | Test_Year | Pollutant_Name | CAS_Number | POLLUTANT_UNIT | Measure | Material | Action | Detection_Limit_Flag | Test_Report_Rating | Test_Method | Control_1 | Control_2 | Control_3 | Control_4 | Control_5 | Project_Data_Set
80691785 | KY1357 Green River Boiler 5 | Central City | KY | 10100202 | 6.76e-13 | 2010 | 2',3,4,4',5-Pentachlorobiphenyl | 57465-28-8 | LB | MMBTU | HEAT INPUT | CO2 | DLL | 74 | Method 23 | ELECTROSTATIC PRECIPITATOR |  |  |  |  | https://cfpub.epa.gov/WebFire/FIRE/view/dspERTDocumentDetailsBySubmissionID.cfm?ID=80691785
80692898 | Cumberland Fossil Plant Unit 1 | Cumberland City | TN | 10100202 | 7.43e-13 | 2010 | 2',3,4,4',5-Pentachlorobiphenyl | 57465-28-8 | LB | MMBTU | HEAT INPUT | CO2 | BDL | 70 | Method 23 | ELECTROSTATIC PRECIPITATOR | LOW NOX BURNERS | WET SCRUBBER | SCR (SELECTIVE CATALYTIC REDUCTION) | DRY SORBENT INJECTION | https://cfpub.epa.gov/WebFire/FIRE/view/dspERTDocumentDetailsBySubmissionID.cfm?ID=80692898
80694601 | Ray D. Nixon | Fountain | CO | 10100202 | 4.28e-13 | 2010 | 2',3,4,4',5-Pentachlorobiphenyl | 57465-28-8 | LB | MMBTU | HEAT INPUT | CO2 | BDL | 77 | Method 23 | BAGHOUSE |  |  |  |  | https://cfpub.epa.gov/WebFire/FIRE/view/dspERTDocumentDetailsBySubmissionID.cfm?ID=80694601
80694725 | Shawville 3 & 4 Common Stack | Shawville | PA | 10100202 | 2.29e-11 | 2010 | 2',3,4,4',5-Pentachlorobiphenyl | 57465-28-8 | LB | MMBTU | HEAT INPUT | CO2 | DLL | 57.5 | Method 23 | LOW NOX BURNERS | PRECIPITATORS |  |  |  | https://cfpub.epa.gov/WebFire/FIRE/view/dspERTDocumentDetailsBySubmissionID.cfm?ID=80694725
80695549 | Chesterfield | Chester | VA | 10100202 | 2.77e-13 | 2010 | 2',3,4,4',5-Pentachlorobiphenyl | 57465-28-8 | LB | MMBTU | HEAT INPUT | CO2 | BDL | 82 | Method 23 | OVERFIRE AIR | LOW NOX BURNERS | SCR (SELECTIVE CATALYTIC REDUCTION) | WET SCRUBBER | BAGHOUSE | https://cfpub.epa.gov/WebFire/FIRE/view/dspERTDocumentDetailsBySubmissionID.cfm?ID=80695549
80703575 | Shawville 3 & 4 Common Stack | Shawville | PA | 10100202 | 2.29e-11 | 2010 | 2',3,4,4',5-Pentachlorobiphenyl | 57465-28-8 | LB | MMBTU | HEAT INPUT | CO2 | DLL | 65 | Method 23 | LOW NOX BURNERS | PRECIPITATORS |  |  |  | https://cfpub.epa.gov/WebFire/FIRE/view/dspERTDocumentDetailsBySubmissionID.cfm?ID=80703575

## Data Excluded
Submission_ID | Facility_Name | Facility_City | Facility_State | SCC | AVERAGE_VALUE | Test_Year | Pollutant_Name | CAS_Number | POLLUTANT_UNIT | Measure | Material | Action | Detection_Limit_Flag | Test_Report_Rating | Test_Method | Control_1 | Control_2 | Control_3 | Control_4 | Control_5 | Project_Data_Set | Reason_for_Exclusion
80692241 | Streeter Station | Cedar Falls | IA | 10100202 | 1.08e-10 | 2010 | 2',3,4,4',5-Pentachlorobiphenyl | 57465-28-8 | LB | MMBTU | HEAT INPUT | CO2 | DLL | 76 | Method 23 | ELECTROSTATIC PRECIPITATOR |  |  |  |  | https://cfpub.epa.gov/WebFire/FIRE/view/dspERTDocumentDetailsBySubmissionID.cfm?ID=80692241 | Data value is an outlier.
80695341 | TransAlta Centralia Generation LLC | Centralia | WA | 10100202 | 5.78e-11 | 2010 | 2',3,4,4',5-Pentachlorobiphenyl | 57465-28-8 | LB | MMBTU | HEAT INPUT | CO2 | ADL | 41 | Method 23 | OVERFIRE AIR | ELECTROSTATIC PRECIPITATOR | WET SCRUBBER |  |  | https://cfpub.epa.gov/WebFire/FIRE/view/dspERTDocumentDetailsBySubmissionID.cfm?ID=80695341 | Data value does not improve the factor quality rating.