## Summary
Factor ID: | 11069
SCC | 10100202
Pollutant | 3,3',4,4',5,5'-Hexachlorobiphenyl
Units | LB
Activity | MMBTU HEAT INPUT CO2
Factor Quality Rating | Minimal
Number of individual test data values used to calculate the emissions factor | 6
Number of individual test data values excluded from the calculation | 1
Composite Test Rating | 68.8
Control Device Configuration | BAGHOUSE;
DRY SORBENT INJECTION,ELECTROSTATIC PRECIPITATOR,LOW NOX BURNERSCR (SELECTIVE CATALYTIC REDUCTION),WET SCRUBBER;
ELECTROSTATIC PRECIPITATOR;
ELECTROSTATIC PRECIPITATOR,OVERFIRE AIR,WET SCRUBBER;
LOW NOX BURNERS,PRECIPITATORS
New Candidate Factor Value | 1.66e-12
AP42 Section | 1.1

## Data Included
Submission_ID | Facility_Name | Facility_City | Facility_State | SCC | AVERAGE_VALUE | Test_Year | Pollutant_Name | CAS_Number | NEI_Pollutant_Code | POLLUTANT_UNIT | Measure | Material | Action | Detection_Limit_Flag | Test_Report_Rating | Test_Method | ERT_Version | Control_1 | Control_2 | Control_3 | Project Data Set
80691785 | KY1357 Green River Boiler 5 | Central City | KY | 10100202 | 3.39e-13 | 2010 | 3,3',4,4',5,5'-Hexachlorobiphenyl | 32774-16-6 |  | LB | MMBTU | HEAT INPUT | CO2 | BDL | 74 | Method 23 | V5 | ELECTROSTATIC PRECIPITATOR |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?ID=80691785
80692241 | Streeter Station | Cedar Falls | IA | 10100202 | 2.75e-12 | 2010 | 3,3',4,4',5,5'-Hexachlorobiphenyl | 32774-16-6 |  | LB | MMBTU | HEAT INPUT | CO2 | BDL | 76 | Method 23 | V5 | ELECTROSTATIC PRECIPITATOR |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?ID=80692241
80692898 | Cumberland Fossil Plant Unit 1 | Cumberland City | TN | 10100202 | 6.47e-13 | 2010 | 3,3',4,4',5,5'-Hexachlorobiphenyl | 32774-16-6 |  | LB | MMBTU | HEAT INPUT | CO2 | BDL | 70 | Method 23 | V5 | ELECTROSTATIC PRECIPITATOR | LOW NOX BURNERS | WET SCRUBBER | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?ID=80692898
80694601 | Ray D. Nixon | Fountain | CO | 10100202 | 5.48e-13 | 2010 | 3,3',4,4',5,5'-Hexachlorobiphenyl | 32774-16-6 |  | LB | MMBTU | HEAT INPUT | CO2 | BDL | 77 | Method 23 | V5 | BAGHOUSE |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?ID=80694601
80694725 | Shawville 3 & 4 Common Stack | Shawville | PA | 10100202 | 2.85e-12 | 2010 | 3,3',4,4',5,5'-Hexachlorobiphenyl | 32774-16-6 |  | LB | MMBTU | HEAT INPUT | CO2 | DLL | 57.5 | Method 23 | V5 | LOW NOX BURNERS | PRECIPITATORS |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?ID=80694725
80703575 | Shawville 3 & 4 Common Stack | Shawville | PA | 10100202 | 2.85e-12 | 2010 | 3,3',4,4',5,5'-Hexachlorobiphenyl | 32774-16-6 |  | LB | MMBTU | HEAT INPUT | CO2 | DLL | 65 | Method 23 | V5 | LOW NOX BURNERS | PRECIPITATORS |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?ID=80703575

## Data Excluded
Submission_ID | Facility_Name | Facility_City | Facility_State | SCC | TEST_RUN_VALUE | AVERAGE_VALUE | Calculated_Average | Test_Year | Pollutant_Name | CAS_Number | NEI_Pollutant_Code | POLLUTANT_UNIT | Measure | Material | Action | Detection_Limit_Flag | Test_Report_Rating | Test_Method | ERT_Version | Control_1 | Control_2 | Control_3 | Project Data Set | Reason for Exclusion
80695341 | TransAlta Centralia Generation LLC | Centralia | WA | 10100202 | N/A | 2.82e-12 | 1 | 2010 | 3,3',4,4',5,5'-Hexachlorobiphenyl | 32774-16-6 |  | LB | MMBTU | HEAT INPUT | CO2 | BDL | 41 | Method 23 | V5 | OVERFIRE AIR | ELECTROSTATIC PRECIPITATOR | WET SCRUBBER | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?ID=80695341 | Data value does not improve the factor quality rating.