## Summary
Key Parameters | Results
Combined Data Set SCC List | 50100802
Does the SCC contain more than 15 sources? | Yes
Pollutant | Carbon Dioxide
Units | LB
Activity | TONS DRIED SLUDGE FED
Factor Quality Rating | Moderately Representative
Number of individual test data values used to calculate the emissions factor | 6
Number of individual test data values excluded from the calculation | 3
Composite Test Rating | 73.19
Control Device Configuration | AFTERBURNER,TRAY SCRUBBER,VENTURI SCRUBBER
AFTERBURNER,VENTURI SCRUBBER
AFTERBURNER,WET SCRUBBER
ELECTROSTATIC PRECIPITATOR - WET (WESP),IMPINGEMENT PLATE SCRUBBEREGENERATIVE THERMAL OXIDIZER,VENTURI SCRUBBER
ELECTROSTATIC PRECIPITATOR,VENTURI SCRUBBER
New Candidate Factor Value ¹ | 3460

## Data Included
Individual Test Data Value | Individual Test Method | Individual Test Data Units | Individual Test Data Activity | Individual Test Rating | Detection Limit Flag | Year of Test | Facility Name | Control_1 | Control_2 | Control_3 | Control_4 | Test City | Test State | ERT Project Data Set | Submission_ID
2280 | Method 3A CO2 | LB | TONS DRIED SLUDGE FED | 60 | ADL | 2018 | Erie Waste Water Treatment Plant | ELECTROSTATIC PRECIPITATOR | VENTURI SCRUBBER |  |  | Erie | PA | PDS | 80305567
2840 | Method 3A CO2 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2017 | Atlantic County Utilities Authority | AFTERBURNER | WET SCRUBBER |  |  | Atlantic City | NJ | PDS | 80756246
3810 | Method 3A CO2 | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2017 | Blue River Wastewater Treatment Plant | AFTERBURNER | VENTURI SCRUBBER | TRAY SCRUBBER |  | Kansas City | MO | PDS | 80272499
4020 | Method 3A CO2 | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2019 | Blue River Wastewater Treatment Plant | AFTERBURNER | VENTURI SCRUBBER | TRAY SCRUBBER |  | Kansas City | MO | PDS | 80410495
4790 | Method 3A CO2 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2018 | Atlantic County Utilities Authority | AFTERBURNER | WET SCRUBBER |  |  | Atlantic City | NJ | PDS | 80757226
3580 | Method 3A CO2 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2022 | Hatfield Township Municipal Authority | VENTURI SCRUBBER | IMPINGEMENT PLATE SCRUBBER | WET ELECTROSTATIC PRECIPITATOR | Regenerative Thermal Oxidizer | Colmar | PA | PDS | 81465596

## Data Excluded
Reason for Exclusion | Individual Test Data Value | Individual Test Method | Individual Test Data Units | Individual Test Data Activity | Individual Test Rating | Detection Limit Flag | Year of Test | Facility Name | Control_1 | Control_2 | Control_3 | Test City | Test State | ERT Project Data Set | Submission_ID
Data value does not improve the factor quality rating. | 3240 | Method 3A CO2 | LB | TONS DRIED SLUDGE FED | 29.5 | ADL | 2017 | Erie Waste Water Treatment Plant | ELECTROSTATIC PRECIPITATOR | VENTURI SCRUBBER |  | Erie | PA | PDS | 80266619
Data value does not improve the factor quality rating. | 3740 | Method 3A CO2 | LB | TONS DRIED SLUDGE FED | 25 | ADL | 2016 | Blue River Wastewater Treatment Plant | AFTERBURNER | VENTURI SCRUBBER | TRAY SCRUBBER | Kansas City | MO | PDS | 80162371
Data value does not improve the factor quality rating. | 4040 | Method 3A CO2 | LB | TONS DRIED SLUDGE FED | 25 | ADL | 2018 | Blue River Wastewater Treatment Plant | AFTERBURNER | VENTURI SCRUBBER | TRAY SCRUBBER | Kansas City | MO | PDS | 80307194