## Summary
Key Parameters | Results
Combined Data Set SCC List | 50100803
Does the SCC contain more than 15 sources? | Yes
Pollutant | Nitrogen oxides (NOx)
Units | LB
Activity | TONS DRIED SLUDGE FED
Factor Quality Rating | Moderately Representative
Number of individual test data values used to calculate the emissions factor | 16
Number of individual test data values excluded from the calculation | 0
Composite Test Rating | 77.33
Control Device Configuration | ADSORPTION - ACTIVATED CARBON OR OTHER,ELECTROSTATIC PRECIPITATOR - WET (WESP),SCRUBBER,SELECTIVE NON-CATALYTIC REDUCTION (SNCR);
IMPINGEMENT TYPE WET SCRUBBER,VENTURI SCRUBBER;
WET SCRUBBER
SCRUBBER;
New Candidate Factor Value | 0.896

## Data Included
Individual Test Data Value | Individual Test Method | Individual Test Data Units | Individual Test Data Activity | Individual Test Rating | Detection Limit Flag | Year of Test | Facility Name | Control_1 | Control_2 | Control_3 | Control_4 | Test City | Test State | ERT Project Data Set | Submission_ID
0.378 | Method 7E | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2020 | Southerly Wastewater Treatment Center | IMPINGEMENT TYPE WET SCRUBBER | VENTURI SCRUBBER |  |  |  | OH | PDS | 81069127
0.401 | Method 7E | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2017 | NEORSD - Southerly WWTC | IMPINGEMENT TYPE WET SCRUBBER | VENTURI SCRUBBER |  |  |  | OH | PDS | 80264499
0.411 | Method 7E | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2021 | Northwest Bergen County Utilities Authority | WET SCRUBBER |  |  |  |  | NJ | PDS | 81149775
0.423 | Method 7E | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2020 | Southerly Wastewater Treatment Center | IMPINGEMENT TYPE WET SCRUBBER | VENTURI SCRUBBER |  |  |  | OH | PDS | 81078289
0.434 | Method 7E | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2017 | NEORSD - Southerly WWTC | IMPINGEMENT TYPE WET SCRUBBER | VENTURI SCRUBBER |  |  |  | OH | PDS | 80264431
0.477 | Method 7E | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2022 | Northwest Bergen County Utilities Authority | WET SCRUBBER |  |  |  |  | NJ | PDS | 81505546
0.65 | Method 7E | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2017 | Southerly Wastewater Treatment Center | IMPINGEMENT TYPE WET SCRUBBER | VENTURI SCRUBBER |  |  |  | OH | PDS | 80264465
0.692 | Method 7E | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2020 | Northwest Bergen County Utilities Authority | WET SCRUBBER |  |  |  |  | NJ | PDS | 80744756
0.758 | Method 7E | LB | TONS DRIED SLUDGE FED | 72 | ADL | 2017 | Northwest Bergen County Utilities Authority | WET SCRUBBER |  |  |  |  | NJ | PDS | 80756140
0.774 | Method 7E | LB | TONS DRIED SLUDGE FED | 76.5 | ADL | 2021 | Little Blue Valley Sewer District | ELECTROSTATIC PRECIPITATOR - WET (WESP) | SCRUBBER | ADSORPTION - ACTIVATED CARBON OR OTHER | SELECTIVE NON-CATALYTIC REDUCTION (SNCR) |  | MO | PDS | 81144860
0.78 | Method 7E | LB | TONS DRIED SLUDGE FED | 77 | ADL | 2021 | Southerly Waste Water Treatment Center | IMPINGEMENT TYPE WET SCRUBBER | VENTURI SCRUBBER |  |  |  | OH | PDS | 81403334
0.793 | Method 7E | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2022 | Little Blue Valley Sewer District | ELECTROSTATIC PRECIPITATOR - WET (WESP) | SCRUBBER | ADSORPTION - ACTIVATED CARBON OR OTHER | SELECTIVE NON-CATALYTIC REDUCTION (SNCR) |  | MO | PDS | 81479704
0.954 | Method 7E | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2018 | Northwest Bergen County Utilities Authority | WET SCRUBBER |  |  |  |  | NJ | PDS | 80746595
1.23 | Method 7E | LB | TONS DRIED SLUDGE FED | 74.5 | ADL | 2016 | City of Edmonds WWTP | SCRUBBER |  |  |  |  | WA | PDS | 80333970
1.9 | Method 7E | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2020 | Southerly Wastewater Treatment Center | IMPINGEMENT TYPE WET SCRUBBER | VENTURI SCRUBBER |  |  |  | OH | PDS | 80721141
3.28 | Method 7E | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2020 | Southerly Wastewater Treatment Center | IMPINGEMENT TYPE WET SCRUBBER | VENTURI SCRUBBER |  |  |  | OH | PDS | 80721217