## Summary
Key Parameters | Results
Combined Data Set SCC List | 50100515
Does the SCC contain more than 15 sources? | Yes
Pollutant | Oxygen
Units | LB
Activity | MMBTU HEAT INPUT O2
Factor Quality Rating | Poor
Number of individual test data values used to calculate the emissions factor | 3
Number of individual test data values excluded from the calculation | 0
Composite Test Rating | 70.57
Control Device Configuration | AFTERBURNER,WET SCRUBBER
ELECTROSTATIC PRECIPITATOR,VENTURI SCRUBBER
New Candidate Factor Value | 253

## Data Included
Individual Test Data Value | Individual Test Method | Individual Test Data Units | Individual Test Data Activity | Individual Test Rating | Detection Limit Flag | Year of Test | Facility Name | Control_1 | Control_2 | Test City | Test State | ERT Project Data Set | Submission_ID
236 | Method 3A O2 | LB | MMBTU HEAT INPUT O2 | 60 | ADL | 2018 | Erie Waste Water Treatment Plant | ELECTROSTATIC PRECIPITATOR | VENTURI SCRUBBER | Erie | PA | PDS | 80305589
241 | Method 3A O2 | LB | MMBTU HEAT INPUT O2 | 78.5 | ADL | 2017 | Atlantic County Utilities Authority | AFTERBURNER | WET SCRUBBER | Atlantic City | NJ | PDS | 80756246
283 | Method 3A O2 | LB | MMBTU HEAT INPUT O2 | 78.5 | ADL | 2018 | Atlantic County Utilities Authority | AFTERBURNER | WET SCRUBBER | Atlantic City | NJ | PDS | 80757226