## Summary
Key Parameters | Results
Combined Data Set SCC List | 50100802
Does the SCC contain more than 15 sources? | Yes
Pollutant | PM, filterable
Units | LB
Activity | TONS DRIED SLUDGE FED
Factor Quality Rating | Highly Representative
Number of individual test data values used to calculate the emissions factor | 26
Number of individual test data values excluded from the calculation | 6
Composite Test Rating | 70.95
Control Device Configuration | AFTERBURNER,SCRUBBER;
AFTERBURNER,SCRUBBER,VENTURI SCRUBBER;
AFTERBURNER,TRAY-TYPE GAS ABSORPTION COLUMN,VENTURI SCRUBBER;
AFTERBURNER,VENTURI SCRUBBER;
AFTERBURNER,WET SCRUBBER;
CYCLONE / CENTRIFUGAL COLLECTOR;
ELECTROSTATIC PRECIPITATOR - WET (WESP),WET SCRUBBER;
SCRUBBER,VENTURI SCRUBBER
New Candidate Factor Value | 0.722

## Data Included
Individual Test Data Value | Individual Test Method | Individual Test Data Units | Individual Test Data Activity | Individual Test Rating | Detection Limit Flag | Year of Test | Facility Name | Control_1 | Control_2 | Control_3 | Control_4 | Control_5 | Test City | Test State | ERT Project Data Set | Submission_ID
0.3 | EPA Method 5 | LB | TONS DRIED SLUDGE FED | 60 | ADL |  | MWCC Metro Plant | CYCLONE / CENTRIFUGAL COLLECTOR |  |  |  |  | St Paul | MN | PDS | 80592515
0.311 | Method 5 | LB | TONS DRIED SLUDGE FED | 65 | ADL | 2021 | Atlantic County Utilities Authority | WET SCRUBBER | AFTERBURNER |  |  |  | Atlantic City | NJ | PDS | 81142127
0.36 | Method 5/202 | LB | TONS DRIED SLUDGE FED | 64 | ADL | 2015 | City of Palo Alto Water Quality Control Plant | AFTERBURNER | WET SCRUBBER |  |  |  | Palo Alto | CA | PDS | 80121521
0.42 | EPA Method 5 | LB | TONS DRIED SLUDGE FED | 80 | ADL |  | Washington Suburban Sanitary Commission Western Br | CYCLONE / CENTRIFUGAL COLLECTOR |  |  |  |  | Washington | DC | PDS | 80619559
0.47 | Method 5 | LB | TONS DRIED SLUDGE FED | 70.5 | ADL | 2020 | City of Erie Wastewater Treatment Facility | WET SCRUBBER | ELECTROSTATIC PRECIPITATOR - WET (WESP) |  |  |  | Erie | PA | PDS | 81116369
0.477 | Method 26A | LB | TONS DRIED SLUDGE FED | 64 | DLL | 2015 | City of Palo Alto Water Quality Control Plant | AFTERBURNER | WET SCRUBBER |  |  |  | Palo Alto | CA | PDS | 80121521
0.48 | EPA Method 5 | LB | TONS DRIED SLUDGE FED | 60 | ADL |  | MWCC Metro Plant | CYCLONE / CENTRIFUGAL COLLECTOR |  |  |  |  | St Paul | MN | PDS | 80592458
0.49 | Method 5 | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2019 | Blue River Wastewater Treatment Plant | AFTERBURNER | VENTURI SCRUBBER | TRAY-TYPE GAS ABSORPTION COLUMN |  |  | Kansas City | MO | PDS | 80410495
0.555 | Method 5/202 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2017 | Atlantic County Utilities Authority | AFTERBURNER | WET SCRUBBER |  |  |  | Atlantic City | NJ | PDS | 80756246
0.56 | EPA Method 5 | LB | TONS DRIED SLUDGE FED | 60 | ADL |  | MWCC Metro Plant | CYCLONE / CENTRIFUGAL COLLECTOR |  |  |  |  | St Paul | MN | PDS | 80592474
0.618 | Not available | LB | TONS DRIED SLUDGE FED | 80 | ADL |  | Pilot facility | CYCLONE / CENTRIFUGAL COLLECTOR |  |  |  |  | See test report. | SEE TEST REPORT. | PDS | 80603614
0.636 | Method 5 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2017 | Atlantic County Utilities Authority | AFTERBURNER | WET SCRUBBER |  |  |  | Atlantic City | NJ | PDS | 80756246
0.665 | Method 26A | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2015 | MCES - Seneca Wastewater Treatment Plant | SCRUBBER | SCRUBBER | AFTERBURNER | AFTERBURNER | SCRUBBER | Eagan | MN | PDS | 80126606
0.736 | EPA Method 5 | LB | TONS DRIED SLUDGE FED | 60 | ADL |  | MWCC Metro Plant | CYCLONE / CENTRIFUGAL COLLECTOR |  |  |  |  | St Paul | MN | PDS | 80592531
0.764 | Method 26A | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2015 | MCES - Seneca Wastewater Treatment Plant | SCRUBBER | SCRUBBER | VENTURI SCRUBBER | VENTURI SCRUBBER | SCRUBBER | Eagan | MN | PDS | 80124740
0.773 | Method 26A | LB | TONS DRIED SLUDGE FED | 74 | ADL | 2016 | MCES - Seneca Wastewater Treatment Plant | AFTERBURNER | SCRUBBER | SCRUBBER | VENTURI SCRUBBER |  | Eagan | MN | PDS | 80245706
0.785 | Method 5 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2017 | Atlantic County Utilities Authority | WET SCRUBBER | AFTERBURNER |  |  |  | Atlantic City | NJ | PDS | 80727757
0.808 | EPA Method 5 | LB | TONS DRIED SLUDGE FED | 60 | ADL |  | Naugatuck Treatment Company | CYCLONE / CENTRIFUGAL COLLECTOR |  |  |  |  | Naugatuck | CT | PDS | 80594441
0.837 | Method 5 | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2017 | Blue River Wastewater Treatment Plant | AFTERBURNER | VENTURI SCRUBBER | VENTURI SCRUBBER |  |  | Kansas City | MO | PDS | 80272499
0.949 | Method 5/202 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2017 | Atlantic County Utilities Authority | WET SCRUBBER | AFTERBURNER |  |  |  | Atlantic City | NJ | PDS | 80727757
0.965 | Method 5 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2020 | Atlantic County Utilities Authority | WET SCRUBBER | AFTERBURNER |  |  |  | Atlantic City | NJ | PDS | 81081160
1.05 | Method 26A | LB | TONS DRIED SLUDGE FED | 74 | ADL | 2016 | MCES - Seneca Wastewater Treatment Plant | AFTERBURNER | SCRUBBER | SCRUBBER | VENTURI SCRUBBER |  | Eagan | MN | PDS | 80174548
1.12 | Method 5/202 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2017 | Atlantic County Utilities Authority | WET SCRUBBER | AFTERBURNER |  |  |  | Atlantic City | NJ | PDS | 80756572
1.21 | Method 5 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2017 | Atlantic County Utilities Authority | WET SCRUBBER | AFTERBURNER |  |  |  | Atlantic City | NJ | PDS | 80756418
1.21 | Method 5 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2017 | Atlantic County Utilities Authority | WET SCRUBBER | AFTERBURNER |  |  |  | Atlantic City | NJ | PDS | 80756572
1.22 | Method 5 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2018 | Atlantic County Utilities Authority | AFTERBURNER | WET SCRUBBER |  |  |  | Atlantic City | NJ | PDS | 80757226

## Data Excluded
Reason for Exclusion | Individual Test Data Value | Individual Test Method | Individual Test Data Units | Individual Test Data Activity | Individual Test Rating | Detection Limit Flag | Year of Test | Facility Name | Control_1 | Control_2 | Control_3 | Control_4 | Control_5 | Test City | Test State | ERT Project Data Set | Submission_ID
Data value is an outlier. | 0.0335 | Method 5 | LB | TONS DRIED SLUDGE FED | 70.5 | ADL | 2020 | City of Erie Wasterwater Treatment Facility | WET SCRUBBER | ELECTROSTATIC PRECIPITATOR - WET (WESP) |  |  |  | Erie | PA | PDS | 81116400
Data value does not improve the factor quality rating. | 0.379 | Method 5/202 | LB | TONS DRIED SLUDGE FED | 32 | ADL | 2016 | City of Palo Alto Water Quality Control Plant | AFTERBURNER | WET SCRUBBER |  |  |  | Palo Alto | CA | PDS | 80180329
Data value does not improve the factor quality rating. | 0.505 | Method 5 | LB | TONS DRIED SLUDGE FED | 25 | ADL | 2016 | Blue River Wastewater Treatment Plant | AFTERBURNER | VENTURI SCRUBBER |  |  |  | Kansas City | MO | PDS | 80162371
Data value does not improve the factor quality rating. | 0.864 | Method 5 | LB | TONS DRIED SLUDGE FED | 25 | ADL | 2018 | Blue River Wastewater Treatment Plant | TRAY-TYPE GAS ABSORPTION COLUMN | AFTERBURNER | VENTURI SCRUBBER |  |  | Kansas City | MO | PDS | 80307194
Data value does not improve the factor quality rating. | 2.34 | EPA Method 5 | LB | TONS DRIED SLUDGE FED | 10 | ADL |  | Plant O; Plant P; Plant Q; Plant R | CYCLONE / CENTRIFUGAL COLLECTOR |  |  |  |  | See test report. | SEE TEST REPORT. | PDS | 80604205
Data value is an outlier. | 5.86 | EPA Method 5 | LB | TONS DRIED SLUDGE FED | 80 | ADL |  | Mattabasset District Pollution Control | CYCLONE / CENTRIFUGAL COLLECTOR |  |  |  |  | Cromwell | CT | PDS | 80588349