## Summary
Key Parameters | Results
Combined Data Set SCC List | 50100803
Does the SCC contain more than 15 sources? | Yes
Pollutant | Sulfur dioxide
Units | LB
Activity | TONS DRIED SLUDGE FED
Factor Quality Rating | Moderately Representative
Number of individual test data values used to calculate the emissions factor | 19
Number of individual test data values excluded from the calculation | 0
Composite Test Rating | 74.48
Control Device Configuration | AVERAGE BED TEMPERATURELECTROSTATIC PRECIPITATOR - WET (WESP),SCRUBBER
ELECTROSTATIC PRECIPITATOR - DRY (DESP),SCRUBBER
IMPINGEMENT TYPE WET SCRUBBER,VENTURI SCRUBBER
INCINERATOR COMBUSTION CHAMBER TEMPERATURE - MINIMUM,TRAY-TYPE GAS ABSORPTION COLUMN,VENTURI SCRUBBER
New Candidate Factor Value | 0.321

## Data Included
Individual Test Data Value | Individual Test Method | Individual Test Data Units | Individual Test Data Activity | Individual Test Rating | Detection Limit Flag | Year of Test | Facility Name | Control_1 | Control_2 | Control_3 | Control_4 | Control_5 | Test City | Test State | ERT Project Data Set | Submission_ID
0.0246 | Method 6C | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2019 | Bayshore Regional Sewerage Authority | AVERAGE BED TEMPERATURE | SCRUBBER | ELECTROSTATIC PRECIPITATOR - WET (WESP) |  |  | Union Beach | NJ | PDS | 80372348
0.0665 | Method 6C | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2019 | Bayshore Regional Sewerage Authority | AVERAGE BED TEMPERATURE | SCRUBBER | ELECTROSTATIC PRECIPITATOR - WET (WESP) |  |  | Union Beach | NJ | PDS | 80372414
0.0785 | Method 6C | LB | TONS DRIED SLUDGE FED | 74 | ADL | 2016 | NW Bergen County Utilities | ELECTROSTATIC PRECIPITATOR - DRY (DESP) | SCRUBBER |  |  |  | Waldwick | NJ | PDS | 80291839
0.095 | Method 6C | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2017 | Southerly Wastewater Treatment Center | IMPINGEMENT TYPE WET SCRUBBER | VENTURI SCRUBBER |  |  |  | Cleveland | OH | PDS | 80264465
0.108 | Method 6C | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2020 | Southerly Wastewater Treatment Center | VENTURI SCRUBBER | IMPINGEMENT TYPE WET SCRUBBER |  |  |  | Cuyahoga Heights | OH | PDS | 80821824
0.204 | Method 6C | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2022 | WWTF Sewage Sludge Incinerator | VENTURI SCRUBBER | VENTURI SCRUBBER | TRAY-TYPE GAS ABSORPTION COLUMN | TRAY-TYPE GAS ABSORPTION COLUMN | INCINERATOR COMBUSTION CHAMBER TEMPERATURE - MINIMUM | Woonsocket | RI | PDS | 81470468
0.222 | Method 6C | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2020 | Southerly Wastewater Treatment Center | IMPINGEMENT TYPE WET SCRUBBER | VENTURI SCRUBBER |  |  |  | Cleveland | OH | PDS | 80721217
0.23 | Method 6C | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2017 | NEORSD - Southerly WWTC | IMPINGEMENT TYPE WET SCRUBBER | VENTURI SCRUBBER |  |  |  | Cleveland | OH | PDS | 80264431
0.253 | Method 6C | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2020 | Southerly Wastewater Treatment Center | IMPINGEMENT TYPE WET SCRUBBER | VENTURI SCRUBBER |  |  |  | Cleveland | OH | PDS | 81078289
0.265 | Method 6C | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2017 | NEORSD - Southerly WWTC | IMPINGEMENT TYPE WET SCRUBBER | VENTURI SCRUBBER |  |  |  | Cleveland | OH | PDS | 80264499
0.273 | Method 6C | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2018 | City of Edmonds Wastewater Treatment Plant | VENTURI SCRUBBER |  |  |  |  | Edmonds | WA | PDS | 80333849
0.342 | Method 6C | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2018 | Southerly Wastewater Treatment Center | IMPINGEMENT TYPE WET SCRUBBER | VENTURI SCRUBBER |  |  |  | Cleveland | OH | PDS | 80303911
0.346 | Method 6C | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2020 | Southerly Wastewater Treatment Center | IMPINGEMENT TYPE WET SCRUBBER | VENTURI SCRUBBER |  |  |  | Cuyahoga Heights | OH | PDS | 81069127
0.351 | Method 6C | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2018 | Southerly Wastewater Treatment Center | VENTURI SCRUBBER | IMPINGEMENT TYPE WET SCRUBBER |  |  |  | Cleveland | OH | PDS | 80315252
0.358 | Method 6C | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2020 | Southerly Wastewater Treatment Center | IMPINGEMENT TYPE WET SCRUBBER | VENTURI SCRUBBER |  |  |  | Cuyahoga Heights | OH | PDS | 80721141
0.421 | Method 6C | LB | TONS DRIED SLUDGE FED | 62 | ADL | 2020 | Bayshore Regional Sewerage Authority | AVERAGE BED TEMPERATURE | SCRUBBER | ELECTROSTATIC PRECIPITATOR - WET (WESP) |  |  | Union Beach | NJ | PDS | 80819994
0.421 | Method 6C | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2020 | Bayshore Regional Sewerage Authority | AVERAGE BED TEMPERATURE | SCRUBBER | ELECTROSTATIC PRECIPITATOR - WET (WESP) |  |  | Union Beach | NJ | PDS | 80824947
0.486 | Method 6C | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2020 | Bayshore Regional Sewerage Authority | AVERAGE BED TEMPERATURE | SCRUBBER | ELECTROSTATIC PRECIPITATOR - WET (WESP) |  |  | Union Beach | NJ | PDS | 80820061
1.56 | Not available | LB | TONS DRIED SLUDGE FED | 60 | ADL |  | Pequannock, Lincoln Park, and Fairfield Sewerage A | VENTURI SCRUBBER |  |  |  |  | Lincoln Park | NJ | PDS | 80602976