## Summary
Key Parameters | Results
Combined Data Set SCC List | 50100803
Does the SCC contain more than 15 sources? | Yes
Pollutant | Tetrachlorodibenzofurans, total
Units | LB
Activity | TONS DRIED SLUDGE FED
Factor Quality Rating | Moderately Representative
Number of individual test data values used to calculate the emissions factor | 9
Number of individual test data values excluded from the calculation | 5
Composite Test Rating | 74.6
Control Device Configuration | AVERAGE BED TEMPERATURELECTROSTATIC PRECIPITATOR - WET (WESP),SCRUBBER;
FREEBOARD REFRIGERATION DEVICE,TRAY-TYPE GAS ABSORPTION COLUMN,VENTURI SCRUBBER;
INCINERATOR COMBUSTION CHAMBER TEMPERATURE - MINIMUM,TRAY-TYPE GAS ABSORPTION COLUMN,VENTURI SCRUBBER;
THERMAL OXIDIZER / INCINERATOR,TRAY-TYPE GAS ABSORPTION COLUMN,VENTURI SCRUBBER;
TRAY-TYPE GAS ABSORPTION COLUMN,VENTURI SCRUBBER,WET SCRUBBER;
VENTURI SCRUBBER
New Candidate Factor Value | 1.53e-10

## Data Included
Individual Test Data Value | Individual Test Method | Individual Test Data Units | Individual Test Data Activity | Individual Test Rating | Detection Limit Flag | Year of Test | Facility Name | Control_1 | Control_2 | Control_3 | Control_4 | Control_5 | Test City | Test State | ERT Project Data Set | Submission_ID
8.14e-11 | Method 23 | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2019 | Bayshore Regional Sewerage Authority | AVERAGE BED TEMPERATURE | SCRUBBER | ELECTROSTATIC PRECIPITATOR - WET (WESP) |  |  | Union Beach | NJ | PDS | 80372348
8.19e-11 | Method 23 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2019 | Manchester Wastewater Treatment Plant | VENTURI SCRUBBER | TRAY-TYPE GAS ABSORPTION COLUMN | VENTURI SCRUBBER | TRAY-TYPE GAS ABSORPTION COLUMN | FREEBOARD REFRIGERATION DEVICE | Manchester | NH | PDS | 80449015
1.07e-10 | Method 23 | LB | TONS DRIED SLUDGE FED | 62 | ADL | 2020 | Bayshore Regional Sewerage Authority | AVERAGE BED TEMPERATURE | SCRUBBER | ELECTROSTATIC PRECIPITATOR - WET (WESP) |  |  | Union Beach | NJ | PDS | 80819994
1.07e-10 | Method 23 | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2020 | Bayshore Regional Sewerage Authority | AVERAGE BED TEMPERATURE | SCRUBBER | ELECTROSTATIC PRECIPITATOR - WET (WESP) |  |  | Union Beach | NJ | PDS | 80824947
1.27e-10 | Method 23 | LB | TONS DRIED SLUDGE FED | 72.5 | ADL | 2018 | City of Lynnwood Wastewater Treatment Plant | VENTURI SCRUBBER |  |  |  |  | Edmonds | WA | PDS | 80299708
1.38e-10 | Method 23 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2018 | Manchester Wastewater Treatment Plant | VENTURI SCRUBBER | TRAY-TYPE GAS ABSORPTION COLUMN | VENTURI SCRUBBER | TRAY-TYPE GAS ABSORPTION COLUMN | FREEBOARD REFRIGERATION DEVICE | Manchester | NH | PDS | 80343281
1.78e-10 | Method 23 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2018 | Synagro Waterbury | THERMAL OXIDIZER / INCINERATOR | THERMAL OXIDIZER / INCINERATOR | VENTURI SCRUBBER | VENTURI SCRUBBER | TRAY-TYPE GAS ABSORPTION COLUMN | Waterbury | CT | PDS | 80342662
2.76e-10 | Method 23 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2020 | Manchester Wastewater Treatment Plant | VENTURI SCRUBBER | TRAY-TYPE GAS ABSORPTION COLUMN | VENTURI SCRUBBER | TRAY-TYPE GAS ABSORPTION COLUMN | FREEBOARD REFRIGERATION DEVICE | Manchester | NH | PDS | 81138564
2.77e-10 | Method 23 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2020 | Manchester Wastewater Treatment Plant | VENTURI SCRUBBER | TRAY-TYPE GAS ABSORPTION COLUMN | VENTURI SCRUBBER | TRAY-TYPE GAS ABSORPTION COLUMN | FREEBOARD REFRIGERATION DEVICE | Manchester | NH | PDS | 81122589

## Data Excluded
Reason for Exclusion | Individual Test Data Value | Individual Test Method | Individual Test Data Units | Individual Test Data Activity | Individual Test Rating | Detection Limit Flag | Year of Test | Facility Name | Control_1 | Control_2 | Control_3 | Control_4 | Control_5 | Test City | Test State | ERT Project Data Set | Submission_ID
Data value is an outlier. | 3.86e-11 | Method 23 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2019 | Waterbury Water Pollution Control Facility | THERMAL OXIDIZER / INCINERATOR | THERMAL OXIDIZER / INCINERATOR | VENTURI SCRUBBER | VENTURI SCRUBBER | TRAY-TYPE GAS ABSORPTION COLUMN | Waterbury | CT | PDS | 80654036
Data value is an outlier. | 4.75e-10 | Method 23 | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2022 | WWTF Sewage Sludge Incinerator | VENTURI SCRUBBER | VENTURI SCRUBBER | TRAY-TYPE GAS ABSORPTION COLUMN | TRAY-TYPE GAS ABSORPTION COLUMN | INCINERATOR COMBUSTION CHAMBER TEMPERATURE - MINIMUM | Woonsocket | RI | PDS | 81470468
Data value is an outlier. | 5.49e-10 | Method 23 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2018 | Synagro Woonsocket | VENTURI SCRUBBER | TRAY-TYPE GAS ABSORPTION COLUMN | VENTURI SCRUBBER | TRAY-TYPE GAS ABSORPTION COLUMN | WET SCRUBBER | Woonsocket | RI | PDS | 80304270
Data value is an outlier. | 1.93e-07 | Method 23 | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2020 | Bayshore Regional Sewerage Authority | AVERAGE BED TEMPERATURE | SCRUBBER | ELECTROSTATIC PRECIPITATOR - WET (WESP) |  |  | Union Beach | NJ | PDS | 80825014
Data value is an outlier. | 3.87e-07 | Method 23 | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2020 | Bayshore Regional Sewerage Authority | AVERAGE BED TEMPERATURE | SCRUBBER | ELECTROSTATIC PRECIPITATOR - WET (WESP) |  |  | Union Beach | NJ | PDS | 80820061