## Summary
Key Parameters | Results
Combined Data Set SCC List | 50100803
Does the SCC contain more than 15 sources? | Yes
Pollutant | PM, FILTERABLE
Units | LB
Activity | TONS DRIED SLUDGE FED
Factor Quality Rating | Highly Representative
Number of individual test data values used to calculate the emissions factor | 40
Number of individual test data values excluded from the calculation | 6
Composite Test Rating | 74.51
Control Device Configuration | ACTIVATED CARBON INJECTION (ACI),BAGHOUSE,VENTURI SCRUBBER;
ACTIVATED CARBON INJECTION (ACI),BAGHOUSELECTROSTATIC PRECIPITATOR - WET (WESP),ELECTROSTATIC PRECIPITATOR - WET (WESP),VENTURI SCRUBBER;
ACTIVATED CARBON INJECTION (ACI),BAGHOUSELECTROSTATIC PRECIPITATOR - WET (WESP),VENTURI SCRUBBER;
AVERAGE BED TEMPERATURELECTROSTATIC PRECIPITATOR - WET (WESP),SCRUBBER;
CYCLONE / CENTRIFUGAL COLLECTOR;
CYCLONES (MULTIPLE),VENTURI SCRUBBER,WET SCRUBBER;
ELECTROSTATIC PRECIPITATOR - DRY (DESP),SCRUBBER;
IMPINGEMENT TYPE WET SCRUBBER;
IMPINGEMENT TYPE WET SCRUBBER,VENTURI SCRUBBER;
SCRUBBER;
THERMAL OXIDIZER / INCINERATOR,TRAY-TYPE GAS ABSORPTION COLUMN,VENTURI SCRUBBER;
THERMAL OXIDIZER / INCINERATOR,VENTURI SCRUBBER;
TRAY-TYPE GAS ABSORPTION COLUMN,VENTURI SCRUBBER;
VENTURI SCRUBBER;
WET SCRUBBER
New Candidate Factor Value | 0.153

## Data Included
Individual Test Data Value | Individual Test Method | Individual Test Data Units | Individual Test Data Activity | Individual Test Rating | Detection Limit Flag | Year of Test | Facility Name | Control_1 | Control_2 | Control_3 | Control_4 | Control_5 | Test City | Test State | ERT Project Data Set | Submission_ID
0.00739 | Method 29 | LB | TONS DRIED SLUDGE FED | 72.5 | ADL | 2018 | City of Lynnwood Wastewater Treatment Plant | VENTURI SCRUBBER |  |  |  |  | Edmonds | WA | PDS | 80299708
0.00829 | Method 26A | LB | TONS DRIED SLUDGE FED | 78.5 | DLL | 2017 | NEORSD - Southerly WWTC | IMPINGEMENT TYPE WET SCRUBBER | VENTURI SCRUBBER |  |  |  | Cleveland | OH | PDS | 80264499
0.0088 | Method 26A | LB | TONS DRIED SLUDGE FED | 74 | ADL | 2016 | MCES - Metropolitan Wastewater Treatment Plant | ACTIVATED CARBON INJECTION (ACI) | ACTIVATED CARBON INJECTION (ACI) | BAGHOUSE | BAGHOUSE | VENTURI SCRUBBER | St. Paul | MN | PDS | 80144646
0.00933 | Method 26A | LB | TONS DRIED SLUDGE FED | 78.5 | DLL | 2017 | NEORSD - Southerly WWTC | IMPINGEMENT TYPE WET SCRUBBER | VENTURI SCRUBBER |  |  |  | Cleveland | OH | PDS | 80264431
0.0168 | Method 26A | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2017 | Southerly Wastewater Treatment Center | IMPINGEMENT TYPE WET SCRUBBER | VENTURI SCRUBBER |  |  |  | Cleveland | OH | PDS | 80264465
0.0189 | Method 5/202 | LB | TONS DRIED SLUDGE FED | 74 | DLL | 2016 | NW Bergen County Utilities | ELECTROSTATIC PRECIPITATOR - DRY (DESP) | SCRUBBER |  |  |  | Waldwick | NJ | PDS | 80291839
0.0203 | Method 5 | LB | TONS DRIED SLUDGE FED | 74 | ADL | 2018 | Synagro Woonsocket | VENTURI SCRUBBER | TRAY-TYPE GAS ABSORPTION COLUMN | VENTURI SCRUBBER | TRAY-TYPE GAS ABSORPTION COLUMN | TRAY-TYPE GAS ABSORPTION COLUMN | Woonsocket | RI | PDS | 80328571
0.0218 | Method 5 | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2019 | Bayshore Regional Sewerage Authority | AVERAGE BED TEMPERATURE | SCRUBBER | ELECTROSTATIC PRECIPITATOR - WET (WESP) |  |  | Union Beach | NJ | PDS | 80372348
0.022 | Method 26A | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2018 | Westside Water Reclamation Facility | VENTURI SCRUBBER | VENTURI SCRUBBER | VENTURI SCRUBBER | THERMAL OXIDIZER / INCINERATOR |  | Vancouver | WA | PDS | 80296653
0.0224 | Method 5 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2019 | WWTF Sewage Sludge Incinerator | VENTURI SCRUBBER | TRAY-TYPE GAS ABSORPTION COLUMN | VENTURI SCRUBBER | TRAY-TYPE GAS ABSORPTION COLUMN | TRAY-TYPE GAS ABSORPTION COLUMN | Woonsocket | RI | PDS | 80649449
0.023 | Method 5 | LB | TONS DRIED SLUDGE FED | 62 | ADL | 2020 | Bayshore Regional Sewerage Authority | AVERAGE BED TEMPERATURE | SCRUBBER | ELECTROSTATIC PRECIPITATOR - WET (WESP) |  |  | Union Beach | NJ | PDS | 80819994
0.0313 | Method 5/26A | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2020 | Southerly Wastewater Treatment Center | VENTURI SCRUBBER | IMPINGEMENT TYPE WET SCRUBBER |  |  |  | Cuyahoga Heights | OH | PDS | 80821824
0.0318 | Method 26A | LB | TONS DRIED SLUDGE FED | 74 | ADL | 2016 | MCES - Metropolitan Wastewater Treatment Plant | ACTIVATED CARBON INJECTION (ACI) | BAGHOUSE | VENTURI SCRUBBER | ELECTROSTATIC PRECIPITATOR - WET (WESP) | ELECTROSTATIC PRECIPITATOR - WET (WESP) | St. Paul | MN | PDS | 80144410
0.0333 | Method 26A | LB | TONS DRIED SLUDGE FED | 74 | ADL | 2016 | MCES - Metropolitan Wastewater Treatment Plant | ACTIVATED CARBON INJECTION (ACI) | BAGHOUSE | VENTURI SCRUBBER | VENTURI SCRUBBER | ELECTROSTATIC PRECIPITATOR - WET (WESP) | St. Paul | MN | PDS | 80174634
0.0364 | Method 26A | LB | TONS DRIED SLUDGE FED | 78.5 | DLL | 2015 | MCES - Metropolitan Wastewater Treatment Plant | ACTIVATED CARBON INJECTION (ACI) | ACTIVATED CARBON INJECTION (ACI) | BAGHOUSE | BAGHOUSE | VENTURI SCRUBBER | St. Paul | MN | PDS | 80120998
0.0368 | Method 26A | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2020 | Southerly Wastewater Treatment Center | IMPINGEMENT TYPE WET SCRUBBER | VENTURI SCRUBBER |  |  |  | Cleveland | OH | PDS | 81078289
0.0389 | Method 26A | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2015 | MCES - Metropolitan Wastewater Treatment Plant | ACTIVATED CARBON INJECTION (ACI) | BAGHOUSE | VENTURI SCRUBBER | VENTURI SCRUBBER | ELECTROSTATIC PRECIPITATOR - WET (WESP) | St. Paul | MN | PDS | 80121072
0.0395 | Method 26A | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2020 | Southerly Wastewater Treatment Center | IMPINGEMENT TYPE WET SCRUBBER | VENTURI SCRUBBER |  |  |  | Cleveland | OH | PDS | 80721217
0.0442 | Method 5 | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2019 | Bayshore Regional Sewerage Authority | AVERAGE BED TEMPERATURE | SCRUBBER | ELECTROSTATIC PRECIPITATOR - WET (WESP) |  |  | Union Beach | NJ | PDS | 80372414
0.0495 | Method 5 | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2020 | Southerly Wastewater Treatment Center | IMPINGEMENT TYPE WET SCRUBBER | VENTURI SCRUBBER |  |  |  | Cuyahoga Heights | OH | PDS | 81069127
0.0515 | Method 5/202 | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2021 | Bayshore Regional Sewerage Authority | AVERAGE BED TEMPERATURE | SCRUBBER | ELECTROSTATIC PRECIPITATOR - WET (WESP) |  |  | Union Beach | NJ | PDS | 81170979
0.0682 | Method 26A | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2021 | Westside Water Reclamation Facility | THERMAL OXIDIZER / INCINERATOR | VENTURI SCRUBBER | VENTURI SCRUBBER | TRAY-TYPE GAS ABSORPTION COLUMN | TRAY-TYPE GAS ABSORPTION COLUMN | Vancouver | WA | PDS | 81134727
0.0713 | Method 26A | LB | TONS DRIED SLUDGE FED | 70.5 | ADL | 2017 | ALCOSAN (Allegheny County Sanitary Authority) | VENTURI SCRUBBER | CYCLONES (MULTIPLE) | WET SCRUBBER |  |  | Pittsburgh | PA | PDS | 80263031
0.0717 | Method 26A | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2020 | Southerly Wastewater Treatment Center | IMPINGEMENT TYPE WET SCRUBBER | VENTURI SCRUBBER |  |  |  | Cuyahoga Heights | OH | PDS | 80721141
0.0735 | Method 5 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2019 | City of Edmonds Wastewater Treatment Plant | VENTURI SCRUBBER |  |  |  |  | Edmonds | WA | PDS | 80342074
0.0768 | Method 29 | LB | TONS DRIED SLUDGE FED | 71.5 | ADL | 2017 | City of Edmonds Wastewater Treatment Plant | WET SCRUBBER |  |  |  |  | Edmonds | WA | PDS | 80342022
0.0793 | Method 26A | LB | TONS DRIED SLUDGE FED | 66 | ADL | 2016 | LBVSD Atherton Wastewater Treatment Plant | WET SCRUBBER | WET SCRUBBER |  |  |  | Independence | MO | PDS | 80775495
0.0851 | Method 5/202 | LB | TONS DRIED SLUDGE FED | 74.5 | ADL | 2016 | City of Edmonds WWTP | SCRUBBER |  |  |  |  | Edmonds | WA | PDS | 80333970
0.121 | Method 5 | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2020 | Bayshore Regional Sewerage Authority | AVERAGE BED TEMPERATURE | SCRUBBER | ELECTROSTATIC PRECIPITATOR - WET (WESP) |  |  | Union Beach | NJ | PDS | 80820061
0.141 | Method 5 | LB | TONS DRIED SLUDGE FED | 76.5 | ADL | 2015 | LBVSD Atherton Wastewater Treatment Plant | WET SCRUBBER |  |  |  |  | Independence | MO | PDS | 80766754
0.144 | Method 5 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2017 | Manchester Wastewater Treatment Plant | VENTURI SCRUBBER | TRAY-TYPE GAS ABSORPTION COLUMN | VENTURI SCRUBBER | TRAY-TYPE GAS ABSORPTION COLUMN | TRAY-TYPE GAS ABSORPTION COLUMN | Manchester | NH | PDS | 80301700
0.148 | Method 26A | LB | TONS DRIED SLUDGE FED | 74 | ADL | 2017 | Little Blue Valley Sewer District - Atherton WWTP | WET SCRUBBER | WET SCRUBBER | WET SCRUBBER |  |  | Independence | MO | PDS | 80290416
0.18 | EPA Method 5 | LB | TONS DRIED SLUDGE FED | 60 | ADL |  | Port of Washington Waste Water Treatment Plant | VENTURI SCRUBBER |  |  |  |  | Long Island | NY | PDS | 80604717
0.228 | EPA Method 5 | LB | TONS DRIED SLUDGE FED | 80 | ADL |  | Plant O; Plant P; Plant Q; Plant R | IMPINGEMENT TYPE WET SCRUBBER |  |  |  |  | See test report. | SEE TEST REPORT. | PDS | 80604117
0.298 | EPA Method 5 | LB | TONS DRIED SLUDGE FED | 80 | ADL |  | Shelby Wastewater Treatment Plant | IMPINGEMENT TYPE WET SCRUBBER |  |  |  |  | Shelby | NC | PDS | 80609806
0.48 | Method 29 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2017 | Lynnwood Wastewater Treatment Plant | VENTURI SCRUBBER | VENTURI SCRUBBER | VENTURI SCRUBBER | THERMAL OXIDIZER / INCINERATOR |  | Edmonds | WA | PDS | 80258206
0.483 | Method 5 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2018 | City of Edmonds Wastewater Treatment Plant | VENTURI SCRUBBER |  |  |  |  | Edmonds | WA | PDS | 80333849
0.854 | Not available | LB | TONS DRIED SLUDGE FED | 60 | ADL |  | Pequannock, Lincoln Park, and Fairfield Sewerage A | VENTURI SCRUBBER |  |  |  |  | Lincoln Park | NJ | PDS | 80602960
0.862 | EPA Method 5 | LB | TONS DRIED SLUDGE FED | 80 | ADL |  | Papillion Creek Water Pollution Control Plant | CYCLONE / CENTRIFUGAL COLLECTOR |  |  |  |  | Ohmaha | NE | PDS | 80630404
1.1 | EPA Method 5 | LB | TONS DRIED SLUDGE FED | 80 | ADL |  | Papillion Creek Water Pollution Control Plant | CYCLONE / CENTRIFUGAL COLLECTOR |  |  |  |  | Ohmaha | NE | PDS | 80630420

## Data Excluded
Reason for Exclusion | Individual Test Data Value | Individual Test Method | Individual Test Data Units | Individual Test Data Activity | Individual Test Rating | Detection Limit Flag | Year of Test | Facility Name | Control_1 | Control_2 | Control_3 | Control_4 | Control_5 | Test City | Test State | ERT Project Data Set | Submission_ID
Data value does not improve the factor quality rating. | 0.0275 | Method 5 | LB | TONS DRIED SLUDGE FED | 10 | ADL | 2020 | ALCOSAN (Allegheny County Sanitary Authority) | VENTURI SCRUBBER | CYCLONES (MULTIPLE) | WET SCRUBBER |  |  | Pittsburgh | PA | PDS | 81068285
Data value does not improve the factor quality rating. | 0.0311 | Method 5 | LB | TONS DRIED SLUDGE FED | 14 | ADL | 2020 | ALCOSAN (Allegheny County Sanitary Authority) | VENTURI SCRUBBER | CYCLONES (MULTIPLE) | WET SCRUBBER |  |  | Pittsburgh | PA | PDS | 81075280
Data value does not improve the factor quality rating. | 0.0415 | Method 26A | LB | TONS DRIED SLUDGE FED | 20.5 | ADL | 2016 | ALCOSAN (Allegheny County Sanitary Authority) | VENTURI SCRUBBER | CYCLONES (MULTIPLE) | WET SCRUBBER |  |  | Pittsburgh | PA | PDS | 80141526
Data value does not improve the factor quality rating. | 0.0501 | Method 26A | LB | TONS DRIED SLUDGE FED | 20.5 | ADL | 2017 | ALCOSAN (Allegheny County Sanitary Authority) | VENTURI SCRUBBER | CYCLONES (MULTIPLE) | WET SCRUBBER |  |  | Pittsburgh | PA | PDS | 80293372
Data value does not improve the factor quality rating. | 0.0966 | Method 26A | LB | TONS DRIED SLUDGE FED | 14 | ADL | 2021 | ALCOSAN (Allegheny County Sanitary Authority) | VENTURI SCRUBBER | CYCLONES (MULTIPLE) | WET SCRUBBER |  |  | Pittsburgh | PA | PDS | 81177433
Data value does not improve the factor quality rating. | 0.103 | Method 5 | LB | TONS DRIED SLUDGE FED | 14 | ADL | 2021 | ALCOSAN (Allegheny County Sanitary Authority) | VENTURI SCRUBBER | CYCLONES (MULTIPLE) | WET SCRUBBER |  |  | Pittsburgh | PA | PDS | 81177433