## Summary
Key Parameters | Results
Combined Data Set SCC List | 50100803
Does the SCC contain more than 15 sources? | Yes
Pollutant | Tetrachlorodibenzo-p-dioxins, total
Units | LB
Activity | TONS DRIED SLUDGE FED
Factor Quality Rating | Moderately Representative
Number of individual test data values used to calculate the emissions factor | 12
Number of individual test data values excluded from the calculation | 0
Composite Test Rating | 74.26
Control Device Configuration | AVERAGE BED TEMPERATURE,SCRUBBER WATER PH,WESP POWER
COOLING WATER FLOW RATE TO TRAYSCRUBBER MEDIUM INLET FLOW,SCRUBBER PRESSURE DROP
ELECTROSTATIC PRECIPITATOR,SCRUBBER
TRAY SCRUBBER - LOWER TRAY,VENTURI SCRUBBER
TRAY SCRUBBER PH - MINUMUM,TRAY SCRUBBER PRESSURE DROP - MINIMUM,TRAY SCRUBBER WATER FLOWRATE - MINIMUM,VENTURI SCRUBBER PRESSURE DROP - MINIMUM,VENTURI SCRUBBER WATER FLOWRATE - MINIMUM
TRAY-TYPE GAS ABSORPTION COLUMN,VENTURI SCRUBBER,WET SCRUBBER
New Candidate Factor Value | 1.88e-08

## Data Included
Individual Test Data Value | Individual Test Method | Individual Test Data Units | Individual Test Data Activity | Individual Test Rating | Detection Limit Flag | Year of Test | Facility Name | Control_1 | Control_2 | Control_3 | Control_4 | Control_5 | Test City | Test State | ERT Project Data Set | Submission_ID
4.26e-11 | Method 23 | LB | TONS DRIED SLUDGE FED | 74 | ADL | 2018 | Synagro Woonsocket | VENTURI SCRUBBER PRESSURE DROP - MINIMUM | TRAY SCRUBBER PRESSURE DROP - MINIMUM | VENTURI SCRUBBER WATER FLOWRATE - MINIMUM | TRAY SCRUBBER WATER FLOWRATE - MINIMUM | TRAY SCRUBBER PH - MINUMUM | Woonsocket | RI | PDS | 80328571
2.28e-10 | Method 23 | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2019 | Bayshore Regional Sewerage Authority | AVERAGE BED TEMPERATURE | SCRUBBER WATER PH | WESP POWER |  |  | Union Beach | NJ | PDS | 80372348
4.36e-10 | Method 23 | LB | TONS DRIED SLUDGE FED | 74 | DLL | 2016 | NW Bergen County Utilities | ELECTROSTATIC PRECIPITATOR | SCRUBBER |  |  |  | Waldwick | NJ | PDS | 80291839
5.47e-10 | Method 23 | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2019 | Bayshore Regional Sewerage Authority | AVERAGE BED TEMPERATURE | SCRUBBER WATER PH | WESP POWER |  |  | Union Beach | NJ | PDS | 80372414
7.02e-10 | Method 23 | LB | TONS DRIED SLUDGE FED | 72.5 | ADL | 2018 | City of Lynnwood Wastewater Treatment Plant | VENTURI SCRUBBER |  |  |  |  | Edmonds | WA | PDS | 80299708
1.3e-09 | Method 23 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2018 | Synagro Woonsocket | VENTURI SCRUBBER | TRAY-TYPE GAS ABSORPTION COLUMN | VENTURI SCRUBBER | TRAY-TYPE GAS ABSORPTION COLUMN | WET SCRUBBER | Woonsocket | RI | PDS | 80304270
3.05e-09 | Method 23 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2017 | Manchester Wastewater Treatment Plant | VENTURI SCRUBBER | TRAY SCRUBBER - LOWER TRAY | VENTURI SCRUBBER | TRAY SCRUBBER | TRAY SCRUBBER | Manchester | NH | PDS | 80301700
3.71e-09 | Method 23 | LB | TONS DRIED SLUDGE FED | 62 | ADL | 2020 | Bayshore Regional Sewerage Authority | AVERAGE BED TEMPERATURE | SCRUBBER WATER PH | WESP POWER |  |  | Union Beach | NJ | PDS | 80819994
1.02e-08 | Method 23 | LB | TONS DRIED SLUDGE FED | 78.5 | DLL | 2017 | NW Bergen County Utilities | SCRUBBER MEDIUM INLET FLOW | COOLING WATER FLOW RATE TO TRAYS | SCRUBBER PRESSURE DROP |  |  | Waldwick | NJ | PDS | 80303474
4.44e-08 | Method 23 | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2020 | Bayshore Regional Sewerage Authority | AVERAGE BED TEMPERATURE | SCRUBBER WATER PH | WESP POWER |  |  | Union Beach | NJ | PDS | 80825014
7.29e-08 | Method 23 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2019 | WWTF Sewage Sludge Incinerator | VENTURI SCRUBBER PRESSURE DROP - MINIMUM | TRAY SCRUBBER PRESSURE DROP - MINIMUM | VENTURI SCRUBBER WATER FLOWRATE - MINIMUM | TRAY SCRUBBER WATER FLOWRATE - MINIMUM | TRAY SCRUBBER PH - MINUMUM | Woonsocket | RI | PDS | 80649449
8.84e-08 | Method 23 | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2020 | Bayshore Regional Sewerage Authority | AVERAGE BED TEMPERATURE | SCRUBBER WATER PH | WESP POWER |  |  | Union Beach | NJ | PDS | 80820061