## Summary
Key Parameters | Results
Combined Data Set SCC List | 50100803
Does the SCC contain more than 15 sources? | Yes
Pollutant | Total TEQ
Units | LB
Activity | TONS DRIED SLUDGE FED
Factor Quality Rating | HIghly Representative
Number of individual test data values used to calculate the emissions factor | 23
Number of individual test data values excluded from the calculation | 5
Composite Test Rating | 75.85
Control Device Configuration | ADSORPTION - ACTIVATED CARBON OR OTHER,ELECTROSTATIC PRECIPITATOR - WET (WESP),SCRUBBER,SELECTIVE NON-CATALYTIC REDUCTION (SNCR)
AVERAGE BED TEMPERATURELECTROSTATIC PRECIPITATOR - WET (WESP),SCRUBBER
CYCLONES (MULTIPLE),VENTURI SCRUBBER,WET SCRUBBER
ELECTROSTATIC PRECIPITATOR - DRY (DESP),SCRUBBER
THERMAL OXIDIZER / INCINERATOR,TRAY-TYPE GAS ABSORPTION COLUMN,VENTURI SCRUBBER
IMPINGEMENT TYPE WET SCRUBBER,VENTURI SCRUBBER
New Candidate Factor Value | 6.6e-10

## Data Included
Individual Test Data Value | Individual Test Method | Individual Test Data Units | Individual Test Data Activity | Individual Test Rating | Detection Limit Flag | Year of Test | Facility Name | Control_1 | Control_2 | Control_3 | Control_4 | Test City | Test State | ERT Project Data Set | Submission_ID
2.87e-14 | Method 23 | LB | TONS DRIED SLUDGE FED | 76.5 | ADL | 2021 | Little Blue Valley Sewer District | ELECTROSTATIC PRECIPITATOR - WET (WESP) | SCRUBBER | ADSORPTION - ACTIVATED CARBON OR OTHER | SELECTIVE NON-CATALYTIC REDUCTION (SNCR) |  | MO | PDS | 81144860
1.05e-13 | Method 23 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2020 | Southerly Wastewater Treatment Center | IMPINGEMENT TYPE WET SCRUBBER | VENTURI SCRUBBER |  |  |  | OH | PDS | 81078289
5.63e-13 | Method 23 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2020 | Southerly Wastewater Treatment Center | IMPINGEMENT TYPE WET SCRUBBER | VENTURI SCRUBBER |  |  |  | OH | PDS | 80721217
6.57e-13 | Method 23 | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2020 | Southerly Wastewater Treatment Center | IMPINGEMENT TYPE WET SCRUBBER | VENTURI SCRUBBER |  |  |  | OH | PDS | 81069127
1.22e-12 | Method 23 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2019 | Waterbury Water Pollution Control Facility | THERMAL OXIDIZER / INCINERATOR | THERMAL OXIDIZER / INCINERATOR | VENTURI SCRUBBER | VENTURI SCRUBBER | TRAY-TYPE GAS ABSORPTION COLUMN | CT | PDS | 80654036
3.9e-12 | Method 23 | LB | TONS DRIED SLUDGE FED | 74 | ADL | 2018 | Synagro Woonsocket | VENTURI SCRUBBER | TRAY-TYPE GAS ABSORPTION COLUMN | VENTURI SCRUBBER | TRAY-TYPE GAS ABSORPTION COLUMN | TRAY-TYPE GAS ABSORPTION COLUMN | RI | PDS | 80328571
4.06e-12 | Method 23 | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2019 | Bayshore Regional Sewerage Authority | AVERAGE BED TEMPERATURE | SCRUBBER | ELECTROSTATIC PRECIPITATOR - WET (WESP) |  |  | NJ | PDS | 80372348
4.78e-12 | Method 23 | LB | TONS DRIED SLUDGE FED | 62 | ADL | 2020 | Bayshore Regional Sewerage Authority | AVERAGE BED TEMPERATURE | SCRUBBER | ELECTROSTATIC PRECIPITATOR - WET (WESP) |  |  | NJ | PDS | 80819994
4.78e-12 | Method 23 | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2020 | Bayshore Regional Sewerage Authority | AVERAGE BED TEMPERATURE | SCRUBBER | ELECTROSTATIC PRECIPITATOR - WET (WESP) |  |  | NJ | PDS | 80824947
9.05e-12 | Method 23 | LB | TONS DRIED SLUDGE FED | 74 | DLL | 2016 | NW Bergen County Utilities | ELECTROSTATIC PRECIPITATOR - DRY (DESP) | SCRUBBER |  |  |  | NJ | PDS | 80291839
1.07e-11 | Method 23 | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2019 | Bayshore Regional Sewerage Authority | AVERAGE BED TEMPERATURE | SCRUBBER | ELECTROSTATIC PRECIPITATOR - WET (WESP) |  |  | NJ | PDS | 80372414
1.24e-11 | Method 23 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2018 | Synagro Waterbury | THERMAL OXIDIZER / INCINERATOR | THERMAL OXIDIZER / INCINERATOR | VENTURI SCRUBBER | VENTURI SCRUBBER | TRAY-TYPE GAS ABSORPTION COLUMN | CT | PDS | 80342662
2.62e-11 | Method 23 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2019 | WWTF Sewage Sludge Incinerator | VENTURI SCRUBBER | TRAY-TYPE GAS ABSORPTION COLUMN | VENTURI SCRUBBER | TRAY-TYPE GAS ABSORPTION COLUMN | TRAY-TYPE GAS ABSORPTION COLUMN | RI | PDS | 80649449
3.46e-11 | Method 23 | LB | TONS DRIED SLUDGE FED | 74.5 | ADL | 2016 | City of Edmonds WWTP | SCRUBBER |  |  |  |  | WA | PDS | 80333970
3.65e-11 | Method 23 | LB | TONS DRIED SLUDGE FED | 70.5 | ADL | 2017 | ALCOSAN (Allegheny County Sanitary Authority) | VENTURI SCRUBBER | CYCLONES (MULTIPLE) | WET SCRUBBER |  |  | PA | PDS | 80263031
5.61e-11 | Method 23 | LB | TONS DRIED SLUDGE FED | 78.5 | DLL | 2018 | City of Edmonds Wastewater Treatment Plant | VENTURI SCRUBBER |  |  |  |  | WA | PDS | 80333849
7.01e-11 | Method 23 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2017 | Southerly Wastewater Treatment Center | IMPINGEMENT TYPE WET SCRUBBER | VENTURI SCRUBBER |  |  |  | OH | PDS | 80264465
7.02e-11 | Method 23 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2017 | NEORSD - Southerly WWTC | IMPINGEMENT TYPE WET SCRUBBER | VENTURI SCRUBBER |  |  |  | OH | PDS | 80264499
7.39e-11 | Method 23 | LB | TONS DRIED SLUDGE FED | 87.5 | ADL | 2010 | Allegheny County Sanitary Authority | VENTURI SCRUBBER | TRAY-TYPE GAS ABSORPTION COLUMN |  |  |  | PA | PDS | 80753262
8.37e-11 | Method 23 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2017 | NEORSD - Southerly WWTC | IMPINGEMENT TYPE WET SCRUBBER | VENTURI SCRUBBER |  |  |  | OH | PDS | 80264431
1.49e-10 | Method 23 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2017 | Manchester Wastewater Treatment Plant | VENTURI SCRUBBER | TRAY-TYPE GAS ABSORPTION COLUMN | VENTURI SCRUBBER | TRAY-TYPE GAS ABSORPTION COLUMN | TRAY-TYPE GAS ABSORPTION COLUMN | NH | PDS | 80301700
4.84e-09 | Method 23 | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2020 | Bayshore Regional Sewerage Authority | AVERAGE BED TEMPERATURE | SCRUBBER | ELECTROSTATIC PRECIPITATOR - WET (WESP) |  |  | NJ | PDS | 80825014
9.68e-09 | Method 23 | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2020 | Bayshore Regional Sewerage Authority | AVERAGE BED TEMPERATURE | SCRUBBER | ELECTROSTATIC PRECIPITATOR - WET (WESP) |  |  | NJ | PDS | 80820061

## Data Excluded
Reason for Exclusion | Individual Test Data Value | Individual Test Method | Individual Test Data Units | Individual Test Data Activity | Individual Test Rating | Detection Limit Flag | Year of Test | Facility Name | Control_1 | Control_2 | Control_3 | Control_4 | Control_5 | Test City | Test State | ERT Project Data Set | Submission_ID
Data value does not improve the factor quality rating. | 2.57e-11 | Method 23 | LB | TONS DRIED SLUDGE FED | 10 | ADL | 2020 | ALCOSAN (Allegheny County Sanitary Authority) | VENTURI SCRUBBER | CYCLONES (MULTIPLE) | WET SCRUBBER |  |  | Pittsburgh | PA | PDS | 81068285
Data value does not improve the factor quality rating. | 2.82e-11 | Method 23 | LB | TONS DRIED SLUDGE FED | 20.5 | ADL | 2016 | ALCOSAN (Allegheny County Sanitary Authority) | VENTURI SCRUBBER | CYCLONES (MULTIPLE) | WET SCRUBBER |  |  | Pittsburgh | PA | PDS | 80141526
Data value does not improve the factor quality rating. | 3.38e-11 | Method 23 | LB | TONS DRIED SLUDGE FED | 20.5 | ADL | 2017 | ALCOSAN (Allegheny County Sanitary Authority) | VENTURI SCRUBBER | CYCLONES (MULTIPLE) | WET SCRUBBER |  |  | Pittsburgh | PA | PDS | 80293372
Data value does not improve the factor quality rating. | 3.54e-11 | Method 23 | LB | TONS DRIED SLUDGE FED | 14 | ADL | 2020 | ALCOSAN (Allegheny County Sanitary Authority) | VENTURI SCRUBBER | CYCLONES (MULTIPLE) | WET SCRUBBER |  |  | Pittsburgh | PA | PDS | 81075280
Data value does not improve the factor quality rating. | 1.02e-10 | Method 23 | LB | TONS DRIED SLUDGE FED | 14 | ADL | 2021 | ALCOSAN (Allegheny County Sanitary Authority) | VENTURI SCRUBBER | CYCLONES (MULTIPLE) | WET SCRUBBER |  |  | Pittsburgh | PA | PDS | 81177433