## Summary
Key Parameters | Results
Combined Data Set SCC List | 50100803
Does the SCC contain more than 15 sources? | Yes
Pollutant | Total TEQ
Units | LB
Activity | TONS SLUDGE BURNED
Factor Quality Rating | Moderately Representative
Number of individual test data values used to calculate the emissions factor | 9
Number of individual test data values excluded from the calculation | 0
Composite Test Rating | 77.68
Control Device Configuration | FREEBOARD TEMPERATURE,TRAY SCRUBBER - FLOW RATE,TRAY SCRUBBER - PRESSURE DROP,VENTURI SCRUBBER - FLOW RATE,VENTURI SCRUBBER- PRESSURE DROP
IMPINGEMENT SCRUBBER,VENTURI SCRUBBER
INCINERATOR MAXIMUM COMBUSTION TEMPERATURE,INCINERATOR MINIMUM COMBUSTION TEMPERATURE,TRAY SCRUBBER DIFFERENTIAL PRESSURE - MINIMUM,VENTURI SCRUBBER DIFFERENTIAL PRESSURE - MINIMUM,VENTURI SCRUBBER FLOWRATE - MINIMUM
New Candidate Factor Value | 3.98e-12

## Data Included
Individual Test Data Value | Individual Test Method | Individual Test Data Units | Individual Test Data Activity | Individual Test Rating | Detection Limit Flag | Year of Test | Facility Name | Control_1 | Control_2 | Control_3 | Control_4 | Control_5 | Test City | Test State | ERT Project Data Set | Submission_ID
1.05e-13 | Method 23 | LB | TONS SLUDGE BURNED | 78.5 | ADL | 2020 | Southerly Wastewater Treatment Center | IMPINGEMENT SCRUBBER | VENTURI SCRUBBER |  |  |  | Cleveland | OH | PDS | 81078289
1.96e-13 | Method 23 | LB | TONS SLUDGE BURNED | 75 | ADL | 2020 | Southerly Wastewater Treatment Center | VENTURI SCRUBBER | IMPINGEMENT SCRUBBER |  |  |  | Cuyahoga Heights | OH | PDS | 80821824
5.63e-13 | Method 23 | LB | TONS SLUDGE BURNED | 78.5 | ADL | 2020 | Southerly Wastewater Treatment Center | IMPINGEMENT SCRUBBER | VENTURI SCRUBBER |  |  |  | Cleveland | OH | PDS | 80721217
6.57e-13 | Method 23 | LB | TONS SLUDGE BURNED | 75 | ADL | 2020 | Southerly Wastewater Treatment Center | IMPINGEMENT SCRUBBER | VENTURI SCRUBBER |  |  |  | Cuyahoga Heights | OH | PDS | 81069127
1.22e-12 | Method 23 | LB | TONS SLUDGE BURNED | 78.5 | ADL | 2019 | Waterbury Water Pollution Control Facility | INCINERATOR MINIMUM COMBUSTION TEMPERATURE | INCINERATOR MAXIMUM COMBUSTION TEMPERATURE | VENTURI SCRUBBER DIFFERENTIAL PRESSURE - MINIMUM | VENTURI SCRUBBER FLOWRATE - MINIMUM | TRAY SCRUBBER DIFFERENTIAL PRESSURE - MINIMUM | Waterbury | CT | PDS | 80654036
2.52e-12 | Method 23 | LB | TONS SLUDGE BURNED | 78.5 | ADL | 2019 | Manchester Wastewater Treatment Plant | VENTURI SCRUBBER- PRESSURE DROP | TRAY SCRUBBER - PRESSURE DROP | VENTURI SCRUBBER - FLOW RATE | TRAY SCRUBBER - FLOW RATE | FREEBOARD TEMPERATURE | Manchester | NH | PDS | 80449015
5.63e-12 | Method 23 | LB | TONS SLUDGE BURNED | 78.5 | ADL | 2018 | Manchester Wastewater Treatment Plant | VENTURI SCRUBBER- PRESSURE DROP | TRAY SCRUBBER - PRESSURE DROP | VENTURI SCRUBBER - FLOW RATE | TRAY SCRUBBER - FLOW RATE | FREEBOARD TEMPERATURE | Manchester | NH | PDS | 80343281
1.24e-11 | Method 23 | LB | TONS SLUDGE BURNED | 78.5 | ADL | 2018 | Synagro Waterbury | INCINERATOR MINIMUM COMBUSTION TEMPERATURE | INCINERATOR MAXIMUM COMBUSTION TEMPERATURE | VENTURI SCRUBBER DIFFERENTIAL PRESSURE - MINIMUM | VENTURI SCRUBBER FLOWRATE - MINIMUM | TRAY SCRUBBER DIFFERENTIAL PRESSURE - MINIMUM | Waterbury | CT | PDS | 80342662
1.25e-11 | Method 23 | LB | TONS SLUDGE BURNED | 78.5 | ADL | 2020 | Manchester Wastewater Treatment Plant | VENTURI SCRUBBER- PRESSURE DROP | TRAY SCRUBBER - PRESSURE DROP | VENTURI SCRUBBER - FLOW RATE | TRAY SCRUBBER - FLOW RATE | FREEBOARD TEMPERATURE | Manchester | NH | PDS | 81122589