## Summary
Key Parameters | Results
Combined Data Set SCC List | 50100803
Does the SCC contain more than 15 sources? | Yes
Pollutant | Carbon Monoxide
Units | LB
Activity | TONS DRIED SLUDGE FED
Factor Quality Rating | HIghly Representative
Number of individual test data values used to calculate the emissions factor | 26
Number of individual test data values excluded from the calculation | 6
Composite Test Rating | 77.01
Control Device Configuration | ADSORPTION - ACTIVATED CARBON OR OTHER,ELECTROSTATIC PRECIPITATOR - WET (WESP),SCRUBBER,SELECTIVE NON-CATALYTIC REDUCTION (SNCR);
AVERAGE BED TEMPERATURELECTROSTATIC PRECIPITATOR - WET (WESP),SCRUBBER;
AVERAGE BED TEMPERATURELECTROSTATIC PRECIPITATOR - WET (WESP),SCRUBBER,WET SCRUBBER;
COOLING WATER FLOW RATE TO TRAYSCRUBBER,SCRUBBER;
CYCLONES (MULTIPLE),VENTURI SCRUBBER,WET SCRUBBER;
ELECTROSTATIC PRECIPITATOR - WET (WESP),MERCURY EMISSION CONTROL SYSTEM,WET SCRUBBER;
IMPINGEMENT TYPE WET SCRUBBER,VENTURI SCRUBBER;
INCINERATOR COMBUSTION CHAMBER TEMPERATURE - MINIMUM,TRAY-TYPE GAS ABSORPTION COLUMN,VENTURI SCRUBBER;
THERMAL OXIDIZER / INCINERATOR,TRAY-TYPE GAS ABSORPTION COLUMN,VENTURI SCRUBBER;
VENTURI SCRUBBER;
WET SCRUBBER
TRAY-TYPE GAS ABSORPTION COLUMN,VENTURI SCRUBBER;
New Candidate Factor Value | 0.0994

## Data Included
Individual Test Data Value | Individual Test Method | Individual Test Data Units | Individual Test Data Activity | Individual Test Rating | Detection Limit Flag | Year of Test | Facility Name | Control_1 | Control_2 | Control_3 | Control_4 | Test City | Test State | ERT Project Data Set | Submission_ID
0.00773 | Method 10 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2021 | Westside Water Reclamation Facility | THERMAL OXIDIZER / INCINERATOR | VENTURI SCRUBBER | VENTURI SCRUBBER | TRAY-TYPE GAS ABSORPTION COLUMN | Vancouver | WA | PDS | 81134727
0.00812 | Method 10 | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2020 | Bayshore Regional Sewerage Authority | AVERAGE BED TEMPERATURE | SCRUBBER | ELECTROSTATIC PRECIPITATOR - WET (WESP) |  | Union Beach | NJ | PDS | 80820061
0.00896 | Method 10 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2020 | Southerly Wastewater Treatment Center | IMPINGEMENT TYPE WET SCRUBBER | VENTURI SCRUBBER |  |  | Cuyahoga Heights | OH | PDS | 80721141
0.0112 | Method 10 | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2020 | Southerly Wastewater Treatment Center | VENTURI SCRUBBER | IMPINGEMENT TYPE WET SCRUBBER |  |  | Cuyahoga Heights | OH | PDS | 80821824
0.0127 | Method 10 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2020 | Southerly Wastewater Treatment Center | IMPINGEMENT TYPE WET SCRUBBER | VENTURI SCRUBBER |  |  | Cleveland | OH | PDS | 80721217
0.0136 | Method 10 | LB | TONS DRIED SLUDGE FED | 73 | ADL | 2018 | Bayshore Regional Sewerage Authority | WET SCRUBBER | AVERAGE BED TEMPERATURE | SCRUBBER | ELECTROSTATIC PRECIPITATOR - WET (WESP) | Union Beach | NJ | PDS | 80758423
0.0185 | Method 10 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2017 | NW Bergen County Utilities | SCRUBBER | COOLING WATER FLOW RATE TO TRAYS | SCRUBBER |  | Waldwick | NJ | PDS | 80303474
0.0335 | Method 10 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2022 | Northwest Bergen County Utilities Authority | WET SCRUBBER |  |  |  | Waldwick | NJ | PDS | 81505546
0.0352 | Method 10 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2017 | Southerly Wastewater Treatment Center | IMPINGEMENT TYPE WET SCRUBBER | VENTURI SCRUBBER |  |  | Cleveland | OH | PDS | 80264465
0.0422 | Method 10 | LB | TONS DRIED SLUDGE FED | 70.5 | ADL | 2017 | ALCOSAN (Allegheny County Sanitary Authority) | VENTURI SCRUBBER | CYCLONES (MULTIPLE) | WET SCRUBBER |  | Pittsburgh | PA | PDS | 80263031
0.0439 | Method 10 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2020 | Northwest Bergen County Utilities Authority | WET SCRUBBER |  |  |  | Waldwick | NJ | PDS | 80744756
0.0453 | Method 10 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2022 | Little Blue Valley Sewer District | ELECTROSTATIC PRECIPITATOR - WET (WESP) | SCRUBBER | ADSORPTION - ACTIVATED CARBON OR OTHER | SELECTIVE NON-CATALYTIC REDUCTION (SNCR) | Indepedence | MO | PDS | 81479704
0.049 | Method 10 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2017 | NEORSD - Southerly WWTC | IMPINGEMENT TYPE WET SCRUBBER | VENTURI SCRUBBER |  |  | Cleveland | OH | PDS | 80264499
0.0519 | Method 10 | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2020 | Southerly Wastewater Treatment Center | IMPINGEMENT TYPE WET SCRUBBER | VENTURI SCRUBBER |  |  | Cuyahoga Heights | OH | PDS | 81069127
0.0574 | Method 10 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2018 | Northwest Bergen County Utilities Authority | WET SCRUBBER |  |  |  | Waldwick | NJ | PDS | 80746595
0.0588 | Method 10 | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2019 | Bayshore Regional Sewerage Authority | AVERAGE BED TEMPERATURE | SCRUBBER | ELECTROSTATIC PRECIPITATOR - WET (WESP) |  | Union Beach | NJ | PDS | 80372348
0.0622 | Method 10 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2021 | Northwest Bergen County Utilities Authority | WET SCRUBBER |  |  |  | Waldwick | NJ | PDS | 81149775
0.0624 | Method 10 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2017 | NEORSD - Southerly WWTC | IMPINGEMENT TYPE WET SCRUBBER | VENTURI SCRUBBER |  |  | Cleveland | OH | PDS | 80264431
0.0852 | Method 10 | LB | TONS DRIED SLUDGE FED | 76.5 | ADL | 2021 | Little Blue Valley Sewer District | ELECTROSTATIC PRECIPITATOR - WET (WESP) | SCRUBBER | ADSORPTION - ACTIVATED CARBON OR OTHER | SELECTIVE NON-CATALYTIC REDUCTION (SNCR) | Indepedence | MO | PDS | 81144860
0.0862 | Method 10 | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2019 | Bayshore Regional Sewerage Authority | AVERAGE BED TEMPERATURE | SCRUBBER | ELECTROSTATIC PRECIPITATOR - WET (WESP) |  | Union Beach | NJ | PDS | 80372414
0.132 | Method 10 | LB | TONS DRIED SLUDGE FED | 72 | ADL | 2017 | Northwest Bergen County Utilities Authority | WET SCRUBBER |  |  |  | Waldwick | NJ | PDS | 80756140
0.189 | Method 10 | LB | TONS DRIED SLUDGE FED | 87.5 | ADL | 2010 | Allegheny County Sanitary Authority | VENTURI SCRUBBER | TRAY-TYPE GAS ABSORPTION COLUMN |  |  | Pittsburgh | PA | PDS | 80753262
0.279 | Method 10 | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2022 | WWTF Sewage Sludge Incinerator | VENTURI SCRUBBER | VENTURI SCRUBBER | TRAY-TYPE GAS ABSORPTION COLUMN | TRAY-TYPE GAS ABSORPTION COLUMN | Woonsocket | RI | PDS | 81470468
0.311 | Method 10 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2020 | SOMERSET-RARITAN VALLEY SEWERAGE AUTHORITY | WET SCRUBBER | ELECTROSTATIC PRECIPITATOR - WET (WESP) |  |  | Bridgewater | NJ | PDS | 81089493
0.423 | Method 10 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2020 | Southerly Wastewater Treatment Center | IMPINGEMENT TYPE WET SCRUBBER | VENTURI SCRUBBER |  |  | Cleveland | OH | PDS | 81078289
0.457 | Method 10 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2018 | City of Edmonds Wastewater Treatment Plant | VENTURI SCRUBBER |  |  |  | Edmonds | WA | PDS | 80333849

## Data Excluded
Reason For Exclusion | Individual Test Data Value | Individual Test Method | Individual Test Data Units | Individual Test Data Activity | Individual Test Rating | Detection Limit Flag | Year of Test | Facility Name | Control_1 | Control_2 | Control_3 | Control_4 | Test City | Test State | ERT Project Data Set | Submission_ID
Data value does not improve the factor quality rating. | 0.0368 | Method 10 | LB | TONS DRIED SLUDGE FED | 20.5 | ADL | 2017 | ALCOSAN (Allegheny County Sanitary Authority) | VENTURI SCRUBBER | CYCLONES (MULTIPLE) | WET SCRUBBER |  | Pittsburgh | PA | PDS | 80293372
Data value does not improve the factor quality rating. | 0.0513 | Method 10 | LB | TONS DRIED SLUDGE FED | 10 | ADL | 2020 | ALCOSAN (Allegheny County Sanitary Authority) | VENTURI SCRUBBER | CYCLONES (MULTIPLE) | WET SCRUBBER |  | Pittsburgh | PA | PDS | 81068285
Data value does not improve the factor quality rating. | 0.0534 | Method 10 | LB | TONS DRIED SLUDGE FED | 14 | ADL | 2020 | ALCOSAN (Allegheny County Sanitary Authority) | VENTURI SCRUBBER | CYCLONES (MULTIPLE) | WET SCRUBBER |  | Pittsburgh | PA | PDS | 81075280
Data value does not improve the factor quality rating. | 0.0556 | Method 10 | LB | TONS DRIED SLUDGE FED | 20.5 | ADL | 2016 | ALCOSAN (Allegheny County Sanitary Authority) | VENTURI SCRUBBER | CYCLONES (MULTIPLE) | WET SCRUBBER |  | Pittsburgh | PA | PDS | 80141526
Data value does not improve the factor quality rating. | 0.098 | Method 10 | LB | TONS DRIED SLUDGE FED | 14 | ADL | 2021 | ALCOSAN (Allegheny County Sanitary Authority) | VENTURI SCRUBBER | CYCLONES (MULTIPLE) | WET SCRUBBER |  | Pittsburgh | PA | PDS | 81177433
Data value is an outlier. | 4.26 | Not available | LB | TONS DRIED SLUDGE FED | 60 | ADL |  | Pequannock, Lincoln Park, and Fairfield Sewerage A | VENTURI SCRUBBER |  |  |  | Lincoln Park | NJ | PDS | 80602992