## Summary
Key Parameters | Results
Combined Data Set SCC List | 50100802
Does the SCC contain more than 15 sources? | Yes
Pollutant | TETRACHLORODIBENZO-P-DIOXINS, TOTAL
Units | LB
Activity | TONS DRIED SLUDGE FED
Factor Quality Rating | Minimally Representative
Number of individual test data values used to calculate the emissions factor | 4
Number of individual test data values excluded from the calculation | 0
Composite Test Rating | 79.24
Control Device Configuration | AFTERBURNER,VENTURI SCRUBBER,WET ELECTROSTATIC PRECIPITATOR
SINGLE CYCLONE
New Candidate Factor Value | 3.3e-08

## Data Included
Individual Test Data Value | Individual Test Method | Individual Test Data Units | Individual Test Data Activity | Individual Test Rating | Detection Limit Flag | Year of Test | Facility Name | Control_1 | Control_2 | Control_3 | Control_4 | Control_5 | Test City | Test State | ERT Project Data Set | Submission_ID
3.77e-10 | Method 23 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2018 | Post Point Wastewater Treatment Plant | AFTERBURNER | VENTURI SCRUBBER | WET ELECTROSTATIC PRECIPITATOR | VENTURI SCRUBBER | WET ELECTROSTATIC PRECIPITATOR | Bellingham | WA | PDS | 80327942
1.15e-09 | Method 23 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2018 | Post Point Wastewater Treatment Plant | AFTERBURNER | VENTURI SCRUBBER | WET ELECTROSTATIC PRECIPITATOR | VENTURI SCRUBBER | WET ELECTROSTATIC PRECIPITATOR | Bellingham | WA | PDS | 80301814
2.8e-09 | EPA Method 5 (modifi | LB | TONS DRIED SLUDGE FED | 80 | ADL |  | Site SSI-B | SINGLE CYCLONE |  |  |  |  | See test report. | SEE TEST REPORT. | PDS | 80610823
1.28e-07 | EPA Method 5 (modifi | LB | TONS DRIED SLUDGE FED | 80 | ADL |  | Site SSI-A | SINGLE CYCLONE |  |  |  |  | See test report. | SEE TEST REPORT. | PDS | 80610710