## Summary
Key Parameters | Results
SCC | 50100803
Does the SCC contain more than 15 sources? | Yes
Pollutant | MERCURY
Units | LB
Activity | TONS DRIED SLUDGE FED
Factor Quality Rating | Moderately Representative
Number of individual test data values used to calculate the emissions factor | 5
Number of individual test data values excluded from the calculation | 0
Composite Test Rating | 78.5
Control Device Configuration | INCINERATOR;VENTURI SCRUBBER
New Candidate Factor Value | 0.000481

## Data Included
Individual Test Data Value | Individual Test Method | Individual Test Data Units | Individual Test Data Activity | Individual Test Rating | Detection Limit Flag | Year of Test | Facility Name | Test City | Test State | ERT Project Data Set | Submission_ID
0.000174 | Method 29 | LB | TONS DRIED SLUDGE FED | 78.5 | DLL | 2017 | Lynnwood Wastewater Treatment Plant | Edmonds | WA | PDS | 80258206
0.000244 | Method 30B | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2019 | Westside Water Reclamation Facility | Vancouver | WA | PDS | 80425919
0.000493 | Method 29 | LB | TONS DRIED SLUDGE FED | 78.5 | DLL | 2020 | Westside Water Reclamation Facility | Vancouver | WA | PDS | 80668940
0.000672 | Method 30B | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2019 | Westside Water Reclamation Facility | Vancouver | WA | PDS | 80340434
0.000821 | Method 29 | LB | TONS DRIED SLUDGE FED | 78.5 | DLL | 2018 | Westside Water Reclamation Facility | Vancouver | WA | PDS | 80296653