## Summary
Key Parameters | Results
SCC | 50100802
Does the SCC contain more than 15 sources? | Yes
Pollutant | NITROGEN OXIDES (NOX)
Units | LB
Activity | TONS DRIED SLUDGE FED
Factor Quality Rating | Minimally Representative
Number of individual test data values used to calculate the emissions factor | 3
Number of individual test data values excluded from the calculation | 0
Composite Test Rating | 80
Control Device Configuration | IMPINGEMENT TYPE WET SCRUBBER
New Candidate Factor Value | 6.87

## Data Included
Individual Test Data Value | Individual Test Method | Individual Test Data Units | Individual Test Data Activity | Individual Test Rating | Detection Limit Flag | Year of Test | Facility Name | Test City | Test State | ERT Project Data Set | Submission_ID
1.78 | EPA Method 5 (modifi | LB | TONS DRIED SLUDGE FED | 80 | ADL |  | Enfield Sewage Treatment Plant | Enfield | CT | PDS | 80507186
7.54 | EPA Method 5 (modifi | LB | TONS DRIED SLUDGE FED | 80 | ADL |  | Glastonbury Sewage Treatment Plant | Glastonbury | CT | PDS | 80485555
11.3 | EPA Method 5 (modifi | LB | TONS DRIED SLUDGE FED | 80 | ADL |  | Stratford Sewage Treatment Plant | Stratford | CT | PDS | 80613935