## Summary
Key Parameters | Results
SCC | 50100802
Does the SCC contain more than 15 sources? | Yes
Pollutant | PM, FILTERABLE
Units | LB
Activity | TONS DRIED SLUDGE FED
Factor Quality Rating | Moderately Representative
Number of individual test data values used to calculate the emissions factor | 8
Number of individual test data values excluded from the calculation | 1
Composite Test Rating | 65.62
Control Device Configuration | SINGLE CYCLONE
New Candidate Factor Value | 1.22
Existing Factor | 4.00E+00
Difference (%) | -69.43

## Data Included
Individual Test Data Value | Individual Test Method | Individual Test Data Units | Individual Test Data Activity | Individual Test Rating | Detection Limit Flag | Year of Test | Facility Name | Test City | Test State | ERT Project Data Set | Submission_ID
0.3 | EPA Method 5 | LB | TONS DRIED SLUDGE FED | 60 | ADL |  | MWCC Metro Plant | St Paul | MN | PDS | 80592515
0.42 | EPA Method 5 | LB | TONS DRIED SLUDGE FED | 80 | ADL |  | Washington Suburban Sanitary Commission Western Br | Washington | DC | PDS | 80619559
0.48 | EPA Method 5 | LB | TONS DRIED SLUDGE FED | 60 | ADL |  | MWCC Metro Plant | St Paul | MN | PDS | 80592458
0.56 | EPA Method 5 | LB | TONS DRIED SLUDGE FED | 60 | ADL |  | MWCC Metro Plant | St Paul | MN | PDS | 80592474
0.618 | Not available | LB | TONS DRIED SLUDGE FED | 80 | ADL |  | Pilot facility | See test report. | SEE TEST REPORT. | PDS | 80603614
0.736 | EPA Method 5 | LB | TONS DRIED SLUDGE FED | 60 | ADL |  | MWCC Metro Plant | St Paul | MN | PDS | 80592531
0.808 | EPA Method 5 | LB | TONS DRIED SLUDGE FED | 60 | ADL |  | Naugatuck Treatment Company | Naugatuck | CT | PDS | 80594441
5.86 | EPA Method 5 | LB | TONS DRIED SLUDGE FED | 80 | ADL |  | Mattabasset District Pollution Control | Cromwell | CT | PDS | 80588349

## Data Excluded
Reason for Exclusion | Individual Test Data Value | Individual Test Method | Individual Test Data Units | Individual Test Data Activity | Individual Test Rating | Detection Limit Flag | Year of Test | Facility Name | Test City | Test State | ERT Project Data Set | Submission_ID
Data value does not improve the factor quality rating. | 2.34 | EPA Method 5 | LB | TONS DRIED SLUDGE FED | 10 | ADL |  | Plant O; Plant P; Plant Q; Plant R | See test report. | SEE TEST REPORT. | PDS | 80604205