## Summary
Key Parameters | Results
SCC | 50100802
Does the SCC contain more than 15 sources? | Yes
Pollutant | PM, FILTERABLE
Units | LB
Activity | TONS DRIED SLUDGE FED
Factor Quality Rating | Moderately Representative
Number of individual test data values used to calculate the emissions factor | 11
Number of individual test data values excluded from the calculation | 3
Composite Test Rating | 73.74
Control Device Configuration | AFTERBURNER;WET SCRUBBER
New Candidate Factor Value | 0.781

## Data Included
Individual Test Data Value | Individual Test Method | Individual Test Data Units | Individual Test Data Activity | Individual Test Rating | Detection Limit Flag | Year of Test | Facility Name | Test City | Test State | ERT Project Data Set | Submission_ID
0.311 | Method 5 | LB | TONS DRIED SLUDGE FED | 65 | ADL | 2021 | Atlantic County Utilities Authority | Atlantic City | NJ | PDS | 81142127
0.36 | Method 5/202 | LB | TONS DRIED SLUDGE FED | 64 | ADL | 2015 | City of Palo Alto Water Quality Control Plant | Palo Alto | CA | PDS | 80121521
0.477 | Method 26A | LB | TONS DRIED SLUDGE FED | 64 | DLL | 2015 | City of Palo Alto Water Quality Control Plant | Palo Alto | CA | PDS | 80121521
0.555 | Method 5/202 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2017 | Atlantic County Utilities Authority | Atlantic City | NJ | PDS | 80756246
0.636 | Method 5 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2017 | Atlantic County Utilities Authority | Atlantic City | NJ | PDS | 80756246
0.785 | Method 5 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2017 | Atlantic County Utilities Authority | Atlantic City | NJ | PDS | 80727757
0.949 | Method 5/202 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2017 | Atlantic County Utilities Authority | Atlantic City | NJ | PDS | 80727757
0.965 | Method 5 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2020 | Atlantic County Utilities Authority | Atlantic City | NJ | PDS | 81081160
1.12 | Method 5/202 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2017 | Atlantic County Utilities Authority | Atlantic City | NJ | PDS | 80756572
1.21 | Method 5 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2017 | Atlantic County Utilities Authority | Atlantic City | NJ | PDS | 80756418
1.22 | Method 5 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2018 | Atlantic County Utilities Authority | Atlantic City | NJ | PDS | 80757226

## Data Excluded
Reason for Exclusion | Individual Test Data Value | Individual Test Method | Individual Test Data Units | Individual Test Data Activity | Individual Test Rating | Detection Limit Flag | Year of Test | Facility Name | Test City | Test State | ERT Project Data Set | Submission_ID
Data value does not improve the factor quality rating. | 0.379 | Method 5/202 | LB | TONS DRIED SLUDGE FED | 32 | ADL | 2016 | City of Palo Alto Water Quality Control Plant | Palo Alto | CA | PDS | 80180329
EPA Manually Excluded | 1.12 | Method 5/202 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2017 | Atlantic County Utilities Authority | Atlantic City | NJ | PDS | 80756418
EPA Manually Excluded | 1.21 | Method 5 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2017 | Atlantic County Utilities Authority | Atlantic City | NJ | PDS | 80756572