## Summary
Key Parameters | Results
SCC | 50100802
Does the SCC contain more than 15 sources? | Yes
Pollutant | PM, FILTERABLE
Units | LB
Activity | TONS DRIED SLUDGE FED
Factor Quality Rating | Highly Representative
Number of individual test data values used to calculate the emissions factor | 22
Number of individual test data values excluded from the calculation | 8
Composite Test Rating | 72.42
Control Device Configuration | VENTURI SCRUBBER
New Candidate Factor Value | 2.06
Existing Factor | 3.20E+00
Difference (%) | -35.7

## Data Included
Individual Test Data Value | Individual Test Method | Individual Test Data Units | Individual Test Data Activity | Individual Test Rating | Detection Limit Flag | Year of Test | Facility Name | Test City | Test State | ERT Project Data Set | Submission_ID
0.21 | EPA Method 5 | LB | TONS DRIED SLUDGE FED | 80 | ADL |  | Honolulu Wastewater Treatment Plant | Oahu | HI | PDS | 80487274
0.322 | Method 26A | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2015 | Anchorage Water and Wastewater Utility (AWWU) | Anchorage | AK | PDS | 80123866
0.33 | EPA Method 5 | LB | TONS DRIED SLUDGE FED | 80 | ADL |  | Davenport Wastewater Treatment Plant | Davenport | IA | PDS | 80478619
0.34 | EPA Method 5 | LB | TONS DRIED SLUDGE FED | 80 | ADL |  | Town of Vernon | Vernon | CT | PDS | 80616865
0.373 | Method 5/202 | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2016 | Erie Waste Water Treatment Plant | Erie | PA | PDS | 80135251
0.47 | EPA Method 5 | LB | TONS DRIED SLUDGE FED | 60 | ADL |  | Rocky River Wastewater Tretment Plant | Concord | NC | PDS | 80607546
0.51 | EPA Method 5 | LB | TONS DRIED SLUDGE FED | 80 | ADL |  | Attleboro Advanced Wastewater Treatment Facility | Attleboro | MA | PDS | 80503000
0.54 | EPA Method 5 | LB | TONS DRIED SLUDGE FED | 80 | ADL |  | Honolulu Wastewater Treatment Plant | Ewa | HI | PDS | 80487294
0.548 | New Jersey Air Test | LB | TONS DRIED SLUDGE FED | 60 | ADL |  | Bayshore Regional Sewage Authority | Union Beach | NJ | PDS | 80503112
0.58 | EPA Method 5 | LB | TONS DRIED SLUDGE FED | 80 | ADL |  | Sand Island Wastewater Treatment Plant | Honolulu | HI | PDS | 80609366
0.7 | EPA Method 5 | LB | TONS DRIED SLUDGE FED | 80 | ADL |  | Water treatement plant | See test report. | SEE TEST REPORT. | PDS | 80619782
0.74 | EPA Method 5 | LB | TONS DRIED SLUDGE FED | 80 | ADL |  | Sand Island Wastewater Treatment Plant | Honolulu | HI | PDS | 80609350
0.822 | EPA Method 5 | LB | TONS DRIED SLUDGE FED | 80 | ADL |  | Rocky Mount Wastewater Treatment Facility | Rocky Mount | NC | PDS | 80607530
0.859 | EPA Method 5 | LB | TONS DRIED SLUDGE FED | 80 | ADL |  | East Shore Wastewater Treatment Plant | New Haven | CT | PDS | 80483405
1.08 | EPA Method 5 | LB | TONS DRIED SLUDGE FED | 60 | ADL |  | Newport Wastewater Treatment Plant | Newport | TN | PDS | 80595513
1.27 | EPA Method 5 | LB | TONS DRIED SLUDGE FED | 80 | ADL |  | New London No. 2 Sludge Incinerator | New London | CT | PDS | 80595473
1.76 | EPA Method 5 | LB | TONS DRIED SLUDGE FED | 80 | ADL |  | Nichols Engineering and Research Corporation | Middletown | CT | PDS | 80595529
1.82 | EPA Method 5 | LB | TONS DRIED SLUDGE FED | 80 | ADL |  | Maryville Wastewater Treatment Plant | Maryville | TN | PDS | 80588278
3.2 | EPA Method 5 | LB | TONS DRIED SLUDGE FED | 60 | ADL |  | Providence Municipal Sludge Incinerator | Providence | RI | PDS | 80605004
3.46 | EPA Method 5 | LB | TONS DRIED SLUDGE FED | 60 | ADL |  | Osborne Wastewater Treatment Plant | McLeansville | NC | PDS | 80601215
11.2 | EPA Method 5 | LB | TONS DRIED SLUDGE FED | 80 | ADL |  | Maryville Wastewater Treatment Plant | Maryville | TN | PDS | 80588294
14.1 | New Jersey Air Test | LB | TONS DRIED SLUDGE FED | 60 | ADL |  | Jersey City Sewage Authority | Jersey City | NJ | PDS | 80579088

## Data Excluded
Reason for Exclusion | Individual Test Data Value | Individual Test Method | Individual Test Data Units | Individual Test Data Activity | Individual Test Rating | Detection Limit Flag | Year of Test | Facility Name | Test City | Test State | ERT Project Data Set | Submission_ID
Data value does not improve the factor quality rating. | 0.73 | EPA Method 5 | LB | TONS DRIED SLUDGE FED | 45 | ADL |  | Milwaukee South Shore Treatment Plant | Milwaukee | WI | PDS | 80589684
Data value does not improve the factor quality rating. | 0.92 | EPA Method 5 | LB | TONS DRIED SLUDGE FED | 45 | ADL |  | Little Miami Treatment Plant; Mill Creek Treatment | Cincinnati | OH | PDS | 80496018
Data value does not improve the factor quality rating. | 1.73 | EPA Method 5 | LB | TONS DRIED SLUDGE FED | 45 | ADL |  | Little Miami Treatment Plant; Mill Creek Treatment | Cincinnati | OH | PDS | 80496034
Data value does not improve the factor quality rating. | 1.85 | EPA Method 5 | LB | TONS DRIED SLUDGE FED | 45 | ADL |  | Little Miami Treatment Plant; Mill Creek Treatment | Cincinnati | OH | PDS | 80496050
EPA Manually Excluded - Duplicate | 3.2 | EPA Method 5 | LB | TONS DRIED SLUDGE FED | 60 | ADL |  | Providence Municipal Sludge Incinerator | Providence | RI | PDS | 80605012
Data value does not improve the factor quality rating. | 3.25 | EPA Method 5 | LB | TONS DRIED SLUDGE FED | 45 | ADL |  | Milwaukee South Shore Treatment Plant | Milwaukee | WI | PDS | 80589700
EPA Manually Excluded - Duplicate | 3.46 | EPA Method 5 | LB | TONS DRIED SLUDGE FED | 60 | ADL |  | Osborne Wastewater Treatment Plant | McLeansville | NC | PDS | 80601223
EPA Manually Excluded - Duplicate | 14.1 | New Jersey Air Test | LB | TONS DRIED SLUDGE FED | 60 | ADL |  | Jersey City Sewage Authority | Jersey City | NJ | PDS | 80579096