## Summary
Key Parameters | Results
SCC | 50100803
Does the SCC contain more than 15 sources? | Yes
Pollutant | PM, FILTERABLE
Units | LB
Activity | TONS DRIED SLUDGE FED*
Factor Quality Rating | Minimally Representative
Number of individual test data values used to calculate the emissions factor | 4
Number of individual test data values excluded from the calculation | 0
Composite Test Rating | 71.67
Control Device Configuration | WET SCRUBBER
New Candidate Factor Value | 0.111
Note - units were standardized from lb/tons sludge burned to lb/tons dried sludge fed

## Data Included
Individual Test Data Value | Individual Test Method | Individual Test Data Units | Individual Test Data Activity | Individual Test Rating | Detection Limit Flag | Year of Test | Facility Name | Test City | Test State | ERT Project Data Set | Submission_ID
0.0768 | Method 29 | LB | TONS SLUDGE BURNED | 71.5 | ADL | 2017 | City of Edmonds Wastewater Treatment Plant | Edmonds | WA | PDS | 80342022
0.0793 | Method 26A | LB | TONS SLUDGE BURNED | 66 | ADL | 2016 | LBVSD Atherton Wastewater Treatment Plant | Independence | MO | PDS | 80775495
0.141 | Method 5 | LB | TONS SLUDGE BURNED | 76.5 | ADL | 2015 | LBVSD Atherton Wastewater Treatment Plant | Independence | MO | PDS | 80766754
0.148 | Method 26A | LB | TONS SLUDGE BURNED | 74 | ADL | 2017 | Little Blue Valley Sewer District - Atherton WWTP | Independence | MO | PDS | 80290416