## Summary
Key Parameters | Results
SCC | 50100802
Does the SCC contain more than 15 sources? | Yes
Pollutant | PM, PRIMARY
Units | LB
Activity | TONS DRIED SLUDGE FED
Factor Quality Rating | Minimally
Number of individual test data values used to calculate the emissions factor | 4
Number of individual test data values excluded from the calculation | 1
Composite Test Rating | 73.97
Control Device Configuration | AFTERBURNER;WET SCRUBBER
New Candidate Factor Value | 0.795

## Data Included
Individual Test Data Value | Individual Test Method | Individual Test Data Units | Individual Test Data Activity | Individual Test Rating | Detection Limit Flag | Year of Test | Facility Name | Test City | Test State | ERT Project Data Set | Submission_ID
0.412 | Method 5/202 | LB | TONS DRIED SLUDGE FED | 64 | ADL | 2015 | City of Palo Alto Water Quality Control Plant | Palo Alto | CA | PDS | 80121521
0.633 | Method 5/202 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2017 | Atlantic County Utilities Authority | Atlantic City | NJ | PDS | 80756246
0.969 | Method 5/202 | LB | TONS DRIED SLUDGE FED | 78.5 | DLL | 2017 | Atlantic County Utilities Authority | Atlantic City | NJ | PDS | 80727757
1.17 | Method 5/202 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2017 | Atlantic County Utilities Authority | Atlantic City | NJ | PDS | 80756572

## Data Excluded
Reason for Exclusion | Individual Test Data Value | Individual Test Method | Individual Test Data Units | Individual Test Data Activity | Individual Test Rating | Detection Limit Flag | Year of Test | Facility Name | Test City | Test State | ERT Project Data Set | Submission_ID
EPA Manually Excluded | 1.17 | Method 5/202 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2017 | Atlantic County Utilities Authority | Atlantic City | NJ | PDS | 80756418