## Summary
Key Parameters | Results
SCC | 50100802
Does the SCC contain more than 15 sources? | Yes
Pollutant | LEAD
Units | LB
Activity | TONS DRIED SLUDGE FED
Factor Quality Rating | Minimally Representative
Number of individual test data values used to calculate the emissions factor | 5
Number of individual test data values excluded from the calculation | 2
Composite Test Rating | 73.31
Control Device Configuration | VENTURI SCRUBBER
New Candidate Factor Value | 0.00927
Existing Factor | 1.80E-03
Difference (%) | 415.21
AP42 Section | 2.2

## Data Included
Individual Test Data Value | Individual Test Method | Individual Test Data Units | Individual Test Data Activity | Individual Test Rating | Detection Limit Flag | Year of Test | Facility Name | Test City | Test State | ERT Project Data Set | Submission_ID
0.00121 | Method 29 | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2016 | Erie Waste Water Treatment Plant | Erie | PA | PDS | 80135251
0.00136 | Method 29 | LB | TONS DRIED SLUDGE FED | 78.5 | DLL | 2015 | Anchorage Water and Wastewater Utility (AWWU) | Anchorage | AK | PDS | 80123866
0.0018 | EPA Method 5 (modifi | LB | TONS DRIED SLUDGE FED | 60 | ADL |  | Highland Creek Water Pollution Control Plant | Scarborough | ONTARIO | PDS | 80507614
0.006 | EPA Method 5 (modifi | LB | TONS DRIED SLUDGE FED | 80 | ADL |  | Water treatement plant | See test report. | SEE TEST REPORT. | PDS | 80621249
0.036 | EPA Method 5 (modifi | LB | TONS DRIED SLUDGE FED | 80 | ADL |  | Highland Creek Water Pollution Control Plant | Scarborough | ONTARIO | PDS | 80507454

## Data Excluded
Reason for Exclusion | Individual Test Data Value | Individual Test Method | Individual Test Data Units | Individual Test Data Activity | Individual Test Rating | Detection Limit Flag | Year of Test | Facility Name | Test City | Test State | ERT Project Data Set | Submission_ID
Data value does not improve the factor quality rating. | 0.00018 | EPA Method 29 (draft | LB | TONS DRIED SLUDGE FED | 45 | ADL |  | Costa Sanitary District Municipal Wastewater Treat | Mortmez | CA | PDS | 80478312
Data value does not improve the factor quality rating. | 0.0021 | EPA Method 29 (draft | LB | TONS DRIED SLUDGE FED | 45 | ADL |  | Costa Sanitary District Municipal Wastewater Treat | Mortmez | CA | PDS | 80478424