## 100% Load
Key Parameters | Results
SCC | 50100421, 50301021, 50600621, 50700621
Does the SCC contain more than 15 sources? | Yes
Was the SCC mapped from a retired SCC? | No
Which SCC was retired?
Pollutant | NON-METHANE ORGANIC COMPOUNDS, AS HEXANE - 100 PERCENT LOAD
Units | LB
Activity | MILLION BTUS HEAT INPUT
Factor Quality Rating | Moderate
Composite Test Rating | 66.77
Control Device Configuration | UNCONTROLLED
Factor Value | 0.015
DATA INCLUDED
Submission_ID | Facility_Name | Facility_City | Facility_State | Location_Name | SCC | AVERAGE_VALUE | Pollutant_Name | Pollutant_Unit | Measure | Material | Action | Detection_Limit_Flag | Test_Report_Rating | Test_Run_Date | Test_Method | Control_1 | Control_2 | Control_3 | Control_4 | Control_5 | Exclude_Reason | PDS_Links
85834968 | DSWA Southern Facility | Georgetown | DE | Engine Outlet | 20300802 | 0.015 | NON-METHANE ORGANIC COMPOUNDS, AS HEXANE - 100 PERCENT LOAD | LB | MILLION BTUS | HEAT | INPUT | ADL | 66 |  | Method 25A | UNCONTROLLED | [5 empty] | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=85834968
85834992 | DSWA Southern Facility | Georgetown | DE | Engine Outlet 3 | 20300802 | 0.0143 | NON-METHANE ORGANIC COMPOUNDS, AS HEXANE - 100 PERCENT LOAD | LB | MILLION BTUS | HEAT | INPUT | ADL | 66 |  | Method 25A | UNCONTROLLED | [5 empty] | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=85834992
85834940 | DSWA Central Landfill | Felton | DE | Engine #2 Outlet | 20300802 | 0.0144 | NON-METHANE ORGANIC COMPOUNDS, AS HEXANE - 100 PERCENT LOAD | LB | MILLION BTUS | HEAT | INPUT | ADL | 66 |  | Method 25A | UNCONTROLLED | [5 empty] | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=85834940
85834954 | DSWA Central Landfill | Felton | DE | Engine #3 Outlet | 20300802 | 0.0164 | NON-METHANE ORGANIC COMPOUNDS, AS HEXANE - 100 PERCENT LOAD | LB | MILLION BTUS | HEAT | INPUT | ADL | 66 |  | Method 25A | UNCONTROLLED | [5 empty] | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=85834954
85834980 | DSWA Southern Facility | Georgetown | DE | Engine Outlet | 20300802 | 0.0166 | NON-METHANE ORGANIC COMPOUNDS, AS HEXANE - 100 PERCENT LOAD | LB | MILLION BTUS | HEAT | INPUT | ADL | 66 |  | Method 25A | UNCONTROLLED | [5 empty] | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=85834980
85835466 | Ostrom Road Landfill | Wheatland | CA | Engine 1 | 20300802 | 0.014 | NON-METHANE ORGANIC COMPOUNDS, AS HEXANE - 100 PERCENT LOAD | LB | MILLION BTUS | HEAT | INPUT | ADL | 73 |  | Method 25C | UNCONTROLLED | [5 empty] | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=85835466
85834926 | DSWA Central Landfill | Felton | DE | Engine #1 Outlet | 20300802 | 0.0161 | NON-METHANE ORGANIC COMPOUNDS, AS HEXANE - 100 PERCENT LOAD | LB | MILLION BTUS | HEAT | INPUT | ADL | 66 |  | Method 25A | UNCONTROLLED | [5 empty] | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=85834926
85835004 | DSWA Southern Facility | Georgetown | DE | Engine Outlet | 20300802 | 0.0133 | NON-METHANE ORGANIC COMPOUNDS, AS HEXANE - 100 PERCENT LOAD | LB | MILLION BTUS | HEAT | INPUT | ADL | 66 | 2007-02-28 | Method 25A | UNCONTROLLED | [5 empty] | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=85835004
DATA EXCLUDED
Submission_ID | Facility_Name | Facility_City | Facility_State | Location_Name | SCC | AVERAGE_VALUE | Pollutant_Name | Pollutant_Unit | Measure | Material | Action | Detection_Limit_Flag | Test_Report_Rating | Test_Run_Date | Test_Method | Control_1 | Control_2 | Control_3 | Control_4 | Control_5 | Exclude_Reason | PDS_Links
85835472 | Simi Valley Landfill | Simi Valley | CA | Avg Engine 1-2 | 20300802 | 0.0235 | NON-METHANE ORGANIC COMPOUNDS, AS HEXANE - 100 PERCENT LOAD | LB | MILLION BTUS | HEAT | INPUT | ADL | 83 |  | EPA Method 25C | UNCONTROLLED |  |  |  |  | Data value is an outlier. | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=85835472
85835460 | Bradley Landfill | Sun Valley | CA | Avg Eng 1-4 | 20300802 | 0.0158 | NON-METHANE ORGANIC COMPOUNDS, AS HEXANE - 100 PERCENT LOAD | LB | MILLION BTUS | HEAT | INPUT | ADL | 73 |  | SCAQMD 25.1 and 25.4 | UNCONTROLLED |  |  |  |  | Test method not acceptable. | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=85835460

## 80% Load
Key Parameters | Results
SCC | 50100421, 50301021, 50600621, 50700621
Does the SCC contain more than 15 sources? | Yes
Was the SCC mapped from a retired SCC? | No
Which SCC was retired?
Pollutant | NON-METHANE ORGANIC COMPOUNDS, AS HEXANE - 80 PERCENT LOAD
Units | LB
Activity | MILLION BTUS HEAT INPUT
Factor Quality Rating | Moderate
Composite Test Rating | 66
Control Device Configuration | UNCONTROLLED
Factor Value | 0.0151
DATA INCLUDED
Submission_ID | Facility_Name | Facility_City | Facility_State | Location_Name | SCC | AVERAGE_VALUE | Pollutant_Name | Pollutant_Unit | Measure | Material | Action | Detection_Limit_Flag | Test_Report_Rating | Test_Run_Date | Test_Method | Control_1 | Control_2 | Control_3 | Control_4 | Control_5 | Exclude_Reason | PDS_Links
85834980 | DSWA Southern Facility | Georgetown | DE | Engine Outlet | 20300802 | 0.0174 | NON-METHANE ORGANIC COMPOUNDS, AS HEXANE - 80 PERCENT LOAD | LB | MILLION BTUS | HEAT | INPUT | ADL | 66 |  | Method 25A | UNCONTROLLED | [5 empty] | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=85834980
85835004 | DSWA Southern Facility | Georgetown | DE | Engine Outlet | 20300802 | 0.0156 | NON-METHANE ORGANIC COMPOUNDS, AS HEXANE - 80 PERCENT LOAD | LB | MILLION BTUS | HEAT | INPUT | ADL | 66 | 2007-03-13 | Method 25A | UNCONTROLLED | [5 empty] | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=85835004
85834954 | DSWA Central Landfill | Felton | DE | Engine #3 Outlet | 20300802 | 0.0135 | NON-METHANE ORGANIC COMPOUNDS, AS HEXANE - 80 PERCENT LOAD | LB | MILLION BTUS | HEAT | INPUT | ADL | 66 |  | Method 25A | UNCONTROLLED | [5 empty] | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=85834954
85834940 | DSWA Central Landfill | Felton | DE | Engine #2 Outlet | 20300802 | 0.0147 | NON-METHANE ORGANIC COMPOUNDS, AS HEXANE - 80 PERCENT LOAD | LB | MILLION BTUS | HEAT | INPUT | ADL | 66 |  | Method 25A | UNCONTROLLED | [5 empty] | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=85834940
85834926 | DSWA Central Landfill | Felton | DE | Engine #1 Outlet | 20300802 | 0.0137 | NON-METHANE ORGANIC COMPOUNDS, AS HEXANE - 80 PERCENT LOAD | LB | MILLION BTUS | HEAT | INPUT | ADL | 66 |  | Method 25A | UNCONTROLLED | [5 empty] | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=85834926
85834968 | DSWA Southern Facility | Georgetown | DE | Engine Outlet | 20300802 | 0.0157 | NON-METHANE ORGANIC COMPOUNDS, AS HEXANE - 80 PERCENT LOAD | LB | MILLION BTUS | HEAT | INPUT | ADL | 66 |  | Method 25A | UNCONTROLLED | [5 empty] | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=85834968
85834992 | DSWA Southern Facility | Georgetown | DE | Engine Outlet 3 | 20300802 | 0.0154 | NON-METHANE ORGANIC COMPOUNDS, AS HEXANE - 80 PERCENT LOAD | LB | MILLION BTUS | HEAT | INPUT | ADL | 66 |  | Method 25A | UNCONTROLLED | [5 empty] | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=85834992

## 60% Load
Key Parameters | Results
SCC | 50100421, 50301021, 50600621, 50700621
Does the SCC contain more than 15 sources? | Yes
Was the SCC mapped from a retired SCC? | No
Which SCC was retired?
Pollutant | NON-METHANE ORGANIC COMPOUNDS, AS HEXANE - 60 PERCENT LOAD
Units | LB
Activity | MILLION BTUS HEAT INPUT
Factor Quality Rating | Moderate
Composite Test Rating | 66
Control Device Configuration | UNCONTROLLED
Factor Value | 0.0165
DATA INCLUDED
Submission_ID | Facility_Name | Facility_City | Facility_State | Location_Name | SCC | AVERAGE_VALUE | Pollutant_Name | Pollutant_Unit | Measure | Material | Action | Detection_Limit_Flag | Test_Report_Rating | Test_Run_Date | Test_Method | Control_1 | Control_2 | Control_3 | Control_4 | Control_5 | Exclude_Reason | PDS_Links
85834940 | DSWA Central Landfill | Felton | DE | Engine #2 Outlet | 20300802 | 1.60E-02 | NON-METHANE ORGANIC COMPOUNDS, AS HEXANE - 60 PERCENT LOAD | LB | MILLION BTUS | HEAT | INPUT | ADL | 66 |  | Method 25A | UNCONTROLLED | [5 empty] | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=85834940
85834954 | DSWA Central Landfill | Felton | DE | Engine #3 Outlet | 20300802 | 1.64E-02 | NON-METHANE ORGANIC COMPOUNDS, AS HEXANE - 60 PERCENT LOAD | LB | MILLION BTUS | HEAT | INPUT | ADL | 66 |  | Method 25A | UNCONTROLLED | [5 empty] | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=85834954
85835004 | DSWA Southern Facility | Georgetown | DE | Engine Outlet | 20300802 | 1.74E-02 | NON-METHANE ORGANIC COMPOUNDS, AS HEXANE - 60 PERCENT LOAD | LB | MILLION BTUS | HEAT | INPUT | ADL | 66 | 39154 | Method 25A | UNCONTROLLED | [5 empty] | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=85835004
85834992 | DSWA Southern Facility | Georgetown | DE | Engine Outlet 3 | 20300802 | 1.59E-02 | NON-METHANE ORGANIC COMPOUNDS, AS HEXANE - 60 PERCENT LOAD | LB | MILLION BTUS | HEAT | INPUT | ADL | 66 |  | Method 25A | UNCONTROLLED | [5 empty] | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=85834992
85834968 | DSWA Southern Facility | Georgetown | DE | Engine Outlet | 20300802 | 1.60E-02 | NON-METHANE ORGANIC COMPOUNDS, AS HEXANE - 60 PERCENT LOAD | LB | MILLION BTUS | HEAT | INPUT | ADL | 66 |  | Method 25A | UNCONTROLLED | [5 empty] | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=85834968
85834980 | DSWA Southern Facility | Georgetown | DE | Engine Outlet | 20300802 | 1.89E-02 | NON-METHANE ORGANIC COMPOUNDS, AS HEXANE - 60 PERCENT LOAD | LB | MILLION BTUS | HEAT | INPUT | ADL | 66 |  | Method 25A | UNCONTROLLED | [5 empty] | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=85834980
85834926 | DSWA Central Landfill | Felton | DE | Engine #1 Outlet | 20300802 | 1.48E-02 | NON-METHANE ORGANIC COMPOUNDS, AS HEXANE - 60 PERCENT LOAD | LB | MILLION BTUS | HEAT | INPUT | ADL | 66 |  | Method 25A | UNCONTROLLED | [5 empty] | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=85834926

## 30% Load
Key Parameters | Results
SCC | 50100421, 50301021, 50600621, 50700621
Does the SCC contain more than 15 sources? | Yes
Was the SCC mapped from a retired SCC? | No
Which SCC was retired?
Pollutant | NON-METHANE ORGANIC COMPOUNDS, AS HEXANE - 30 PERCENT LOAD
Units | LB
Activity | MILLION BTUS HEAT INPUT
Factor Quality Rating | Moderate
Composite Test Rating | 66
Control Device Configuration | UNCONTROLLED
New Candidate Factor Value | 0.00883
DATA INCLUDED
Submission_ID | Facility_Name | Facility_City | Facility_State | Location_Name | SCC | AVERAGE_VALUE | Pollutant_Name | Pollutant_Unit | Measure | Material | Action | Detection_Limit_Flag | Test_Report_Rating | Test_Run_Date | Test_Method | Control_1 | Control_2 | Control_3 | Control_4 | Control_5 | Exclude_Reason | PDS_Links
85834926 | DSWA Central Landfill | Felton | DE | Engine #1 Outlet | 20300802 | 2.50E-03 | NON-METHANE ORGANIC COMPOUNDS, AS HEXANE - 30 PERCENT LOAD | LB | MILLION BTUS | HEAT | INPUT | ADL | 66 |  | Method 25A | UNCONTROLLED | [5 empty] | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=85834926
85834954 | DSWA Central Landfill | Felton | DE | Engine #3 Outlet | 20300802 | 3.07E-03 | NON-METHANE ORGANIC COMPOUNDS, AS HEXANE - 30 PERCENT LOAD | LB | MILLION BTUS | HEAT | INPUT | ADL | 66 |  | Method 25A | UNCONTROLLED | [5 empty] | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=85834954
85834940 | DSWA Central Landfill | Felton | DE | Engine #2 Outlet | 20300802 | 2.15E-03 | NON-METHANE ORGANIC COMPOUNDS, AS HEXANE - 30 PERCENT LOAD | LB | MILLION BTUS | HEAT | INPUT | ADL | 66 |  | Method 25A | UNCONTROLLED | [5 empty] | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=85834940
85834968 | DSWA Southern Facility | Georgetown | DE | Engine Outlet | 20300802 | 1.49E-02 | NON-METHANE ORGANIC COMPOUNDS, AS HEXANE - 30 PERCENT LOAD | LB | MILLION BTUS | HEAT | INPUT | ADL | 66 |  | Method 25A | UNCONTROLLED | [5 empty] | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=85834968
85834980 | DSWA Southern Facility | Georgetown | DE | Engine Outlet | 20300802 | 1.31E-02 | NON-METHANE ORGANIC COMPOUNDS, AS HEXANE - 30 PERCENT LOAD | LB | MILLION BTUS | HEAT | INPUT | ADL | 66 |  | Method 25A | UNCONTROLLED | [5 empty] | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=85834980
85835004 | DSWA Southern Facility | Georgetown | DE | Engine Outlet | 20300802 | 1.37E-02 | NON-METHANE ORGANIC COMPOUNDS, AS HEXANE - 30 PERCENT LOAD | LB | MILLION BTUS | HEAT | INPUT | ADL | 66 | 39155 | Method 25A | UNCONTROLLED | [5 empty] | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=85835004
85834992 | DSWA Southern Facility | Georgetown | DE | Engine Outlet 3 | 20300802 | 1.24E-02 | NON-METHANE ORGANIC COMPOUNDS, AS HEXANE - 30 PERCENT LOAD | LB | MILLION BTUS | HEAT | INPUT | ADL | 66 |  | Method 25A | UNCONTROLLED | [5 empty] | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=85834992