MEMORANDUM

TO:  		File				DATE:	May 22, 2019

FROM:		Matthew Drews

SUBJECT:          Quarterly Site Inspection

A storm water quarterly site inspection was carried out at U.S. Silver and Gold properties. Galena Mine and Mill

- Adit, sump, and screen at Calahan shaft is working well.

- All oil, solvents, and grease are properly stored indoors and spill kit is easily accessible

- Company vehicle fuel station is in good working order as well as adjacent garage.

- Storm water diversions are in good working order.

- Lake Creek running at normal seasonal levels.

- Overcast and raining during week of inspection.

- Berms are in good condition.

- Drainage sump near western hoist room door has been cleared and replaced.

Coeur Mine and Mill

- All diversions are in order.

- Road berm is in good condition

- All oil containers at hoist are under roof and in good condition

- All oil, grease and lubricants are stored in oil storage building

- Storm water screens on road were cleared during inspection

- The storage area at the bottom of the Coeur road  is maintained with nothing to report

- Ditches are in good shape on Coeur Road.

Caladay Mine

There were no storm water related issues at the Caladay Mine, as expected.  All storm water from the Caladay facility is routed to a large sump and infiltrated.  Daly Creek was running clear.

OTI

All diversions and BMP’s are in working order.

“I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gathered and evaluated the information submitted.  Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete.  I am aware that there are significant penalties for submitting false information, including the possibility of fine or imprisonment for knowing violations.”

Inspector:					  Date:

Matthew Drews, Environmental Scientist