Effluent Statistic 

Note: EPA no longer updates this information, but it may be useful as a reference or resource.

This web site provides query access to over 200 million monitoring records originally reported to EPA via the Legacy STORET System. 

	Code
	Name
	Print Format 

	I
	Average Concentration
	AC

	J
	Minimum Concentration 
	LC 

	K
	Maximum Concentration 
	HC 

	M
	Average Loading (lbs/day assumed) 
	AL 

	P
	Minimum Loading (lbs/day assumed) 
	LL 

	Q 
	Maximum Loading (lbs/day assumed) 
	HL 

	R 
	Number of Exceptions 
	NE

	T 
	Type of Sampling
	FA 

	W 
	Self-monitoring
	ST

	! 
	Minimum Concentration (30 days) 
	LCX 

	? 
	Maximum Concentration (30 days) 
	HCX

	@
	Maximum Loading (30 days)
	HLX

	&
	Mass Units
	MU

	= 
	Number of analyses
	#A


