## Instructions
USEPA WQX Web Dictionary |  |  | Domain values last updated: 03/02/2012 01:14:00 PM
Version 1.04
• This dictionary contains the definitions of terms used in the WQX Web templates. It is intended to assist water quality data providers in importing their data into WQX Web.
• The fields (columns) available in each Dictionary worksheet include both the default fields and additional fields that may be added that can be imported to WQX Web.
• Tables listing all the columns that use 'Allowable Values' are included in the dictionary. References are provided to access the values themselves. A reference a complete list of fields that require 'Allowable Values' in addition to a link providing a updated list of available domain values for each field is provided in the tab labeled 'WQX Web Allowable Values'.
Worksheet Category | Worksheet Function | Worksheet Name | Description
Dictionary | Outline definitions, requirements and parameters associated with each default field (column), and additional fields that may be added in a data entry template. | Projects | Column definitions for all fields available for Projects
|  | Monitoring Locations | Column definitions for all fields available for Monitoring Locations.
|  | Physical-Chemistry Results | Column definitions for all fields available for Physical-Chemistry Results
|  | Habitat Results | Column definitions for all fields available for Habitat Results
|  | Biological Results | Column definitions for all fields available for Biological Results
|  | Activity Metric | Column definitions for all fields available for Activity Metrics.
|  | BioHabitat Index | Column definitions for all fields available for Biological and Habitat Indices.
| Reference worksheet for all columns that require users to provide values from a list of allowable values | WQX Web Allowable Values | Three tables of definitions - one each for Projects, Monitoring Locations, and Results.
For assistance with using this dictionary, please refer to the US EPA STORET/WQX online resources at http://www.epa.gov/storet/wqx/products/WQX_Web_template_user_guide.pdf
The most recent copy of the templates and this dictionary can be downloaded from http://www.epa.gov/storet/wqx/wqxweb_downloads.html
If you have questions or comments about the templates of the dictionary, please send email to the STORET Help Desk at STORET@epa.gov

## Projects
WQX Web Projects Dictionary
The columns in this table outline all of the fields available in WQX Web to specify Project information. Default columns already populated in WQX Web are provided in yellow.
Use the 'Filter' button at the top of the columns to select rows to display.
Row Nu | Template Column Name/WQX Web Element Name | Included in Default Template? | Required Fields | Maximum Character Length | Data Type | Description
1 | Project ID | Yes | Required | 35 | Text | A unique ID for the Project to which data will be assigned
2 | Project Name | Yes | Required | 120 | Text | A unique Name for the Project
3 | Project Description | Yes | Conditional | 1999 | Text | Project purpose and/or summary, must provide either project description or supply a Project Attachment
4 | Sampling Design Type | No | Optional | 20 | Allowable Values | A code used to identify the type of sampling design employed for this project to ensure that sampling activities can support project objectives.
5 | QAPP Approved Indicator | No | Optional |  | Yes/No | Indicates whether a Quality Assurance Project Plan (QAPP) has been approved for the submitted project.
6 | QAPP Approval Agency Name | No | Optional | 50 | Text | An outside approval authority identifier for the QAPP (e.g. EPA or State Organization).
7 | Project Attachment File Name | No | Conditional | 255 | Text | The text describing the descriptive name used to represent the file, including file extension. Must provide either project description or supply a Project Attachment
8 | Project Attachment Type | No | Conditional | 6 | Text | File text extension, free text not domain list validation. Required if Project Attachment File Name is reported.

## Monitoring Locations
WQX Web Monitoring Locations Dictionary
The columns in this table outline all of the fields available in WQX Web to specify Monitoring Location information. Default columns already populated in WQX Web are provided in yellow.
Use the 'Filter' button at the top of the columns to select rows to display.
Row Nu | Template Column Name/WQX Web Element Name | Included in Default Template? | Optionality | Length | Data Type | Description
1 | Monitoring Location ID | Yes | Required | 35 | Text | Unique identifier for the monitoring location
2 | Monitoring Location Name | Yes | Required | 255 | Text | A geographically descriptive name
3 | Monitoring Location Type | Yes | Required | 45 | Allowable Values | Type of monitoring location
4 | Monitoring Location Description | No | Optional | 1999 | Text | Text description of the monitoring location.
5 | HUC Eight-Digit Code | Yes | Optional | 8 | Text | 8-digit Hydrologic Unit Code
6 | HUC Twelve-Digit Code | No | Optional | 12 | Text | 12-digit Hydrologic Unit Code
7 | Tribal Land Indicator | Yes | Optional |  | Yes/No | Indicator denoting whether or not a location is on tribal land
8 | Tribal Land Name | Yes | Optional | 200 | Text | Name of American Indian or Alaskan Native area where the location exists
9 | Alternate Monitoring Location ID | No | Optional | 35 | Text | Alternate identifier used by other organization
10 | Alternate Monitoring Location Context | No | Conditional | 120 | Text | Organization ID for alternate monitoring ID, required if Alternate Monitoring Location ID is reported.
11 | Monitoring Location Latitude | Yes | Required | 8 | Defined Format | Latitude. Decimal 6-8 digits (i.e., 37)
12 | Monitoring Location Longitude | Yes | Required | 9 | Defined Format | Longitude. Decimal 6-9 digits (i.e., -74.75)
13 | Monitoring Location Source Map Scale | Yes | Conditional |  | Defined Format | Integer representing distance on ground for one unit of measure on map or photo. Required when Horizontal Collection Method Name is "Interpolation-Map"
14 | Monitoring Location Horizontal Accuracy Measure Value | No | Optional | 12 | Number | The horizontal measure of the relative accuracy of the latitude and longitude coordinates
15 | Monitoring Location Horizontal Accuracy Measure Unit Code | No | Conditional | 12 | Allowable Values | Unit of measure of the relative accuracy, required if Monitoring Location Horizontal Accuracy Measure Value is reported.
16 | Monitoring Location Horizontal Collection Method | Yes | Required | 150 | Allowable Values | Method used to determine Lat/Long coordinates
17 | Monitoring Location Horizontal Coordinate Reference System | Yes | Required | 6 | Allowable Values | Datum used to determine Lat/Long
18 | Vertical Measure | No | Optional | 12 | Number | The measure of elevation (i.e., the altitude), above or below a reference datum.
19 | Vertical Unit | No | Conditional | 12 | Allowable Values | Unit of measure of the vertical measure, required if Vertical Measure is reported
20 | Vertical Collection Method | No | Conditional | 50 | Allowable Values | The name that identifies the method used to collect the vertical measure of a reference point. Required if Vertical Measure is reported.
21 | Vertical Coordinate Reference System | No | Conditional | 10 | Allowable Values | The name of the reference datum used to determine the vertical measure (i.e., the altitude). Required if Vertical Measure is reported.
22 | Monitoring Location Country Code | No | Optional | 12 | Allowable Values | Code for Country, recommended if state code is used not in (default) US.
23 | Monitoring Location State | Yes | Conditional | 2 | Allowable Values | Postal abbreviation for Monitoring Locations's primary state, required if county code is reported
24 | Monitoring Location County | Yes | Optional | 3 | Allowable Values | FIPS code for Monitoring Location's primary county
25 | Well Type | No | Optional | 255 | Allowable Values | Identifies the primary well type.
26 | Aquifer Name | No | Optional | 120 | Text | Name of the aquifer in which the well is completed.
27 | Well Formation Type | No | Optional | 50 | Allowable Values | Name of the primary formation or soils unit, in which the well is completed.
28 | Well Hole Depth Measure Value | No | Optional | 12 | Number | Depth below land surface datum (LSD) to the bottom of the hole on completion of drilling.
29 | Well Hole Depth Measure Unit | No | Conditional | 12 | Allowable Values | Unit of measure of the vertical measure, required if Well Hole Depth Measure Value is reported.
30 | Monitoring Location Attachment File Name | No | Optional | 255 | Text | The text describing the descriptive name used to represent the file, including file extension.
31 | Monitoring Location Attachment Type | No | Conditional | 6 | Text | File text extension, free text not domain list validation. Required if Monitoring Location Attachment File Name is reported.

## Physical-Chemistry Results
WQX Web Physical-Chemistry Results Dictionary
The columns in this table outline all of the fields available in WQX Web to specify Physical-Chemistry Result information. Default columns already populated in WQX Web are provided in yellow.
Use the 'Filter' button at the top of the columns to select rows to display.
Row Nu | Template Column Name/WQX Web Element Name | Included in WQX Web Physical-Chemistry Template | Optionality | Max Length | Data Type | Description
1 | Activity ID | Yes | Required | 35 | Text | A unique identifier for each Activity (an Activity can be based on a unique lab ID, a suite of on-site field measurements, an individual sample, etc); Results within one Activity must share the same Activity Type and Activity Medium (example: a water sample and a sediment sample must be separate Activities; a water sample and a measurement made in the field must be separate Activities; 2 lab results from the same water sample can be the same activity)
2 | Activity Type | Yes | Required | 70 | Allowable Values | Type of Activity (example: Field Msr/Obs, Sample-Routine, etc.)
3 | Activity Media Name | Yes | Required | 20 | Allowable Values | Medium in which sample or measurement was taken (example: Water, Sediment, etc.)
4 | Activity Media Subdivision Name | No | Optional | 45 | Allowable Values | Name or code indicating the subdivision of media the sample was collected in.
5 | Activity Start Date | Yes | Required | 10 | Defined Format | Date Activity began (YYYY-MM-DD)
6 | Activity Start Time | Yes | Optional | 8 | Defined Format | Time Activity began (HH:MM:SS)
7 | Activity Start Time Zone | Yes | Conditional | 4 | Allowable Values | Time Zone for Activity Start Time, required if Activity Start Time entered
8 | Activity End Date | No | Optional | 10 | Defined Format | Date Activity ended (YYYY-MM-DD)
9 | Activity End Time | No | Optional | 8 | Defined Format | Time Activity ended (HH:MM:SS)
10 | Activity End Time Zone | No | Conditional | 4 | Allowable Values | Time Zone for Activity End Time, required if Activity End Time entered
11 | Activity Relative Depth Name | No | Optional | 15 | Allowable Values | The name that indicates the approximate location within the water column at which the activity occurred.
12 | Activity Depth/Height Measure | Yes | Optional | 12 | Text | The distance from the surface to the point in the water column at which the activity is conducted (depth or height measured from a reference point)
13 | Activity Depth/Height Unit | Yes | Conditional | 12 | Allowable Values | Units for Activity Depth Height Measure, required if Activity Depth Height Measure entered
14 | Activity Top Depth/Height Measure | No | Optional | 12 | Text | The upper vertical extent of an activity (measured from a reference point).
15 | Activity Top Depth/Height Unit | No | Conditional | 12 | Allowable Values | Units for Activity Top Depth Height Measure, required if Activity Top Depth Height Measure entered
16 | Activity Bottom Depth/Height Measure | No | Conditional | 12 | Text | The lower vertical extent of an activity (measured from a reference point). May not be reported if Activity Depth/Height Measure is reported. Required if Activity Type is Sample-Integrated Vertical Profile.
17 | Activity Bottom Depth/Height Measure Unit | No | Conditional | 12 | Allowable Values | Units for Activity Bottom Depth Height Measure, required if Activity Bottom Depth Height Measure entered
18 | Activity Depth Altitude Reference Point | No | Optional | 125 | Text | The reference used to indicate the datum or reference used to establish the depth/altitude of an activity.
19 | Project ID | Yes | Required | 35 | Allowable Values | Valid Project ID; separate multiple Projects with "\".
20 | Organization | No | Optional | 120 | Text | A name of the Organization conducting an activity.
21 | Monitoring Location ID | Yes | Conditional | 35 | Allowable Values | Valid Monitoring ID; required for most Activity Type Codes; Must correspond to Monitoring Locations already in WQX/STORET or entered in Monitoring Locations tab
22 | Activity Comment | No | Optional | 4000 | Text | General comments concerning the activity.
23 | Activity Latitude | No | Optional | 8 | Defined Format | Latitude of actual monitoring site if different from formal station description
24 | Activity Longitude | No | Optional | 9 | Defined Format | Longitude of actual monitoring site if different from formal station description
25 | Activity Source Map Scale | No | Conditional |  | Defined Format | Integer representing distance on ground for one unit of measure on map or photo, required when Horizontal Collection Method Name is "Interpolation-Map"
26 | Activity Horizontal Accuracy Measure | No | Optional | 12 | Number | The horizontal measure indicating the relative accuracy of the latitude and longitude coordinates
27 | Activity Horizontal Accuracy Unit | No | Conditional | 12 | Allowable Values | Unit of measure of the relative accuracy, required if Activity Horizontal Accuracy Measure is reported.
28 | Activity Horizontal Collection Method | No | Conditional | 150 | Allowable Values | Method used to determine Lat/Long coordinates, required when Activity Location is provided.
29 | Activity Horizontal Coordinate Reference System | No | Conditional | 6 | Allowable Values | Datum used to determine Lat/Long, required when Activity Location is provided.
30 | Sample Collection Method ID | Yes | Conditional | 20 | Allowable Value or Text | User defined ID code assigned by organization, required if Activity Type Code contains the word "Sample", also require context (assigning organization) and name of method, see Analytical & Collection Methods Tab
31 | Sample Collection Equipment Name | Yes | Conditional | 40 | Allowable Values | Gear used to collect sample, required if Sample Collection Method is present
32 | Sample Collection Equipment Comment | Yes | Optional | 4000 | Text | General comments further describing the Sample Collection Equipment used
33 | Sample Preparation Method ID | No | Optional | 20 | Text | The identification number or code assigned by the method publisher.
34 | Sample Container Type | No | Conditional | 35 | Allowable Values | The text describing the sample container type. Required if Sample Preparation Method ID is reported.
35 | Sample Container Color | No | Conditional | 15 | Allowable Values | The text describing the sample container color. Required if Sample Preparation Method ID is reported.
36 | Chemical Preservative Used | No | Conditional | 250 | Text | Information describing the chemical means to preserve the sample. Either Chemical Preservative Used or Thermal Preservative Used must be provided if the Sample Preparation Method ID is reported.
37 | Thermal Preservative Used | No | Conditional | 25 | Allowable Values | Information describing the thermal preservation of the sample. Either Chemical Preservative Used or Thermal Preservative Used must be provided if the Sample Preparation Method ID is reported.
38 | Sample Transport Storage Description | No | Conditional | 250 | Text | The text describing sample handling and transport procedures used. Required if Sample Preparation Method ID is reported.
39 | Activity Attachment File Name | No | Optional | 255 | Text | The text describing the descriptive name used to represent the Activity Attachment file including file extension.
40 | Activity Attachment Type | No | Conditional | 6 | Text | The text or acronym describing the binary content type of a file. Required if Activity Attachment File Name is reported.
41 | Data Logger Line | No | Conditional | 15 | Text | Unique ID for the specific result recorded by a continuous data logger. Often the ID includes the date and time to indicate the specific time data was captured. Required if Activity Type contains the phrase "Data Logger"; Must be unique within Activity.
42 | Result Detection Condition | Yes | Conditional | 35 | Allowable Values | Result detection Condition is re quired if Result Measure Value is blank; Must not be populated if Result Measure Value is provided.
43 | Characteristic Name | Yes | Conditional | 120 | Allowable Values | Valid characteristic name; required if activity yields results or detection conditions that are being reported
44 | Method Speciation | Yes | Optional | 20 | Allowable Values | Identifies the chemical speciation in which the measured result is expressed
45 | Result Sample Fraction | Yes | Conditional | 25 | Allowable Values | Text name of fraction of sample associated with result, required for certain characteristics, see Characteristics
46 | Result Value | Yes | Conditional | 60 | Text | Measured value of characteristic, required if Result Detection Condition Text is blank, No entry allowed if Result Detection Condition Text is populated.
47 | Result Unit | Yes | Conditional | 12 | Allowable Values | Units for characteristic result, required if a non text result is reported
48 | Result Qualifier | Yes | Optional | 5 | Allowable Values | A code used to identify any qualifying issues that affect the results.
49 | Result Status ID | Yes | Conditional | 12 | Allowable Values | Required if result is reported; Indicates acceptability of result with respect to QA/QC, Data will not go into the STORET wharehouse if the status is "Preliminary"
50 | Statistical Base Code | Yes | Optional | 25 | Allowable Values | Code used for method used to calculate derived results, such as Mean, Maximum, etc.
51 | Result Value Type | Yes | Conditional | 12 | Allowable Values | Qualifies process used in the determination of result value (eg. Actual, Estimated, Calculated). Required if result is non-text. Default is Actual.
52 | Result Weight Basis | No | Optional | 15 | Allowable Values | Form of sample or portion of sample associated with result value (eg. wet weight, dry weight, etc.)
53 | Result Time Basis | No | Optional | 12 | Allowable Values | The period of time (in days) over which a measurement was made. For example, BOD can be measured as 5 day or 20 day BOD.
54 | Result Temperature Basis | No | Optional | 12 | Allowable Values | The name that represents the controlled temperature at which the sample was maintained during analysis, e.g. 25 deg BOD analysis.
55 | Result Particle Size Basis | No | Optional | 15 | Text | User defined free text describing the particle size class for which the associated result is defined.
56 | Precision | No | Optional | 60 | Text | A measure of mutual agreement among individual measurements of the same property usually under prescribed similar conditions.
57 | Bias | No | Optional | 60 | Text | The systematic or persistent distortion of a measurement process which causes error in one direction.
58 | Confidence Interval | No | Optional | 15 | Text | A range of values constructed so that this range has a specified probability of including the true population mean.
59 | Upper Confidence Limit | No | Optional | 15 | Text | Value of the upper end of the confidence interval.
60 | Lower Confidence Limit | No | Optional | 15 | Text | Value of the lower end of the confidence interval.
61 | Result Comment | Yes | Optional | 4000 | Text | Provided to allow for the entry of comments about result
62 | Result Depth/Height Measure | No | Optional | 12 | Text | A measurement of the vertical location (measured from a reference point) at which a result is obtained.
63 | Result Depth/Height Unit | No | Conditional | 12 | Allowable Values | Units for Result Depth Height Measure, required if Result Depth Height Measure entered
64 | Result Depth/Altitude Reference Point | No | Optional | 125 | Text | The reference used to indicate the datum or reference used to establish the depth/altitude of a result.
65 | Result Sampling Point Name | No | Optional | 12 | Text | Single point name within a sampling frame or protocol that is associated with the reported result.
66 | Result Attachment File Name | No | Optional | 255 | Text | References and electronic attachments to a Result description including any other documents, images, maps, photos, laboratory materials, geospatial coverages, and other objects associated with the Result
67 | Result Attachment Type | No | Conditional | 6 | Text | The text or acronym describing the binary content type of a file. Required if Result Attachment File Name is provided.
68 | Result Analytical Method ID | Yes | Conditional | 20 | Allowable Value or Text | ID number assigned by method publisher, required if Activity Type Code contains the word Sample, for nationally defined methods see Nat. Methods Tab, to define an analytical method unique to your organization see Analytical & Collection Methods Tab
69 | Result Analytical Method Context | Yes | Conditional | 120 | Allowable Value or Text | Source of method, required if Activity Type Code is Sample, for nationally defined methods see Nat. Methods Tab, to define an analytical method unique to your organization see Analytical & Collection Methods Tab
70 | Laboratory Name | No | Optional | 60 | Text | Name of Laboratory performing the analysis
71 | Analysis Start Date | Yes | Optional | 10 | Defined Format | Date sample analyzed (YYYY-MM-DD)
72 | Analysis Start Time | No | Optional |  | Defined Format | The time of day that is reported.
73 | Analysis Start Time Zone | No | Conditional | 4 | Allowable Values | The time zone for which the time of day is reported. Required if Analysis Start Time is reported.
74 | Analysis End Date | No | Optional | 10 | Defined Format | Date sample analysis ended (YYYY-MM-DD)
75 | Analysis End Time | No | Optional |  | Defined Format | The time of day that is reported.
76 | Analysis End Time Zone | No | Conditional | 4 | Allowable Values | The time zone for which the time of day is reported. Required if Analysis End Time is reported.
77 | Result Laboratory Comment Code | No | Optional | 3 | Allowable Values | Remarks which further describe the laboratory procedures which produced the result.
78 | Result Detection/Quantitation Limit Type | Yes | Conditional | 35 | Allowable Values | Text describing the type of detection or quantitation limit used in the analysis of a characteristic. Required if Result Detection Condition is "Not Detected", "Present Above Quantification Limit", or "Present Below Quantification Limit".
79 | Result Detection/Quantitation Limit Measure | Yes | Conditional | 12 | Text | The reportable measure of the result for the chemical, microbiological or other characteristic being analyzed. Required if Result Detection Condition is "Not Detected", "Present Above Quantification Limit", or "Present Below Quantification Limit".
80 | Result Detection/Quantitation Limit Unit | Yes | Conditional | 12 | Allowable Values | The code that represents the unit for measuring the chemical substance, microbiological substance or other characteristic. Required if Result Detection Condition is "Not Detected", "Present Above Quantification Limit", or "Present Below Quantification Limit". Also Required if Result Detection/Quantitation Limit Measure is reported.
81 | Laboratory Accreditation Indicator | No | Optional |  | Yes/No | Indicates whether the laboratory is accredited.
82 | Laboratory Accreditation Authority | No | Optional | 20 | Text | An outside accreditation authority identifier.
83 | Lab Sample Preparation Method ID | No | Optional | 20 | Text | Identifying code assigned by the method publisher about the method followed to prepare a sample for analysis
84 | Lab Sample Preparation Start Date | No | Optional | 10 | Defined Format | Date lab sample preparation started (YYYY-MM-DD)
85 | Lab Sample Preparation Start Time | No | Optional |  | Defined Format | The time of day that is reported.
86 | Lab Sample Preparation Start Time Zone | No | Conditional | 4 | Allowable Values | The time zone for which the time of day is reported. Required if Lab Sample Preparation Start Time is reported.
87 | Lab Sample Preparation End Date | No | Optional | 10 | Defined Format | Date lab sample preparation ended (YYYY-MM-DD)
88 | Lab Sample Preparation End Time | No | Optional |  | Defined Format | The time of day that is reported.
89 | Lab Sample Preparation End Time Zone | No | Conditional | 4 | Allowable Values | The time zone for which the time of day is reported. Required if Lab Sample Preparation End Time is reported.
90 | Substance Dilution Factor | No | Optional | 10 | non Negative Integer | The overall dilution of the substance subjected to this analysis.
91 | Activity Group ID | No | Conditional | 35 | Text | Designator that uniquely identifies a grouping of activities within an organization. Required for reporting an Activity Group.
92 | Activity Group Name | No | Optional | 50 | Text | A name of an activity group.
93 | Activity Group Type | No | Conditional | 50 | Allowable Values | Identifies the type of grouping of a set of activities. Required if Reporting an Activity Group.

## Habitat Results
WQX Web Habitat Results Dictionary
This tables list all the columns in WQX Web that are available to describe the Habitat Results worksheet in each template. The columns included by default in each in template the are shown in yellow.
Row Nu | Template Column Name/WQX Web Element Name | Included in WQX Web Habitat Template | Optionality | Max Length | Data Type | Description
1 | Activity ID | Yes | Required | 35 | Text | A unique identifier for each Activity (an Activity can be based on a unique lab ID, a suite of on-site field measurements, an individual sample, etc); Results within one Activity must share the same Activity Type and Activity Medium (example: a water sample and a sediment sample must be separate Activities; a water sample and a measurement made in the field must be separate Activities; 2 lab results from the same water sample can be the same activity).
2 | Activity Type | Yes | Required | 70 | Allowable Values | Type of Activity (example: Field Msr/Obs, Sample-Routine, etc.)
3 | Activity Media Name | Yes | Required | 20 | Allowable Values | Medium in which sample or measurement was taken (example: Water, Sediment, etc.)
4 | Activity Media Subdivision Name | No | Optional | 45 | Allowable Values | Name or code indicating the subdivision of media the sample was collected in.
5 | Activity Start Date | Yes | Required | 10 | Defined Format | Date Activity began (YYYY-MM-DD)
6 | Activity Start Time | Yes | Optional | 8 | Defined Format | Time Activity began (HH:MM:SS)
7 | Activity Start Time Zone | Yes | Conditional | 4 | Allowable Values | Time Zone for Activity Start Time, required if Activity Start Time entered
8 | Activity End Date | No | Optional | 10 | Defined Format | Date Activity ended (YYYY-MM-DD)
9 | Activity End Time | No | Optional | 8 | Defined Format | Time Activity ended (HH:MM:SS)
10 | Activity End Time Zone | No | Conditional | 4 | Allowable Values | Time Zone for Activity End Time, required if Activity End Time entered
11 | Activity Relative Depth Name | No | Optional | 15 | Allowable Values | The name that indicates the approximate location within the water column at which the activity occurred.
12 | Activity Depth/Height Measure | No | Optional | 12 | Text | The distance from the surface to the point in the water column at which the activity is conducted (depth or height measured from a reference point)
13 | Activity Depth/Height Unit | No | Conditional | 12 | Allowable Values | Units for Activity Depth Height Measure, required if Activity Depth Height Measure entered
14 | Activity Top Depth/Height Measure | No | Optional | 12 | Text | The upper vertical extent of an activity (measured from a reference point).
15 | Activity Top Depth/Height Unit | No | Conditional | 12 | Allowable Values | Units for Activity Top Depth Height Measure, required if Activity Top Depth Height Measure entered
16 | Activity Bottom Depth/Height Measure | No | Conditional | 12 | Text | The lower vertical extent of an activity (measured from a reference point). May not be reported if Activity Depth/Height Measure is reported. Required if Activity Type is Sample-Integrated Vertical Profile.
17 | Activity Bottom Depth/Height Measure Unit | No | Conditional | 12 | Allowable Values | Units for Activity Bottom Depth Height Measure, required if Activity Bottom Depth Height Measure entered
18 | Activity Depth Altitude Reference Point | No | Optional | 125 | Text | The reference used to indicate the datum or reference used to establish the depth/altitude of an activity.
19 | Project ID | Yes | Required | 35 | Allowable Values | Valid Project ID; separate multiple Projects with "\".
20 | Organization | No | Optional | 120 | Text | A name of the Organization conducting an activity.
21 | Monitoring Location ID | Yes | Conditional | 35 | Allowable Values | Valid Monitoring ID; required for most Activity Type Codes; Must correspond to Monitoring Locations already in WQX/STORET or entered in Monitoring Locations tab
22 | Activity Comment | No | Optional | 4000 | Text | General comments concerning the activity.
23 | Activity Latitude | No | Optional | 8 | Defined Format | Latitude of actual monitoring site if different from formal station description
24 | Activity Longitude | No | Optional | 9 | Defined Format | Longitude of actual monitoring site if different from formal station description
25 | Activity Source Map Scale | No | Conditional |  | Defined Format | Integer representing distance on ground for one unit of measure on map or photo, required when Horizontal Collection Method Name is "Interpolation-Map"
26 | Activity Horizontal Accuracy Measure | No | Optional | 12 | Number | The horizontal measure indicating the relative accuracy of the latitude and longitude coordinates
27 | Activity Horizontal Accuracy Unit | No | Conditional | 12 | Allowable Values | Unit of measure of the relative accuracy, required if Activity Horizontal Accuracy Measure is reported.
28 | Activity Horizontal Collection Method | No | Conditional | 150 | Allowable Values | Method used to determine Lat/Long coordinates, required when Activity Location is provided.
29 | Activity Horizontal Coordinate Reference System | No | Conditional | 6 | Allowable Values | Datum used to determine Lat/Long, required when Activity Location is provided.
30 | Collection Duration Measure | No | Optional | 12 | Text | Value of the length of time a collection procedure was performed (e.g. total time kick net was used).
31 | Collection Duration Unit | No | Conditonal | 12 | Allowable Values | Unit for the value of the length of time a collection procedure was performed (e.g. total time kick net was used). Required if Collection Duration Measure is reported.
32 | Sampling Component Name | Yes | Optional | 15 | Text | Single entity within a sampling frame at which a collection procedure or protocol was performed. E.g. transect, grid, plot
33 | Sampling Component Place In Series | Yes | Optional |  | non Negative Integer | The order in which a component within the sampling frame was visited in relation to the other components. E.g. Transect A would be reported as "1"
34 | Reach Length Measure | Yes | Optional | 12 | Text | The measure of the water body length distance in which the procedure or protocol was performed
35 | Reach Length Unit | Yes | Conditonal | 12 | Allowable Values | The measure unit of the water body length distance in which the procedure or protocol was performed. Required if Reach Length Measure Value is reported.
36 | Reach Width Measure | Yes | Optional | 12 | Text | The measure of the water body width distance in which the procedure or protocol was performed
37 | Reach Width Unit | Yes | Conditonal | 12 | Allowable Values | The measure unitof the water body width distance in which the procedure or protocol was performed. Required if Reach Width Measure Value is reported.
38 | Pass Count | No | Optional |  | Integer | The number of passes through the water from which the sample was collected.
39 | Boat Speed Measure | No | Optional | 12 | Text | A measurement of the boat speed during biological monitoring sample collection.
40 | Boat Speed Unit | No | Conditonal | 12 | Allowable Values | The code that represents the unit for measuring the item. Required if Boat Speed Measure is Reported.
41 | Current Speed Measure | No | Optional | 12 | Text | Measurement of the current during biological monitoring sample collection.
42 | Current Speed Unit | No | Conditonal | 12 | Allowable Values | The code that represents the unit for measuring the item. Required if Current Speed Measure is Reported.
43 | Toxicity Test Type | No | Optional | 7 | Allowable Values | Identifies the type of toxicity as either Acute or Chronic.
44 | Sample Collection Method ID | Yes | Conditonal | 20 | Allowable Value or Text | User defined ID code assigned by organization, required if Activity Type Code contains the word "Sample", also require context (assigning organization) and name of method, see Analytical & Collection Methods Tab
45 | Sample Collection Equipment Name | Yes | Conditonal | 40 | Allowable Values | Gear used to collect sample, required if Sample Collection Method is present
46 | Sample Collection Equipment Comment | Yes | Optional | 4000 | Text | General comments further describing the Sample Collection Equipment used
47 | Sample Preparation Method ID | No | Optional | 20 | Text | The identification number or code assigned by the method publisher.
48 | Sample Container Type | No | Conditional | 35 | Allowable Values | The text describing the sample container type. Required if Sample Preparation Method ID is reported.
49 | Sample Container Color | No | Conditional | 15 | Allowable Values | The text describing the sample container color. Required if Sample Preparation Method ID is reported.
50 | Chemical Preservative Used | No | Conditional | 250 | Text | Information describing the chemical means to preserve the sample. Either Chemical Preservative Used or Thermal Preservative Used must be provided if the Sample Preparation Method ID is reported.
51 | Thermal Preservative Used | No | Conditional | 25 | Allowable Values | Information describing the thermal preservation of the sample. Either Chemical Preservative Used or Thermal Preservative Used must be provided if the Sample Preparation Method ID is reported.
52 | Sample Transport Storage Description | No | Conditional | 250 | Text | The text describing sample handling and transport procedures used. Required if Sample Preparation Method ID is reported.
53 | Activity Attachment File Name | No | Optional | 255 | Text | The text describing the descriptive name used to represent the Activity Attachment file including file extension.
54 | Activity Attachment Type | No | Conditional | 6 | Text | The text or acronym describing the binary content type of a file. Required if Activity Attachment File Name is reported.
55 | Data Logger Line | No | Conditional | 15 | Text | Unique ID for the specific result recorded by a continuous data logger. Often the ID includes the date and time to indicate the specific time data was captured. Required if Activity Type contains the phrase "Data Logger"; Must be unique within Activity.
56 | Result Detection Condition | Yes | Conditional | 35 | Allowable Values | Required if Result Measure Value is blank to provide reason; Must not be populated if Result Measure Value is provided
57 | Characteristic Name | Yes | Conditional | 120 | Allowable Values | Valid characteristic name; required if activity yields results or detection conditions that are being reported
58 | Method Speciation | No | Optional | 20 | Allowable Values | Identifies the chemical speciation in which the measured result is expressed
59 | Result Sample Fraction | Yes | Conditional | 25 | Allowable Values | Text name of fraction of sample associated with result, required for certain characteristics, see Characteristics
60 | Result Value | Yes | Conditional | 60 | Text | Measured value of characteristic, required if Result Detection Condition Text is blank, No entry allowed if Result Detection Condition Text is populated.
61 | Result Unit | Yes | Conditional | 12 | Allowable Values | Units for characteristic result, required if a non text result is reported
62 | Result Qualifier | No | Optional | 5 | Allowable Values | A code used to identify any qualifying issues that affect the results.
63 | Result Status ID | Yes | Conditional | 12 | Allowable Values | Required if result is reported; Indicates acceptability of result with respect to QA/QC, data will not go into the STORET wharehouse if the status is "Preliminary".
64 | Statistical Base Code | Yes | Optional | 25 | Allowable Values | Code used for method used to calculate derived results, such as Mean, Maximum, etc.
65 | Result Value Type | Yes | Conditional | 12 | Allowable Values | Qualifies Process used in the determination of result value (eg. Actual, Estimated, Calculated). Required if result is non-text. Default is Actual.
66 | Result Weight Basis | No | Optional | 15 | Allowable Values | Form of sample or portion of sample associated with result value (eg. wet weight, dry weight, etc.)
67 | Result Time Basis | No | Optional | 12 | Allowable Values | The period of time (in days) over which a measurement was made. For example, BOD can be measured as 5 day or 20 day BOD.
68 | Result Temperature Basis | No | Optional | 12 | Allowable Values | The name that represents the controlled temperature at which the sample was maintained during analysis, e.g. 25 deg BOD analysis.
69 | Result Particle Size Basis | No | Optional | 15 | Text | User defined free text describing the particle size class for which the associated result is defined.
70 | Precision | No | Optional | 60 | Text | A measure of mutual agreement among individual measurements of the same property usually under prescribed similar conditions.
71 | Bias | No | Optional | 60 | Text | The systematic or persistent distortion of a measurement process which causes error in one direction.
72 | Confidence Interval | No | Optional | 15 | Text | A range of values constructed so that this range has a specified probability of including the true population mean.
73 | Upper Confidence Limit | No | Optional | 15 | Text | Value of the upper end of the confidence interval.
74 | Lower Confidence Limit | No | Optional | 15 | Text | Value of the lower end of the confidence interval.
75 | Result Comment | Yes | Optional | 4000 | Text | Provided to allow for the entry of comments about result
76 | Result Depth/Height Measure | No | Optional | 12 | Text | A measurement of the vertical location (measured from a reference point) at which a result is obtained.
77 | Result Depth/Height Unit | No | Conditonal | 12 | Allowable Values | Units for Result Depth Height Measure, required if Result Depth Height Measure entered
78 | Result Depth/Altitude Reference Point | No | Optional | 125 | Text | The reference used to indicate the datum or reference used to establish the depth/altitude of a result.
79 | Result Sampling Point Name | Yes | Optional | 12 | Text | Single point name within a sampling frame or protocol that is associated with the reported result.
80 | Result Attachment File Name | No | Optional | 255 | Text | References and electronic attachments to a Result description including any other documents, images, maps, photos, laboratory materials, geospatial coverages, and other objects associated with the Result
81 | Result Attachment Type | No | Conditional | 6 | Text | The text or acronym describing the binary content type of a file.
82 | Result Analytical Method ID | Yes | Conditonal | 20 | Allowable Value or Text | ID number assigned by method publisher, required if Activity Type Code is Sample, for nationally defined methods see Nat. Methods Tab, to define an analytical method unique to your organization see Analytical & Collection Methods Tab
83 | Result Analytical Method Context | Yes | Conditonal | 120 | Allowable Value or Text | Source of method, required if Activity Type Code is Sample, for nationally defined methods see Nat. Methods Tab, to define an analytical method unique to your organization see Analytical & Collection Methods Tab
84 | Laboratory Name | No | Optional | 60 | Text | Name of Laboratory performing the analysis
85 | Analysis Start Date | Yes | Optional | 10 | Defined Format | Date sample analyzed (YYYY-MM-DD)
86 | Analysis Start Time | No | Optional |  | Defined Format | The time of day that is reported.
87 | Analysis Start Time Zone | No | Conditonal | 4 | Allowable Values | The time zone for which the time of day is reported. Required if Analysis Start Time is reported.
88 | Analysis End Date | No | Optional | 10 | Defined Format | Date sample analysis ended (YYYY-MM-DD)
89 | Analysis End Time | No | Optional |  | Defined Format | The time of day that is reported.
90 | Analysis End Time Zone | No | Conditonal | 4 | Allowable Values | The time zone for which the time of day is reported. Required if Analysis End Time is reported.
91 | Result Laboratory Comment Code | No | Optional | 3 | Allowable Values | Remarks which further describe the laboratory procedures which produced the result.
92 | Result Detection/Quantitation Limit Type | Yes | Conditonal | 35 | Allowable Values | Text describing the type of detection or quantitation limit used in the analysis of a characteristic. Required if Result Detection Condition is "Not Detected", "Present Above Quantification Limit", or "Present Below Quantification Limit".
93 | Result Detection/Quantitation Limit Measure | Yes | Conditonal | 12 | Text | The reportable measure of the result for the chemical, microbiological or other characteristic being analyzed. Required if Result Detection Condition is "Not Detected", "Present Above Quantification Limit", or "Present Below Quantification Limit".
94 | Result Detection/Quantitation Limit Unit | Yes | Conditonal | 12 | Allowable Values | The code that represents the unit for measuring the chemical substance, microbiological substance or other characteristic. Required if Result Detection Condition is "Not Detected", "Present Above Quantification Limit", or "Present Below Quantification Limit". Also Required if Result Detection/Quantitation Limit Measure is reported.
95 | Laboratory Accreditation Indicator | No | Optional |  | Yes/No | Indicates whether the laboratory is accredited.
96 | Laboratory Accreditation Authority | No | Optional | 20 | Text | An outside accreditation authority identifier.
97 | Lab Sample Preparation Method ID | No | Optional | 20 | Text | Identifying code assigned by the method publisher about the method followed to prepare a sample for analysis
98 | Lab Sample Preparation Start Date | No | Optional | 10 | Defined Format | Date lab sample preparation started (YYYY-MM-DD)
99 | Lab Sample Preparation Start Time | No | Optional |  | Defined Format | The time of day that is reported.
100 | Lab Sample Preparation Start Time Zone | No | Conditional | 4 | Allowable Values | The time zone for which the time of day is reported. Required if Lab Sample Preparation Start Time is reported.
101 | Lab Sample Preparation End Date | No | Optional | 10 | Defined Format | Date lab sample preparation ended (YYYY-MM-DD)
102 | Lab Sample Preparation End Time | No | Optional |  | Defined Format | The time of day that is reported.
103 | Lab Sample Preparation End Time Zone | No | Conditional | 4 | Allowable Values | The time zone for which the time of day is reported. Required if Lab Sample Preparation End Time is reported.
104 | Substance Dilution Factor | No | Optional | 10 | non Negative Integer | The overall dilution of the substance subjected to this analysis.
105 | Activity Group ID | No | Conditional | 35 | Text | Designator that uniquely identifies a grouping of activities within an organization. Required for reporting an Activity Group.
106 | Activity Group Name | No | Optional | 50 | Text | A name of an activity group.
107 | Activity Group Type | No | Conditional | 50 | Allowable Values | Identifies the type of grouping of a set of activities. Required if Reporting an Activity Group.

## Biological Results
WQX Web Biological Results Dictionary
This tables list all the columns in WQX Web that are available to describe the Biological Results worksheet in each template. The columns included by default in each in template the are shown in yellow.
Row Nu | Template Column Name/WQX Web Element Name | Included in WQX Web Biological Template | Required Fields | Max Length | Data Type | Description
1 | Activity ID | Yes | Required | 35 | Text | A unique identifier for each Activity (an Activity can be based on a unique lab ID, a suite of on-site field measurements, an individual sample, etc); Results within one Activity must share the same Activity Type and Activity Medium (example: a water sample and a sediment sample must be separate Activities; a water sample and a measurement made in the field must be separate Activities; 2 lab results from the same water sample can be the same activity).
2 | Activity Type | Yes | Required | 70 | Allowable Values | Type of Activity (example: Field Msr/Obs, Sample-Routine, etc.)
3 | Activity Media Name | Yes | Required | 20 | Allowable Values | Medium in which sample or measurement was taken (example: Water, Sediment, etc.)
4 | Activity Media Subdivision Name | No | Optional | 45 | Allowable Values | Name or code indicating the subdivision of media the sample was collected in.
5 | Activity Start Date | Yes | Required | 10 | Defined Format | Date Activity began (YYYY-MM-DD)
6 | Activity Start Time | Yes | Optional | 8 | Defined Format | Time Activity began (HH:MM:SS)
7 | Activity Start Time Zone | Yes | Conditional | 4 | Allowable Values | Time Zone for Activity Start Time, required if Activity Start Time entered
8 | Activity End Date | No | Optional | 10 | Defined Format | Date Activity ended (YYYY-MM-DD)
9 | Activity End Time | No | Optional | 8 | Defined Format | Time Activity ended (HH:MM:SS)
10 | Activity End Time Zone | No | Conditional | 4 | Allowable Values | Time Zone for Activity End Time, required if Activity End Time entered
11 | Activity Relative Depth Name | No | Optional | 15 | Allowable Values | The name that indicates the approximate location within the water column at which the activity occurred.
12 | Activity Depth/Height Measure | Yes | Optional | 12 | Text | The distance from the surface to the point in the water column at which the activity is conducted (depth or height measured from a reference point)
13 | Activity Depth/Height Unit | Yes | Conditional | 12 | Allowable Values | Units for Activity Depth Height Measure, required if Activity Depth Height Measure entered
14 | Activity Top Depth/Height Measure | No | Optional | 12 | Text | The upper vertical extent of an activity (measured from a reference point).
15 | Activity Top Depth/Height Unit | No | Conditional | 12 | Allowable Values | Units for Activity Top Depth Height Measure, required if Activity Top Depth Height Measure entered
16 | Activity Bottom Depth/Height Measure | No | Conditional | 12 | Text | The lower vertical extent of an activity (measured from a reference point). May not be reported if Activity Depth/Height Measure is reported. Required if Activity Type is Sample-Integrated Vertical Profile.
17 | Activity Bottom Depth/Height Measure Unit | No | Conditional | 12 | Allowable Values | Units for Activity Bottom Depth Height Measure, required if Activity Bottom Depth Height Measure entered
18 | Activity Depth Altitude Reference Point | No | Optional | 125 | Text | The reference used to indicate the datum or reference used to establish the depth/altitude of an activity.
19 | Project ID | Yes | Required | 35 | Allowable Values | Valid Project ID; separate multiple Projects with "\".
20 | Organization | No | Optional | 120 | Text | A name of the Organization conducting an activity.
21 | Monitoring Location ID | Yes | Conditional | 35 | Allowable Values | Valid Monitoring ID; required for most Activity Type Codes; Must correspond to Monitoring Locations already in WQX/STORET or entered in Monitoring Locations tab
22 | Activity Comment | No | Optional | 4000 | Text | General comments concerning the activity.
23 | Activity Latitude | No | Optional | 8 | Defined Format | Latitude of actual monitoring site if different from formal station description
24 | Activity Longitude | No | Optional | 9 | Defined Format | Longitude of actual monitoring site if different from formal station description
25 | Activity Source Map Scale | No | Conditional |  | Defined Format | Integer representing distance on ground for one unit of measure on map or photo, required when Horizontal Collection Method Name is "Interpolation-Map"
26 | Activity Horizontal Accuracy Measure | No | Optional | 12 | Number | The horizontal measure indicating the relative accuracy of the latitude and longitude coordinates
27 | Activity Horizontal Accuracy Unit | No | Conditional | 12 | Allowable Values | Unit of measure of the relative accuracy
28 | Activity Horizontal Collection Method | No | Conditional | 150 | Allowable Values | Method used to determine Lat/Long coordinates
29 | Activity Horizontal Coordinate Reference System | No | Conditional | 6 | Allowable Values | Datum used to determine Lat/Long
30 | Assemblage Sampled Name | Yes | Conditional | 50 | Allowable Values | Must be reported if Activity Media Name is "Biological"
31 | Collection Duration Measure | Yes | Optional | 12 | Text | Value of the length of time a collection procedure was performed (e.g. total time kick net was used).
32 | Collection Duration Unit | Yes | Conditional | 12 | Allowable Values | Unit for the value of the length of time a collection procedure was performed (e.g. total time kick net was used). Required if Collection Duration Measure is reported.
33 | Sampling Component Name | Yes | Optional | 15 | Text | Single entity within a sampling frame at which a collection procedure or protocol was performed. E.g. transect, grid, plot
34 | Sampling Component Place In Series | Yes | Optional |  | non Negative Integer | The order in which a component within the sampling frame was visited in relation to the other components. E.g. Transect A would be reported as "1"
35 | Reach Length Measure | Yes | Optional | 12 | Text | The measure of the water body length distance in which the procedure or protocol was performed
36 | Reach Length Unit | Yes | Conditional | 12 | Allowable Values | The measure unit of the water body length distance in which the procedure or protocol was performed. Required if Reach Length Measure Value is reported.
37 | Reach Width Measure | Yes | Optional | 12 | Text | The measure of the water body width distance in which the procedure or protocol was performed
38 | Reach Width Unit | Yes | Conditional | 12 | Allowable Values | The measure unitof the water body width distance in which the procedure or protocol was performed. Required if Reach Width Measure Value is reported.
39 | Pass Count | No | Optional |  | Integer | The number of passes through the water from which the sample was collected.
40 | Net Type | No | Optional | 30 | Allowable Values | The text describing the type of net.
41 | Net Surface Area Measure | No | Conditional | 12 | Text | Measurement of the effective surface area of the net used during biological monitoring sample collection. Required if Net Type information is provided.
42 | Net Surface Area Unit | No | Conditional | 12 | Allowable Values | The code that represents the unit for measuring the item. Required if Net Surface Area Measure is provided.
43 | Net Mesh Size Measure | No | Conditional | 12 | Text | Measurement of the mesh size of the net used during biological monitoring sample collection. Required if Net Type information is provided.
44 | Net Mesh Size Unit | No | Conditional | 12 | Allowable Values | The code that represents the unit for measuring the item. Required if Net Mesh Size Measure is provided.
45 | Boat Speed Measure | No | Optional | 12 | Text | A measurement of the boat speed during biological monitoring sample collection.
46 | Boat Speed Unit | No | Conditional | 12 | Allowable Values | The code that represents the unit for measuring the item.
47 | Current Speed Measure | No | Optional | 12 | Text | Measurement of the current during biological monitoring sample collection.
48 | Current Speed Unit | No | Conditional | 12 | Allowable Values | The code that represents the unit for measuring the item. Required if Current Speed Measure is provided.
49 | Toxicity Test Type | No | Optional | 7 | Allowable Values | Identifies the type of toxicity as either Acute or Chronic.
50 | Sample Collection Method ID | Yes | Conditional | 20 | Allowable Value or Text | User defined ID code assigned by organization, required if Activity Type Code contains the word "Sample", also require context (assigning organization) and name of method, see Analytical & Collection Methods Tab
51 | Sample Collection Equipment Name | Yes | Conditional | 40 | Allowable Values | Gear used to collect sample, required if Sample Collection Method is present
52 | Sample Collection Equipment Comment | Yes | Optional | 4000 | Text | General comments further describing the Sample Collection Equipment used
53 | Sample Preparation Method ID | No | Optional | 20 | Text | The identification number or code assigned by the method publisher.
54 | Sample Container Type | No | Conditional | 35 | Allowable Values | The text describing the sample container type. Required if Sample Preparation Method ID is reported.
55 | Sample Container Color | No | Conditional | 15 | Allowable Values | The text describing the sample container color. Required if Sample Preparation Method ID is reported.
56 | Chemical Preservative Used | No | Conditional | 250 | Text | Information describing the chemical means to preserve the sample. Either Chemical Preservative Used or Thermal Preservative Used must be provided if the Sample Preparation Method ID is reported.
57 | Thermal Preservative Used | No | Conditional | 25 | Allowable Values | Information describing the thermal preservation of the sample. Either Chemical Preservative Used or Thermal Preservative Used must be provided if the Sample Preparation Method ID is reported.
58 | Sample Transport Storage Description | No | Conditional | 250 | Text | The text describing sample handling and transport procedures used. Required if Sample Preparation Method ID is reported.
59 | Activity Attachment File Name | No | Optional | 255 | Text | The text describing the descriptive name used to represent the Activity Attachment file including file extension.
60 | Activity Attachment Type | No | Conditional | 6 | Text | The text or acronym describing the binary content type of a file. Required if Activity Attachment File Name is reported.
61 | Data Logger Line | No | Conditional | 15 | Text | Unique ID for the specific result recorded by a continuous data logger. Often the ID includes the date and timeto indicate that the specific time data was captured. Required if Activity Type contains the phrase "Data Logger"; Must be unique within Activity.
62 | Result Detection Condition | Yes | Conditional | 35 | Allowable Values | Required if Result Measure Value is blank to provide reason; Must not be populated if Result Measure Value is provided
63 | Characteristic Name | Yes | Conditional | 120 | Allowable Values | Valid characteristic name; required if activity yields results or detection conditions that are being reported
64 | Method Speciation | No | Optional | 20 | Allowable Values | Identifies the chemical speciation in which the measured result is expressed
65 | Result Sample Fraction | Yes | Conditional | 25 | Allowable Values | Text name of fraction of sample associated with result, required for certain characteristics, see Characteristics
66 | Result Value | Yes | Conditional | 60 | Text | Measured value of characteristic, required if Result Detection Condition Text is blank
67 | Result Unit | Yes | Conditional | 12 | Allowable Values | Units for characteristic result, required if a non text result is reported
68 | Result Qualifier | No | Optional | 5 | Allowable Values | A code used to identify any qualifying issues that affect the results.
69 | Result Status ID | Yes | Conditional | 12 | Allowable Values | Required if result is reported; Indicates acceptability of result with respect to QA/QC, Data will not go into the STORET wharehouse if the status is "Preliminary"
70 | Statistical Base Code | Yes | Optional | 25 | Allowable Values | Code used for method used to calculate derived results, such as Mean, Maximum, etc.
71 | Result Value Type | Yes | Conditional | 12 | Allowable Values | Qualifies Process used in the determination of result value (eg. Actual, Estimated, Calculated). Required if result is non-text. Default is Actual.
72 | Result Weight Basis | Yes | Optional | 15 | Allowable Values | Form of sample or portion of sample associated with result value (eg. wet weight, dry weight, etc.)
73 | Result Time Basis | No | Optional | 12 | Allowable Values | The period of time (in days) over which a measurement was made. For example, BOD can be measured as 5 day or 20 day BOD.
74 | Result Temperature Basis | No | Optional | 12 | Allowable Values | The name that represents the controlled temperature at which the sample was maintained during analysis, e.g. 25 deg BOD analysis.
75 | Result Particle Size Basis | No | Optional | 15 | Text | User defined free text describing the particle size class for which the associated result is defined.
76 | Precision | No | Optional | 60 | Text | A measure of mutual agreement among individual measurements of the same property usually under prescribed similar conditions.
77 | Bias | No | Optional | 60 | Text | The systematic or persistent distortion of a measurement process which causes error in one direction.
78 | Confidence Interval | No | Optional | 15 | Text | A range of values constructed so that this range has a specified probability of including the true population mean.
79 | Upper Confidence Limit | No | Optional | 15 | Text | Value of the upper end of the confidence interval.
80 | Lower Confidence Limit | No | Optional | 15 | Text | Value of the lower end of the confidence interval.
81 | Result Comment | Yes | Optional | 4000 | Text | Provided to allow for the entry of comments about result
82 | Result Depth/Height Measure | No | Optional | 12 | Text | A measurement of the vertical location (measured from a reference point) at which a result is obtained.
83 | Result Depth/Height Unit | No | Conditional | 12 | Allowable Values | Units for Result Depth Height Measure, required if Result Depth Height Measure entered
84 | Result Depth/Altitude Reference Point | No | Optional | 125 | Text | The reference used to indicate the datum or reference used to establish the depth/altitude of a result.
85 | Result Sampling Point Name | Yes | Optional | 12 | Text | Single point name within a sampling frame or protocol that is associated with the reported result.
86 | Biological Intent | Yes | Conditional | 35 | Allowable Values | "Population Census" is meant to allow for simple species counts, for example, counts of benthic macroinvertebrates sampled within a stream. "Group Summary" is meant to allow for reporting of attributes for a group of organisms, for example, the sex of a group of fish. "Frequency Class" is inteded for reporting counts within different bins or categories within a group. "Individual" is used for reporting measurements of individuals caught. "Tissue" is used to report analysis results of tissue samples. "Toxicity" is used to report the results of toxicity testing on a species. Required if entering biological or tissue data.
87 | Biological Individual ID | Yes | Optional | 4 | non Negative Integer | A number uniquely identifyinig an individual in accordance with the total number of individuals reported.
88 | Subject Taxonomic Name | Yes | Conditional | 120 | Allowable Values | Required if biological results are being reported
89 | Unidentified Species ID | Yes | Optional | 120 | Text | If species is not a part of the Subject Taxonomic Name list, but higher level such as Genus is listed, this data element can be used to indicate a unique species name
90 | Sample Tissue Anatomy | Yes | Conditional | 30 | Allowable Values | Name of anatomy from which tissue sample was taken. Required if Bioligical Intent Name is Tissue.
91 | Group Summary Count Weight Measure | Yes | Conditional | 12 | Text | Required if Biological Intent is "Group Summary". Captures the total count or total sample weight for a group of species being reported on.
92 | Group Summary Count Weight Unit | Yes | Conditional | 12 | Allowable Values | Required if Group Summary Count Weight Measure is reported. Captures the total count unit or total sample weight unit for a group of species being reported on.
93 | Taxon Cell Form | Yes | Optional | 11 | Allowable Values | The name of the cell form for phytoplankton organisms expressed as a result.
94 | Taxon Cell Shape | Yes | Optional | 18 | Allowable Values | The cell shape of the phytoplankton organism.
95 | Taxon Habit | Yes | Optional | 15 | Allowable Values | The position that the characteristic occupies in a food chain
96 | Taxon Voltinism | Yes | Optional | 25 | Allowable Values | The number of broods or generations of the characteristic in a year
97 | Taxon Pollution Tolerance | Yes | Optional | 4 | Text | A code or factor representing the ability of the reported taxon to tolerate pollution
98 | Taxon Pollution Tolerance Scale | Yes | Optional | 50 | Text | Provides a description of the scale used for the taxonomic pollution tolerance value.
99 | Taxon Trophic Level | Yes | Optional | 4 | Text | A code or value representing the trophic level with which the reported taxon is typically assigned
100 | Taxon Functional Feeding Group | Yes | Optional | 6 | Text | For entries representing taxa, a code representing the functional feeding group with which the reported taxon is typically associated.
101 | Taxon Citation ID | Yes | Optional | 35 | Text | Identifies the source that defines the taxonomic details
102 | Frequency Class Descriptor | Yes | Conditional | 50 | Allowable Values | Required if Frequency Class Information is Reported
103 | Frequency Class Descriptor Unit | Yes | Conditional | 12 | Allowable Values | Required if the Frequency Class Descriptor Code is a Measured Value (eg. Length, etc.)
104 | Lower Class Bound | Yes | Conditional | 8 | Text | Required if the Frequency Class Descriptor Code is a Measured Value (eg. Length, etc.)
105 | Upper Class Bound | Yes | Conditional | 8 | Text | Required if the Frequency Class Descriptor Code is a Measured Value (eg. Length, etc.)
106 | Result Attachment File Name | No | Optional | 255 | Text | References and electronic attachments to a Result description including any other documents, images, maps, photos, laboratory materials, geospatial coverages, and other objects associated with the Result
107 | Result Attachment Type | No | Conditional | 6 | Text | The text or acronym describing the binary content type of a file. Required if Result Attachment File Name is provided.
108 | Result Analytical Method ID | Yes | Conditional | 20 | Allowable Value or Text | ID number assigned by method publisher, required if Activity Type Code is Sample, for nationally defined methods see Nat. Methods Tab, to define an analytical method unique to your organization see Analytical & Collection Methods Tab
109 | Result Analytical Method Context | Yes | Conditional | 120 | Allowable Value or Text | Source of method, required if Activity Type Code is Sample, for nationally defined methods see Nat. Methods Tab, to define an analytical method unique to your organization see Analytical & Collection Methods Tab
110 | Laboratory Name | Yes | Optional | 60 | Text | Name of Laboratory performing the analysis
111 | Analysis Start Date | Yes | Optional | 10 | Defined Format | Date sample analyzed (YYYY-MM-DD)
112 | Analysis Start Time | No | Optional |  | Defined Format | The time of day that is reported.
113 | Analysis Start Time Zone | No | Conditional | 4 | Allowable Values | The time zone for which the time of day is reported. Required if Analysis Start Time is reported.
114 | Analysis End Date | No | Optional | 10 | Defined Format | Date sample analysis ended (YYYY-MM-DD)
115 | Analysis End Time | No | Optional |  | Defined Format | The time of day that is reported.
116 | Analysis End Time Zone | No | Conditional | 4 | Allowable Values | The time zone for which the time of day is reported. Required if Analysis End Time is reported.
117 | Result Laboratory Comment Code | No | Optional | 3 | Allowable Values | Remarks which further describe the laboratory procedures which produced the result.
118 | Result Detection/Quantitation Limit Type | Yes | Conditonal | 35 | Allowable Values | Text describing the type of detection or quantitation limit used in the analysis of a characteristic. Required if Result Detection Condition is "Not Detected", "Present Above Quantification Limit", or "Present Below Quantification Limit".
119 | Result Detection/Quantitation Limit Measure | Yes | Conditonal | 12 | Text | The reportable measure of the result for the chemical, microbiological or other characteristic being analyzed. Required if Result Detection Condition is "Not Detected", "Present Above Quantification Limit", or "Present Below Quantification Limit".
120 | Result Detection/Quantitation Limit Unit | Yes | Conditonal | 12 | Allowable Values | The code that represents the unit for measuring the chemical substance, microbiological substance or other characteristic. Required if Result Detection Condition is "Not Detected", "Present Above Quantification Limit", or "Present Below Quantification Limit". Also Required if Result Detection/Quantitation Limit Measure is reported.
121 | Laboratory Accreditation Indicator | No | Optional |  | Yes/No | Indicates whether the laboratory is accredited.
122 | Laboratory Accreditation Authority | No | Optional | 20 | Text | An outside accreditation authority identifier.
123 | Taxonomist Accreditation Indicator | No | Optional |  | Yes/No | Indicates whether the taxonomist is accredited.
124 | Taxonomist Accreditation Authority | No | Optional | 20 | Text | An outside accreditation authority identifier for the taxonomist.
125 | Lab Sample Preparation Method ID | No | Optional | 20 | Text | Identifying code assigned by the method publisher about the method followed to prepare a sample for analysis
126 | Lab Sample Preparation Start Date | No | Optional | 10 | Defined Format | Date lab sample preparation started (YYYY-MM-DD)
127 | Lab Sample Preparation Start Time | No | Optional |  | Defined Format | The time of day that is reported.
128 | Lab Sample Preparation Start Time Zone | No | Conditional | 4 | Allowable Values | The time zone for which the time of day is reported. Required if Lab Sample Preparation Start Time is reported.
129 | Lab Sample Preparation End Date | No | Optional | 10 | Defined Format | Date lab sample preparation ended (YYYY-MM-DD)
130 | Lab Sample Preparation End Time | No | Optional |  | Defined Format | The time of day that is reported.
131 | Lab Sample Preparation End Time Zone | No | Conditional | 4 | Allowable Values | The time zone for which the time of day is reported. Required if Lab Sample Preparation End Time is reported.
132 | Substance Dilution Factor | No | Optional | 10 | non Negative Integer | The overall dilution of the substance subjected to this analysis.
133 | Activity Group ID | No | Conditional | 35 | Text | Designator that uniquely identifies a grouping of activities within an organization. Required for reporting an Activity Group.
134 | Activity Group Name | No | Optional | 50 | Text | A name of an activity group.
135 | Activity Group Type | No | Conditional | 50 | Allowable Values | Identifies the type of grouping of a set of activities. Required if Reporting an Activity Group.

## Activity Metric
WQX Web Activity Metric Dictionary
This tables list all the columns in WQX Web that are available to describe the Activity Metric. The columns included by default in each the template the are shown in yellow.
Row Nu | Template Column Name/WQX Web Element Name | Included in WQX Web Template | Optionality | Max Length | Data Type | Description
1 | Activity ID | Yes | Required | 35 | Text | A unique identifier for each Activity (an Activity can be based on a unique lab ID, a suite of on-site field measurements, an individual sample, etc); Results within one Activity must share the same Activity Type and Activity Medium (example: a water sample and a sediment sample must be separate Activities; a water sample and a measurement made in the field must be separate Activities; 2 lab results from the same water sample can be the same activity)
2 | Activity Type | Yes | Required | 70 | Allowable Values | Type of Activity (example: Field Msr/Obs, Sample-Routine, etc.)
3 | Activity Media Name | Yes | Required | 20 | Allowable Values | Medium in which sample or measurement was taken (example: Water, Sediment, etc.)
4 | Activity Media Subdivision Name | No | Optional | 45 | Allowable Values | Name or code indicating the environmental matrix as a subdivision of the sample media.
5 | Activity Start Date | Yes | Required | 10 | Defined Format | Date Activity began (YYYY-MM-DD)
6 | Activity Start Time | Yes | Optional | 8 | Defined Format | Time Activity began (HH:MM:SS)
7 | Activity Start Time Zone | Yes | Conditonal | 4 | Allowable Values | Time Zone for Activity Start Time, required if Activity Start Time entered
8 | Activity End Date | No | Optional | 10 | Defined Format | Date Activity ended (YYYY-MM-DD)
9 | Activity End Time | No | Optional | 8 | Defined Format | Time Activity ended (HH:MM:SS)
10 | Activity End Time Zone | No | Conditonal | 4 | Allowable Values | Time Zone for Activity End Time, required if Activity End Time entered
11 | Activity Relative Depth Name | No | Optional | 15 | Allowable Values | The name that indicates the approximate location within the water column at which the activity occurred.
12 | Activity Depth/Height Measure | No | Optional | 12 | Text | The distance from the surface to the point in the water column at which the activity is conducted (depth or height measured from a reference point)
13 | Activity Depth/Height Unit | No | Conditonal | 12 | Allowable Values | Units for Activity Depth Height Measure, required if Activity Depth Height Measure entered
14 | Activity Top Depth/Height Measure | No | Optional | 12 | Text | The upper vertical extent of an activity (measured from a reference point).
15 | Activity Top Depth/Height Unit | No | Conditonal | 12 | Allowable Values | Units for Activity Top Depth Height Measure, required if Activity Top Depth Height Measure entered
16 | Activity Bottom Depth/Height Measure | No | Conditional | 12 | Text | The lower vertical extent of an activity (measured from a reference point). May not be reported if Activity Depth/Height Measure is reported. Required if Activity Type is Sample-Integrated Vertical Profile.
17 | Activity Bottom Depth/Height Measure Unit | No | Conditional | 12 | Allowable Values | Units for Activity Bottom Depth Height Measure, required if Activity Bottom Depth Height Measure entered
18 | Activity Depth Altitude Reference Point | No | Optional | 125 | Text | The reference used to indicate the datum or reference used to establish the depth/altitude of an activity.
19 | Project ID | Yes | Required | 35 | Allowable Values | Valid Project ID; separate multiple Projects with "\".
20 | Organization | No | Optional | 120 | Text | A name of the Organization conducting an activity.
21 | Monitoring Location ID | Yes | Conditonal | 35 | Allowable Values | Valid Monitoring ID; required for most Activity Type Codes; Must correspond to Monitoring Locations already in WQX/STORET or entered in Monitoring Locations tab
22 | Activity Comment | No | Optional | 4000 | Text | General comments concerning the activity.
23 | Activity Latitude | No | Optional | 8 | Defined Format | Latitude of actual monitoring site if different from formal station description
24 | Activity Longitude | No | Optional | 9 | Defined Format | Longitude of actual monitoring site if different from formal station description
25 | Activity Source Map Scale | No | Conditional |  | Defined Format | Integer representing distance on ground for one unit of measure on map or photo, required when Horizontal Collection Method Name is "Interpolation-Map"
26 | Activity Horizontal Accuracy Measure | No | Optional | 12 | Number | The horizontal measure indicating the relative accuracy of the latitude and longitude coordinates
27 | Activity Horizontal Accuracy Unit | No | Conditional | 12 | Allowable Values | Unit of measure of the relative accuracy, Required if Activity Horizontal Accuracy Measure is reported.
28 | Activity Horizontal Collection Method | No | Conditional | 150 | Allowable Values | Method used to determine Lat/Long coordinates, Required when Activity Location is provided.
29 | Activity Horizontal Coordinate Reference System | No | Conditional | 6 | Allowable Values | Datum used to determine Lat/Long, Required when Activity Location is provided.
30 | Assemblage Sampled Name | No | Conditional | 50 | Allowable Values | Must be reported if Activity Media Name is "Biological"
31 | Collection Duration Measure | No | Optional | 12 | Text | Value of the length of time a collection procedure was performed (e.g. total time kick net was used).
32 | Collection Duration Unit | No | Conditional | 12 | Allowable Values | Unit for the value of the length of time a collection procedure was performed (e.g. total time kick net was used). Required if Collection Duration Measure is reported.
33 | Sampling Component Name | Yes | Optional | 15 | Text | Single entity within a sampling frame at which a collection procedure or protocol was performed. E.g. transect, grid, plot
34 | Sampling Component Place In Series | Yes | Optional |  | non Negative Integer | The order in which a component within the sampling frame was visited in relation to the other components. E.g. Transect A would be reported as "1"
35 | Reach Length Measure | Yes | Optional | 12 | Text | The measure of the water body length distance in which the procedure or protocol was performed
36 | Reach Length Unit | Yes | Conditional | 12 | Allowable Values | The measure unit of the water body length distance in which the procedure or protocol was performed. Required if Reach Length Measure Value is reported.
37 | Reach Width Measure | Yes | Optional | 12 | Text | The measure of the water body width distance in which the procedure or protocol was performed
38 | Reach Width Unit | Yes | Conditional | 12 | Allowable Values | The measure unitof the water body width distance in which the procedure or protocol was performed. Required if Reach Width Measure Value is reported.
39 | Pass Count | No | Optional |  | Integer | The number of passes through the water from which the sample was collected.
40 | Net Type | No | Optional | 30 | Allowable Values | The text describing the type of net.
41 | Net Surface Area Measure | No | Conditional | 12 | Text | Measurement of the effective surface area of the net used during biological monitoring sample collection. Required if Net Type information is provided.
42 | Net Surface Area Unit | No | Conditional | 12 | Allowable Values | The code that represents the unit for measuring the item. Required if Net Surface Area Measure is provided.
43 | Net Mesh Size Measure | No | Conditional | 12 | Text | Measurement of the mesh size of the net used during biological monitoring sample collection. Required if Net Type information is provided.
44 | Net Mesh Size Unit | No | Conditional | 12 | Allowable Values | The code that represents the unit for measuring the item. Required if Net Mesh Size Measure is provided.
45 | Boat Speed Measure | No | Optional | 12 | Text | A measurement of the boat speed during biological monitoring sample collection.
46 | Boat Speed Unit | No | Conditional | 12 | Allowable Values | The code that represents the unit for measuring the item.
47 | Current Speed Measure | No | Optional | 12 | Text | Measurement of the current during biological monitoring sample collection.
48 | Current Speed Unit | No | Conditional | 12 | Allowable Values | The code that represents the unit for measuring the item. Required if Current Speed Measure is provided.
49 | Toxicity Test Type | No | Optional | 7 | Allowable Values | Identifies the type of toxicity as either Acute or Chronic.
50 | Sample Collection Method ID | Yes | Conditional | 20 | Allowable Value or Text | User defined ID code assigned by organization, required if Activity Type Code contains the word "Sample", also require context (assigning organization) and name of method, see Analytical & Collection Methods Tab
51 | Sample Collection Equipment Name | Yes | Conditional | 40 | Allowable Values | Gear used to collect sample, required if Sample Collection Method is present
52 | Sample Collection Equipment Comment | Yes | Optional | 4000 | Text | General comments further describing the Sample Collection Equipment used
53 | Sample Preparation Method ID | No | Optional | 20 | Text | The identification number or code assigned by the method publisher.
54 | Sample Container Type | No | Conditional | 35 | Allowable Values | The text describing the sample container type. Required if Sample Preparation Method ID is reported.
55 | Sample Container Color | No | Conditional | 15 | Allowable Values | The text describing the sample container color. Required if Sample Preparation Method ID is reported.
56 | Chemical Preservative Used | No | Conditional | 250 | Text | Information describing the chemical means to preserve the sample. Either Chemical Preservative Used or Thermal Preservative Used must be provided if the Sample Preparation Method ID is reported.
57 | Thermal Preservative Used | No | Conditional | 25 | Allowable Values | Information describing the thermal preservation of the sample. Either Chemical Preservative Used or Thermal Preservative Used must be provided if the Sample Preparation Method ID is reported.
58 | Sample Transport Storage Description | No | Conditional | 250 | Text | The text describing sample handling and transport procedures used. Required if Sample Preparation Method ID is reported.
59 | Metric Type ID | Yes | Required | 35 | Allowable Value or Text | A designator used to describe the unique name, number, or code assigned to identify the metric (Organization specific).
60 | Metric Type Context | Yes | Required | 50 | Text | Identifies the source or data system that created or defined the metric.
61 | Activity Metric Value | No | Optional | 12 | Text | The recorded dimension, capacity, quality, or amount of something ascertained by measuring or observing.
62 | Activity Metric Value Unit | No | Conditonal | 12 | Allowable Values | The code that represents the unit for measuring the item. Required if Activity Metric Value is reported.
63 | Activity Metric Score | Yes | Required | 10 | Text | Provides the scaled or calculated score for the activity metric.
64 | Activity Metric Comment | No | Optional | 4000 | Text | Free text with general comments concerning the metric.
65 | Index ID | No | Optional | 35 | Text | A unique designator used to identify a unique index record that the activity metric is associated with.
66 | Activity Attachment File Name | No | Optional | 255 | Text | The text describing the descriptive name used to represent the Activity Attachment file including file extension.
67 | Activity Attachment Type | No | Conditional | 6 | Text | The text or acronym describing the binary content type of a file. Required if Activity Attachment File Name.

## BioHabitat Index
WQX Web Biological-Habitat Dictionary
This tables list all the columns in WQX Web that are available to describe the BioHabitat Index. The columns included by default in each the template the are shown in yellow.
Row Nu | Template Column Name/WQX Web Element Name | Included in WQX Web Template | Optionality | Max Length | Data Type | Description
1 | Index ID | Yes | Required | 35 | Text | A unique identifier for each Activity (an Activity can be based on a unique lab ID, a suite of on-site field measurements, an individual sample, etc); Results within one Activity must share the same Activity Type and Activity Medium (example: a water sample and a sediment sample must be separate Activities; a water sample and a measurement made in the field must be separate Activities; 2 lab results from the same water sample can be the same activity)
2 | Index Type ID | Yes | Required | 70 | Allowable Values | Type of Activity (example: Field Msr/Obs, Sample-Routine, etc.)
3 | Index Score | Yes | Required | 20 | Allowable Values | Medium in which sample or measurement was taken (example: Water, Sediment, etc.)
4 | Index Qualifier Code | No | Optional | 45 | Allowable Values | Name or code indicating the environmental matrix as a subdivision of the sample media.
5 | Index Comment | Yes | Optional | 4000 | Text | General comments concerning the activity.
6 | Index Calculated Date | Yes | Optional | 10 | Defined Format | Date Activity began (YYYY-MM-DD)
7 | Monitoring Location ID | Yes | Required | 35 | Allowable Values | Valid Monitoring ID; Must correspond to Monitoring Locations already in WQX/STORET or entered in Monitoring Locations tab

## WQX Web Allowable Values
WQX Web Allowable Values/Domain Values/Lookup Tables Reference List
These tables list all columns in WQX Web that require use of specific 'allowable values.' The allowable values are sometimes referred to as 'domain values' since all values are from a preestablished 'domain' of options. They are also referred to as 'Lookup Tables' or 'Lookup Lists'.
There are three places where the allowable values can be found
• In each of the Templates the worksheets with green tabs list the allowable values for all the columns included in the default templates. These values are only updated periodically, so new options may be in WQX Web that are not shown in the template worksheets.
• In WQX Web all the allowable values can be found using the 'Lookup Tables' link on the left-sidebar. The text shown for each table is shown below in column 'WQX Web Lookup Tables' The table of values returned is pulled directly from WQX Web, so the values are always up-to-date.
• WQX provides a web service that returns lists of 'domain values'. These lists are created directly from WQX so they are always up-to-date. The links in the 'WQX Domain Values Web Service' column below each return a zip file containing the allowable values in a XML file. The webservice description is online at http://www.epa.gov/storet/wqx/wqx_getdomainvalueswebservice.html
Projects
Row Nu | Template Column Name/WQX Web Element Name | Included in WQX Web Template? | WQX Domain Values Web Service | WQX Web Lookup Tables | Optionality | Max Length | Data Type | Description
4 | Sampling Design Type | -- | SamplingDesignType | SAMPLING DESIGN TYPE | Optional | 20 | Allowable Values | A code used to identify the type of sampling design employed for this project to ensure that sampling activities can support project objectives.
Monitoring Locations
Row Nu | Template Column Name/WQX Web Element Name | Included in WQX Web Template? | WQX Domain Values Web Service | WQX Web Lookup Tables | Optionality | Max Length | Data Type | Description
3 | Monitoring Location Type | Yes | MonitoringLocationType | MONITORING LOCATION TYPE | Required | 45 | Allowable Values | Type of monitoring location
15 | Monitoring Location Horizontal Accuracy Measure Unit Code | -- | MeasureUnit | MEASUREMENT UNIT | Conditonal | 12 | Allowable Values | Unit of measure of the relative accuracy
16 | Monitoring Location Horizontal Collection Method | Yes | HorizontalCollectionMethod | HORIZONTAL COLLECTION METHOD | Required | 150 | Allowable Values | Method used to determine Lat/Long coordinates
17 | Monitoring Location Horizontal Coordinate Reference System | Yes | HorizontalCoordinateReferenceSystemDatum | HORIZONTAL REFERENCE DATUM | Required | 6 | Allowable Values | Datum used to determine Lat/Long
19 | Vertical Unit | -- | MeasureUnit | MEASUREMENT UNIT | Conditonal | 12 | Allowable Values | Unit of measure of the vertical measure
20 | Vertical Collection Method | -- | VerticalCollectionMethod | VERTICAL COLLECTION METHOD | Conditional | 50 | Allowable Values | The name that identifies the method used to collect the vertical measure of a reference point.
21 | Vertical Coordinate Reference System | -- | VerticalCoordinateReferenceSystemDatum | VERTICAL REFERENCE DATUM | Conditional | 10 | Allowable Values | The name of the reference datum used to determine the vertical measure (i.e., the altitude).
22 | Monitoring Location Country Code | -- | Country | COUNTRY | Optional | 12 | Allowable Values | Code for Country, required if state code is used not in (default) US.
23 | Monitoring Location State | Yes | State | STATE | Conditonal | 2 | Allowable Values | Postal abbreviation for Monitoring Locations's primary state, required if county code is reported
24 | Monitoring Location County | Yes | County | COUNTY | Conditonal | 3 | Allowable Values | FIPS code for Monitoring Location's primary county
25 | Well Type | -- | WellType | WELL TYPE | Optional | 255 | Allowable Values | Identifies the primary well type.
27 | Well Formation Type | -- | WellFormationType | WELL FORMATION TYPE | Optional | 50 | Allowable Values | Name of the primary formation or soils unit, in which the well is completed.
29 | Well Hole Depth Measure Unit | -- | MeasureUnit | MEASUREMENT UNIT | Conditonal | 12 | Allowable Values | Unit of measure of the vertical measure
Results
Row Nu | Template Column Name/WQX Web Element Name | Included in 1 or more WQX Web Templates? | WQX Domain Values Web Service | WQX Web Lookup Tables | Optionality | Max Length | Data Type | Description
2 | Activity Type | Yes | ActivityType | ACTIVITY TYPE | Required | 70 | Allowable Values | Type of Activity (example: Field Msr/Obs, Sample-Routine, etc.)
3 | Activity Media Name | Yes | ActivityMedia | ACTIVITY MEDIA | Required | 20 | Allowable Values | Medium in which sample or measurement was taken (example: Water, Sediment, etc.)
4 | Activity Media Subdivision Name | -- | ActivityMediaSubdivision | ACTIVITY MEDIA SUBDIVISION | Optional | 45 | Allowable Values | Name or code indicating the environmental matrix as a subdivision of the sample media.
7 | Activity Start Time Zone | Yes | TimeZone | TIME ZONE | Conditonal | 4 | Allowable Values | Time Zone for Activity Start Time, required if Activity Start Time entered
10 | Activity End Time Zone | -- | TimeZone | TIME ZONE | Conditonal | 4 | Allowable Values | Time Zone for Activity End Time, required if Activity End Time entered
11 | Activity Relative Depth Name | -- | ActivityRelativeDepth | RELATIVE DEPTH | Optional | 15 | Allowable Values | The name that indicates the approximate location within the water column at which the activity occurred.
13 | Activity Depth/Height Unit | Yes | MeasureUnit | MEASUREMENT UNIT | Conditonal | 12 | Allowable Values | Units for Activity Depth Height Measure, required if Activity Depth Height Measure entered
15 | Activity Top Depth/Height Unit | -- | MeasureUnit | MEASUREMENT UNIT | Conditonal | 12 | Allowable Values | Units for Activity Top Depth Height Measure, required if Activity Top Depth Height Measure entered
17 | Activity Bottom Depth/Height Measure Unit | -- | MeasureUnit | MEASUREMENT UNIT | Conditonal | 12 | Allowable Values | Units for Activity Bottom Depth Height Measure, required if Activity Bottom Depth Height Measure entered
19 | Project ID | Yes |  |  | Required | 35 | Allowable Values | Valid Project ID; separate multiple Projects with "\".
21 | Monitoring Location ID | Yes |  |  | Conditonal | 35 | Allowable Values | Valid Monitoring ID; required for most Activity Type Codes; Must correspond to Monitoring Locations already in WQX/STORET or loaded into WQX Web using the Monitoring Locations tab
27 | Activity Horizontal Accuracy Unit | -- | MeasureUnit | MEASUREMENT UNIT | Conditional | 12 | Allowable Values | Unit of measure of the relative accuracy
28 | Activity Horizontal Collection Method | -- | HorizontalCollectionMethod | HORIZONTAL COLLECTION METHOD | Conditional | 150 | Allowable Values | Method used to determine Lat/Long coordinates
29 | Activity Horizontal Coordinate Reference System | -- | HorizontalCoordinateReferenceSystemDatum | HORIZONTAL REFERENCE DATUM | Conditional | 6 | Allowable Values | Datum used to determine Lat/Long
30 | Assemblage Sampled Name | Yes | Assemblage | ASSEMBLAGE | Conditional | 50 | Allowable Values | Must be reported if Activity Media Name is "Biological"
32 | Collection Duration Unit | Yes |  |  | Conditional | 12 | Allowable Values | Unit for the value of the length of time a collection procedure was performed (e.g. total time kick net was used). Required if Collection Duration Measure is reported.
36 | Reach Length Unit | Yes | MeasureUnit | MEASUREMENT UNIT | Conditional | 12 | Allowable Values | The measure unit of the water body length distance in which the procedure or protocol was performed. Required if Reach Length Measure Value is reported.
38 | Reach Width Unit | Yes | MeasureUnit | MEASUREMENT UNIT | Conditional | 12 | Allowable Values | The measure unitof the water body width distance in which the procedure or protocol was performed. Required if Reach Width Measure Value is reported.
40 | Net Type | -- | NetType | NET TYPE | Optional | 30 | Allowable Values | The text describing the type of net.
42 | Net Surface Area Unit | -- | MeasureUnit | MEASUREMENT UNIT | Conditional | 12 | Allowable Values | The code that represents the unit for measuring the item.
44 | Net Mesh Size Unit | -- | MeasureUnit | MEASUREMENT UNIT | Conditional | 12 | Allowable Values | The code that represents the unit for measuring the item.
46 | Boat Speed Unit | -- | MeasureUnit | MEASUREMENT UNIT | Conditional | 12 | Allowable Values | The code that represents the unit for measuring the item.
48 | Current Speed Unit | -- | MeasureUnit | MEASUREMENT UNIT | Conditional | 12 | Allowable Values | The code that represents the unit for measuring the item.
49 | Toxicity Test Type | -- | ToxicityTestType | TOXICITY TEST TYPE | Optional | 7 | Allowable Values | Identifies the type of toxicity as either Acute or Chronic.
50 | Sample Collection Method ID | Yes |  | SAMPLE COLLECTION METHOD | Conditonal | 20 | Allowable Value or Text | User defined ID code assigned by organization, required if Activity Type Code contains the word "Sample", also require context (assigning organization) and name of method, see Analytical & Collection Methods Tab
51 | Sample Collection Equipment Name | Yes | SampleCollectionEquipment | SAMPLE COLLECTION EQUIPMENT | Conditonal | 40 | Allowable Values | Gear used to collect sample, required if Sample Collection Method is present
54 | Sample Container Type | -- | SampleContainerType | CONTAINER TYPE | Conditional | 35 | Allowable Values | The text describing the sample container type.
55 | Sample Container Color | -- | SampleContainerColor | CONTAINER COLOR | Conditional | 15 | Allowable Values | The text describing the sample container color.
57 | Thermal Preservative Used | -- | ThermalPreservativeUsed | THERMAL PRESERVATIVE | Conditional | 25 | Allowable Values | Information describing the thermal preservation of the sample.
62 | Result Detection Condition | Yes | ResultDetectionCondition | RESULT DETECTION CONDITION | Conditional | 35 | Allowable Values | Required if Result Measure Value is blank to provide reason; Must not be populated if Result Measure Value is provided
63 | Characteristic Name | Yes | Characteristic | CHARACTERISTIC | Conditional | 120 | Allowable Values | Valid characteristic name; required if activity yields results or detection conditions that are being reported
64 | Method Speciation | Yes | MethodSpeciation | METHOD SPECIATION | Optional | 20 | Allowable Values | Identifies the chemical speciation in which the measured result is expressed
65 | Result Sample Fraction | Yes | ResultSampleFraction | SAMPLE FRACTION | Conditonal | 25 | Allowable Values | Text name of fraction of sample associated with result, required for certain characteristics, see Characteristics
67 | Result Unit | Yes | MeasureUnit | MEASUREMENT UNIT | Conditonal | 12 | Allowable Values | Units for characteristic result, required if a non text result is reported
68 | Result Qualifier | Yes | ResultMeasureQualifier | RESULT MEASURE QUALIFIER | Optional | 5 | Allowable Values | A code used to identify any qualifying issues that affect the results.
69 | Result Status ID | Yes | ResultStatus | RESULT STATUS | Conditonal | 12 | Allowable Values | Required if result is reported; Indicates acceptability of result with respect to QA/QC, Data will not go into the STORET wharehouse if the status is "Preliminary"
70 | Statistical Base Code | Yes | StatisticalBase | RESULT STATISTICAL BASE | Optional | 25 | Allowable Values | Code used for method used to calculate derived results, such as Mean, Maximum, etc.
71 | Result Value Type | Yes | ResultValueType | RESULT VALUE TYPE | Conditonal | 12 | Allowable Values | Qualifies Process used in the determination of result value (eg. Actual, Estimated, Calculated). Required if result is non-text. Default is Actual.
72 | Result Weight Basis | Yes | ResultWeightBasis | RESULT WEIGHT BASIS | Optional | 15 | Allowable Values | Form of sample or portion of sample associated with result value (eg. wet weight, dry weight, etc.)
73 | Result Time Basis | -- | ResultTimeBasis | RESULT TIME BASIS | Optional | 12 | Allowable Values | The period of time (in days) over which a measurement was made. For example, BOD can be measured as 5 day or 20 day BOD.
74 | Result Temperature Basis | -- | ResultTemperatureBasis | RESULT TEMPERATURE BASIS | Optional | 12 | Allowable Values | The name that represents the controlled temperature at which the sample was maintained during analysis, e.g. 25 deg BOD analysis.
83 | Result Depth/Height Unit | -- | MeasureUnit | MEASUREMENT UNIT | Conditonal | 12 | Allowable Values | Units for Result Depth Height Measure, required if Result Depth Height Measure entered
86 | Biological Intent | Yes | BiologicalIntent | BIOLOGICAL INTENT | Conditional | 35 | Allowable Values | "Population Census" is meant to allow for simple species counts, for example, counts of benthic macroinvertebrates sampled within a stream. "Group Summary" is meant to allow for reporting of attributes for a group of organisms, for example, the sex of a group of fish. "Frequency Class" is inteded for reporting counts within different bins or categories within a group. "Individual" is used for reporting measurements of individuals caught. "Tissue" is used to report analysis results of tissue samples. "Toxicity" is used to report the results of toxicity testing on a species.
88 | Subject Taxonomic Name | Yes | Taxon | TAXON | Conditional | 120 | Allowable Values | Required if biological results are being reported
90 | Sample Tissue Anatomy | Yes | SampleTissueAnatomy | SAMPLE TISSUE ANATOMY | Conditional | 30 | Allowable Values | Name of anatomy from which tissue sample was taken.
92 | Group Summary Count Weight Unit | Yes | MeasureUnit | MEASUREMENT UNIT | Conditional | 12 | Allowable Values | Required if Biological Intent is "Group Summary". Captures the total count unit or total sample weight unit for a group of species being reported on.
93 | Taxon Cell Form | Yes | CellForm | CELL FORM | Optional | 11 | Allowable Values | The name of the cell form for phytoplankton organisms expressed as a result.
94 | Taxon Cell Shape | Yes | CellShape | CELL SHAPE | Optional | 18 | Allowable Values | The cell shape of the phytoplankton organism.
95 | Taxon Habit | Yes | Habit | HABIT | Optional | 15 | Allowable Values | The position that the characteristic occupies in a food chain
96 | Taxon Voltinism | Yes | Voltinism | VOLTINISM | Optional | 25 | Allowable Values | The number of broods or generations of the characteristic in a year
102 | Frequency Class Descriptor | Yes | FrequencyClassDescriptor | FREQUENCY CLASS DESCRIPTOR | Conditonal | 50 | Allowable Values | Required if Frequency Class Information is Reported
103 | Frequency Class Descriptor Unit | Yes | MeasureUnit | MEASUREMENT UNIT | Conditonal | 12 | Allowable Values | Required if the Frequency Class Descriptor Code is a Measured Value (eg. Length, etc.)
108 | Result Analytical Method ID | Yes | AnalyticalMethod | ANALYTICAL METHOD | Conditonal | 20 | Allowable Value or Text | ID number assigned by method publisher, required if Activity Type Code is Sample, for nationally defined methods see Nat. Methods Tab, to define an analytical method unique to your organization see Analytical & Collection Methods Tab
109 | Result Analytical Method Context | Yes | AnalyticalMethodContext | ANALYTICAL METHOD CONTEXT | Conditonal | 120 | Allowable Value or Text | Source of method, required if Activity Type Code is Sample, for nationally defined methods see Nat. Methods Tab, to define an analytical method unique to your organization see Analytical & Collection Methods Tab
113 | Analysis Start Time Zone | -- | TimeZone | TIME ZONE | Conditonal | 4 | Allowable Values | The time zone for which the time of day is reported.
116 | Analysis End Time Zone | -- | TimeZone | TIME ZONE | Conditonal | 4 | Allowable Values | The time zone for which the time of day is reported.
117 | Result Laboratory Comment Code | -- | ResultLaboratoryComment | RESULT LAB COMMENT | Optional | 3 | Allowable Values | Remarks which further describe the laboratory procedures which produced the result.
118 | Result Detection/Quantitation Limit Type | Yes | DetectionQuantitationLimitType | DETECTION/QUANTITATION LIMIT TYPE | Conditonal | 35 | Allowable Values | Text describing the type of detection or quantitation limit used in the analysis of a characteristic.
120 | Result Detection/Quantitation Limit Unit | Yes | MeasureUnit | MEASUREMENT UNIT | Conditonal | 12 | Allowable Values | The code that represents the unit for measuring the chemical substance, microbiological substance or other characteristic.
128 | Lab Sample Preparation Start Time Zone | -- | TimeZone |  | Conditonal | 4 | Allowable Values | The time zone for which the time of day is reported.
131 | Lab Sample Preparation End Time Zone | -- | TimeZone | TIME ZONE | Conditonal | 4 | Allowable Values | The time zone for which the time of day is reported.
135 | Activity Group Type | -- | ActivityGroupType | ACTIVITY GROUP TYPE | Conditonal | 50 | Allowable Values | Identifies the type of grouping of a set of activities