Therefore, Thursday, January 25, 2018, we will have the STORET User call from 12-1 Eastern time.

The agenda is below.

- Communicate STORET decommissioning date (share paragraph)

- Metals Workgroup

- Creating CCB groups for taxa and characteristics

- Data Discovery Tool

- Water Quality Portal (WQP)

  - Notification of the deprication of the current phys/chem format on the portal website. Radio button will be updated

  - Share detection limit order with the user community

  - Share prioritized list for the portal and decommission needs

- Demonstrate the new WQP HUC12 service

- Demonstrate the new WQP Station search service

- Open Discussion

Phone: 866 299 3188, Access code: 202 566 2514#

http://epawebconferencing.acms.com/wqxqa/

Notification Alert:

All STORET  warehouse services are scheduled for decommissioning by the end of June 2018

STORET Decommissioning (paragraph):

On prior STORET user calls, the topic of decommissioning the STORET Warehouse has been discussed. Currently, most of the STORET Warehouse functionality is duplicative of the Water Quality Portal. The STORET team feels that funds would be better utilized if they are allocated to develop tools for the Water Quality Portal or WQX. The Office of Water has approved the request and the STORET team is planning to complete this by the end of June 2018. The timeline is dependent on the amount of Warehouse functionality that is currently available in the Water Quality Portal. We are currently working with the Water Quality Portal team to address functionality and prioritize what needs to be completed in the next few months for decommissioning to be successful. We welcome any comments or feedback on this approach.

Water Quality Portal: https://www.waterqualitydata.us/

### The Change Control Board

“Change Control” is a formal process.

### The User Community continues to Submit and Define the Change Requests for WQX Taxon domain values and Characteristic domain values

### The Board will Review the Change Requests for assigning group classifications for WQX Taxa and Characteristics. Evaluate domain value duplications and synonyms.

### The Board will Define Options, Responses, Final Decisions and Approval.

### The Expected Value will be collaborative expertise with EPA and partners to improve data quality and supporting services.

This an initial step to establish a Change Control Board for both WQX and the Water Quality Portal Project. The first scope has been defined to domain values (Taxon and Characteristics).

Detection Quantitation Limit (Reporting List order)

| Hierarchy | Name | Description | Last Change Date |
| --- | --- | --- | --- |
| 1 | Practical Quantitation Limit | Practical Quantitation Limit (PQL) | 1/26/2010 12:17:18 PM |
| 2 | Lower Quantitation Limit | Lower Limit of Quantitation(LLQ) Generally the same as EQL. | 8/12/2006 12:26:53 AM |
| 3 | Sample-Specific Quantitation Limit | - The EQL adjusted to reflect sample-specific actions such as dilution or use of smaller aliquot sizes, or to report results on a dry-weight basis. | 12/21/2015 2:28:18 PM |
| 4 | Estimated Quantitation Limit | Lowest concentration that can be reliably achieved within specified limits of precision and accuracy during routine lab operations. EQLs normally are arbitrarily set rather than explicitly determined. | 6/16/2016 8:37:57 AM |
| 5 | Contract Quantitation Limit | - Minimum level of reliable quantitation acceptable under the contract Statement of Work (SOW). | 12/21/2015 2:28:18 PM |
| 6 | Minimum Reporting Level | Minimum Reporting Level is the smallest measured concentration of a constituent that can be reliably measured using a given analytical method | 11/3/2014 12:00:00 AM |
| 7 | Reporting limit | Reporting limit | 12/21/2015 2:28:18 PM |
| 8 | Sample-specific min detect conc | Sample-specific min detect concentration | 10/29/2009 12:33:39 PM |
| 9 | Laboratory Reporting Level | Laboratory Reporting Level - formerly referred to as Non-Detection Value | 11/3/2014 12:00:00 AM |
| 10 | Lower Reporting Limit | Lower Reporting Limit | 8/12/2006 12:26:53 AM |
| 11 | Sample Detection Limit | Sample Detection Limit (SDL) - The MDL adjusted to reflect sample-specific actions such as dilution or use of smaller aliquot sizes, or to report results on a dry-weight basis. | 6/16/2016 8:25:43 AM |
| 12 | Lower limit of detection | - Generally the same as IDL. IDLs are explicitly determined and generally defined as three times the standard deviation of the mean noise level. | 12/21/2015 2:28:18 PM |
| 13 | Instrument Detection Level | Instrument Detection Level(IDL)--Lowest concentration that can be detected by an instrument without correction for the effects of sample matrix or method-specific parameters such as sample preparation | 1/26/2010 12:17:18 PM |
| 14 | Estimated Detection Level | Estimated Detection Level -- Minimum concentration required to produce a specified signal-to-noise (S/N) ratio. | 8/12/2006 12:26:53 AM |
| 15 | Method Detection Level | Synonymous with Method Detection Limit, is the minimum concentration of a substance that can be measured and reported with a 99% confidence that the analyte concentration is greater than zero. | 1/24/2017 4:36:33 PM |
| 16 | Measurement Uncertainty | A quantitative expression of error that results from incomplete knowledge or information about a parameter or value | 12/9/2015 7:39:00 AM |
| 17 | Long Term Method Detection Level | Long Term Method Detection Level | 8/12/2006 12:26:53 AM |
| 18 | Interim Reporting Level | Interim Reporting Level - a temporary reporting level used for new or custom schedules when a LRL has not yet been established | 9/10/2014 12:00:00 AM |
| 19 | Daily detection limit | Daily detection limit | 12/21/2015 2:28:18 PM |
| 20 | Blank-adjusted method detect limit | Blank-adjusted method detect limit | 12/21/2015 2:28:18 PM |
| 21 | Contract Detection Limit | Minimum level of detection acceptable under the contract Statement of Work (SOW). However, laboratory-derived IDLs (adjusted for sample size, dilution and moisture) are used for reporting limits | 6/16/2016 10:11:16 AM |
| 22 | Upper Quantitation Limit | Upper Quantitation Limit | 8/12/2006 12:26:53 AM |
| 23 | Upper Reporting Limit | Upper Reporting Limit | 8/12/2006 12:26:53 AM |
| 24 | Upper Calibration Limit | Upper Calibration Limit(UCL) - Highest concentration that can be reliably measured. The highest calibration standard in the lab's initial calibration curve adjusted for initial sample volume or weight | 6/16/2016 10:29:57 AM |
| 25 | Field Holding Time Limit | Performed in field. Samples are only representative of the area they were taken from for a specific length of time before sample preparation or analysis must begin. This is defined as "holding time." | 4/4/2016 3:13:18 PM |
| 26 | Laboratory Holding Time Limit | Performed in Lab. Samples are only representative of the area they were taken from for a specific length of time before sample preparation or analysis must begin. This is defined as "holding time." | 4/4/2016 2:05:33 PM |
| 27 | Drinking Water Maximum | Drinking Water Maximum | 8/12/2006 12:26:53 AM |
| 28 | Systematic Uncertainty | That component of uncertainty which arises from biases. www.iaea.org/OurWork/ST/NE/NEFW/WTS-Networks/IDN/idnfiles/Wkp_on_Development_WM,WasteCharacterization_Clearance/Day3/12.Statistics_GREY.pdf | 12/9/2015 7:55:38 AM |
| 29 | Statistical Uncertainty | That component of uncertainty which arises from imprecision. www.iaea.org/OurWork/ST/NE/NEFW/WTS-Networks/IDN/idnfiles/Wkp_on_Development_WM,WasteCharacterization_Clearance/Day3/12.Statistics_GREY.pdf | 12/9/2015 7:55:38 AM |
| 30 | Water Quality Standard or Criteria | Water Quality Standard or Criteria | 8/12/2006 12:26:53 AM |
| 31 | Specified in workplan | Specified in workplan... requested by GLENDA | 3/29/2016 3:06:29 PM |
| 32 | Taxanomic Loss Threshold | Taxanomic Loss Threshold | 5/31/2016 2:00:03 PM |

Decommissioning priority spreadsheet (WQP task order)

| Requestor | Request | Requirement/task | Comment from User Call | Priority | Team Comments | Jim Notes |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Jolene McQuillan | Our MDLs are still not being reported through the result exports. For example, we have MDLs and LRLs for all 2017 data. When I download that data, the result export has the LRLs reported. I believe the WQP is set-up to report the MDL as the highest priority. The detection limit export has both the MDL and LRL, it’s just an issue with the result export. | Review prioritiy list | Minimum Detection Levels – The STORET Team knows this is an issue and is trying to make the change. | 1 |  | Shared the hierarchy that we use- Will talk with user community week of 1/23/2018 |  |
| Jolene McQuillan | The only Characteristic Group I tested out was nutrients, so I can’t speak to the other ones, but I believe those groups need to be updated. The nutrient group is missing the new WQX names that went into effect this last year in the best practices document. I received results with “Nutrient-nitrogen” in the export, but didn’t receive results with “Total nitrogen, mixed forms”…the new name we were instructed to use. | Review/update/maintain characteristic groups | Update Characteristic Groups – This is simple and will be done. | 2 |  | The WQP ETL uses a table that is provided by the EPA team. The WQP ETL uses a STORETW table that has not been updated to reflect new characteristics. 1/23/2018 Action- Jim will determine how the USGS is grouping things. Question to answer- where would this list ideally be hosted and how would it be maintained. Dwane will plan on reaching out to SRS about maintaining a group |  |
| Jolene McQuillan | The main nutrient characteristics do not have any method speciations. I expected them to be part of the characteristic name, but I did not see any in the exports I ran. I also noted Hardness did not have our as CaCO3 speciation that we submit. | 1. Make sure EPA and USGS speciations are reported out in the same column 2. Make sure speciation is reported in the most common data download. Needs to be included in the wide format not just narrow. | Method Speciation and Characteristic Names – STORET Team is looking at both to make them more consistent. | 1 | WQP Link | We do want to add the speciation column to the main result data profile. If we want to break this, we can. Also, need to change “methodspecification” to “method speciation”. Jim will check Montana DEQ export for hardness speciation data. |  |
| Jolene McQuillan | Making sure that characteristic names are exported consistently from the WQP is very important. We have an application that runs off of exports from STORET and we’re updating it to run off of exports from the portal. This application uses the characteristic name to split the results into their appropriate columns (in a cross-tab type spreadsheet). When any names are changed, this makes the application ignore those results because they no longer match with what it’s expecting. | Ask user community more about this, check to make sure characteristics are matching. |  | 3 |  | This is really on the wqx team, since right now retired characteristic names have their characteristic names changed |  |
| Jolene McQuillan | There was mention during a previous call to have a new export available that would include both the station, activity and result information in one file. I think that’s a high priority for any general public that want to use the data. | Flat file with location, results and other essential info in one file or Results file containing Monitoring Location Names and Lat/long |  | 2 |  | We are really close to being able to implement the CSIRO style waterml water quality best practice, with a proper sematic link to the rest of the WQX metadata. Jim will dig into the best practice. EPA team will work on an ideal list of WQX elements to present. |  |
| NARS | location weights need served | Serve out location weights | •Location Weights – These are stored the project level. If a user didn’t provide a HUC, county or lat/long the portal is blind to that data, if this what the user enters to query the data. The solution is to automatically calculate those. | 3 |  | This ticket is part of the already prioritized project work. 1/23/2018- in development |  |
| Dwane | Not all data is served out of the portal if the user did not provide HUC, county, etc | Portal data needs indexed to county, HUC, etc using the lat/long if not user provided | • Include Lat/Long – This has been on the list for a long time. Looking into this and also adding the station name. | 2 | Jim is already working on this | The ETL will be using huc12s, and the team will also use the existing STORETW tables for state and county. HUC12s will be released shortly, the county and state will be added as part of another ticket. 1/23/2018- HUC12s in production, county/state is on dev |  |
| Paul Morton, MT & TX | Blobs aren't available | BLOB files need to be downloadable from the portal. Jim, how are you planning on doing this? | •BLOB (Document Attachments) – This is on the list to add to the portal. | now | Project files first, then activity files | 1/23/2018- Project blobs in dev, ETLS done for monitoring location, activity, result, project |  |
| Paul Morton | Since then, I realized that the WQP doesn’t download any of the Organization or Project level information besides the Organization ID and Name and the Project ID. Are there any plans to create new reports for the Organization (especially the email and phone number contact info) and Project Level (name and description) information? | Serve project and org level info | • More detailed organization information – The STORET Team is looking into this. | 3 |  | Project level data should be out on the service side the week of January 9 2017. 1/23/2018- project service is out on dev |  |
| Dwane | Huc 12 query | Create HUC 12 query service | HUC12 query capability – Working on this one and it will be done soon. | now | Jim, is this ready? | Coding is done, sorting out the ETLs- Released to production |  |
|  | Provide the ability to search by waterbody name. |  |  | 3 |  | querying by waterbody is something that should be baked into NLDI/NHD, and we can use that. Anything else is not really workable |  |
| User Call | Organization ID and/or Station Number in Water Quality Portal are not intuitive. It must be crafted to users not familiar to the portal. Provide ability to query by station name | Advanced query function? | • Query by station or org id – This a challenge and the STORET Team is looking into this. | 3 | GNIS name? | We will have an autocomplete coming out shortly that should help with station name and id- 1/23/2018- autocomplete in production |  |
| South Carolina | STORET dashboard is used as a comparison tool | Does the OECA approach address this comparison?. We will need last submission date too | • Dashboard is used as a comparison tool – OECA’s data dashboard may meet this need. | 2,now | similar to Data Discovery Tool |  |  |
| ? | Provide a way for user to enter a summary file for the users to get the information they need (a block set of filters to get the data you want out of the portal). This requirement is met by sending a portal link with the stations in it, or leverage the services to create a spreadsheet for those stations. | I don't understand this request | • Location information – Need clarification on this request. | 3 | you can also POST a JSON document with all of the filters set | Need to better document the ability to post a JSON document |  |
| Kevin | Location information | serve all location info | Project station weights, monitoring location alternative | 3 |  | 1/23/2018- in development |  |
| 1/23/2018- in development | Indexing/snapping locations - Kevin, how do we snap? | dataowner re-submit lat/long | NLDI method (the NLDI crawler code will match each point to an NHDPlus catchment and the data will be available via NLDI search services.) | 3 | Jim already dealing with this, in progress week of January 9 | 1/23/2018- county-level on dev |  |
| 1/23/2018- county-level on dev | summary services off the portal - use what jennifer has created |  | merge Jennifer's summary and OECA dashboard requirements | 2 |  |  |  |
| Paul Morton | asked if the portal could harness best practices for nutrient data implemented, i.e., normalize the names and units for characteristic names. Dwane explained TetraTech made a change to the discovery data tool and this may be implemented in the portal. | serve alias characteristic names |  | 3 | This would need to be a WQX change but it could be addressed with characteristic groups. | Implementing this would be easy enough- it would just be another result column. The biggest question is what we would want to search in in the UI. The hardest thing would be building and maintaining the mapping files |  |
| Team | • The STORET Team is trying to decide if AlternateMonitoringLocationIdentifier should be exposed in the portal. |  |  | 3 | Will be served as part of an expanded monitoring location | 1/23/2018- EPA team will continue examining this characteristic and its use |  |
| Dwane | • Dwane will research if elevation is included.- need clarification | VerticalMeasure/MeasureValue | VerticalMeasure/MeasureUnitCode | done | he measure of elevation (i.e., the altitude), above or below a reference datum. |  |  |
|  | Activity Start times of 00:00 should be blank |  | https://github.com/NWQMC/etl-storet-wqx/pull/11 | 1 |  | This is an Oracle time challenge, but it should be able to work |  |
|  | Test and training account categorization should be based off of WQX logic |  | https://github.com/NWQMC/etl-storet-wqx/pull/11 | 2 |  | test and training accounts are UID2000-3000 |  |
|  | Portal should not be changing data such as USEPA/UNKNWN/Not Available |  | https://github.com/NWQMC/etl-storet-wqx/pull/11 | 1 |  | https://github.com/NWQMC/etl-storet-wqx/blob/90a33377d9316efa12fecb7a94b0e89268305b3a/transformStation.sql#L208 |  |